Fuel Standard (Biodiesel) Amendment Determination 2004 (No. 1)

I, IAN GORDON CAMPBELL, Minister for the Environment and Heritage, make this Determination under section 21 of the Fuel Quality Standards Act 2000.

Dated 21 November 2004

IAN CAMPBELL

Minister for the Environment and Heritage

Contents

1	Name of Determination	2

2	Commencement	2

3	Amendment of Fuel Standard (Biodiesel) Determination 2003	2

Schedule 1	Amendments commencing on gazettal	3

Schedule 2	Amendments commencing on 18 December 2004	4

1	Name of Determination

This Determination is the Fuel Standard (Biodiesel) Amendment Determination Error: Reference source not found (No. 1).

2	Commencement

This Determination commences as follows:

(a)	on the date of their notification in the Gazette — sections 1 to 3 and Schedule 1;

(b)	on 18 December 2004 — Schedule 2.

3	Amendment of Fuel Standard (Biodiesel) Determination 2003

Schedules 1 and 2 amend the Fuel Standard (Biodiesel) Determination 2003.

Schedule 1	Amendments commencing on gazettal

(section 3)

[1]	Section 3, after definition of biodiesel

insert

Energy Institute means the standards development organisation of that name.

[2]	Subsection 4 (2), table, item 9, column 4

substitute

18 September 2005

[3]	Subsection 5 (1), table, item 5, column 3

substitute

EN ISO 5165, ASTM D613, ASTM D6890 or IP 498/03

[4]	Paragraph 5 (2) (b)

omit

number.

insert

number; and

[5]	After paragraph 5 (2) (b)

insert

(c)	IP, followed by a number, means the testing method developed by the Energy Institute under the code and number.

Schedule 2	Amendments commencing on 18 December 2004

(section 3)

[1]	Subsection 4 (1), table, item 11

substitute

| 11 | Methanol | 0.20% (m/m) | 18 December 2004 |
| --- | --- | --- | --- |

[2]	Subsection 4 (2), table, item 5

substitute

| 5 | Copper strip corrosion (3hrs @ 50C) | (a) if the biodiesel contains no more than 10 mg/kg of sulfur — Class 1 (max) (b) if paragraph (a) does not apply — No. 3 (max) | 18 December 2004 |
| --- | --- | --- | --- |

[3]	Subsection 5 (1)

omit

method

insert

method, as in force on 18 December 2004,

[4]	Subsection 5 (1), table, item 2, column 2

substitute

Methanol

[5]	Subsection 5 (1), table, item 7, column 3

substitute

(a)	for specification Class 1 (max) — EN ISO 2160 or ASTM D130

(b)	for specification No. 3 (max) — ASTM D130