I, William Bruce Byron, Director of Aviation Safety, on behalf of CASA, make this instrument under subregulation 235 (7) of the Civil Aviation Regulations 1988.

[Signed Bruce Byron]

Bruce Byron

Director of Aviation Safety and

Chief Executive Officer

3 January 2006

Civil Aviation Order 20.9 Amendment Order (No. 1) 2005

1	Name of instrument

This instrument is the Civil Aviation Order 20.9 Amendment Order (No. 1) 2005.

2	Commencement

This instrument commences on the day after it is registered on the Federal Register of Legislative Instruments.

3	Amendment of Civil Aviation Order 20.9

Schedule 1 amends Civil Aviation Order 20.9.

Schedule 1	Amendment

[1]	Paragraph 4.4.4

substitute

4.4.4	At least 2 fire extinguishers of approved type and capacity must be positioned:

(a)	within 15 metres, but not less than 6 metres, from the aircraft and the fuelling equipment; or

(b)	carried on the fuelling equipment.

4.4.5	If the fire extinguishers are carried on the fuelling equipment, they must:

(a)	be fitted with quick release brackets; and

(b)	be readily available from either side of the equipment; and

(c)	be located as far as practicable from the vehicle fuel tanks and fuelling points.

4.4.6	For paragraph 4.4.4 and 4.4.5, the fire extinguishers may be:

(a)	60B dry powder fire extinguishers; or

(b)	an 80B dry powder fire extinguisher and a 20B foam extinguisher; or

(c)	other fire extinguishers approved by CASA.