Radiocommunications (Digital Radio Channels — Queensland) Plan Variation 2008 (No. 1)1

Radiocommunications Act 1992

The AUSTRALIAN COMMUNICATIONS AND MEDIA AUTHORITY makes this Plan Variation under subsection 44A (6) of the Radiocommunications Act 1992.

Dated 18th December 2008

Chris Chapman 
[signed]
Member

Chris Cheah 
[signed] 
Member

Australian Communications and Media Authority

1	Name of Plan Variation

This Plan Variation is the Radiocommunications (Digital Radio Channels — Queensland) Plan Variation 2008 (No. 1).

2	Commencement

This Plan Variation commences on the day after it is registered.

3	Variation of Radiocommunications (Digital Radio Channels — Queensland) Plan 2007

Schedule 1 varies the Radiocommunications (Digital Radio Channels — Queensland) Plan 2007.

Schedule 1	Variations

(section 3)

[1]	Section 3, after definition of DAB

insert

depression angle means the angle between the horizontal line and the dividing line.

[2]	Section 3, after definition of designated BSA radio area

insert

dividing line — see section 3A.

ERP means effective radiated power.

[3]	Section 3, after definition of frequency block

insert

horizontal line means a horizontal line at the maximum antenna height of an antenna.

[4]	After section 3

insert

3A	Dividing line

(1)	In this Plan, dividing line means a line from a point at the maximum antenna height of an antenna to a point on the Earth below the horizontal line.

(2)	For subsection (1), if a negative value is specified in the depression angle, the point on the Earth is above the horizontal line.

[5]	After section 4

insert

5	Maximum ERP limits

(1)	For each digital radio multiplex transmitter, the ERP of that transmitter in any part of a sector or bearing must not exceed the maximum ERP specified in the output radiation pattern table for that sector or bearing.

(2)	If the output radiation pattern table for a digital radio multiplex transmitter specifies two maximum ERP values for a sector or bearing, the ERP of the transmitter in that sector or bearing must not exceed:

(a)	for a point at or above the dividing line — the maximum ERP in the column headed “At or above dividing line”; and

(b)	for a point below the dividing line — the maximum ERP in the column headed “Below dividing line”.

(3)	The licensee of a digital radio multiplex transmitter must, if requested by ACMA to do so, demonstrate, to the satisfaction of ACMA, that the ERP of a transmitter in any part of a sector or bearing specified by ACMA complies with this section.

[6]	Schedule 1, table 1, column 6

substitute

TS1132986

TS1132987

TS1132988

[7]	Schedule 1, attachment 1.1

omit

| Specification Number | TS1132479 |
| --- | --- |

insert

| Specification number | TS1132986 |
| --- | --- |

[8]	Schedule 1, attachment 1.1

omit

| Output Radiation Pattern |  |
| --- | --- |
| Bearing or Sector (Clockwise direction) | Maximum ERP |
| 0°T – 5°T | 1.6 kW |
| 5°T – 208°T | 12.5 kW |
| 208°T – 244°T | 6.2 kW |
| 244°T – 317°T | 12.5 kW |
| 317°T – 360°T | 1.6 kW |

insert

| Output Radiation Pattern |  |  |  |
| --- | --- | --- | --- |
| Bearing or sector (clockwise direction) | Depression angle | Maximum ERP |  |
|  |  | At or above dividing line | Below dividing line |
| 0 °T – 5 °T | 0.4° | 1.6 kW | 50 kW |
| 5 °T – 150 °T | All angles | 50 kW |  |
| 150 °T – 160 °T | 0.5° | 12.5 kW | 50 kW |
| 160 °T – 208 °T | All angles | 50 kW |  |
| 208 °T – 212 °T | 0.0° | 7.5 kW | 50 kW |
| 212 °T – 244 °T | 0.0° | 6.0 kW | 50 kW |
| 244 °T – 330 °T | 0.5° | 12.6 kW | 50 kW |
| 330 °T – 356 °T | 0.4° | 3.2 kW | 50 kW |
| 356 °T – 360 °T | 0.4° | 1.6 kW | 50 kW |

[9]	Schedule 1, attachment 1.2

omit

| Specification Number | TS1132480 |
| --- | --- |

insert

| Specification number | TS1132987 |
| --- | --- |

[10]	Schedule 1, attachment 1.2

omit

| Output Radiation Pattern |  |
| --- | --- |
| Bearing or Sector (Clockwise direction) | Maximum ERP |
| 0°T – 5°T | 1.6 kW |
| 5°T – 208°T | 12.5 kW |
| 208°T – 244°T | 6.2 kW |
| 244°T – 317°T | 12.5 kW |
| 317°T – 360°T | 1.6 kW |

insert

| Output Radiation Pattern |  |  |  |
| --- | --- | --- | --- |
| Bearing or sector (clockwise direction) | Depression angle | Maximum ERP |  |
|  |  | At or above dividing line | Below dividing line |
| 0 °T – 5 °T | 0.4° | 1.6 kW | 50 kW |
| 5 °T – 150 °T | All angles | 50 kW |  |
| 150 °T – 160 °T | 0.5° | 12.5 kW | 50 kW |
| 160 °T – 208 °T | All angles | 50 kW |  |
| 208 °T – 212 °T | 0.0° | 7.5 kW | 50 kW |
| 212 °T – 244 °T | 0.0° | 6.0 kW | 50 kW |
| 244 °T – 330 °T | 0.5° | 12.6 kW | 50 kW |
| 330 °T – 356 °T | 0.4° | 3.2 kW | 50 kW |
| 356 °T – 360 °T | 0.4° | 1.6 kW | 50 kW |

[11]	Schedule 1, Attachment 1.3

omit

| Specification Number | TS1132481 |
| --- | --- |

insert

| Specification number | TS1132988 |
| --- | --- |

[12]	Schedule 1, Attachment 1.3

omit

| Output Radiation Pattern |  |
| --- | --- |
| Bearing or Sector (Clockwise direction) | Maximum ERP |
| 0°T – 5°T | 1.6 kW |
| 5°T – 208°T | 12.5 kW |
| 208°T – 244°T | 6.2 kW |
| 244°T – 317°T | 12.5 kW |
| 317°T – 360°T | 1.6 kW |

insert

| Output Radiation Pattern |  |  |  |
| --- | --- | --- | --- |
| Bearing or sector (clockwise direction) | Depression angle | Maximum ERP |  |
|  |  | At or above dividing line | Below dividing line |
| 0 °T – 5 °T | 0.4° | 1.6 kW | 50 kW |
| 5 °T – 150 °T | All angles | 50 kW |  |
| 150 °T – 160 °T | 0.5° | 12.5 kW | 50 kW |
| 160 °T – 208 °T | All angles | 50 kW |  |
| 208 °T – 212 °T | 0.0° | 7.5 kW | 50 kW |
| 212 °T – 244 °T | 0.0° | 6.0 kW | 50 kW |
| 244 °T – 330 °T | 0.5° | 12.6 kW | 50 kW |
| 330 °T – 356 °T | 0.4° | 3.2 kW | 50 kW |
| 356 °T – 360 °T | 0.4° | 1.6 kW | 50 kW |

Note

1.	All legislative instruments and compilations are registered on the Federal Register of Legislative Instruments kept under the Legislative Instruments Act 2003. See http://www.frli.gov.au.