Private Health Insurance (Prostheses) Rules 2016 (No. 4)

made under item 4 of section 333-20 of the

Private Health Insurance Act 2007

Compilation No. 2

Compilation date:			20 February 2017

Includes amendments up to:	F2017L00089

Registered:				20 February 2017

This compilation is in 9 volumes

Volume 1:	Parts 1–3

Volume 2:	Schedule, Part A (Categories 01–05)

Volume 3:	Schedule, Part A (Category 06)

Volume 4:	Schedule, Part A (Categories 07–08)

Volume 5:	Schedule, Part A (Categories 09–10)

Volume 6:	Schedule, Part A (Categories 11–13)

Volume 7:	Schedule, Part B - Human Tissue List

Volume 8:	Schedule, Part C - Other Prostheses

Volume 9:	Endnotes

Each volume has its own contents

About this compilation

This compilation

This is a compilation of the Private Health Insurance (Prostheses) Rules 2016 (No. 4) that shows the text of the law as amended and in force on 20 February 2017 (the compilation date).

The notes at the end of this compilation (the endnotes) include information about amending laws and the amendment history of provisions of the compiled law.

Uncommenced amendments

The effect of uncommenced amendments is not shown in the text of the compiled law. Any uncommenced amendments affecting the law are accessible on the Legislation Register (www.legislation.gov.au). The details of amendments made up to, but not commenced at, the compilation date are underlined in the endnotes. For more information on any uncommenced amendments, see the series page on the Legislation Register for the compiled law.

Application, saving and transitional provisions for provisions and amendments

If the operation of a provision or amendment of the compiled law is affected by an application, saving or transitional provision that is not included in this compilation, details are included in the endnotes.

Editorial changes

For more information about any editorial changes made in this compilation, see the endnotes.

Modifications

If the compiled law is modified by another law, the compiled law operates as modified but the modification does not amend the text of the law. Accordingly, this compilation does not show the text of the compiled law as modified. For more information on any modifications, see the series page on the Legislation Register for the compiled law.

Self-repealing provisions

If a provision of the compiled law has been repealed in accordance with a provision of the law, details are included in the endnotes.

Billing Code   Product Name	Description	Size

    - - Bi-Leaflet, rotatable

Benefit

Benefit

Condition

Livanova Australia Pty Limited

SA129	Optiform	Mechanical Valve	19mm to 33mm	$6,000.00

### Medtronic Australasia Pty Ltd

| MC980 | Open Pivot Heart Valve (Model 500FA)Open Pivot Heart Valve (Model 500DM) | Pyrolythic Carbon, Double Velour Polyester, Titanium | 16-33mm | $6,000.00 |
| --- | --- | --- | --- | --- |
| MC981 | Open Pivot Heart Valve (Model 501DA)Open Pivot Heart Valve (Model 501DM) | Pyrolythic Carbon, Double Velour Polyester, Titanium | 16-33mm | $6,000.00 |

Reid Healthcare

RH001	Aortic On-X Prosthetic Heart Valve

Models ONXA-19; ONXA-21; ONXA-23; ONXA-25; ONXA- 27/29; ONXM-23; ONXM-25; ONXM-27/29; ONXM31/33;

Bileaflet Mechanical Heart Valve	27-29mm, 19mm, 21mm, 23mm, 25mm, 25-

33mm, 27-29mm, 31-33mm, 23mm, 25mm

$6,000.00

### St Jude Medical Australia Pty Ltd

| SJ037 | Masters Series Heart Valve Mitral and Aortic - Expanded Cuff/Hemodynamic Plus | Aortic Expanded Cuff, Aortic Hemodynamic Plus Cuff, Mitral hemodynamic Cuff, Aortic & Mitral Rotatable Cuff | Aortic Expanded 19 - 31mm, Aortic Hemodynamic 17 - 27mm, Mitral Hemodynamic 17 - 27mm, Rotable 17 - 33mm | $6,000.00 |
| --- | --- | --- | --- | --- |
| SJ317 | Regent Prosthetic Heart Valve | Standard Cuff | Standard cuff - 17-23mm/25mm-29mm, Flex cuff - 17-23mm/25mm-29mm | $6,000.00 |

Advanced Biomedical Pty Ltd

AB077	CardiaMed Prosthetic Heart Valve	Intra-supra-annular position Aortic and Mitral

bileaflet mechanical heart valve made from solid pyrolitic carbon. Models: ADM.XX-1In and MDM.XX-1In

AB078	CardiaMed Prosthetic Heart Valve	Supra-annular position Aortic and Mitral

bileaflet mechanical heart valve made from solid pyrolitic carbon. Models: ADM.XX-1Su and MDM.XX-1Su

19 – 29mm (Aortic) 25 – 33mm (Mitral)

17 - 23mm (Aortic) 25 - 33mm (Mitral)

$6,000.00

$6,000.00

Billing Code   Product Name	Description	Size

Medtronic Australasia Pty Ltd

Benefit

Benefit

Condition

MI124	Open Pivot Heart Valve AP360 -

Mitral

MI125	Open Pivot Heart Valve AP360 -

Aortic

# - Tilting Disc, rotatable

Supra-annular mechanical valve; Pyrolythic Carbon, Double Velour Polyester, Titanium

Supra-annular mechanical valve; Pyrolythic Carbon, Double Velour Polyester, Titanium

Mitral: 16, 18, 20, 22, 24, 26, 28 and 30 mm	$6,000.00

Aortic: 16, 18, 20, 22, 24, 26 and 28 mm	$6,000.00

### Medtronic Australasia Pty Ltd

MC013	Medtronic Hall Heart Valve Aortic

Model A7700, Medtronic Hall Heart Valve Mitral Model M7700, Hall Easy Fit Aortic Heart Valve Model A7700, Hall Easy Fit Mitral Heart Valve Model M7700

# - Stented, anatomical

A7700/M7700 Titanium. Pyrolite. Dacron, A7700EZ/M7700EZ Titanium. Pyrolite. PET

A7700 - Diameter 20-31mm, M7700 - Diameter 23-33mm, A7700EZ - Diameter 19- 29mm, M7700EZ - Diameter 23-31mm

$5,100.00

### b

Edwards Lifesciences Pty Ltd

EL056	Carpentier-Edwards PERIMOUNT

Magna Mitral Bioprosthesis (Model: 7000TFX)

Stented Bovine Pericardial Mitral Tissue Valve with a reduced profile height and assymetric sewing band design

25mm, 27mm, 29mm, 31mm, 33mm	$5,000.00

EL058	Carpentier-Edwards PERIMOUNT

Magna Ease Aortic Bioprosthesis (Model: 3300TFX)

Stented Bovine Pericardial Aortic Tissue Valve with a reduced profile height

19mm, 21mm, 23mm, 25mm, 27mm and 29mm

$5,000.00

### p

Edwards Lifesciences Pty Ltd

EL030	CE Supra Annular Aortic Valve

Model 2650 Carpentier-Edwards

S.A.V Bioprosthesis Model 6650 Mitral Valve

### Medtronic Australasia Pty Ltd

Carpentier-Edwards SAV Bioprosthesis. Composition: Porcine Valve; Elgiloy Alloy; Silicone Rubber, Polytetrafluoroethylene

19mm-33mm	$5,000.00

MC701	Mosaic Cinch, Aortic, Mitral	Models 305cxx, 310cxx	19mm - 35mm	$5,000.00

MC950	Mosaic Ultra Cinch II	Small Aortic Root Bioprosthesis	19mm - 29mm	$5,000.00

MC962	Mosaic Cinch II	Aortic Bioprosthesis	19mm -29mm	$5,000.00

Billing Code   Product Name	Description	Size

Benefit

Benefit

Condition

MC993	Hancock II Aortic Cinch II	Aortic valve bioprosthesis	21mm to 29mm	$5,000.00

MI007	Hancock II Aortic Valve	Aortic bioprosthesis	21mm to 29mm	$5,000.00

MI008	Hancock II Mitral Valve	Mitral bioprosthesis	25mm to 33mm	$5,000.00

MI009	Hancock II Ultra Aortic Valve	Small aortic root bioprosthesis	21mm to 29mm	$5,000.00

### St Jude Medical Australia Pty Ltd

SJ136	SJM Biocor Heart Valve	Stented Porcine tissue valve	Aortic Valves - Tissue Annulus Diameter -

21 -

29mm

$5,000.00

Mitral Valves - Tissue Annulus Diameter - 25-35mm

SJ192	Epic Flexfit	Triple-composite Bioprosthetic heart valve	Aortic Valves 21-29mm tissue annulus diameter, 14-20mm total height. Mitral Valves 25-33mm tissue annulus diameter, 15-20mm total height.

$5,000.00

SJ201	Epic FlexFit Supra	Triple-composite Bioprosthetic heart valve for supra-annular placement in the aortic position

Tissue Annulus Diameter - 19mm-23mm. Total Height 14mm-16mm.

$5,000.00

# - Stented, non anatomical

### b

Edwards Lifesciences Pty Ltd

EL031	Carpentier-Edwards Perimount

Pericardial Bioprosthesis - Models 2900/6900 Carpentier-Edwards Perimount Plus Pericardial Bioprosthesis Mitral - Model 6900P

EL039	Edwards Perimount Magna Model

3000

Carpentier-Edwards Pericardial Bioprosthesis. Composition: Bovine Pericardium; Elgiloy Alloy; Silicone Rubber, Polytetrafluoroethylene

Carpentier-Edwards Perimount Magna composition: Glutaraldehyde treated bovine pericardium/elgiloy wireform stent/polyester band/silicone rubber suture ring/polytetrafluoroethylene cloth/polyester cloth.

Models 2900/6900 19-33mm, Model 6900P 25, 27, 29, 31, 33mm

19MM Aortic Pericardial Tissue Valve; 21MM Aortic Pericardial Tissue Valve; 23MM Aortic Pericardial Tissue Valve; 25MM Aortic Pericardial Tissue Valve; 27MM Aortic Pericardial Tissue Valve; 29MM Aortic Pericardial Tissue Valve

$5,000.00

$5,000.00

|  | Livanova Australia Pty Limited |  |  |  |
| --- | --- | --- | --- | --- |
| SA130 | Mitroflow | Pericardial Bioprosthesis | 19-27mm | $5,000.00 |
| SA155 | Mitroflow | Mitroflow Aortic Pericardial Heart Valve (Model LX) | 19, 21, 23, 25, 27mm | $5,000.00 |

Billing Code   Product Name	Description	Size

St Jude Medical Australia Pty Ltd

SJ284	Trifecta Valve	Tri-leaflet, stented pericardial valve.	19-29mm Annulus diameter and 15-20mm

height

Benefit

$5,000.00

Benefit

Condition

b bovine

Edwards Lifesciences Pty Ltd

EL060	Carpentier-Edwards PERIMOUNT

Magna Mitral Ease Tissue Valve

# - Non-Stented

The Carpentenier-Edwards PERIMOUNT Magna Mitral Ease Tissue is comprised of Bovine Pericardial Tissue and is bioengineered to withstand the higher pressures encountered in the mitral position, whilst maximising implantation ease.

25, 27, 29, 31, 33mm	$5,000.00

### e

Medtronic Australasia Pty Ltd

MC982	3f Aortic Bioprosthesis (Model 1000)	Model 1000 - EQUINE Pericardium

Bioprostheseis (non stented)

19 - 29 mm	$5,100.00

### p

Medtronic Australasia Pty Ltd

MC015	Freestyle bioprosthesis	Models 995xx, 995MSxx	19 - 35mm	$5,100.00

# - Rapid deployment aortic valve with dedicated single use tools

### b (bovine)

Edwards Lifesciences Pty Ltd

EL062	EDWARDS INTUITY Elite Aortic

Valve System

### Livanova Australia Pty Limited

Rapid Deployment Aortic Valve System	19mm - 27mm	$9,450.00

SA170	Perceval S Sutureless Aortic Heart

Valve

Sutureless Aortic Pericardial Heart Valve	S (19-21mm), M (21-23mm), L(23-25mm),

XL (25-27mm)

$9,450.00

Billing Code   Product Name	Description	Size

    - - Mechanical Valve

Benefit

Benefit

Condition

Livanova Australia Pty Limited

SA128	CarboSeal Ascending Aortic

Prosthesis, sterile, CarboSeal Ascending Aortic Prosthesis with Handle Model AP21, Model AP23, Model AP25, Model AP27, Model AP29, Model AP31, Model AP33, Carboseal Valsalva

### Medtronic Australasia Pty Ltd

Mechanical Conduit	AP 21-33mm, CP 21 - 33mm	$6,950.00

MC979	Open Pivot Aortic Valved Graft (Model 502AG)

Pyrolythic Carbon, Double Velour Polyester, Titanium

21- 33mm	$6,950.00

### b

St Jude Medical Australia Pty Ltd

SJ036	St Jude Medical Coated Aortic Valved Graft

Coated Aortic Valved Graft	21mm - 33mm	$6,950.00

SJ104	SJM Masters Series Aortic Valved Prosthesis - VAVGJ

St Jude Medical Mechanical Heart Valve sewn into the base of a woven polyester fibre graft which has been impregnated with bovine- derived gelatin

Annulus Diameter 19-29mm	$6,950.00

# - Tissue Valve, stented anatomical

### p

Medtronic Australasia Pty Ltd

MC012	Medtronic Hancock Valved Conduit

Model 100/150

Porcine bioprosthesis, dacron	12, 14, 16, 18, 20, 22, 25, 30mm.	$6,800.00

Billing Code   Product Name	Description	Size

    - - Ring or Band, Standard

Benefit

Benefit

Condition

Edwards Lifesciences Pty Ltd

EL028	Baxter Sterile Grafts, Implants &

Prostheses, Non-Animal Origin Annuloplasty: Ring-Mitral Ring with Holder; Mitral Cosgrove-Edwards Annuloplasty System Model 4600; Classic Annuloplasty Ring-Tricuspid

### Livanova Australia Pty Limited

Carpentier-Edwards Classic Annuloplasty Ring. Composition: Titanium Alloy; Silicone Rubber; Polyester Fabric Carpentier-Edwards Physio Annuloplasty Ring. Composition: Elgiloy Bands; Polyester Film Strips; Silicone Rubber; Polyester Cloth, Cosgrove-Edwards Annuloplasty Band. Composition: Silicone Rubber; Polyester Cloth. Carpentier-Edwards Tricuspid Ring. Composition: Titanium Alloy; Silicone Rubber; Polyester Fabric

24mm-40mm	$2,200.00

SA127	AnnuloFlo Annuloplasty System	Annuloflex Ring or AnnuloFlo Ring	26-36mm	$2,200.00

### Medtronic Australasia Pty Ltd

MC005	Medtronic Duran Annuloplasty Ring; Duran Ancore Ring 620R; Duran Ancore Chordal Model 620RG

Annuloplasty Devices - Models 610R & 620R Silicone / Barium Sulphate, Dacron.

Model 610R 25-35mm & Model 620R 23- 35mm

$2,200.00

MI181	SIMULUS Flexible Annuloplasty

Ring

MI182	SIMULUS Flexible Annuloplasty

Band

Flexible mitral/tricuspid annuloplasty ring	Ring size (mm): 23, 25, 27, 29, 31, 33, 35, 37,

39

Flexible mitral/tricuspid annuloplasty band	Band size (mm): 23, 25, 27, 29, 31, 33, 35,

37, 39

$2,200.00

$2,200.00

MI192	Duran Ancore Band 620B	Silicone / Barium Sulphate, Dacron	23-35mm	$2,200.00

### St Jude Medical Australia Pty Ltd

SJ035	SJM Tailor Annuloplasty Ring	Fully Flexible	25mm - 35mm	$2,200.00

# - Ring or Band, Modified

### Edwards Lifesciences Pty Ltd

EL049	McCarthy-Edwards IMR Etlogix

Annuloplasty Ring (Model: 4100)

Rigid mitral annuloplasty ring with an assymetric design

24mm, 26mm, 28mm, 30mm, 32mm, 34mm, 36mm

$2,400.00

EL050	Edwards MC3 Tricuspid Ring

Annuloplalsty System (Model: 4900)

3D rigid annuloplasty ring with a tricuspid specific design

26mm, 28mm, 30mm, 32mm, 34mm, 36mm	$2,400.00

Billing Code   Product Name	Description	Size

Benefit

Benefit

Condition

EL057	Geoform	Geoform annuloplasty ring Model 4200 with Holder

26, 28, 30 and 32mm	$2,400.00

EL059	Carpentier-Edwards PHYSIO ll

Mitral Annuloplasty Ring

EL061	Carpentier-Edwards Physio Tricuspid Annuloplasty Ring

### Livanova Australia Pty Limited

PHYSIO II is a semi rigid mitral annuloplasty ring, with an improved saddle shape and global disease based design

The Carpentier-Edwards Physio Tricuspid annuloplasty ring, model 6200 is intended for use in patients with tricuspid valvular insufficiency. Designed with selective flexibility and 3D waveform shape.

24, 26, 28, 30, 32, 34, 36, 38, 40mm	$2,400.00

24,  26, 28, 30, 32, 34, 36mm	$2,400.00

SA150	Memo 3D Mitral Semirigid Annuloplasty Ring

### Medtronic Australasia Pty Ltd

Memo 3D Semirigid Mitral Annuloplasty Ring with 3D flexibility and coated with Carbofilm with or without Rechord system

24mm, 26mm, 28mm, 30mm, 32mm, 34mm, 36mm, 38mm

$2,400.00

MC745	CG Future Composite Ring	Semi-rigid mitral annuloplasty ring, with

anterior flexibility

MC844	Profile 3D Annuloplasty Ring	3D, rigid annuloplasty ring with physiologic

mitral valve shape

24, 26, 28, 30, 32, 34, 36 & 38mm	$2,400.00

Diameter (mm) 24 - 40mm	$2,400.00

MI121	Contour 3D Tricuspid Annuloplasty

Ring

Annuloplasty Ring: Titanium core encapsulated with silicone, covered with polyester fabric

26, 28, 30 32, 34, 36mm	$2,400.00

MI183	SIMULUS Semi-Rigid Annuloplasty Ring

MI184	SIMULUS Semi-Rigid Annuloplasty Band

Semi-rigid mitral annuloplasty ring	Ring size (mm): 24, 26, 28, 30, 32, 34, 36, 38,

40

Semi-rigid mitral annuloplasty band	Band size (mm): 24, 26, 28, 30, 32, 34, 36,

38, 40

$2,400.00

$2,400.00

MI191	Colvin - Galloway Future Band

Model 638B

Semi-rigid metal alloy core, silicone coating, polyester knit fabric

26-38mm	$2,400.00

### St Jude Medical Australia Pty Ltd

SJ087	St Jude Medical Rigid Saddle Ring	Rigid Annuloplasty Ring	24 - 34mm	$2,400.00

# - Tissue

## - < 25cm²

### Baxter Healthcare Pty Ltd

BX292	Supple Peri-Guard (4 x 4cm)	Model No PC0404SN - 4 x 4cm Bovine

pericardium patch

4 x 4cm	$350.00

Billing Code   Product Name	Description	Size

      - - 25-75cm²

Benefit

Benefit

Condition

Baxter Healthcare Pty Ltd

BX293	Supple Peri-Guard (6 x 8cm)	Model No PC0608SN -6 x 8cm Bovine

pericardium patch

6 x 8cm	$550.00

## - >75cm²

### Baxter Healthcare Pty Ltd

BX294	Supple Peri-Guard (10 x 16cm)	Model No PC1016SN - 10 x 16 Bovine

pericardium patch

BX295	Supple Peri-Guard (8 x 14cm)	Nodel No PC0814SN - 8 x 14 Bovine

pericardium patch

10 x 16cm	$760.00

8 x 14cm	$760.00

### Edwards Lifesciences Pty Ltd

EL033	Baxter Augmentation / Substitution

Material, Human or Animal Origin, Sterile Pericardial Patch.

# - Synthetic

## - Cardiovascular < 75cm²

### W L Gore & Associates

Edwards Pericardial Patch. Bovine Pericardium.	10cm x 16cm	$760.00

| GT271 | Cardiovascular Patch | ePTFE | 0.5mm Thickness 0.8 - 3 x 6-8cm | $240.00 |
| --- | --- | --- | --- | --- |
| GT275 | Cardiovascular Patch | ePTFE | 0.4-0.6mm Thickness, 2-3cm x 7-15cm | $240.00 |

## - Cardiovascular ≥ 75cm²

### W L Gore & Associates

| GT120 | Gore-Tex Cardiovascular Patch | ePTFE | 0.6mm Thickness 5 x 15cm | $521.00 |
| --- | --- | --- | --- | --- |
| GT121 | Gore-Tex Cardiovascular Patch | ePTFE | 0.6mm Thickness 10 x 15cm | $521.00 |

    - - Biologically Engineered

      - - < 75cm²

Livanova Australia Pty Limited

SA163	CorMatrix ECM for Pericardial

Closure

CorMatrix Extracellular Matrix indicated for Pericardial Closure

7cm x 10cm	$1,050.00

| Billing Code | Product Name | Description | Size | Benefit | Benefit | Condition |
| --- | --- | --- | --- | --- | --- | --- |
| SA164 | CorMatrix ECM for Cardiac Tissue Repair | CorMatrix Extracellular Matrix indicated for Cardiac Tissue Repair | 7cm x 10cm | $1,050.00 |  |  |
| SA165 | CorMatrix ECM for Cardiac Tissue Repair | CorMatrix Extracellular Matrix indicated for Cardiac Tissue Repair | 4cm x 7cm | $1,050.00 |  |  |

## - ≥ 75cm²

### Livanova Australia Pty Limited

SA162	CorMatrix ECM for Pericardial

Closure

CorMatrix Extracellular Matrix indicated for Pericardial Closure

7cm x 15cm	$1,540.00

# - Non-cardiovascular < 100cm²

### W L Gore & Associates

GT122	Preclude Pericardial Membrane	ePTFE	0.1mm Thickness 6 x 12cm	$360.00

# - Non-cardiovascular ≥100cm² and <200cm²

### W L Gore & Associates

GT274	Preclude Percardial Membrane	ePTFE	0.1mm Thickness, 12-16cm	$643.00

# - Non-cardiovascular ≥200cm²

### W L Gore & Associates

GT125	Preclude Pericardial Membrane	ePTFE	0.1mm Thickness 15 x 20cm	$1,455.00

# 09.08.02 - Surgical closure devices (atrial appendage)

### Maquet Australia Pty Ltd

MQ001	TigerPaw System II	A compliant, implantable occlusion fastener to be placed on the Ostium of the Left Atrial Appendage (LAA).

35mm, 45mm	$1,024.00

Billing Code   Product Name	Description	Size

    - - Modified Tube (end modified eg valsalva)

Benefit

Benefit

Condition

Terumo Australia

TU036	Gelweave Valsalva Graft	Woven vascular prosthesis, polyester, gelatin

sealed

# - Tube with one side branch

Diameter 24 - 34 mm, Overall length 18.4 - 19.6cm

$3,320.00

### Terumo Australia

TU038	Gelweave Graft	Straight Thoracic Graft, with antiflo side branch, Polyester, woven, gelatin sealed

# - Tube with multiple side branches (more than 1)

### Terumo Australia

TU037	Gelweave Plexus Graft	Multi Branched, for Aortic Arch reconstruction,

Polyester, Woven, gelatin sealed

# - Hybrid stent graft (unbranched)

20 -34 mm x 20-40 cm	$1,715.00

20 - 34 mm x 40 cm	$2,150.00

### Reid Healthcare

RH011	E-vita open plus stentgraft system

(with or without collar)

Hybrid device consisting of a conventional vascular graft incorporated with and endovascular stent graft that allows treatment of the ascending aorta, the arch and the  descending aorta, in one procedure.

Overall length: 100-160mm. Vascular graft length 50-70mm; Stent graft length 80- 240mm; Stent graft diameter 20-40mm; Collar width 2-40mm.

$20,000.00

# 09.10.01 - Skeletal fixation, sternum

### Advanced Biomedical Pty Ltd

AB074	FLEXIGRIP (Various Sizes)	Nitinol Sternal Closure Clips - various sizes	20mm - 40mm	$140.00

Billing Code   Product Name	Description	Size

Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

Benefit

Benefit

Condition

SY688	Sternal ZipFix System	Sternal Closure Tie with Needle	One Size	$140.00

# - Ventricular Assist System

### HeartWare Pty Ltd

CQ001	HeartWare Ventricular Assist System	Implant and patient sets include: 1. The HVAD

pump, the HVAD strain relief, the HVAD sewing ring, and the HVAD driveline Cap; 2. The HVAD pump surgical tools; 3. the HVAD pump outflow graft; 4. the HVAD driveline extension cable; 5. The HVAD controller kits (2); 6. The DC adapter, the battery charger and the batteries (4); and 7. Shower bag, patient pack, shoulder pack and waist pack.

### St Jude Medical Australia Pty Ltd

n/a	$100,000.00

| SJ383 | HeartMate II Left Ventricular Assist System - Implant Kit - Unsealed Grafts | Implant Kit with Unsealed Grafts | One size only | $100,000.00 |
| --- | --- | --- | --- | --- |
| SJ386 | HeartMate II Left Ventricular Assist System - Implant Kit - Sealed Grafts | Implant Kit with Sealed Grafts | One size only | $100,000.00 |

# - External Components

## 09.11.02.01 - System Controller

### No Suffix

St Jude Medical Australia Pty Ltd

SJ384	HeartMate II Left Ventricular Assist

System - System Controller

## - Battery Set

### No Suffix

System controller	One size only	$4,500.00

### St Jude Medical Australia Pty Ltd

SJ385	HeartMate II Left Ventricular Assist System - Battery Set

Rechargeable HeartMate II-specific batteries	One size only, set of 4	$2,500.00

Billing Code   Product Name	Description	Size

      - - Battery Clip Set

St Jude Medical Australia Pty Ltd

Benefit

Benefit

Condition

SJ375	HeartMate II Left Ventricular Assist

System - Battery Clip Set

Battery clip set	one size only	$1,600.00

# - Patient Mobility Accessories

## - Stabilisation Belt

### No suffix

St Jude Medical Australia Pty Ltd

SJ381	HeartMate II Left Ventricular Assist

System - Stabilization Belt

## - Modular Belt

### No Suufix

Fabric belt for Stabilizing percutaneous lead	Small / medium; set of 2

large; set of 2

$100.00

### St Jude Medical Australia Pty Ltd

SJ382	HeartMate II Left Ventricular Assist System - Modular Belt

## - Shower Bag

### No Suffix

Modular belt to hold System Controller and Batteries

Small / Medium Large

$345.00

### St Jude Medical Australia Pty Ltd

SJ380	HeartMate II Left Ventricular Assist System - Shower Bag

# - Pectus Bar

## No subgroup

Shower Bag	One size only; set of 2	$450.00

### Reid Healthcare

RH016	Park Modified Pectus Bar	Park Modified Pectus bar available in titanium

alloy and stainless steel

### Zimmer Biomet Pty Ltd

6" - 152mm, 7" - 178mm, 8" - 203mm, 9" -

228mm, 10" - 254mm, 11" - 279mm, 12" -

305mm, 13" - 330mm, 14" - 356mm, 15" =

381mm, 16" - 406mm, 17" - 432mm

$1,256.00

BI472	Pectus Bar	Pectus Bar, Stainless Steel	80-432mm	$1,256.00

Billing Code   Product Name	Description	Size

    - - Stabilisers

No subgroup

Benefit

Benefit

Condition

Reid Healthcare

RH017	Park Pectus Hinge Plate Stabiliser	Stabilisation of Pectus Bar - optional use in

asymmetric or adult pectus excavatum to prevent bar displacement stripping of intercostal muscles

65mm	$505.00

RH018	Park Bridge Stabiliser	Stablisation of Pectus Bar - optional use for

multiple bar placement

3 sizes: 6 hole - 60mm, 8 hole 80mm, 10 hole - 100mm

$505.00

RH019	Park Claw Fixator, Clip and Nut

Stabiliser

### Zimmer Biomet Pty Ltd

Stabilisation of Pectus Bar	Park Claw Fixator - Small (20mm x 12mm), Medium (23mm x 15mm), Large (25mm x 18mm), Extra Large (30mm x 18mm). Fixator Clip - 15mm.

Nut - 7mm.

$505.00

BI483	Pectus Bar	Stabilizer, Triangular or Elongated, Stainless Steel

# 09.13.01 - Chordal Replacement Devices, fixed and adjustable

## No subgroup

### No Suffix

Reid Healthcare

One size only	$505.00

RH024	Chord-X	ePTFE chordal repair	Five (5) loop lengths -(0mm/adjustable, 12mm, 16mm, 20mm and 24mm),

Two (2) sutures (2-0 ePTFE or 3-0 ePTFE),

Two (2) needle shapes (1/2 circle and 3/8 circle),

Two (2) needle lengths (18mm and 22mm).

$270.00

Billing Code   Product Name	Description	Size

    - - Bare Metal Stents

      - - Balloon Expandable

Benefit

Benefit

Condition

Abbott Australasia Pty Ltd

AY022	Cobalt Chromium Balloon

Expandable Peripheral Stent

Cobalt Chromium	Diameter 4-10mm, Length 12-58mm	$1,800.00

AY024	Omnilink Stainless Steel Balloon

Deployable Peripheral Stent

B Braun Australia Pty Ltd

Stainless Steel Balloon Expandable Peripheral Stent on 018/035 system

018 & 035 system: 5-10mm diameter by 12,

16, 18, 28, 38, 58mm length

$1,800.00

BB244	Coroflex Blue	Cobalt Chromium Alloy L605	2-4mm diameter, 8-25mm length	$1,800.00

### Bard Australia Pty Ltd

BA218	Lifestent Valeo	Stainless Steel Balloon Expandable Peripheral Stent

6-10mm diameter 17-56mm length	$1,800.00

### Biotronik Australia Pty Ltd

BT094	Dynamic	PTA Balloon Expandable Stent	Diameters: 5-10mm, Lengths: 15, 25, 38, 56mm

$1,800.00

### Boston Scientific Australia Pty Ltd

BS059	Express Vascular LD Stent; Express Vascular SD Stent

Stainless Steel, Balloon Expanding Stent	Stent Diameters up to 10mm and lengths up to

60mm

$1,800.00

### Johnson & Johnson Medical Pty Ltd

JJ305	Palmaz Genesis Peripheral Stent on Opta Pro (Medium)

JJ306	Palmaz Genesis Peripheral Stent on

Opta Pro (Large)

JJ567	PALMAZ® BLUE™ .018 Peripheral Stent System

Stainless steel balloon expandable stent mounted on an Opta Pro Balloon

Stainless steel balloon expandable stent mounted on an Opta Pro Balloon.

L605 Cobalt Chromium Alloy Balloon Expandable Stent

Diameter 4-8mm, length 12-39mm	$1,800.00

Diameter 4-12mm, length 11-79mm	$1,800.00 12, 15, 18, 24mm length 4, 5, 6, 7mm diameter	$1,800.00

JJ688	Palmaz Blue .014 Renal Stent System (on Aviator Plus)

### Medtronic Australasia Pty Ltd

CoCr balloon expandable stent	12, 15, 18, 24mm

Lengths	40, 50, 60,

70mm diameters	80,

142cm shaft lengths

$1,800.00

MC328	Racer Renal Stent System	Cobalt Alloy	Diameter: 4-7mm; Lengths: 12 &18mm	$1,800.00 MC773	Assurant Cobalt Stent	Iliac balloon expandable stent system	Diameter: 6 - 10mm , Length: 20 - 80mm	$1,800.00

| Billing Code | Product Name | Description | Size | Benefit | Benefit | Condition |
| --- | --- | --- | --- | --- | --- | --- |
| MC959 | Hippocampus Renal Stent System | Hippocampus Renal Rapid Exchange Stainless Steel Stent system, 5F sheath, 0.014" guide wire compatible | Diameter 4.0mm - 7.00mm Length: 10mm - 24mm | $1,800.00 |  |  |
| MC977 | Chromis deep cobalt Chromium, infrapopliteal OTW stent | Chromis deep - Cobalt Chromium, pre- mounted balloon expandable, 0.014" | Diameter: 2.0 mm 4.0mm Length: 10mm - 76mm | $1,800.00 |  |  |

### WILLIAM A COOK AUSTRALIA PTY LTD

WC234	Formula 414 Rx Renal Stent System	Balloon Expandable Vasc/Biliary Stent	Rapid exchange 014/018, 80-135cm delivery

system. Diameters 4-10mm, lengths 0.8 - 4cm

$1,800.00

      - - Self Expandable, <150mm

### Abbott Australasia Pty Ltd

AY015	Xact/ Xact Flex Carotid Stent	Nitinol Self-Expanding stent on rapid exchange

delivery system

Diameter 7-10mm Length 20 + 30mm Straight; Diameter 8-6, 9-7, 10-8mm Length 20 + 30mm Tapered

$1,800.00

AY031             Xpert                                                  Xpert is a laser cut nitinol self expanding stent, used to treat peripheral vessel disease, Xpert is a low profile system designed for small vessels and is 4 french.

3 - 8mm in diameter, 20 - 80mm in length	$1,800.00

AY032	ACCULINK Peripheral Stent System	Nickel-Titanium Intra-vascular stent	4-10mm diameter, 13-56mm length	$1,800.00

AY041	Absolute Self Expanding Peripheral

stent

Laser cut nitinol self expanding stent, 20mm - 120mm lengths

Size ranges from:

5.0X20MM, 80CM - 8.0x120MM, 135CM

$1,800.00

AY043	Supera Peripheral Stent System	Interwoven Self-Expanding Nitnol Stent	20mm x 4,5,6,7mm

30mm x 4,5,6,7mm 60mm x 4,5,6,7mm 80mm x 4,5,6,7mm 100mm x 4,5,6,7mm 120mm x 4,5,6,7mm 40mm, x 4, 5, 6, 7mm 40mm x 8mm diameter 60mm x 8mm diameter 80mm x 8mm diameter 100mm x 8mm diameter

$1,800.00

### Bard Australia Pty Ltd

BA178	Peripheral Vascular Bare Metal Stent	Nitonol self expanding stent	4mm - 14mm diameters,

2cm - 12cm lengths

$1,800.00

BA199	Lifestent	Laser cut nitinol self expanding stent, used to treat peripheral disease

Diameter: 6-8mm, Length: 120mm	$1,800.00

BA216	Lifestent	Lifestent cut nitinol self expanding stent	6-10mm diameter 20mm-120mm length	$1,800.00

Billing Code   Product Name	Description	Size

Biotronik Australia Pty Ltd

Benefit

Benefit

Condition

BT072	Astron	Peripheral self expanding nitinol, coated stent	Diameters: 6 - 12mm, Lengths: 30 - 100mm	$1,800.00

BT103	Astron Pulsar	Astron Pulsar is a 4F compatible, Nitinol self expanding stent (OTW design) used to treat peripheral vessel disease.

4-7mm by 20-80mm	$1,800.00

BT126	Pulsar 18 Peripheral self expanding Nitinol stent system

Pulsar 18 self expanding Nitinol stent system	Stent: Ø 4- 7mm length: 20-120mm Catheter

length: 90-135mm

$1,800.00

BT133	Pulsar 35 Peripheral self-expanding Nitinol stent system

Pulsar 35 Peripheral self-expanding Nitinol stent system

Diameter: 5-7mm; Length: 30-120mm; Catheter length: 90cm

$1,800.00

### Boston Scientific Australia Pty Ltd

BS035	Expandable Endoprosthesis	Biomedical superalloy, self expanding stent	Stent Diameters up to 30mm and lengths up to

100mm

BS056	Carotid Wall Stent	Elgiloy self expanding stent	Stent diameters up to 10mm and lengths up to

40mm

BS137	EPIC Nitinol Stent	Nitinol self expanding stent	Stent diameters up to 14mm and lengths up to

120mm

$1,800.00

$1,800.00

$1,800.00

BS167	Placehit Wallstent	Biomedical cobalt-based alloy, self expanding stent

Stent diameters up to 19mm and lengths up to 100mm

$1,800.00

BS168             Wallstent RP                                     Tracheobronchial, Iliac, Biomedical Superalloy Wire, Braided Mesh, Stainless Steel Stent with Unistep Delivery System

Diameter up to 10mm; lengths up to 100mm	$1,800.00

BS189	Adapt Monorail Carotid Stent System	Nitinol self expanding stent	21-40mm length, 4-9mm diameter	$1,800.00 BS196	Innova Self-Expanding Stent	Nitinol, self expanding stent	Diameters up to 8mm, lengths less than	$1,800.00

### Covidien Pty Ltd

AS189	Protégé GPS Peripheral Stent	Protégé RX Peripheral Stent	Diameter 6-10mm Length 20-60mm	$1,800.00

AS194	EverFlex Peripheral Stent	EverFlex is a self expanding Nitinol stent

premounted on an OTW delivery system.

Diameter 5-8, Length 20-120mm	$1,800.00

### Emergo Asia Pacific Pty Ltd

ER266	Veniti VICI Venous Stent System	VICI Venous Stent System	dia (12-16 mm) x length (60-120 mm)	$1,800.00

### Endotherapeutics Pty Ltd

ET037	SX-Ella Endovascular Stent	Uncovered, self-expanding nitinol stent	Dia 6-16mm, length 22-77mm	$1,800.00

### Johnson & Johnson Medical Pty Ltd

JJ419	SMART Control Peripheral Stent System

SMART Control is a laser cut nitinol self expanding stent, used to treat peripheral vessel disease.

Dia 6 – 14mm; Length 20 – 100mm	$1,800.00

Billing Code   Product Name	Description	Size

JJ592	SMART Nitinol Stent System	Long 120mm Stent, 6F compatible	6-8mm diameter, 120mm stent length, 120cm

delivery system

JJ646	Precise Pro Rx Nitinol Stent System	Nitinol self expanding stent	Diameter: 5, 6, 7, 8, 9, 10mm; Length: 20,

30, 40mm

Benefit

$1,800.00

$1,800.00

Benefit

Condition

MN173	S.M.A.R.T. Flex Vascular Stent

System

### Medtronic Australasia Pty Ltd

A fully connected, laser cut nitinol stent	5-8mm diameter, 30-120mm length	$1,800.00

MC743	Complete SE Stent	Nitinol	20mm - 80mm	$1,800.00

MC744	Complete SE Stent	Nitinol	100mm - 120mm	$1,800.00

MC978	Cristallo Ideale Carotid Self

Expanding Stent System

Cristallo Ideale Nitinol, Carotid Self Expanding Hybrid Stent system, 5F introducer sheath compatible, Rapid Exchange design,

.014" guide wire compatible.

Cylinder Diameter: 7.0mm - 11.0 mm. Taper Diameter 6.0/9.0 - 7.0/10.0. Length 20mm - 40 mm.

$1,800.00

MI010	Maris Plus Peripheral Self-Expanding Stent System

### Pyramed Pty Limited

Nitinol, self expanding, peripheral stent system	Diameter: 6.0-12.0mm; Length: 30-120mm	$1,800.00

PY028	Sinus-XL Stent	Self-expanding Nitinol stent	Diameter 14mm - 24mm, Length 30-100mm

nominal; 32-100mm expanded.

$1,800.00

PY031	Optimed Sinus Stents	Sinus-wave nitinol stent	3-14mm Diameter x 20-130mm Length	$1,800.00

PY036	Sinus-Venous Stents	Sinus-Venous Stent used for treating venous insufficiency, occlusion and stenosis

Diameter: 10, 12, 14, 16, 18mm

Length: 60, 80, 100, 120mm

$1,800.00

### Reid Healthcare

RH022	E-xl Aortic Stent	The E-xl Aortic Stent is a self-expandable, nickeltitanium-alloy stent especially designed for the endoluminal treatment of lesions in the descending aorta, particularly aortic coarctation and dissections, and for the treatment of vena cava syndrome.

Total Length: 70, 100mm Flare Length: 20, 30mm Diameter: 14, 16, 18, 20, 24 Flare

Diameter: 18, 20, 22, 24, 28 Design: single- or double-flared

$1,800.00

### Terumo Australia

TU056	MISAGO Rapid Exchange, Self-

Expanding Peripheral Stent

Bare Metal, Rapid Exchange, Self-Expanding Peripheral Stent

6mm - 12mm Diameter; length 20mm - 140mm   $1,800.00

### WILLIAM A COOK AUSTRALIA PTY LTD

WC168	Cook Vascular/Biliary Stent	Vascular/Biliary stent	5/6 Fr delivery system, 4 - 14mm diameter, 2 -

8cm length

$1,800.00

Billing Code   Product Name	Description	Size

Benefit

Benefit

Condition

WC287	Zilver® Flex 35™ Vascular Stent	The Zilver® Flew 35™ Stent (ZFV) is a self-

expandable stent made of nitinol. The special laser-cut pattern of the nitinol tube provides a construction with a strong radial force and high flexibility. The stent has radiopaque markers at both ends. The stent is supplied preloaded in a

6.0 French inducer catheter. A radiopaque marker on the distal tip of the sheath is used to visualize deployment of the stent. Stent deployment is controlled by means of a hand held device.

WC290	Zilver® Vena ™ Venous Stent	The Zilver® Vena™ Venous Stent is a self-

expanding, flexible, slotted-tube nitinol stent. Post-deployment, the stent is designed to impart an outward radial force upon the inner lumen of the vessel, establishing patency in the stented region.

The Zilver® Flex 35™ Stent is available in the following sizes: stent outer diameters of 5 - 10mm and stent lengths of 20 -140mm.

14mm and 16mm diameters, and 60mm/100mm/140mm lengths.

$1,800.00

$1,800.00

### LD (large diameter, >25mm) Pyramed Pty Limited

PY029	Sinus-XL Stent ≥25mm Ø	Self-expanding Nitinol stent	Diameter: 25mm - 36mm. Length: 30-100mm

nominal; 32-100mm expanded.

$2,970.00

### Reid Healthcare

RH023	E-xl Aortic Stent	The E-xl Aortic Stent is a self-expandable, nickeltitanium-alloy stent especially designed for the endoluminal treatment of lesions in the descending aorta, particularly aortic coarctation and dissections, and for the treatment of vena cava syndrome.

## - Self Expandable, ≥150mm

### Abbott Australasia Pty Ltd

Total Length: 70, 130mm Flare Length: 20, 30, 35mm Diameter: 28, 32 Flare Diameter:

32, 36 Design: single- or double-flared

$2,970.00

| AY036 | Absolute Pro (Long Length) | Laser cut nitinol self expanding stent ≥150 | Diameter 5mm to 10mm; length 150mm, 170mm, 200mm | $2,970.00 |
| --- | --- | --- | --- | --- |
| AY042 | Supera Peripheral Stent System | Interwooven Self-Expanding Nitinol Stent | 150mm x 4, 5, 6mm 180mm x 4, 5, 6mm 200 x 4, 5, 6mm | $2,970.00 |

### Bard Australia Pty Ltd

BA217	Lifestent	Laser cut nitinol self expanding stent	Diameter 5mm to 10mm; length 150mm - 200mm

$2,970.00

| Billing Code | Product Name | Description | Size | Benefit | Benefit | Condition |
| --- | --- | --- | --- | --- | --- | --- |
|  | Biotronik Australia Pty Ltd |  |  |  |  |  |
| BT127 | Pulsar 18 Peripheral self expanding Nitinol stent system | Pulsar 18 self expanding Nitinol stent system | Stent: 4-7mm Stent length: 150-200mm Catheter length: 90-135mm | $2,970.00 |  |  |
| BT132 | Pulsar 35 Peripheral self-expanding Nitinol stent system | Pulsar 35 Peripheral self-expanding Nitinol stent system | Diameter: 5-7mm; Length: 150-200mm; Catheter length: 90cm, 135cm | $2,970.00 |  |  |

### Boston Scientific Australia Pty Ltd

BS197	Innova Self-Expanding Stent	Nitinol, self expanding stent	Diameters up to 8mm, Lengths greater than

150mm

$2,970.00

### Covidien Pty Ltd

AS195	EverFlex Peripheral Stent	EverFlex is a self expanding Nitinol stent

premounted on an OTW delivery system.

### Johnson & Johnson Medical Pty Ltd

Diameter 5-8mm, Length 150-200mm	$2,970.00

JJ617	SMART Nitinol Stent System	Long 150mm stent, 6F compatible	6-8mm diameter, 150mm length, 120cm

delivery system

$2,970.00

MN174	S.M.A.R.T. Flex Vascular Stent

System

### Medtronic Australasia Pty Ltd

A fully connected, laser cut nitinol stent	5-8mm diameter, 150-200mm length	$2,970.00

MC760	Complete SE Stent	Nitinol	150mm	$2,970.00

MI011	Maris Plus Peripheral Self-Expanding Stent System

### Pyramed Pty Limited

Nitinol, self expanding, peripheral stent system	Diameter: 6.0-12.0mm; Length: 150mm	$2,970.00

PY016	Optimed Iliac Sinus Stent - extra long	Sinus-wave nitinol stent - extra long	6-8 mm x 150-200mm	$2,970.00

PY037	Sinus-Venous Stent	Sinus-Venous stent used for treating venous insufficiency, occlusion and stenosis

Diameter: 10, 12, 14, 16, 18mm Length: 150mm

$2,970.00

### Terumo Australia

TU055	MISAGO Self-expanding, Rapid

Exchange Peripheral Stent

Bare metal, Self Expanding, Rapid Exchange Peripheral Stent

6mm - 12mm Diameter; length 150mm - 200mm

$2,970.00

### WILLIAM A COOK AUSTRALIA PTY LTD

WC285	Zilver® Flex35™ Vascular Stent	The Zilver® Flex35™ Stent (ZFV) is a self-

expandable stent made of nitinol. The special laser-cut pattern of the nitinol tube provides a construction with a strong radial force and high flexibility. The stent has radiopaque markers at both ends.

Diameter: 5-8mm; Length:170mm and 200mm	$2,970.00

Billing Code   Product Name	Description	Size

      - - Self-Expanding, large diameter for treatment of aortic dissection disease

Benefit

Benefit

Condition

Reid Healthcare

RH020	E-xl Aortic Stent	The E-xl Aortic Stent is a self-expandable, nickeltitanium-alloy stent especially designed for the

endoluminal treatment of lesions in the descending aorta, particularly aortic coarctation and

dissections, and for the treatment of vena cava syndrome.

### WILLIAM A COOK AUSTRALIA PTY LTD

WC288	Zenith Dissection Endovascular Stent	The Zenith Dissection Endovascular Stent with

the H&L-B One-Shot Introduction System is indicated for the endovascular treatment of patients with aortic dissection distal to the left subclavian artery.

Total Length: 70, 130mm Flare Length: 20, 35mm Diameter: 36 Flare Diameter: 40 Design: single- or double-flared

Diameter: 46mm (designed for vessel diameters 24-38mm). Length: 82, 123, 164mm

$4,650.00

$4,650.00

WC316	Zenith Dissection Endovascular Stent with the Z-Trak Plus Introduction System

# 10.01.02 - Drug Eluting Stents

Dissection Endovascular Stent	Diameter: 36mm and 46mm

Lengths: 80mm, 120mm, 180mm, 185mm

$4,650.00

### WILLIAM A COOK AUSTRALIA PTY LTD

WC289	Zilver PTX	The Zilver PTX Drug Eluting Peripheral Stent is a self-expanding stent made of nitinol and coated with the drug Paclitaxel. The stent is preloaded in a 6.0 French delivery catheter.

6French: 5, 6, 7, 8, 9, 10mm diameters in 20,

30, 40, 60, 80, 100, 120mm lengths

$2,400.00

# - Tube (Thoracic Aorta)

## - <180mm length

### Medical Specialties Australia Pty Ltd

MS052	Relay Thoracic Stent Graft	Duralloy Nitinol Surgical Graft Material

Braided Polyester PFTE impregnated Suture Dual Sheath Delivery System

Diameter 22 - 46mm, Length 103 - 179mm	$11,027.00

Billing Code   Product Name	Description	Size

Medtronic Australasia Pty Ltd

Benefit

Benefit

Condition

MC206	Talent Thoracic Stent Graft	Talent Endoluminal Stent Graft - Thoracic

Stent Graft System

22 - 46mm x 130mm	$11,027.00

MC747            Valiant Endovascular Stent Graft             Nitinol and polyester system                           22-46mm diameter, 110mm length                        $11,027.00 MC748            Valiant Endovasculat Stent Graft             Nitinol and polyester system                           22-46mm diameter, 150mm length                        $11,027.00 MC809            Valiant Endovascular Stent Graft             Nitinol and polyester system                                     24 - 46 diameter, up to 179mm                              $11,027.00

MC952	Valiant Captivia	Valient Stent Graft with Captivia Delivery System

22-46mm diameter, 150mm length	$11,027.00

MC960	Valiant Captivia	Valiant Stent Graft with captivia delivery system	22 - 46 mm diameter: 100mm length	$11,027.00

MI149	Valiant Thoracic FreeFlo Tapered

stent graft

### W L Gore & Associates

Valiant Thoracic FreeFlo Tapered Stent Graft with Captivia Delivery System

Proximal diameter: 26 to 46 mm; distal diameter: 22 to 42 mm; stent graft covered length: 152 to 162 mm. Catheter outer diameter: 22 to 25F

$11,027.00

GT191	Excluder Endovascular Prostheses	Thoracic Stent Graft Nitinol & ePTFE	Diameter 26-40mm x 10cm Length	$11,027.00

GT259	Conformable GORE TAG Thoracic

Endoprosthesis

GT260	Conformable GORE TAG Thoracic

Endoprosthesis

Conformable GORE TAG	Straight Stent Grafts:

Diameters (mm): 21, 26, 28, 31, 34, 37, 40, 45

Length (cm): 10 Tapered Stent Grafts:

Diameters (mm): 26x21; 31x26

Lengths (cm): 10

Conformable GORE TAG	Diameters (mm): 28, 31, 34, 37, 40, 45

Length (cm) 15

$11,027.00

$11,027.00

### WILLIAM A COOK AUSTRALIA PTY LTD

WC240	Zenith Thoracic Endovascular Graft	Thoracic Distal Graft	26mm to 42mm diameter, 127mm to 179mm Length

$11,027.00

WC275	Zenith TX2 TAA Endovascular Graft with Pro_Form and the Z-Trak Plus Introduction System Short Proximal Component

WC307	Zenith TX2 Dissection Endovascular Graft with Pro-Form and the Z-Trak Plus Introduction System (Short proximal component)

Short Thoracic Proximal Graft	Diameter 22mm - 42mm Length 115mm - 167mm

Short Thoracic Proximal Graft	Diameter 22mm - 42mm Length 117mm - 165

$11,027.00

$11,027.00

WC322	Zenith Alpha Thoracic Endovascular Graft Distal Component

Thoracic Distal Graft (short)	Diameter: 28-46mm. Length: 142-160mm.	$11,027.00

| Billing Code | Product Name | Description | Size | Benefit | Benefit | Condition |
| --- | --- | --- | --- | --- | --- | --- |
| WC324 | Zenith Alpha Thoracic Endovascular Graft Proximal Component | Straight Thoracic Proximal Graft (short) | Diameter: 18-46mm. Length: 105-179mm. | $11,027.00 |  |  |
| WC326 | Zenith Alpha Thoracic Endovascular Graft Proximal Tapered Component | Tapered Thoracic Proximal Graft (short) | Proximal diameter: 32-46mm. Length: 161- 179mm. | $11,027.00 |  |  |

## - ≥180mm length

### Medical Specialties Australia Pty Ltd

MS053	Relay Thoracic Stent Graft	Duralloy Nitinol Surgical Graft Material

Braided Polyester PFTE impregnated Suture Dual Sheath Delivery System

Diamter 22 - 46mm, Length 180 - 271mm	$14,500.00

### Medtronic Australasia Pty Ltd

MC810	Valliant Endovascular Stent Graft	Nitinol and polyester system	24 - 46 diameter, 180 - 227mm length	$14,500.00

MC958	Valiant Captivia	Valiant Stent Graft with Captivia Delivery System

24-46mm diameter, 200mm length	$14,500.00

### W L Gore & Associates

GT023	Excluder Endovascular Prostheses	Thoracic Stent Graft Nitinol & ePTFE	34, 37 & 40mm Diameter x 20cm Lengths	$14,500.00

GT261	Conformable GORE TAG Thoracic

Endoprosthesis

Conformable GORE TAG	Diameters (mm): 34, 37, 40, 45

Length (cm): 20

$14,500.00

### WILLIAM A COOK AUSTRALIA PTY LTD

WC241	Zenith Thoracic Endovascular Graft	Thoracic Distal Graft	26mm to 42mm diameter, 180mm to 207mm Length

$14,500.00

WC276	Zenith TX2 TAA Endovascular Graft with Pro-Form and the Z-Trak Plus Introduction System - Long Proximal Component

Long Thoracic Proximal Endovascular Graft	Diameter: 22mm-42mm Length: 192mm-

216mm

$14,500.00

WC305	Zenith TX2 Dissection Endovascular Graft with Pro-Form and the Z-Trak Plus Introduction System (Long proximal component)

WC323	Zenith Alpha Thoracic Endovascular Graft Distal Component

WC325	Zenith Alpha Thoracic Endovascular Graft Proximal Component

Long thoracic proximal graft	Diameter 28mm-42mm; Length 194mm-218	$14,500.00

Thoracic Distal Graft (long)	Diameter: 28-46mm. Length: 190-229mm.	$14,500.00 Straight Thoracic Proximal Graft (long)	Diameter: 28-46mm. Length: 201-233mm.	$14,500.00

WC327	Zenith Alpha Thoracic Endovascular Graft Proximal Tapered Component

Tapered Thoracic Proximal Graft (long)	Proximal diameter: 32-46mm. Length: 201-

233mm.

$14,500.00

Billing Code   Product Name	Description	Size

    - - Tube (Abdominal Aorta)

Benefit

Benefit

Condition

Medtronic Australasia Pty Ltd

MC850	Endurant AAA Abdominal Tube	Endurant Endoluminal Stent Graft System -

Abdominal Tube

23 - 36mm X 85mm	$4,850.00

MI060	Endurant II AAA Abdominal Tube	Endurant II Endoluminal Stent Graft System -

Abdominal Tube

Proximal diameter: 23 to 36mm; Distal diameter: 23 to 36mm; Covered length: 70mm

$4,850.00

### Emergo Asia Pacific Pty Ltd

ER204	Endologix AFX Endovascular AAA

Stent Graft System-Aortic extensions

Endologix AFX Endovascular AAA Stent Graft System-Aortic extensions

Covered diameter (22-28 mm) x length (55- 100 mm); open length 20 mm.

$4,850.00

### WILLIAM A COOK AUSTRALIA PTY LTD

WC232	Zenith Renu AAA Ancillary Graft - Main Body Extension

# - Tube (Aorto-uni-iliac)

Stent graft indicated for the repair of in situ AAA stent grafts

Proximal diameter 22 - 36mm, Length (covered section) 43 - 100mm

$4,850.00

### Medtronic Australasia Pty Ltd

MC153	Talent AAA Aorto Uni lliac Stent

Graft

Talent Endoluminal Stent Graft System - AUI Tapered System.

22 - 36mm x 75 - 310mm	$10,200.00

MC847	Endurant Aorto-Uni-Iliac (AUI)	Endurant Endoluminal Stent Graft System - AUI	23 - 36mm X 120mm	$10,200.00

MC998	Endurant II AAA Aorto-Uni-Iliac	Endurant II Endoluminal Stent Graft System -

AUI

### WILLIAM A COOK AUSTRALIA PTY LTD

Proximal diameter: 23 to 36mm; Distal daimeter: 14mm; Covered length: 102mm

$10,200.00

WC235	Zenith Renu AAA Ancillary Graft -

Converter

Stent graft indicated for the repair of in situ AAA stent grafts

Proximal diameter 22-36mm, distal diameter 12mm, lengths 91-161mm

$10,200.00

### Maquet Australia Pty Ltd

MQ036	Nellix EndoVascular Aneurysm

Sealing System - Nellix Catheter

Nellix EndoVascular Aneurysm Sealing System - Aorto-uni-Iliac CoCr stent grafts with attached polymer endobag

8-10mm x 100-180mm	$10,200.00

Billing Code   Product Name	Description	Size

    - - Bifurcated

      - - Body and 2 limbs

Emergo Asia Pacific Pty Ltd

Benefit

Benefit

Condition

| ER191 | Ovation Prime Abdominal Stent Graft System | Bifurcated Aortic System, PTFE graft, nitinol stent and markers | 20, 23 26, 29 and 34 mm | $12,405.00 |
| --- | --- | --- | --- | --- |
| ER203 | Endologix AFX Endovascular AAA Stent Graft System-Bifurcated Stent Graft | Endologix AFX Endovascular AAA Stent Graft System-Bifurcated Stent Graft | Aortic main body diameter (22-28 mm) x length (60-120 mm); iliac limb diameter (13- 20 mm)x length (30-55 mm) | $12,405.00 |

Terumo Australia

TU002	Anaconda Endovascular Graft System	Bifurcated Aortic System, Ultra thin woven

polyester, nitinol ring stents, tantalum markers

18 - 34mm	$12,405.00

      - - Body and 1 limb

| MC845 | Medtronic Australasia Pty Ltd Endurant AAA Stent Graft Bifurcation | Endurant Endoluminal Stent Graft System - | 23 - 36mm x 13 - 20mm x 135 -185mm | $8,955.00 |
| --- | --- | --- | --- | --- |
|  |  | Bifurcated Graft |  |  |
| MC997 | Endurant II AAA Stent Graft | Endurant II Endoluminal Stent Graft System - | Proximal diameters: 23 to 36mm; Distal | $8,955.00 |
|  | Bifurcation | Bifurcated Graft | diameters: 13 to 20mm; Covered lengths: 124 |  |
|  |  |  | to 166mm |  |
| MI173 | Endurant IIs AAA Stent Graft | Endurant IIs Endoluminal Stent Graft System - | Proximal diameters: 23 to 36 mm; Distal | $8,955.00 |
|  |  | Bifurcated Graft (body + single limb | diameters: 14 mm; Covered length: 103 mm |  |
|  |  | configuration), shorter ipsilateral leg |  |  |

Billing Code   Product Name	Description	Size

Regional Health Care Group

Benefit

Benefit

Condition

RG001	Aorfix AAA Flexible Stent Graft

System with Aorflex Delivery Device HBB Main Body Stent Graft and HBL Contralateral Leg

W L Gore & Associates

The Lombard Medical bifurcated stent-graft system (Aorfix) is used to treat aortic, aorto- iliac and iliac aneurysms. The device is supplied in its delivery system.

Aorfix stent graft is a two-part modular implant comprising a bifurcated main body section and a straight contralateral limb section (the "plug- in"). The main body section bifurcates into a full-length ipsilateral iliac section and a contralateral short leg mating section (the "socket"). The plug-in is mated intraoperatively to the socket to form the complete bifurcated system.

Each of the two components is supplied pre- loaded into a delivery system comprising a catheter with built-in deployment handle. The catheter for the main body section has a hydrophilic coating on its outer surface. The self-expanding implant is fabricated from nitinol (an alloy of nickel and titanium) and a woven polyester fabric (synthetic textile). Proximal hooks, also fabricated from nitinol, are provided in the main body section to resist migration.

SG-HBB-D1-L1-L2-D2-A12-22, where: D1 (mm): 24, 25, 26,27, 28, 29, 30 31

L1 (mm): 81, 96, 111, 126

L2 (mm): 63, 80, 97

D2 (mm): 12, 14, 16, 18, 20

SG-HBL-L3-D3-A13-20, where: D3 (mm): 10, 12, 14, 16, 18, 20

L3 (mm): 56, 64, 73, 81, 90, 98,106

$8,955.00

GT024	Excluder AAA Endovascular

Prostheses

AAA Abdominal Stent Graft Nitinol & ePTFE - two piece system (1/2) Trunk - Ipsilateral Limb

23-28.5mm Diameter, 14-18cm Length	$8,955.00

GT263	GORE EXCLUDER AAA

Endoprosthesis

## - Body only

AAA Stent Graft Nitinol & ePTFE Two piece system (1/2) Trunk-ipsilateral component

Diameters: 23, 26, 28.5, 35mm

Lengths: 12, 14, 16, 18cm Diameters: 31mm Lengths: 13, 15, 17cm Diameters: 35mm Lengths: 14, 16, 18cm

$8,955.00

### Johnson & Johnson Medical Pty Ltd

MN178	InCraft AAA Stent-Graft System - Aortic Bifurcate

Bifurcated main body	22-34mm diameter, 86-94mm length	$5,794.00

Billing Code   Product Name	Description	Size

WILLIAM A COOK AUSTRALIA PTY LTD

Benefit

Benefit

Condition

WC261	Zenith Fenestrated AAA

Endovascular Graft with Flexor

Distal Bifurcated Body with Flexor sheath	Diameter 12 - 24mm, 1st length 28 - 62mm,

2nd length 76 - 121mm

$5,794.00

WC277	Zenith Flex AAA Endovascular Graft with the Z-Trak Introduction

System - main body

Zenith Flex with Z-trak main body - AAA endovascular graft

Diameter - 22mm - 36mm. Length 82mm - 149mm.

$5,794.00

WC293	Zenith Low Profile AAA

Endovascular Graft - Bifurcated Main Body

WC332	Zenith Alpha Abdominal

Endovascular Graft

# - Branched

Bifurcated main body graft	Diameter: 22-36mm, Length: 70-128mm	$5,794.00

Bifurcated main body graft	Diameters:22-36mm. Lengths: 70-128mm	$5,794.00

### WILLIAM A COOK AUSTRALIA PTY LTD

WC233	Zenith Branch Endovascular Graft -

Iliac Bifurcation

Bifurcated branch vessel stent graft with openings to connect the common iliac, sidebranch, and external iliac segments. Made of stainless steel and nitinol z-stents and woven polyester, mounted on H&LB one shot delivery system

Common iliac lengths 45 or 61mm, external iliac lengths 41 or 58mm and distal cuff diameters 10 or 12mm

$7,500.00

### W L Gore & Associates

GT276	GORE EXCLUDER Iliac Branch Endoprosthesis

The GORE EXCLUDER IBE provides an endovascular option for treatment allowing preservation of perfusion to the internal iliac, versus occlusion and covering the internal iliac or open surgical alternatives. The The GORE EXCLUDER IBE consists of two components (Iliac Branch Component: 1 of 2).

CEB231010 - Internal Iliac Diameter: 6.50- 9mm

CEB231210 - Internal Iliac Diameter: 10-

11mm

CEB231410 - Internal Iliac Diameter: 12 - 13.5mm

$7,500.00

Billing Code   Product Name	Description	Size

10.02.05.02 - Multiple Branch

WILLIAM A COOK AUSTRALIA PTY LTD

Benefit

Benefit

Condition

WC312	Zenith Universal Distal Body

Endovascular Graft

### L

The Zenith Universal Distal Body Endovascular Graft (Unibody) consists of a bifurcated graft loaded into the H&L-B One-Shot delivery system

Diameters: 22 - 24mm Lengths: 81 - 32mm

$7,500.00

### WILLIAM A COOK AUSTRALIA PTY LTD

WC313	Zenith t-Branch Endovascular Graft	The t-Branch is an endovascular graft designed

for use in the thoracabdominal aorta.

Diameter: 34mm Length: 202mm

$14,500.00

# - Fenestrated

### WILLIAM A COOK AUSTRALIA PTY LTD

WC263	Zenith Fenestrated AAA

Endovascular Graft with Flexor

Proximal Fenestrated body with Flexor sheath	1 or 2 internal stents, 24 - 36mm Diameter,

73 - 129mm Length

$8,561.00

# - Accessory Component (Aortic)

## - Thoracic

### WILLIAM A COOK AUSTRALIA PTY LTD

WC188	Zenith Thoracic Endovascular Graft	Thoracic Body Extension	22mm to 42mm diameter; 77mm to 81mm

length

$6,300.00

WC274	Zenith TX2 TAA Endovascular Graft with Pro-Form and the Z-Trak Plus Introduction System (thoracic body extension)

WC306	Zenith TX2 Dissection Endovascular Graft with Pro-Form and the Z-Trak Plus Introduction System (thoracic body extension)

Thoracic Proximal Extension	Diameter - 22mm - 42mm Length - 77mm - 81mm

Thoracic Proximal Extension	Diameter 22mm - 42mm; Length 79mm - 83mm

$6,300.00

$6,300.00

WC328	Zenith Alpha Thoracic Endovascular Graft Distal Extension

Thoracic Distal Extension	Diameter: 18-46mm. Length: 91-160mm	$6,300.00

Billing Code   Product Name	Description	Size

      - - Abdominal

Benefit

Benefit

Condition

Medtronic Australasia Pty Ltd

MC158	Talent Aortic Extension Stent Graft	Talent Endoluminal Stent Graft - Aortic

Extension

MC849	Endurant AAA Aortic Extension	Endurant Endoluminal Stent Graft System -

Aortic Extension

22 - 36mm x 26 - 30mm	$2,555.00

23 - 36mm x 60mm	$2,555.00

MI061	Endurant II AAA Aortic Extension	Endurant II Endoluminal Stent Graft System -

Aortic Extension

Proximal diameter: 23 to 36mm; distal diameter: 23 to 36mm; Covered length: 49mm

$2,555.00

### Regional Health Care Group

RG004	Aorfix AAA Flexible Stent Graft

System with Aorflex Delivery Device HPE Helical Proximal Extender

### Terumo Australia

The proximal extender (cuff) is supplied in the same delivery system as the main aortic implant and

includes a hydrophilic coating.

The cuff is a short implant which has four pairs of barbs, a seam and a fishmouth shape identical to the

primary graft. The fishmouth at the proximal end of the cuff should be deployed with the same

orientation as that of the primary graft.

The cuff has radio-opaque marker wires around the proximal and distal circumferences and down its

seam.

The apex of the fishmouth which contains the longitudinal seam is slightly stiffer than the opposite apex

and tends to lie slightly higher in the artery. The cuff can be placed with the seam lying either anteriorly

or posteriorly.

The cuff is prepared identically to the primary graft and is introduced over a guidewire.

SG-HPE-D4-L4-A12-22, where:

D4 (mm): 24, 25, 26, 27, 28, 29, 30, 31

L4 (mm): 38

$2,555.00

TU003	Anaconda Endovascular Graft System	Aortic Extension Cuff. Ultrathin woven

polyester, nitinol ring stents, tantalum markers

18 - 34mm	$2,555.00

Billing Code   Product Name	Description	Size

W L Gore & Associates

Benefit

Benefit

Condition

GT189	GORE EXCLUDER AAA

Endoprosthesis

Abdominal Stent Graft Nitinol & ePTFE - Aortic Extender

Diameters: 23, 26, 28.5mm Lengths: 3.3cm

Diameters: 32mm Length: 4.5cm Diameter: 36mm Length: 4.5cm

$2,555.00

### WILLIAM A COOK AUSTRALIA PTY LTD

WC045	Zenith Endovascular Graft	Converter	Diameter 20 through 36 Length 80-85

$2,555.00

WC048	Zenith Endovascular Graft	Body Extensions	Diameter 22 through 36	$2,555.00

WC302	Zenith Low Profile AAA

Endovascular Graft - Converter

WC303	Zenith Low Profile AAA

Endovascular Graft - Main Body Extension

Converter	Proximal Diameter: 24-36mm, Distal Diameter: 12mm, Working Length: 66mm

Main Body Extension	Diameter: 22-36mm, Working Length: 45- 58mm

$2,555.00

$2,555.00

# - Accessory Component (Other including iliac limb and extensio

### Medtronic Australasia Pty Ltd

MC846	Endurant AAA Contralateral Iliac

Limb

Endurant Endoluminal Stent Graft System - Contralateral Iliac Limb

10 - 28mm X 80 - 120mm	$3,308.00

MC848	Endurant AAA Iliac Extension	Endurant Endoluminal Stent Graft System -

Iliac Extension

10 -  28mm x 80mm	$3,308.00

MC994	Endurant II AAA Contralateral Iliac

Limb

Endurant II Endoluminal Stent Graft System - Contralateral Iliac Limb

Proximal diameter: 16mm; Distal diameter: 10 to 28mm; Covered length: 82mm; 93mm; 124mm

$3,308.00

MC995	Endurant II AAA Iliac Extension	Endurant II AAA Iliac Extension	Proximal diameter: 10 to 28mm; Distal

diameter: 10 to 28mm; Covered length: 82mm

$3,308.00

### Terumo Australia

TU004	Anaconda Endovascular Graft System	Iliac Extension Cuff. Ultrathin woven polyester,

nitinol ring stents, tantalum markers

TU005	Anaconda Endovascular Graft System	Iliac Leg, Ultrathin woven polyester, nitinol

ring stents, tantalum markers

8 - 18mm	$3,308.00

8 - 23mm	$3,308.00

TU041	Anaconda Endovascular Graft System	Flared iliac limb, Ultrathin woven polyester,

nitinol ring stents, tantalum markers

Diameter: Proximal end 10-17mm, distal end 12-23mm: Length 80-130mm

$3,308.00

Billing Code   Product Name	Description	Size

W L Gore & Associates

Benefit

Benefit

Condition

GT188	EXCLUDER AAA Endovascular

Prostheses

GT190	Excluder AAA Endovascular

Prostheses

AAA Stent Graft Nitinol & ePTFE Two piece system (2/2) Contralateral Limb

Abdominal Stent Graft Nitinol & ePTFE - Iliac Extender

Diameters: 12, 14.5, 23, 27mm

Lenghts: 10, 12, 14cm

Diameters: 16, 18, 20mm

Lenghts: 9.5, 11.5, 13.5cm

Diameters: 10, 12, 14.5mm Lengths: 7cm

$3,308.00

$3,308.00

### WILLIAM A COOK AUSTRALIA PTY LTD

WC259	Zenith AAA Endovascular Graft

Contralateral/Ipsilateral Iliac Legs

WC286	Zenith® Spiral-Z AAA lliac Legs

with Z-Trak™ Introduction System

### L (long length)

Medtronic Australasia Pty Ltd

Leg extension with Captor valve	Diameters from 8 to 24mm, lengths from 37 to 122mm

Zenith® Spiral-Z AAA lliac Leg	Proximal Diameter - 13mm Distal Diameter - 9mm to 24 mm

Working Length - 39 mm to 122 mm

$3,308.00

$3,308.00

MC996	Endurant II AAA Contralateral Iliac

Limb

Endurant II Endoluminal Stent Graft System - Contralateral Iliac Limb

Proximal diameter: 16mm; Distal diameter: 10 to 28mm; Covered length: 156mm, 199mm

$4,350.00

### Emergo Asia Pacific Pty Ltd

ER192	Ovation Prime Abdominal Stent Graft System - "Iliac Limb"

ER193	Ovation Prime Abdominal Stent Graft System - "Iliac Extension"

ER205	Endologix AFX Endovascular AAA

Stent Graft System-Iliac limb extensions

Ovation Prime Abdominal Stent Graft System - "Iliac Limb"

Ovation Prime Abdominal Stent Graft System - "Iliac Extension"

Endologix AFX Endovascular AAA Stent Graft System-Iliac limb extensions

Diameter: 10mm, 12mm, 14mm, 16mm, 18mm, 22mm

Length: 80-140mm

Diameter: 10mm, 12mm, 14mm, 16mm, 18mm, 22mm

Length: 45mm

Covered diameter straight or flared or stepped (16-25 mm) x length (55-88 mm)

$3,308.00

$3,308.00

$3,308.00

### Johnson & Johnson Medical Pty Ltd

MN179	InCraft AAA Stent-Graft System - Iliac Limb/Extension

Contralateral/Ipsilateral lliac limbs and extensions

10-24mm diameter, 80-140mm length	$3,308.00

Billing Code   Product Name	Description	Size

Regional Health Care Group

Benefit

Benefit

Condition

RG002	Aorfix AAA Flexible Stent Graft

System with Aorflex Delivery Device HBC Helical Converter

The Lombard Medical bifurcated stent-graft system (Aorfix) is used to treat aortic, aorto- iliac and iliac aneurysms. Standard techniques for the use of vascular access sheaths, angiography, guidewires and contrast media should be employed.The device is supplied in its delivery system, sterilised by means of ethylene oxide (EtO). It is packaged in peel- open pouches.

Aorfix stent graft is a two-part modular implant comprising a bifurcated main body section and a straight contralateral limb section (the "plug- in"). The main body section bifurcates into a full-length ipsilateral iliac section and a contralateral short leg mating section (the "socket"). The plug-in is mated intraoperatively to the socket to form the complete bifurcated system.

Each of the two components is supplied pre- loaded into a delivery system comprising a catheter with built-in deployment handle. The catheter for the main body section has a hydrophilic coating on its outer surface. The self-expanding implant is fabricated from nitinol (an alloy of nickel and titanium) and a woven polyester fabric (synthetic textile). Proximal hooks, also fabricated from nitinol, are provided in the main body section to resist migration.

Converters are used after implantation of the bifurcated body, if implantation of the contralateral limb proves impossible. The system converts the bifurcated main body into an aorto uni-iliac stent graft. If revising to a mono-iliac approach, use a femero-femoral cross-over graft to perfuse the contralateral side and occlude the contralateral common iliac artery. The converter delivery system is identical to the body delivery system.

SG-HBC-D6-A12-22, where: D6(mm): 25, 27, 29, 31

$3,308.00

| Billing Code | Product Name | Description | Size | Benefit | Benefit | Condition |
| --- | --- | --- | --- | --- | --- | --- |
| RG003 | Aorfix AAA Flexible Stent Graft | The Lombard Medical bifurcated stent-graft | SG-HDE-D5-L5-A13-20, where: | $3,308.00 |  |  |
|  | System with Aorflex Delivery Device | system (Aorfix) is used to treat aortic, aorto- | D5 (mm): 10, 12, 14, 16, 18, 20 |  |  |  |
|  | HDE Distal Extender | iliac and iliac aneurysms. Standard techniques | L5 (mm): 51, 82 |  |  |  |
|  |  | for the use of vascular access sheaths, |  |  |  |  |
|  |  | angiography, guidewires and contrast media |  |  |  |  |
|  |  | should be employed.The device is supplied in |  |  |  |  |
|  |  | its delivery system, sterilised by means of |  |  |  |  |
|  |  | ethylene oxide (EtO). It is packaged in peel- |  |  |  |  |
|  |  | open pouches. |  |  |  |  |
|  |  | Aorfix stent graft is a two-part modular implant |  |  |  |  |
|  |  | comprising a bifurcated main body section and |  |  |  |  |
|  |  | a straight contralateral limb section (the "plug- |  |  |  |  |
|  |  | in"). The main body section bifurcates into a |  |  |  |  |
|  |  | full-length ipsilateral iliac section and a |  |  |  |  |
|  |  | contralateral short leg mating section (the |  |  |  |  |
|  |  | "socket"). The plug-in is mated intraoperatively |  |  |  |  |
|  |  | to the socket to form the complete bifurcated |  |  |  |  |
|  |  | system. |  |  |  |  |
|  |  | Each of the two components is supplied pre- |  |  |  |  |
|  |  | loaded into a delivery system comprising a |  |  |  |  |
|  |  | catheter with built-in deployment handle. The |  |  |  |  |
|  |  | catheter for the main body section has a |  |  |  |  |
|  |  | hydrophilic coating on its outer surface. The |  |  |  |  |
|  |  | self-expanding implant is fabricated from |  |  |  |  |
|  |  | nitinol (an alloy of nickel and titanium) and a |  |  |  |  |
|  |  | woven polyester fabric (synthetic textile). |  |  |  |  |
|  |  | Proximal hooks, also fabricated from nitinol, |  |  |  |  |
|  |  | are provided in the main body section to resist |  |  |  |  |
|  |  | migration. |  |  |  |  |
|  |  | Distal extenders for extending the distal legs, |  |  |  |  |
|  |  | are supplied pre-packed in delivery systems. |  |  |  |  |
|  |  | The distal extender system is identical to the |  |  |  |  |
|  |  | plug in leg delivery system. |  |  |  |  |

### W L Gore & Associates

GT277	GORE EXCLUDER Iliac Branch Endoprosthesis

The GORE EXCLUDER IBE provides an endovascular option for treatment allowing for preservation of perfusion to the internal iliac, versus occlusion and covering the internal iliac or open surgical procedures.

The GORE EXCLUDER IBE consists of two components (Internal Iliac Component: 2 of 2).

HGB 161007 - Internal Iliac Diameter: 6.5 - 9mm

HGB 161207 - Internal Iliac Diameter: 10- 11mm

HGB 161407 - Internal Iliac Diameter: 12 - 13.5mm

$3,308.00

Billing Code   Product Name	Description	Size

WILLIAM A COOK AUSTRALIA PTY LTD

Benefit

Benefit

Condition

WC330	Zenith Alpha Spiral-Z Endovascular

Leg

### Accessory Kit

Maquet Australia Pty Ltd

Iliac leg graft	Distal Diameters: 9-24mm. Graft lengths: 42- 125mm.

$3,308.00

MQ037	Nellix EndoVascular Aneurysm

Sealing System Accessory Kit, Dispensor and Polymer

Accessory Kit (console, reciprocal connectors with caps and four mixers, pressure tranducers), Dispensor (with insufflator and syringes), and dual chamber polypropylene cartridge filled with aqueous polyethylene glycol based solution that are designed to be mixed at the time of the procedure

40ml (up to 80ml provided)	$3,770.00

Billing Code   Product Name	Description	Size

L (long length, >150mm) Terumo Australia

Benefit

Benefit

Condition

TU057	Anaconda AAA Stent Graft System	Ultrathin woven polyester, nitinol ring stents,

tantalum markers (longer legs lengths >150mm).

Long limbs have not got ARTG, but the Anaconda Stent Graft System does with regular limbs (ARTG173321 and 172404).

The Anaconda AAA Stent Graft System is a device support structure that expands and stays in place inside a blood carrying vessel for isolated iliac aneurysm repair and a component of the AAA stent graft system. It is delivered to the intended landing zone by a delivery system, where the stent is expanded to provide support for the vessel  The stent graft remains in place as a permanent implant.

The patient is hospitalised and undergoing invasive surgery of implantation of the stent graft.

Tapered Legs

Outer Diameter (Proximal 12mm; Distal 10mm) x Length 150mm

Outer Diameter (Proximal 12mm; Distal

10mm) x Length 170mm

Flared Legs

Outer Diameter (Proximal 12mm; Distal 13mm) x Length 150mm

Outer Diameter (Proximal 12mm; Distal

13mm) x Length 170mm

Outer Diameter (Proximal 12mm; Distal 15mm) x Length 150mm

Outer Diameter (Proximal 12mm; Distal 15mm) x Length 170mm

Outer Diameter (Proximal 12mm; Distal 17mm) x Length 150mm

Outer Diameter (Proximal 12mm; Distal 17mm) x Length 170mm

Outer Diameter (Proximal 12mm; Distal 19mm) x Length 150mm

Outer Diameter (Proximal 12mm; Distal

19mm) x Length 170mm

Outer Diameter (Proximal 12mm; Distal 21mm) x Length 150mm

Outer Diameter (Proximal 12mm; Distal

21mm) x Length 170mm

Outer Diameter (Proximal 12mm; Distal 23mm) x Length 150mm

Outer Diameter (Proximal 12mm; Distal 23mm) x Length 170mm

$4,350.00

### Sealant

Emergo Asia Pacific Pty Ltd

ER194	Ovation Prime Abdominal Stent Graft System - Fill Polymer Kit

Ovation Prime Abdominal Stent Graft System - Fill Polymer Kit

Straight Legs

Outer Diameter 12mm x Length 160mm Outer diameter 12mm x Length 180mm

N/A	$680.00

Billing Code   Product Name	Description	Size

    - - Iliac Graft Plug

Benefit

Benefit

Condition

Medtronic Australasia Pty Ltd

MC203	Talent Occluder System	Nitinol stents attached to polyester graft sealed

both ends

Standard Sizes, 8 - 24mm x 31 - 35mm	$2,555.00

### WILLIAM A COOK AUSTRALIA PTY LTD

WC103	Zenith Iliac Plug	Zenith AAA Endovascular Graft	Diameter 14, 16, 18, 20, 22, 24mm	$2,555.00

# - Tube, Peripheral, Balloon Expandable

## - ≤12mm diameter

### Bard Australia Pty Ltd

BA264	LifeStream Balloon Expandable Covered Stent

### Maquet Australia Pty Ltd

The LifeStream Balloon Expandable Vascular Covered Stent is comprised of an ectropolished balloon-expandable stent made from 316L stainless steel, encapsulated between two layers of ePTFE.

Implant Length: 16mm, 26mm, 37/38mm*,58mm

Implant Diameter: 5mm, 6mm, 7mm, 8mm,

9mm, 10mm, 12mm

* Diameters 5-8mm are offered in 37mm length, and diameters 9-12 are offered in 38mm length

$4,185.00

MQ006	Advant PTFE V12 Stent Graft System	Balloon Expandable PTFE Encapsulated

Stainless Steel Peripheral Vascular Stent

5mm - 12mm Diameter	$4,185.00

### Pyramed Pty Limited

PY039	BeGraft Peripheral Stent Graft System	Balloon Expandable "One layer" Biocompatible

CoCr Alloy and Micro-porous ePTFE Peripheral Vascular Stent

Diameter: 5mm - 12mm length: 18mm - 58mm

$4,185.00

## - >12mm diameter

### Maquet Australia Pty Ltd

MQ035	Advanta V12 Stent Graft System	Balloon Expandable PTFE Encapsulated

Stainless Steel Vascular Stent

Large Diameter 12 -16mm. 80 and 120cm catheter lengths

$5,695.00

Billing Code   Product Name	Description	Size

    - - Tube, Peripheral, Self Expandable

      - - <150mm length

Benefit

Benefit

Condition

Bard Australia Pty Ltd

BA219	Encapsulated Carbon Lined Stent

Graft

### W L Gore & Associates

PTFE covered nitinol self-expanding stent	4mm - 13.5mm diameter, 2cm - 12cm length	$3,395.00

GT029	Gore Tips Endoprosthesis	ePTFE	8-12mm Diameter 4-8cm Graft-Lined Length 2cm Unlined Length

$3,395.00

### H

W L Gore & Associates

GT225	Gore Viabahn ® endoprosthesis with heparin bioactive surface

GT227	Gore Viabahn ® endoprosthesis with heparin bioactive surface

Gore Viabahn ® endoprosthesis with heparin bioactive surface is a flexible, self expanding endoluminal device consisting of an ePTFE lining with external nitinol support

Gore Viabahn ® endoprosthesis with heparin bioactive surface is a flexible, self expandinbg endoluminal device consisting of an ePTFE lining with external nitinol support

5mmx2.5cm 120cm 5mmx5cm 120cm 6mmx2.5cm 120cm 6mmx5cm 75cm 6mmx5cm 120cm 7mmx2.5cm 120cm 7mmx5cm 75cm

7mmx5cm 120cm 8mmx2.5cm 120cm 8mmx5cm 75cm 8mmx5cm 120cm 9mmx 5cm 75cm 9mmx 5cm 120cm 10mmx 5cm 75cm

10mmx 5cm 120cm 11mmx 5cm 75cm 11mmx 5cm 120cm 13mmx 5cm 75cm 13mmx 5cm 120cm

5mmx 10cm 120cm 6mmx 10cm 75cm 6mmx 10cm 120cm 7mmx 10cm 75cm 7mmx 10cm 120cm 8mmx 10cm 75cm 8mmx 10cm 120cm 9mmx 10cm 75cm 9mmx 10cm 120cm 10mmx 10cm 75cm 10mmx 10cm 120cm 11mmx 10cm 75cm 11mmx 10cm 120cm 13mmx 10cm 75cm 13mmx 10cm 120cm

$3,495.00

$3,495.00

Billing Code   Product Name	Description	Size

      - - 150-249mm length

H

Benefit

Benefit

Condition

W L Gore & Associates

GT226	Gore Viabahn ® endoprosthesis with heparin bioactive surface

## - ≥250mm length

### H

Gore Viabahn ® endoprosthesis with heparin bioactive surface is a flexible, self expanding endoluminal device consisting of an ePTFE lining with external nitinol support

5mmx 15cm 120cm, 6mmx 15cm 75cm 6mmx 15cm 120cm 7mmx 15cm 75cm 7mmx 15cm 120cm 8mmx 15cm 75cm 8mmx 15cm 120cm 9mmx 15cm 75cm 9mmx 15cm 120cm 10mmx 15cm 75cm, 10mmx 15cm 120cm 11mmx 15cm 75cm 11mmx 15cm 120cm 13mmx 15cm 75cm 13mmx 15cm 120cm

$4,125.00

### W L Gore & Associates

GT262	GORE VIABAHN® Endoprosthesis with Heparin Bioactive Surface

# - Tube

## - ≤10cm length

GORE VIABAHN® Endoprosthesis with Heparin Bioactive Surface is a flexible, self expanding endoluminal device consisting of an ePTFE lining with external nitinol support

5mm x 25cm x 120CATH 6mm x 25cm x 120CATH 7mm x 25cm x 120CATH 8mm x 25cm x 120CATH

$5,625.00

### B Braun Australia Pty Ltd

BB025	Vascular Uni - Graft	Vascular graft	10cm	$245.00

### Emergo Asia Pacific Pty Ltd

ER168	LifeSpan ePTFE vascular grafts-

straight, regular or thin wall-10cm

### W L Gore & Associates

LifeSpan ePTFE vascular grafts-straight, regular or thin wall-5-8 mm dia x length 10cm

5-8 mm dia x 10 cm long	$245.00

GT272	Gore-Tex Vascular Grafts	Vascular Grafts - Aorto-Pulmonary & Synthetic-

Pulmonary Shunts (ePTFE) Stretch & Non Stretch Standard wall & Thin Wall

GT284	Gore-Tex Vascular Grafts	Vascular Grafts - Aorto - Pulmonary and

Systemic Pulmonary Shunts (ePTFE) Stretch & Non Stretch Standard Wall & Thin Wall.

Diameter 3.5 - 5mm, Length 5-10cm	$245.00

Diameter 3 - 12mm, Length 10cm	$245.00

### R

Terumo Australia

TU029	SEALPTFE Graft	Standard Wall, Straight, Sealed, Externally Reinforcement, PTFE

5 to 10mm x 10 to 40cm	$655.00

Billing Code   Product Name	Description	Size

      - - 11-20cm length

Benefit

Benefit

Condition

B Braun Australia Pty Ltd

BB023	Vascular Uni - Graft	Vascular graft	20cm	$800.00

BB024	Vascular Uni - Graft	Vascular graft	15cm	$800.00

BB126	Vascugraft	Thin Wall Straight	Dia 3 - 8mm, length10 - 40cm	$800.00

BB127	Vascugraft	Thin Wall Straight	Dia 3 - 8mm, length 10 - 40cm	$800.00

### Bard Australia Pty Ltd

BA020	Impra PTFE Vascular Grafts	ePTFE graft - thin wall, 10 - 50cm long	3mm - 10mm diameter	$800.00 BA025	Impra PTFE Vascular Grafts	ePTFE graft - regular wall, 10-50cm long	3 - 19mm diameter	$800.00

### Bio Nova International Pty Ltd

BN004	Omniflow II Vascular Prosthesis -

Straight

### Emergo Asia Pacific Pty Ltd

ER169	LifeSpan ePTFE vascular grafts-

straight-regular or thin wall-20cm

### Lifehealthcare Pty Ltd

LH006	Thoratec, Vectra Vascular Graft -

Synthetic

### Maquet Australia Pty Ltd

Biosynthetic vascular prosthesis for peripheral revascularisation and vascular access

LifeSpan ePTFE vascular grafts-straight-regular or thin wall; 5-8mm dia x 20 cm long

Vectra, Biocompatible Polyurethane Vascular Access Graft

3 - 4 mm x 20 cm	$800.00

5-8 mm dia x 20 cm long	$800.00

Length 20cm	$800.00

MQ029	Intergard W - Woven Straight	Woven Straight	15cm	$800.00

### Terumo Australia

TU048	Gelweave Graft	Straight Polyester Knitted	6-38mm x 15-20cm	$800.00 TU049	SEALPTFE Graft	Standard Wall, Straight, Sealed, PTFE	5 to 10mm x 10 to 20cm	$800.00

### W L Gore & Associates

GT009	Gore-Tex Vascular Grafts	Vascular Grafts - Aorto -Pulmonary &

Systemic-Pulmonary Shunts (ePTFE) Stretch & Non Stretch Standard Wall & Thin Wall

3.5-5mm Diameter x 15-20cm Length	$800.00

GT146	Gore-tex Vascular Grafts	Standard Wall Grafts Stretch (ePTFE)	Diameter 12 - 24mm, Length 20cm	$800.00

GT283	Gore Tex Vascular Grafts	Standard Wall, Thin Wall and Stretch and Non

Stretch (ePTFE)

Diameters: 3 - 10mm Length: 11-20cm

$800.00

Billing Code   Product Name	Description	Size

R

Benefit

Benefit

Condition

B Braun Australia Pty Ltd

BB120	Vascugraft	Straight Standard Wall with Helix Support	Dia 6 - 10mm, length 10 - 50cm	$1,520.00

### Bard Australia Pty Ltd

BA019	Impra PTFE Vascular Grafts	ePTFE graft - radially supported, thin wall, 10 -

50cm long

BA022	Impra PTFE Vascular Grafts	ePTFE graft - radially supported, regular wall,

10-50cm long

4mm - 8mm diameter	$1,520.00

4 - 19mm diameter	$1,520.00

### Maquet Australia Pty Ltd

MQ020	Advanta PTFE Vascular Graft	Trilaminate PTFE Graft with Graft Deployment

System

4mm - 8mm 11cm - 20cm length	$1,520.00

### R, ID

Maquet Australia Pty Ltd

MQ018	Advanta PTFE Vascular Graft with

Graft Deployment System

## - 21-49cm length

Trilaminate PTFE. Vascular Access PTFE	4mm - 8mm diameter 11cm - 20cm length	$1,720.00

### B Braun Australia Pty Ltd

BB021             Vascular Uni - Graft                                 Vascular graft                                                            40cm                                                                      $870.00

BB022             Vascular Uni - Graft                                 Vascular graft                                                            30cm                                                            $870.00 BB119             Vascugraft                                      PTFE, Straight Standard Wall                                   Dia 4 - 10mm, length 40 - 50cm                            $870.00 BB142             Vascugraft                                      Easy Glide - Standard Wall Straight                          Dia 6mm, length 40 - 60cm                                   $870.00 BB144             Vascugraft                                                Easy Glide - Thin Wall Straight                                Dia 6 - 8mm, length 40 - 70cm                              $870.00

### Bio Nova International Pty Ltd

BN026	Omniflow II Vascular Prosthesis	Biosynthetic vascular prosthesis for peripheral

revascularisation and vascular access

BN027	Omniflow II Vascular Prosthesis	Biosynthetic vascular prosthesis for peripheral

revascularisation and vascular access

BN028	Omniflow II Vascular Prosthesis	Biosynthetic vascular prosthesis for peripheral

revascularisation and vascular access

BN029	Omniflow II Vascular Prosthesis	Biosynthetic vascular prosthesis for peripheral

revascularisation and vascular access

9 and 10mm internal diameter, 20 to 40cm length

5, 6, 7 and 8mm internal diameter; 45 to 65cm length

9 and 10mm internal diameter; 45 to 85cm length

5, 6, 7 and 8mm internal diameter; 20 to 40cm length

$870.00

$870.00

$870.00

$870.00

Billing Code   Product Name	Description	Size

Lifehealthcare Pty Ltd

Benefit

Benefit

Condition

LH004	Thoratec, Vectra Vascular Graft -

Synthetic

### Maquet Australia Pty Ltd

Vectra, Biocompatible Polyurethane Vascular Access Graft

Length 40cm	$870.00

MQ030	Maquet InterVascular Straight vascular Grafts

### Terumo Australia

Straight Vascular Grafts	5mm - 24mm diameter, 21 -49am length	$870.00

TU008	Fluoropassiv Graft	Straight Graft - Thin Wall, Crimped.

Fluoropolymer/polyester, Knitted

5 to10mm x 30 to 40cm	$870.00

TU020             Gelsoft Plus Graft                                    Straight, Polyester, Knitted                                    6 - 24mm x 12.5 - 30cm                                     $870.00 TU025             SEALPTFE Graft                                  Thin Wall, Straight, Sealed, PTFE                            5 to 10mm x 30 to 40cm                                  $870.00 TU047             Gelweave Graft                                        Straight Polyester Knitted                                        6-38mm x 25-40cm                                         $870.00 TU050             SEALPTFE Graft                                     Standard Wall, Straight, Sealed, PTFE                     5 to 10cm x 20 to 40cm                                         $870.00

### W L Gore & Associates

GT281	Gore Tex Vascular Grafts	Standard Wall, Thin Wall and Stretch and Non

Stretch (ePTFE)

GT282	Gore-Tex Vascular Grafts	Stretch Vascular Grafts - Large Diameter

(ePTFE)

Diameters: 3 - 10mm Length: 21-49cm

Diameters: 12 - 24mm Lengths: 21 - 49cm

$870.00

$870.00

### H (heparin)

W L Gore & Associates

GT221	Gor-Tex Propaten Vascular Graft	Stretch wall, Thin Wall Stretch and Non Stretch

Graft (ePTFE) - Heparin Bonded

6-8mm diameter, non-Ringed 40cm length	$970.00

### ID

Terumo Australia

TU040	Rapidax™ Rapid Access Haemodialysis Graft

### R

Triple layered self sealing haemodialysis Access Graft. ePTFE internal and external layer with proprietary elastomer inner layer - Straight and Per-curved

6mm x 45-50cm	$1,300.00

### B Braun Australia Pty Ltd

BB132	Vascugraft	Thin Wall Centre Helix	Dia 6mm, length 45cm	$1,520.00 BB133	Vascugraft	Thin Wall Centre Helix	Dia 5 - 6mm, length 45 - 50cm	$1,520.00

BB146	Vascugraft	Easy Glide - Thin Wall Straight with Helix Support

Dia 6 - 8mm, length 40 - 80cm	$1,520.00

Billing Code   Product Name	Description	Size

Maquet Australia Pty Ltd

Benefit

Benefit

Condition

MQ009	Advantra PTFE Vascular Graft	Trilaminate PTFE Aortic Graft with hydrostatic

membrane

MQ021	Advanta PTFE Vascular Graft	Trilaminate PTFE Graft with Graft Deployment

System

12mm - 24mm diameter 30cm length	$1,520.00 4mm - 8mm diameter 21cm - 49cm length	$1,520.00

### Terumo Australia

TU010	Fluoropassiv Graft	Straight Graft, Thin Wall, Externally Reinforced. Fluoropolymer/polyester, Knitted

TU019	Gelsoft Plus Graft	Femoro-femoral, Polyester, Knitted, Externally reinforced

5 to10mm x 30 to 40cm	$1,520.00

6mmx30cm to  8mmx40cm	$1,520.00

### R (ringed)

W L Gore & Associates

| GT211 | Gore-Tex Intering Vascular Graft | Internally radially supported vascular graft (ePTFE) | Diameter 6-8mm, 40cm radial supported length x 40cm length | $1,520.00 |
| --- | --- | --- | --- | --- |
| GT252 | Gore-Tex Stretch Removable Ringed Vascular Graft | Stretch Removable Ringed Thin Walled Graft (ePTFE) | 5-8mm diameter, 40cm length, 30cm removable ringed section | $1,520.00 |

R, H

W L Gore & Associates

| GT264 | Gore-Tex Propaten Vascular Graft | Stretch Thin Walled Graft, Removable Rings | 8mm diameter, 30cm ringed length | $1,620.00 |
| --- | --- | --- | --- | --- |
|  |  | (ePTFE) Heparin Bonded |  |  |

R, ID

Maquet Australia Pty Ltd

| MQ019 | Advanta PTFE Vascular Graft with | Trilaminate PTFE. Vascular Access PTFE | 4mm - 8mm diameter 21cm - 49cm length | $1,720.00 |
| --- | --- | --- | --- | --- |
|  | Graft Deployment System |  |  |  |

      - - ≥50cm length

B Braun Australia Pty Ltd

| BB018 | Vascular Uni - Graft | Vascular graft | 100cm | $970.00 |
| --- | --- | --- | --- | --- |
| BB019 | Vascular Uni - Graft | Vascular graft | 60cm | $970.00 |
| BB020 | Vascular Uni - Graft | Vascular graft | 50cm | $970.00 |
| BB123 | Vascugraft | PTFE - Straight Standard Wall | Dia 5 - 10mm, length 80cm | $970.00 |
| BB124 | Vascugraft | PTFE - Straight Standard Wall | Dia 5 - 8mm, length 90 - 100cm | $970.00 |
| BB125 | Vascugraft | Thin Wall Straight | Dia 3 - 8mm, length 70 - 100cm | $970.00 |
| BB141 | Vascugraft | Easy Glide - Standard Wall Straight | Dia 6mm, length 70 - 80cm | $970.00 |

Billing Code   Product Name	Description	Size

Bard Australia Pty Ltd

Benefit

Benefit

Condition

BA254	Bard Vascular Graft	PTFE graft	50 cm or > 50cm	$970.00

### Emergo Asia Pacific Pty Ltd

ER170	LifeSpan ePTFE vascular grafts-

straight-regular or thin wall, 50-100 cm

### Lifehealthcare Pty Ltd

LH005	Thoratec, Vectra Vascular Graft -

Synthetic

### Maquet Australia Pty Ltd

LifeSpan ePTFE vascular grafts-straight-regular or thin wall, 5-10 mm dia x length 50-100 cm

Vectra, Biocompatible Polyurethane Vascular Access graft

5-10 mm dia x length 50-100 cm	$970.00

Length 50cm	$970.00

MQ016	Advanta PTFE Vascular Graft	Straight PTFE Vascular Graft	6mm - 10mm; 50cm - 90cm	$970.00

MQ031	Maquet InterVascular Straight Vascular Grafts

### Terumo Australia

Straight Vascular Grafts	6mm - 24mm Diameter, 50-100cm length	$970.00

TU006	Twillweave Graft	Straight, Polyester, Woven, Unsealed	6-24mm x 50-60cm	$970.00

TU009	Fluoropassiv Graft	Straight Graft - Thin Wall, Crimped.

Fluoropolymer/polyester, Knitted

5 to10mm x 50 to 70cm	$970.00

TU021             Gelsoft Plus Graft                                     Straight, Polyester, Knitted                                       6-24mm x 50-60cm                                       $970.00 TU023             Gelweave Graft                                       Straight, Polyester, Woven                                        6-38mm x 50-60cm                                        $970.00 TU026             SEALPTFE Graft                                  Thin Wall, Straight, Sealed, PTFE                            5 to 10mm x 50 to 80cm                                  $970.00 TU028             SEALPTFE Graft                                     Standard Wall, Straight, Sealed, PTFE                     5 to 10mm x 50 to 80cm                                        $970.00

### W L Gore & Associates

GT279	Gore-Tex Vascular Grafts	Standard Wall, Thin Wall and Stretch

Technology (ePTFE)

GT280	Gore-Tex Vascular Grafts	Standard Wall, Thin Wall and Stretch

Technology (ePTFE)

Diameters: 3-12mm Lengths: ≥ 50cm

Diameters: 4-12mm Lengths: ≥ 50cm

$970.00

$970.00

### H (heparin)

W L Gore & Associates

GT222	Gore-tex Stretch Propaten Graft	Standard wall, Thin Wall Stretch and non

Stretch Graft (ePTFE)- Heparin Bonded

6-8mm diameter Non-Ringed 80cm length	$1,070.00

### R

B Braun Australia Pty Ltd

| BB121 | Vascugraft | Straight Standard Wall with Helix Support | Dia 6 - 10mm, length 60 - 80cm | $1,630.00 |
| --- | --- | --- | --- | --- |
| BB122 | Vascugraft | Straight Standard Wall with Helix Support | Dia 5 - 8mm, length 90cm | $1,630.00 |

| Billing Code | Product Name | Description | Size | Benefit | Benefit | Condition |
| --- | --- | --- | --- | --- | --- | --- |
| BB128 | Vascugraft | Straight Standard Wall with Helix Support | Dia 6mm x length 100cm | $1,630.00 |  |  |
| BB129 | Vascugraft | Straight Standard Wall with Helix Support | Dia 5 - 8mm, length 80 - 90cm | $1,630.00 |  |  |
| BB130 | Vascugraft | Straight Standard Wall with Helix Support | Dia 4 - 6mm, length 50 - 70cm | $1,630.00 |  |  |
| BB134 | Vascugraft | Thin Wall Centre Helix | Dia 4 - 8mm, length 70 - 80cm | $1,630.00 |  |  |
| BB137 | Vascugraft | Standard with Centred Helix | Dia 4 - 8mm, length 70 - 90cm | $1,630.00 |  |  |
|  | Maquet Australia Pty Ltd |  |  |  |  |  |
| MQ010 | Advantra PTFE Vascular Graft | Trilaminate PTFE Graft with Graft Deployment System | 4 - 8mm diameter 50cm - 100cm lengths | $1,630.00 |  |  |
| MQ017 | Atrium PTFE Vascular Graft | Ringed PTFE | 4mm - 10mm; 50cm - 100cm | $1,630.00 |  |  |
|  | Terumo Australia |  |  |  |  |  |
| TU011 | Fluoropassiv Graft | Straight Graft, Thin Wall, Externally Reinforced. Fluoropolymer/polyester, Knitted | 5 to10mm x 50 to 70cm | $1,630.00 |  |  |
| TU030 | SEALPTFE Graft | Standard Wall, Straight, Sealed, Externally Reinforcement, PTFE | 5 to 10mm x 50 to 80cm | $1,630.00 |  |  |
| TU045 | Gelsoft Plus Graft | Polyester, Externally Reinforced, Knitted | 6 to 10cm x 75 to 100cm | $1,630.00 |  |  |
| TU046 | SEALPTFE Graft | Thin Wall, Straight, Sealed, Externally Reinforced, PTFE | 5 to 10mm x 50 to 80cm | $1,630.00 |  |  |

R (ringed)

Bard Australia Pty Ltd

| BA255 | Bard Vascular Grafts | PFTE Graft - radial support | 50cm or > 50cm | $1,630.00 |
| --- | --- | --- | --- | --- |
|  | Emergo Asia Pacific Pty Ltd |  |  |  |
| ER171 | LifeSpan ePTFE vascular grafts- straight-supported-regular or thin wall, 50-80 cm | LifeSpan ePTFE vascular grafts-straight- supported; regular and thin wall; 6-10 mm dia x 50-80 cm length; 10-80 cm external spiral support length | 6-10 mm dia x 50-80 cm length; 10-80 cm external spiral support length | $1,630.00 |
|  | Maquet Australia Pty Ltd |  |  |  |
| MQ032 | Maquet InterVascular redially Supported Vascular Grafts | Radially Supported Vascular Grafts | 5mm - 24mm diameter, 50 -100m length | $1,630.00 |
|  | W L Gore & Associates |  |  |  |
| GT278 | Gore-Tex Stretch Vascular Graft - Removable Rings | Thin Walled Removable Ring Stretch (ePTFE) | Diameters: 5-8mm Lengths: ≥ 50cm | $1,630.00 |
| GT286 | Gore-Tex Intering Stretch Vascular Graft | Stretch Thin Walled ePTFE graft with Integrated Rings | 6-8mm diameter, 60-80 mm intergrated ringed section, ≥50cm length | $1,630.00 |

R, H

W L Gore & Associates

GT285	Gore-Tex Stretch Propaten with

Removable Rings Vascular Graft

# - Bifurcated

Stretch Thin Walled (ePTFE), Heparin Bonded, Graft with Removable Rings

6-8mm diameter, 30-70 mm ringed section, > 50cm length

$1,730.00

### B Braun Australia Pty Ltd

BB027	Vascular Uni - Graft - Bifurcated	Vascular graft	12x7 to 12x12	$975.00

### Maquet Australia Pty Ltd

MQ033	Maquet InterVascular Bifurcated Vascular Grafts

### Terumo Australia

Bifurcated Vascular Grafts	6mm - 24mm diameter, 50cm length	$975.00

TU007	Twillweave Graft	Bifurcated, Polyester, Woven, Unsealed	12mm x 6mm x 45cm to 24mm x 12mm x

45cm

$975.00

TU013	Gelweave Graft	Bifurcated, Polyester, Woven	12mmx 6mmx 45 cm to 24mmx12mm x 45cm	$975.00 TU014	Gelsoft Plus Graft	Bifurcated, Polyester, Knitted	12mmx6mmx45cm to 24mmx12mmx45cm	$975.00

### W L Gore & Associates

GT006	Gore-Tex Stretch Bifurcated Graft	Stretch Bifurcated Graft with Thin Walled

Limbs (ePTFE)

# - Branched or Fenestrated

### Maquet Australia Pty Ltd

12x6mm to 24x12mm 40-50cm long	$975.00

| MQ027 | Intergard W | Woven Aortic Arch | 24mm x 10mm x 8mm x 8mm x 50cm - 30mm x 10mm x 8mm x 8mm | $1,950.00 |
| --- | --- | --- | --- | --- |
| MQ028 | Intergard K | Knitted Axillobifemoral | Diameter (mm) Length (cm) 8 x 8 100/60; 10 x 10 100/60; 8 x 6 x 6 85/55; 8 x 8 85/55; 8 x 8 100/55 | $1,950.00 |

### Terumo Australia

TU018	Gelsoft Plus Graft	Axillo-bifemoral, Polyester, Knitted, Externally reinforced

8x8mm/100x60cm; 8x7mm/90x40cm; 10x8mm/90x40cm

$1,950.00

### W L Gore & Associates

GT216	Gore-Tex Axillobifemoral Vascular

Graft

Stretch vascular graft with removable rings (ePTFE)

Diameter 8mm x 90cm 40cm	$1,950.00

# - Tapered or End-modified

### B Braun Australia Pty Ltd

BB026             Vascular Uni - Graft - Tapered                 Vascular graft                                                     12x6 to 24x12                                                     $875.00 BB131             Vascugraft                                             Thin Wall Tapered                                              Dia 4 - 8mm, length 40 - 90cm                              $875.00 BB136             Vascugraft                                              Standard Tapered                                               Dia 4 - 8mm, length 70 - 90cm                              $875.00 BB138             Vascugraft                                       Standard with Short Taper                                        Dia 4 - 8mm, length 30 - 70cm                              $875.00 BB139             Vascugraft                                                Standard with Short Taper                                         Dia 4 - 8mm, length 80cm                                     $875.00

BB143	Vascugraft	Easy Glide - Standard Wall with Helix Short Taper

Dia 6 - 8mm, length 40 - 70cm	$875.00

BB145             Vascugraft                                      Thin Wall Centred Helix Tapered                             Dia 4 - 7mm, length 70cm                                     $875.00 BB155             Vascugraft                                              Standard Tapered                                               Dia 4 - 7mm, length 30 - 70cm                              $875.00 BB156             Vascugraft                                       Standard Wall with Tapered Centre Helix                 Dia 4 - 8mm, length 40 - 45cm                              $875.00 BB157             Vascugraft                                                Standard Wall Stepped Taper                                    Dia 4 - 8mm, length 40 - 45cm                              $875.00

### Maquet Australia Pty Ltd

MQ011	Advantra PTFE Vascular Graft	Tapered Trilaminate PTFE Graft with Graft

Deployment System

MQ012	Advantra PTFE Vascular Graft	Tapered Trilaminate PTFE Graft with Graft

Deployment System

4mm - 8mm diameter 50cm - 80cm lengths	$875.00 4mm - 8mm diameter, 10 - 40cm lengths	$875.00

### Terumo Australia

TU033	SEALPTFE Graft	Standard Wall, Tapered, Sealed, PTFE	4 to 7mm Taper x 45 to 50cm	$875.00

### ID

Maquet Australia Pty Ltd

MQ013	Advantra PTFE Vascular Graft with

Graft Deployment System

Trilaminate PTFE. Vascular Access Graft	4mm - 8mm diameter. 50 - 80cm length	$3,000.00

### R (ringed)

Getz Healthcare Pty Ltd

ME195	Spiral Laminar Flow ™ graft	Spiral Laminar flow graft	Length (cm)	50,60,70,80,50,60,70,80

Diameter(mm) 6, 6, 6, 6, 8, 8, 8, 8

$875.00

### Bard Australia Pty Ltd

BA256	Bard Vascular Graft	PTFE graft	6-10mm diameter, 40 - 80cm length

4mm - 8mm diameter, 10cm - 50cm length

7 & 8mm diameter. 50, 60, 70, 80cm lengths

$875.00

### Emergo Asia Pacific Pty Ltd

ER172	LifeSpan ePTFE vascular grafts-

tapered or end modified-regular or thin wall, 40-70 cm

### W L Gore & Associates

LifeSpan ePTFE vascular grafts-unsupported, tapered or end modified, 4-7 mm dia x 40-70 cm long

4-7 mm dia x 40-70 cm long;	$875.00

GT273	Standard Wall Grafts	Standard Wall Grafts Stretch Tapered (ePTFE)	Diameter 4-6mm & 4-7mm, Length 45 48cm	$875.00

### R (ringed)

Emergo Asia Pacific Pty Ltd

ER173	LifeSpan ePTFE vascular grafts-

supported, tapered or end modified 50-80 cm

### W L Gore & Associates

LifeSpan ePTFE vascular grafts-supported, end modified or tapered, regular or thin wall, 4-7 mm dia x 50-80 cm length; spiral length 5-70 cm

4-7 mm dia x 50-80 cm length; spiral length 5- 70 cm

$875.00

GT214	Gore-Tex Intering Vascular Graft	Internally radially supported vascular graft

(ePTFE)

# - Vascular Patches

## - 0 - 100 sq cm

4-6 tapered diameter 38cm radial support length 45cm length; 4-7 tapered diameter 38cm radial support length 45cm length; 6mm diameter 40cm radial support length 40cm length

$875.00

### B Braun Australia Pty Ltd

BB017	Vascular Patch	Vascular patch	12x9 to 3x4	$205.00

Billing Code   Product Name	Description	Size

Bard Australia Pty Ltd

BA257	Bard Vascular Graft	Vascular Graft Patch	3x6cm, 2.5x1.5cm, 2x9cm, 5x7.5cm, 2.5x2.5cm, 10x10cm, 5.1x10.2cm, 6x5.1cm, 1.2x10cm, 5x5cm

Benefit

$205.00

Benefit

Condition

Bio Nova International Pty Ltd

BN020	Omniflow II Vascular Prostheses -

Straight

BN021	Omniflow II Vascular Prostheses -

Straight

Terumo Australia

Vascular Patch	1.5cm x 5cm (less than 8 sq. Cm)	$205.00

Vascular Patch	2.5cm x 10cm (more than 8 sq. cm	$205.00

TU042	Fluoropassiv Patch	Thin wall, Fluoropolymer/polyester, Koper Knitted

6-15mm x 5-7.5cm	$205.00

|  | W L Gore & Associates |  |  |  |
| --- | --- | --- | --- | --- |
| GT012 | Soft Tissue Patch | ePTFE | 1mm Thickness 5 x 10cm | $205.00 |
| GT016 | Soft Tissue Patch | ePTFE | 2mm Thickness 5 x 10cm | $205.00 |

      - - 101 - 150 sq cm

### Bard Australia Pty Ltd

BA258	Bard Vascular Graft	Vascular Graft Patch	101 - 150sq cm	$295.00

### Terumo Australia

TU043	Fluoropassiv Patch	Thin wall, Fluoropolymer/polyester, Koper Knitted

10-15mm x 7.5-10cm	$295.00

### W L Gore & Associates

GT013	Soft Tissue Patch	ePTFE	1mm Thickness 10 x 15cm	$295.00

GT017	Soft Tissue Patch	ePTFE	2mm Thickness 10 x 15cm	$295.00

## - >150 sq cm

### Bard Australia Pty Ltd

BA259	Bard Vascular Graft	Vascular Graft Patch	15 x 15cm	$400.00

### W L Gore & Associates

GT014	Soft Tissue Patch	ePTFE	1mm Thickness  15 x 20cm	$400.00

GT015	Soft Tissue Patch	ePTFE	1mm Thickness 20 x 30cm	$400.00

GT018	Soft Tissue Patch	ePTFE	2mm Thickness 15 x 20cm	$400.00

GT019	Soft Tissue Patch	ePTFE	2mm Thickness 20 x 30cm	$400.00

      - - Pledgets

### Bard Australia Pty Ltd

BA039	Grafts Vascular	Polyester pledgets	Rectangle, Oval, Circle, Square 2.9mm-8mm x 6mm - 9.5mm

$87.00

# 10.05.01 - Vessel Bands

### All Vascular Pty Ltd

VA001	Venous Valve Ring	Dacron/silicone variable diameter ring	52mmx15mmx0.09 mm	$1,065.00

# - Venous

### B Braun Australia Pty Ltd

BB106	Temporary Vena Cava System	Phynox/ combination of various metals inc.

Nickel,Copper, Molubden,Steel

One size, expands to Max length 38mm/Max diameter 30mm

$2,348.00

BB169	Vena Cava Filter System	PHYNOX Introducer system, 'J' Guidewire,

Seldinger needle, disposable scalpel

Diameter 28 mm	$2,348.00

### Bard Australia Pty Ltd

BA010	Bard Inferior Vena Cava Filter	Nitinol self expanding vena cava filter	For IVC with a diameter less than or equal to

28mm diameter

$2,348.00

### Inovanz (PTY) LTD

IZ001	ALN Vena Cava Filter	The ALN Vena Cava Filter is implanted into

the SVC via the femoral, brachial and jugular vein to prevent pulmonary emboli (PEs).

### WILLIAM A COOK AUSTRALIA PTY LTD

One size, diameter up to 32mm	$2,348.00

WC096	Cook Vena Cava Filter	Universal Filter	Diameter up to 40mm, Length up to 60mm	$2,348.00

| WC283 | Vena Cava Filter with NavAlign | The filter consists of a non-magnetic filter | Filter measures 30mm in diameter and 48mm | $2,348.00 |
| --- | --- | --- | --- | --- |
|  | Delivery System | (30mm diameter, 48mm long) preloaded on a | long |  |
|  |  | femoral filter introducer and/or a jugular filter |  |  |
|  |  | introducer, an 8.5 French coaxial introducer |  |  |
|  |  | system (compatible with a .035 inch wire |  |  |
|  |  | guide) for introduction and a hydrophilic coated |  |  |
|  |  | dilator. |  |  |

### Culpan Medical Pty

CB019	Option ELITE Vena Cava Filter	The Option ELITE Vena Cava Filter is

designed for the prevention of recurrent pulmonary embolism via percutaneous delivery in the inferior vena cava.

### Johnson & Johnson Medical Pty Ltd

JJ423	OPTEASE retrievable vena cava filter	OPTEASE is a laser cut nitinol vena cava filter,

used to treat patients at high risk of pulmonary embolisation

### WILLIAM A COOK AUSTRALIA PTY LTD

Suitable for vessels up to 32mm	$2,348.00

Suitable for vessels up to 30mm	$2,348.00

WC329	Cook Celect Platinum Vena Cava

Filter

# - Arterial

### Abbott Australasia Pty Ltd

The Cook Celect Platinum Vena Cava Filter is made of a biocompatible cobalt chromium alloy. Platinum markers are located on the end of the primary legs for increased radiopacity.

Length: 49mm Diameter: 30mm

$2,348.00

| AY018 | Emboshield | Embolic Protection Device, including delivery system, device specific procedural wire, filter for capturing embolic matter and retrieval system | Large and small. Two wire lengths: 190cm for Monorail system and 315cm for Over the wire | $2,100.00 |
| --- | --- | --- | --- | --- |
| AY030 | Accunet | Embolic Protection Device, including delivery system, device specific procedural wire, filter for capturing embolic matter and retrieval system. | 4.5 - 7.5; 190cm, 300cm length catheter | $2,100.00 |

### Boston Scientific Australia Pty Ltd

BS085	Filterwire EZ	Embolic Protection Device	Vessel compatibility 3.5mm - 5.5mm and

delivery system lengths up to 300cm.

$2,100.00

### Covidien Pty Ltd

AS192	Spider FX Embolic Protection Device	The Spider FX is a rapid exchange device

percutaneously delivered distal embolic protection device with components designed to capture and remove debris from vessels during interventional procedures in the vasculature.

Filter: 3.0 - 7.0mm; Capture Wire: 190 and 320cm

$2,100.00

### Johnson & Johnson Medical Pty Ltd

| JJ480 | Angioguard RX Emboli Capture Guidewire System | Distal protection device and delivery system | Length 180cm, Diameter 0.014"; basket sizes 4mm, 5mm, 6mm, 7mm and 8mm | $2,100.00 |
| --- | --- | --- | --- | --- |
|  | Medtronic Australasia Pty Ltd |  |  |  |
| MC954 | Mo.Ma Proximal Cerebral Protection Device | Mo.Ma Proximal Cerebral Protection Device. Protects the brain from embolisation, blocking antigrade blood flow from the common Carotid Artery and retrograde blood flow from the External Carotid Artery. | Minimum sheath size = 8F or 9F, Minimum diameter of inner working channel = 0.069"/1.76mm (8F sheath) or 0.083"/2.12mm (9F sheath); 0.035" guide wire compatible | $2,100.00 |
| MI035 | Mo.Ma Ultra Proximal Cerebral Protection Device | Cerebral embolic protection device: blocks antegrade blood flow from the common carotid artery and retrograde blood flow from the external carotid artery. Embolic protection is established before the lesion is crossed. | Minimum sheath size = 8F (5F inner working channel) or 9F (6F inner working channel) | $2,100.00 |

10.07.01 - Arterial Closure Devices

Abbott Australasia Pty Ltd

AY017	Starclose	6 Fr Exchange Sheath, Dilator, Guidewire, implantable nitinol clip pre-mounted on a Clip Applier

6 Fr	$410.00

AY033	Proglide	Suture Mediated Closure Device	5 - 8 French	$410.00

### Johnson & Johnson Medical Pty Ltd

JJ823	EXOSEAL (TM) Vascular Closure

Device

Vascular Closure Device	5 - 7F	$410.00

### MD Solutions Australasia Pty Ltd

MB008	Mynx Vascular Closure Device	Water-soluble synthetic sealant made of a

polyethylene glycol (PEG) The sealant is resorbed by the body within 30 days

### St Jude Medical Australia Pty Ltd

5F, 6/7F	$410.00

| SJ014 | Angio-Seal Vascular Closure Device - STS Platform and STS Plus | Angio-Seal Haemostatic Puncture Closure Device, Models 6F-STS Platform and 6F STS Plus | 6F | $410.00 |
| --- | --- | --- | --- | --- |
| SJ015 | Angio-Seal Vascular Closure Device - STS Platform and STS Plus | Angio-Seal Haemostatic Puncture Closure Device, Models 8F-STS Platform and 8F STS Plus | 8F | $410.00 |

Billing Code   Product Name	Description	Size

Benefit

Benefit

Condition

SJ094	Angio-Seal VIP	Angio-Seal Haemostatic Puncture Closure Device Models 6F STS Platform, 6F STS Plus and 7F VIP

SJ095	Angio-Seal VIP	Angio-Seal Haemostatic Puncture Closure Device Models 8F STS Platform, 8F STS Plus and 8F VIP

6F	$410.00

8F	$410.00

SJ155	Angio-Seal Evolution	Haemostatic Puncture Closure Device 6F-8F	6F and 8F	$410.00

SJ218	FemoSeal Vascular Closure System	Haemostatic Puncture Closure Device	One Size	$410.00

large

Abbott Australasia Pty Ltd

AY034	Prostar	Suture Mediated Closure Device - Closure of Large holes

Up to 24 French	$750.00

# - Particle

### Boston Scientific Australia Pty Ltd

BS034	Contour PVA, Contour SE	Polyvinyl Alcohol (PVA) embolization

particles spherical-shaped PVA

Up to 1200 micron, volume up to 2ml.	$204.00

### Device Technologies Australia Pty Ltd

DE294	Bead Block	Polyvinyl Alcohol hydrogel microspheres in pre-loaded syringe

### WILLIAM A COOK AUSTRALIA PTY LTD

2ml- (100 - 300, 300 - 500, 500 - 700, 700 -

900, 900 - 1200 microns

$204.00

WC044	PVA Embolisation particles	Embolisation & Occlusion	Particle Size Ranges (microns) 50-100, 100-

200, 200-300,300-500, 500-700, 700-1000,

1000-1500, 1500-2000, 2000-2800

$204.00

# - Coil, Peripheral

## - ≤200mm length

### WILLIAM A COOK AUSTRALIA PTY LTD

WC190	Detachable Mreye Embolization Coils	Standard Mreye	Diameters: .035 and .038, Extended Lengths: 1cm to 20cm, Coil Diameters: 3mm to 20mm

$66.00

Billing Code   Product Name	Description	Size

P

Benefit

Benefit

Condition

Boston Scientific Australia Pty Ltd

BS026	VortX and Pushable Coils	Pushable coils	Diameters up to 30mm and lengths up to 60mm

$143.00

### Johnson & Johnson Medical Pty Ltd

JJ224	TruFill Pushable coil	Platinum pushable coil of 1. Straight, 2. C, 3.

Flat spiral and 4. Complex shapes. Embolic coil and delivery tube.

Size .014" outer diameter. Size 2 - 10mm and length 2 - 100mm

$143.00

### Pyramed Pty Limited

PY008	Platinum Spirale and Cirrus embolisation coils <100mm

PY009	Platinum Spirale and Cirrus embolisation coils 100-150mm

Embolisation coils with or without fibers	Spiral diameter 2mm - 16mm; length 25mm -

80mm; coil diameter 0.27mm - 0.82mm

Embolisation coils with or without fibers	Spiral diameter 4mm - 10mm; length 100mm -

150mm; coil diameter 0.27mm - 0.82mm

$143.00

$143.00

### WILLIAM A COOK AUSTRALIA PTY LTD

WC038	Coil - Embolisation Coils MWCE-

TORNADO

### P (Platinum)

Tornado Platinum	Diameters: .018, .035 and .038, Coil Taper Diameters: 2mm to 10mm

$143.00

### WILLIAM A COOK AUSTRALIA PTY LTD

| WC039 | Cook Embolization Coil | Hilal Platinum | Diameters: .018, Extended Lengths: .5cm to 6cm, Coil Diameters: Straight to 10mm | $143.00 |
| --- | --- | --- | --- | --- |
| WC173 | Cook Embolisation Coils | Nester Platinum | Recommended catheter ID and end hole diameter inch: .018 and .035inch. Coiled embolus diameters: 2mm to 20mm. Extended embolus lengths: 30 to 200mm. | $143.00 |

P, Gel, repositionable Terumo Australia

TU053	AZUR Peripheral HydroCoil	AZUR Peripheral Coil, detachable	3-20mm diameter, length 3-50cm	$1,293.00

### P, ids (Platinum, integral delivery system) Boston Scientific Australia Pty Ltd

BS021	Interlock Detachable Coils	Platinum-tungsten, Fibered Occlusion System	Coil diameters up to 30mm and lengths up to

100cm. Delivery system lengths up 200cm

$1,250.00

### P, repositionable Terumo Australia

TU052	AZUR Peripheral Framing Coil	AZUR Peripheral Coil,detachable, Framing

Coil three dimensional complex shape

8-20mm diameter, length 20-50cm	$1,250.00

Billing Code   Product Name	Description	Size

P, repositionable (Platinum, repositionable) Penumbra Neuro Australia Pty Ltd

Benefit

Benefit

Condition

PN012	Penumbra Ruby Coil System	The Ruby Coil System is comprised of a

platinum embolisation coil attached to a composite pusher with a radiopaque positioning marker. The coil is transferred onto the microcatheter and the coil should be advanced under fluoroscopic guidance. The detachment handle is attached and advanced over the proximal end of the delivery pusher and then the coil is detached by using the retraction button on the handle into the preferred site.

Diameter.mm. - Length .cm.

3 x 5	6 x 12

6 x 20   6 x 30

7 x 25   7 x40

8 x 25   8 x 40

9 x 30  10 x 35

12 x 40 12 x 60

14 x 40  14 x 60

16 x 60  18 x 57

20 x 60  24 x 57

28 x 60  32 x 60

2 x 1   2 x 2

2 x 4   3 x 5

3 x 15  4 x 6

4 x 15  6 x 20

6 x 30  8 x 35

8 x 60  10 x 35

12 x 40  16 x 50

20 x 60  3 x 12

3 x 20  4 x 10

4 x 15  4 x 20

4 x 30  4 x 35

5 x 12  5 x 20

5 x 30  6 x 12

6 x 20  6 x 30

7 x 25  7  x40

8 x 25  8 x 40

9 x 30  10 x 35

12 x 40  12 x 60

14 x 40  14 x 60

16 x 60  18 x 57

20 x 60  24 x 57

28 x 60  32 x 60

2 x 1   2 x 2

2 x 4   3 x 5

3 x 15  4 x 6

4 x 15  6 x 20

6 x 30  8 x 35

8 x 60  10 x 35

12 x 40  16 x 50

20 x 60

$1,250.00

Billing Code   Product Name	Description	Size

WILLIAM A COOK AUSTRALIA PTY LTD

Benefit

Benefit

Condition

| WC319 | Detach Coil with Fibers | The Detach Coil with Fibers consists of a Teflon coated stainless delivery wire with a premounted platinum detachable coil with fibers. | Diameters: 3-20mm Length: 4-30cm | $1,250.00 |
| --- | --- | --- | --- | --- |
| WC320 | Retracta Detachable Embolization Coil | The Retracta Detachable Embolization Coil is a platinum coil with spaced synthetic fibers, and is attached to a delivery wire. | Coiled embolus diameters: 4-20mm Length: 7-14cm | $1,250.00 |

      - - >200mm length

P

Pyramed Pty Limited

PY010	Platinum Spirale and Cirrus embolisation coils 200-450mm

# - Polymer

## - 0.5ml

Embolisation coils with and without fibers	Spiral diameter 5mm - 16mm; length 200mm -

450mm; Coil diameter 0.82mm.

$286.00

### Endotherapeutics Pty Ltd

ET008	Embospheres	-	.5ml per implant	$320.00

## - 1ml

### Endotherapeutics Pty Ltd

ET007	Embospheres	-	1ml per implant	$420.00

## - 2ml

### Boston Scientific Australia Pty Ltd

BS314	Embozene Microspheres	Uniquely colour-coded microspheres used in

the embolization of hypervascular tumours and arteriovenous malformations

In between the range of 40 - 1130 micron - 2ml

$630.00

### Endotherapeutics Pty Ltd

ET006	Embospheres	-	2ml per implant	$630.00

    - - Complex Occlusion Devices, including detachable balloon, sph

St Jude Medical Australia Pty Ltd

SJ265	Amplatzer Vascular Plug	Self expandable nitinol wire mesh	Diameter 4mm - 16mm, Length 7 & 8mm	$1,900.00

SJ268	Amplatzer Vascular Plug III	AVP III is a self-expanding, Nitinol mesh

occlusion device.

SJ269	AMPLATZER Vascular Plug 4	The AMPLATZER Vascular Plug 4 (AVP4) is

a self-expanding, Nitinol mesh occlusion device. The Device has a radiopaque marker band at each end and a micro screw attachment at one end for attaching to the delivery wire. The AVP4 fits through a 0.038 guidewire compatible diagnostic catheter allowing the use of the same catheter throughout the procedure rather than having to exchange the diagnostic catheter for a second delivery catheter to place a plug.

Size: (mm): 4, 6, 8, 10, 10, 12, 12, 14, 14

Long Axis (mm): 4, 6, 8, 10, 10, 12, 12, 14,

14 Length (mm): 6.5

4mm 4 diameter 10.0 length

5mm 5 diameter 10.5 length

6mm 6 diameter 11.0 length

7mm 7 diameter 12.5 length

8mm 8 diameter 13.5 length

$1,900.00

$1,900.00

ids

St Jude Medical Australia Pty Ltd

SJ266	AMPLATZER Vascular Plug - II	The AMPLATZER Vascular Plug II is a self-

expandable, multi-lobed cylindraical device made from a nitinol wire mesh.

9-AVP2-003, 3mm Diameter, 6mm Plug Length, 9-AVP2-004, 4mm Diameter, 6mm Plug Length, 9-AVP2-006, 6mm Diameter, 6mm Plug Length, 9-AVP2-008, 8mm Diameter, 7mm Plug Length, 9-AVP2-010, 10mm Diameter, 7mm Plug Length, 9-AVP2- 012, 12mm Diameter, 9mm Plug Length, 9- AVP2-014, 14mm Diameter, 10mm Plug Length, 9-AVP2-016, 16mm Diameter, 12mm Plug Length, 9-AVP2-018, 18mm Diameter, 14mm Plug Length, 9-AVP2-020, 20mm Diameter, 16mm Plug Length, 9-AVP2-022, 22mm Diameter, 18mm Plug Length

$2,100.00

### Penumbra Neuro Australia Pty Ltd

PN016	Penumbra POD Occlusion Device	The Peripheral Occlusion Device (POD) is

comprised of a platinum embolisation coil attached to a composite pusher with a radiopaque positioning marker. The coil is transferred onto the microcatheter and the coil should be advanced under fluoroscopic guidance. The detachment handle is attached and advanced over the proximal end of the delivery pusher and then the coil is detached by using the retraction button on the handle into the preferred site.

30cm Length 3.25-4mm diameter, 30cm Length 4-5mm diameter, 50 cm Length 5- 6mm diameter, 60 cm Length 6-8 mm diameter

$1,900.00

### Microcatheter

Medtronic Australasia Pty Ltd

MI185	MVP Microvascular Plug System	MVP Microvascular Plug can be delivered

through a microcatheter to enable rapid occlusion.

Unconstrained device diameter (mm): 5.3, 6.5,

9.2, & 13.0

$2,100.00

# - Liquid

### Covidien Pty Ltd

AS190	Onyx	DSMO/Liquid Embolic Material	18, 20, 34 (formulations)	$2,300.00

### ids (integral delivery system)

Covidien Pty Ltd

AS191	Onyx System	DSMO Liquid Embolic Material	500 Formulation	$4,950.00

# - Delivery Device For Occlusion Media

## - Catheter

### Boston Scientific Australia Pty Ltd

BS028	GDC and PVA Delivery Catheters	Microcatheter Delivery Systems	Delivery system lengths up to 175cm	$700.00

### WILLIAM A COOK AUSTRALIA PTY LTD

WC296	Cantata Superselective Microcatheter	Cantata 2.5, Cantata 2.8, Cantata 2.5 Duo and

Cantata 2.8 Duo Microcatheters

2.5F and 2.8F. Length: 100-150cm	$700.00

## - Detachment Controller

### Penumbra Neuro Australia Pty Ltd

PN017	Penumbra Ruby Coil System,

Detachment Handle

### Terumo Australia

TU054	AZUR Peripheral Coil Detachment

Controller

The Ruby Coil System is comprised of a platinum embolisation coil attached to a composite pusher with a radiopaque positioning marker and a Detachment Handle. The coil is transferred onto the microcatheter and the coil should be advanced under fluoroscopic guidance. The detachment handle is attached and advanced over the proximal end of the delivery pusher and then the coil is detached by using the retraction button on the handle into the preferred site.

Hand held battery powered coil detachment controller

N/A	$350.00

One size only	$350.00

# - Percutaneous Catheters, Single Lumen

### Kendall Australasia Pty Ltd TA Covidien Pty Ltd

KA008	Single Lumen Right Atrial Catheter	Central Venous Catheters constructed of

radiopaque silicone rubber

84cm, 1.3mm OD, 94cm 2.2mm OD, 94cm 3.2mm OD

$119.00

### Teleflex Medical Australia

TX026	Arrow Peripherally Inserted Central Catheterisation Sets

TX027	Arrow Peripherally Inserted Central Catheterisation Sets

Range of Polyurethane single lumen peripherally inserted central catheters with or without stylet

Range of Polyurethane single lumen peripherally inserted central catheters with or without stylet

- Fr, range of lengths	$119.00

- Fr, range of lengths	$119.00

### WILLIAM A COOK AUSTRALIA PTY LTD

WC111	Cook Central Venous Catheterisation Kit

WC113	Cook Central Venous Catheterisation Kit

Single lumen peripherally inserted catheter set, which may include catheter, standard or micropuncture introducer set

Single lumen peripherally inserted catheter set, includes catheter, needle, J-wire, MPIS wire and introducer

3 - 6 Fr, 40 - 80cm	$119.00

Fr 3, 4, 5 and Length 50 and 60cm	$119.00

WC201	Cook Central Venous Catherisation

Kits

WC202	Cook Central Venous Catheterisation Kits

WC204	Cook Central Venous Catheterisation Kits

WC207	Cook Central Venous Catheterisation Kits

cu

Turbo-Flo Peripherally Inserted Central Venous Catheter Set, Single Lumen Polyurethane with Micropuncture Peel-Away Sheath Introducer and Wire Guide

Turbo-Flo Peripherally Inserted Central Venous Catheter Set, Single Lumen Polyurethane with Peel Away Sheath Introducer and Wire Guide

Turbo-Flo Over-The-Wire Peripherally Inserted Central Venous Catheter Set, Single Lumen Polyurethane with Micropuncture Peel-Away Sheath Introducer and Wire Guide

PICC Peripherally Inserted Central Venous Catheter Set, Catheter without Clamp, Single Lumen Silicone with Micropuncture Peel-Away Sheath Introducer and Wire Guide

4Fr - 60cm and 5Fr - 60cm	$119.00

5Fr - 60cm	$119.00

4Fr - 60cm and 5Fr -60cm	$119.00

3Fr - 50cm and 4Fr and 5Fr - 60cm	$119.00

### Bard Australia Pty Ltd

BA049	Hickman/Broviac Catheters	Open-Ended CVC, Single Lumen	2.7Fr - 9.6Fr	$180.00

BA125	Groshong Central Venous Catheter	Closed-Ended CVC, Single Lumen	5.5Fr - 9.5Fr	$180.00

BA129	Groshong Peripherally Inserted Central Catheter

Closed-Ended PICC, Single Lumen	3Fr - 5Fr	$180.00

### WILLIAM A COOK AUSTRALIA PTY LTD

WC117	Cook Central Venous Long Term

Catheter

Cook TPN single lumen catheter set	Fr 3, length 55; Fr 4, length 65cm, Fr 6.5

length 65, 90cm, Fr 9.5, length 90cm

$180.00

### pi

Bard Australia Pty Ltd

BA184	Peripherally Inserted Central Catheter	Power Injectable PICC, Single Lumen	4Fr - 6Fr	$165.00

BA212	Peripherally Inserted Central Catheter	Valved, Power Injectable PICC, Single Lumen	4Fr - 6Fr	$165.00

BA220	Groshong Peripherally Inserted Central Catheter

### pi (power injection)

Emergo Asia Pacific Pty Ltd

ER134	Single Lumen Peripherally Inserted

Central Catheter

Closed-Ended, Power Injectable PICC, Single Lumen

Power injectable with Pressure Activated Safely Valve (PASV) technology

5Fr	$165.00

3F x55cm, 4F x 55cm, 5F x 55cm	$165.00

### A (Anti-infective Agent Coating) Teleflex Medical Australia

TX030	ARROWg+ard Blue Single Lumen

Central Venous Catheters

### pi (power injection)

Bard Australia Pty Ltd

A polyurethane central venous catheter with Blue FlexTip (of various lengths, sizes and lumen configurations) with antimicrobial impregnation (chlorhexidine and silver sulphadiazine) on the external surface of the polyurethane catheter body.

CS-24301 - 16g x 20cm, Single Lumen, Adult CS-24306E-16g x 16cm, Single Lumen Adult CS-24701 - 14g x 20cm, Single Lumen Adult CS-24706E -14g x 16cm, Single Lumen, Adult

$150.00

BA268	PowerGlide	Single lumen, power injectable percutaneous catheter

18 - 20 Gauge	$165.00

### Teleflex Medical Australia

TX036	Arrow single lumen pressure

injectable peripherally inserted central catheter (PICC) sets

Single lumen pressure injectable peripherally inserted central catheter (PICC) sets

3, 4, Fr single lumen Pressure Injectable PICCs various Pressure Injection rates, various lengths.

$165.00

### WILLIAM A COOK AUSTRALIA PTY LTD

WC279	Turbo-Ject Peripherally Inserted

Central Catheter Set ( Single Lumen)

3/4/5/6 Fr Single Lumen Polyurethane PICC with Micropuncture Peel-Away Sheath Introducer and Echogenic needle

3, 4, 5, 6 French, 40 and 60 cm catheter length, single lumen catheter

$165.00

# - Percutaneous Catheters, Multiple Lumen

### Bard Australia Pty Ltd

BA130	Groshong Peripherally Inserted Central Catheter

### Teleflex Medical Australia

Closed-Ended PICC, Multiple Lumen	3Fr - 5Fr	$119.00

TX028	Arrow Peripherally Inserted Central Catheterisation Sets

Range of Polyurethane double lumen peripherally inserted central catheters with or without stylet

4 and 5 Fr, range of lengths	$119.00

### WILLIAM A COOK AUSTRALIA PTY LTD

WC112	Cook Central Venous Catheterisation Kit

Double or triple lumen peripherally inserted catheter set, which may include catheter, standard or micropuncture introducer set

3 - 8 Fr 40 - 80cm	$119.00

WC114	Cook Central Venous Catheterisation Kit

WC203	Cook Central Venous Catherisation

Kits

WC205	Cook Central Venous Catheterisation Kits

### cu

Double lumen peripherally inserted catheter set, includes catheter, needle, J-wire, MPIS wire and introducer

Turbo-Flo Peripherally Inserted Central Venous Catheter Set, Dual Lumen Polyurethane with Peel-Away Sheath Introducer and Wire Guide

Turbo-Flo Over-The Wire Peripherally Inserted Central Venous Catheter Set, Dual Lumen Polyurethane with Micropuncture Peel-Away Sheath Introducer and Wire Guide

Fr 6, 7 and Length 58 and 60cm	$119.00

5Fr - 60cm	$119.00

5Fr - 60cm	$119.00

### Bard Australia Pty Ltd

BA051	Hickman/Leonard Catheters	Open-Ended CVC, Multiple Lumen	7Fr - 12.5Fr	$361.00

BA126	Groshong Central Venous Catheter	Closed-Ended CVC, Multiple Lumen	5.5Fr - 9.5 Fr	$361.00

BA209	HemoStar Long Term Haemodialysis Catheter

Dialysis Catheter, Multiple Lumen	14.5Fr - 16Fr	$361.00

### Medical Specialties Australia Pty Ltd

MS009	Catheterisation kits(Horizon Medical)	Central Venous Catheter - right atrial catheter,

silicone

### WILLIAM A COOK AUSTRALIA PTY LTD

2.7 -14F	$361.00

WC119	Cook Central Venous Long Term

Catheter Set

Cook TPN double lumen catheter set	Fr 7, length 65cm, Fr 9 length 90cm, Fr 12,

90, special

$361.00

WC122	Cook Central Venous Long Term

Catheter

Cook TPN triple lumen catheter set	Fr 8, length 90cm	$361.00

### pi

Bard Australia Pty Ltd

BA183	Peripherally Inserted Central Catheter	Power Injectable PICC, Multiple Lumen	4Fr - 6Fr	$225.00

BA213	Peripherally Inserted Central Catheter	Valved, Power Injectable PICC, Multiple

Lumen

4Fr-6Fr	$225.00

### Teleflex Medical Australia

TX040	Arrow Pressure Injectable Triple-

Lumen PICC.

### pi (power injection)

Emergo Asia Pacific Pty Ltd

ER135	Dual Lumen Peripherally Inserted Central Catheter

Pressure injectable triple lumen PICC (Peripherally Inserted Central Catheter) Set

Power injectable with Pressure Accivated Safety Valve (PASV) technology

6Fg x 50cm, triple lumen	$225.00

5F x55cm, 6F x 55cm	$225.00

| Billing Code | Product Name | Description | Size | Benefit | Benefit | Condition |
| --- | --- | --- | --- | --- | --- | --- |
| ER136 | Triple Lumen Peripherally Inserted Central Catheter | Power injectable with Pressure Activated Safety Valve (PASV) technology | 6F x 55cm | $225.00 |  |  |

A (Anti-infective Agent Coating)

Teleflex Medical Australia

TX031	ARROWg+ard Four & Five Lumen

Central Venous Catheters

TX032	ARROWg+ard Blue Double & Triple Lumen Central Venous Catheters

TX033	ARROWg+ard Blue Plus QUAD

Lumen Central Venous Catheters

TX034	ARROWg+ard Blue Plus Double &

Triple Lumen Central Venous Catheters

A polyurethane central catheter with Blue FlexTip (of various lengths, sizes and lumen configurations) with antimicrobial impregnation (chlorhexidine and silver sulphadiazine) on the external surface of the polyurethane catheter material

A polyurethane central venous catheter with Blue FlexTip (of various lengths, sizes and lumen configurations) with antimicrobial impregnation (chlorhexidine and silver sulphadiazine) on the external surface of the polyurethane catheter material

Central Venous Catheters (of various lengths, sizes and lumen configurations with antimicrobial impregnation on: 1. The external indwelling surface of catheter material (chorhexidine and silver sulphadiazine) 2. The entire internal fluid pathway including catheter, extension-lines and hubs (chlorhexidine acetate)

Double & Triple Lumen Central Venous Catheters (of various lengths sizes and lumen configurations) with antimicrobial impregnation on: 1. The external indwelling surface of catheter material (chlorhexidine and silver sulphadiazine) 2. The entire internal fluid pathway including catheter, extension-lines and hubs (chlorhexidine acetate)

CS-22854E - 8.5 Fr x 16cm, Quad Lumen CS-25854E - 8.5Fr x 20cm, Quad Lumen CS-22855 - 8.5 x 16cm, Five Lumen

CS-25855 - 8.5Fr x 20cm, Five Lumen

CS-24402 - 4Fr x 13cm, Dual Lumen CS- 22502 -5Fr x 5cm, Dual Lumen CS-25402 - 4Fr x 8cm, Dual Lumen CS-25502 - 5Fr x 12cm, Dual Lumen

CS-22702E - 7Fr x 16cm, Double Lumen CS- 26702 - 7Fr x 20cm, Double Lumen CS-

27702E - 7Fr x 20cm, Double Lumen CS- 25553 - 5.5Fr x 8cm, Triple Lumen CS- 22703E - 7Fr x 16cm, Triple Lumen CS- 26553 -5.5Fr x 13cm, Triple Lumen CS- 24703E - 7Fr x 30cm, Triple Lumen

CS-25703E - 7Fr x 20cm, Triple Lumen

CS-42854E - 8.5Fr x 16cm, Quad Lumen CS- 45854E - 8.5Fr x 20cm, Quad Lumen

CS-45802E - 8 Fr x 20cm, Dual Lumen CS- 46702E - 7Fr x 20cm, Dual Lumen CS- 47702E - 7Fr x 20cm, Dual Lumen CS- 42703E - 7Fr x 16cm, Triple Lumen CS- 45703E - 7Fr x 20cm, Triple Lumen

$150.00

$150.00

$150.00

$150.00

WILLIAM A COOK AUSTRALIA PTY LTD

WC230	Cook Spectrum CVC Catheter 3

Lumen with antibiotic impregnation

Triple lumen CVC line with antibiotic impregnation

5Fr, 7Fr, 9Fr	$150.00

| Billing Code | Product Name | Description | Size | Benefit | Benefit | Condition |
| --- | --- | --- | --- | --- | --- | --- |
| WC231 | Cook Spectrum 5 Lumen CVC Catheter with antibiotic impregnation | 5 lumen CVC with antibiotic impregnation | 10Fr | $150.00 |  |  |
| WC321 | Cook Spectrum Central Venous Catheter with antibiotic impregnation - 2 lumen | Double lumen CVC line with antibiotic impregnation | 4 Fr, 5 Fr, 8 Fr. Catheter length 5-25cm | $150.00 |  |  |

### A (Anti-infective Agent Coating), pi (power injection) Teleflex Medical Australia

TX043	Pressure Injectable ARROWg+ard®

Blue Plus Antimicrobial Multi-

Lumen Central Venous Catheters

### pi (power injection)

Teleflex Medical Australia

TX035	Arrow multi lumen pressure

injectable peripherally inserted central catheter (PICC) sets

Pressure Injectable Multi Lumen Central

Venous Catheters (of various lengths sizes and lumen configurations) with antimicrobial impregnation of the internal and external catheter with Chlorhexidine and Silver Sulphadiazine.

Arrow multi lumen pressure injectable PICC (peripherally inserted central catheter) sets

CS42703HP: 16cm x 7Fr Triple Lumen

Catheter

CS45703HP: 20cm x 7Fr Triple Lumen Catheter

CS42854HP: 16cm x 8.5Fr Quad Lumen

Catheter

CS45854HP: 20cm x 8.5Fr Quad Lumen Catheter

4, 5, 6Fr multi lumen Pressure Injectable PICCs various Pressure Injection rates, various lengths. Double & triple Lumen configurations.

$225.00

$225.00

### WILLIAM A COOK AUSTRALIA PTY LTD

| WC280 | Turbo-Ject Peripherally Inserted Central Catheter Set (Double Lumen) | 4/5 Fr Double Lumen Polyurethane PICC with Micropuncture Peel-Away Sheath Introducer and Echogenic needle | 4 and 5 French, 60 cm Catheter length, double lumen catheter | $225.00 |
| --- | --- | --- | --- | --- |
| WC297 | Turbo-Ject Peripherally Inserted | Turbo-Ject Peripherally Inserted Central | 6Fr, Catheter length 60cm | $225.00 |
|  | Central Venous Catheters Set (Triple | Venous Catheters (PICC) Sets are intended for |  |  |
|  | Lumen) | short- or long-term use for venous pressure |  |  |
|  |  | monitoring, blood sampling, administration of |  |  |
|  |  | drugs (eg chemotherapy) and fluids (eg TPN), |  |  |
|  |  | and for use with power injectors for delivery of |  |  |
|  |  | contrast in CT studies. |  |  |

    - - Percutaneous Catheters, Multiple Lumen for Haemodialysis

Bard Australia Pty Ltd

BA211	Haemodialysis Catheters	Haemodialysis Catheters, multiple lumen	11Fr - 13.5Fr	$127.00

Billing Code   Product Name	Description	Size

Kendall Australasia Pty Ltd TA Covidien Pty Ltd

Benefit

Benefit

Condition

KA007	Mahurkar Subclavian Catheter Kit	Chronic haemodialysis, long term vascular

access for haemodialysis and apheresis. Constructed of radiopaque silicone rubber.

36, 40cm	$127.00

KA012	Mahurkar Subclavian Catheter Kit	Acute haemodialysus, short term vascular

access. Catheters constructed of radiopaque polyurethane. Tips are made of polyvinyl chloride and are more radiopaque than the rest of the catheter.

11.5 Fr, 13.5cm Straight Exten, 11.5 Fr, 16cm Straight Exten, 11.5 Fr 19.5cm Straight Exten, 10 Fr 12cm Curved Exten, 10 Fr 15cm Curved Exten, 11.5 Fr 16cm Curved Exten, 11.5 Fr 16cm Curved Exten, 11.5 Fr 19.5cm Curved Exten

$127.00

KA014	Mahurkar Maxid Catheters	Catheters constructed of radiopaque

polyurethans, high kink resistant. The arterial lumen is shorter than the venous lumen at the catheter's distal end in order to reduce recirculation during haemodialysis

Size, 38, 43, 48, 53cm	$127.00

KA019	Mahurkar 12Fr Triple Lumen Catheter	Mahurkar 12Fr Triple Lumen Catheter Curved

Extension Kit

12Fr - 13cm, 16cm, 19cm & 24cm lengths available

$127.00

KA020	Mahurkar 13.5Fr Q-Plus Dual Lumen Catheter

Mahurkar 13.5Fr Q-Plus Curved Extension Double Lumen Catheter Kit

13.5Fr - 13.5cm, 16cm, 19cm & 24cm lengths available

$127.00

### cu

Bard Australia Pty Ltd

BA140	Haemodialysis Catheters	Dialysis Catheter, Multiple Lumen	12.5Fr - 16FR	$330.00

### Kendall Australasia Pty Ltd TA Covidien Pty Ltd

KA011	Permcath Dual Lumen Catheter	Chronic Haemodialysis, long term vascular

access for haemodialysis and aphaeresis. Constructed of radiopaque silicone rubber.

KA013	Permcath Dual Lumen Catheter	Chronic haemodialysis, long term vascular

access for haemodialysis and aphaeresis. Constructed of radiopaque silicone rubber.

36cm, 40cm	$330.00

28, 36, 40cm	$330.00

KA018	Palindrome	Haemodialysis catheter	14.5Fr. 19, 23, 28, 33, 55cm Insertion

Lengths, with 36, 40, 45, 50, 72cm Overall length, with side slots, symmetric tip

$330.00

|  | Tekmed Pty Ltd |  |  |  |
| --- | --- | --- | --- | --- |
| TK005 | Medcomp Long Term Catheter sets for Haemodialysis | ASH, TESIO-BioFlex with cuff | 10, 14 French 24,28,32 & 36cm lengths | $330.00 |
| TK006 | Medcomp Long Term Catheter sets for Haemodialysis | HemoFlow HFS-Carbothane with cuff | 14.5 French 24,28,32 & 36cm lengths | $330.00 |

Billing Code   Product Name	Description	Size

Teleflex Medical Australia

Benefit

Benefit

Condition

TX037	Arrow Cannon II Plus Chronic

Haemodialysis Catheter Set

Dual Lumen, Retrograde Tunneled, Cuffed, Tip First, Chronic Haemodialysis Catheter Set

15Fg x 24 - 55cm	$330.00

### pi

Bard Australia Pty Ltd

BA215	Haemodialysis Catheter	Power Injectable, Triple Lumen Haemodialysis

Catheter

13Fr	$368.00

### Baxter Healthcare Pty Ltd

BX338	GamCath High Flow Catheter Kit	GamCath High Flow Catheter is a

polyurethane, kidney elliptical multi lumen, staggered tipped catheter kit, which ensures flows up to 430ml/min

### WILLIAM A COOK AUSTRALIA PTY LTD

11.5fr and 13fr guage. Available in 150mm, 175mm, 200mm and 250mm length and straight and curved configuration.

$127.00

WC333	Turbo-Flo HD Catheter	Haemodialysis catheter, double lumen.	12 French with a length of 15, 20, or 25 cm	$127.00

### A (Anti-infective Agent Coating)

Baxter Healthcare Pty Ltd

BX339	GamCath Dolphin Protect HighFlow Haemodialysis Catheter Kit

Haemodialysis catheter with a modified anti- thrombogenic surface (polymer system of polydimethysilxane blocks) and a non-release anti-microbial coating (Bismith copolymer film) on internal and external surfaces of catheter.

109585 - 13Fr x 15cm double lumen: 109584 - 13FRx 20cm double lumen, 109705 - 13Fr x 25cm double lumen; 109706 - 13Fr x 15cm curved double lumen; 109707 - 13Fr x 20cm curved double lumen.

$158.00

Billing Code   Product Name	Description	Size

Teleflex Medical Australia

Benefit

Benefit

Condition

TX029	ARROWg+ard Blue Haemodialysis

Catheters

Haemodialysis Catheters (of various lengths, sizes and lumen configurations) with antimicrobial impregnation (chlorhexidine and silver sulphadiazine) on the external surface of the polyurethane catheter material.

CS-22122 - 12Fr 16cm, Dual Lumen CS- 22123 – 12Fr 16cm, Triple Lumen CS-25122 – 12Fr x 20cm, Dual Lumen CS-22142CF –

14Fr x 15cm, Dual Lumen, Curved, Firm CS- 22142F – 14Fr x 15cm, Dual Lumen Firm CS-

25122 – 12Fr x 20cm, Double Lumen CS- 25123 – 12Fr x 20cm, Triple Lumen CS- 25142CF – 14Fr x 20cm, Double Lumen, Curve, Firm CS-25142F – 14Fr x 20cm, Double Lumen, Firm CS-26142F – 14Fr x 25cm, Double Lumen, Firm CU-22122 – 12Fr x 16cm, Double Lumen, Curved CU-

23122 – 12Fr x 13cm, Double Lumen, Curved CU-25122 – 12Fr x 20cm, Double Lumen, Curved, Dueal Lumen CS-22142CF - 14Fr x 15cm, Dual Lumen, Curved, Firm CS-  22142F - 14Fr x 15cm, Dual Lumen Firm CS- 25122 - 12Fr x 20cm

$158.00

# - Infuser Ports, Single Chamber

### B Braun Australia Pty Ltd

BB170	Celsite Access Port for pain relief	Composition - polysulphone. Kit includes

tunnelling rod, filter, connectors, needles, syringe, tuohy needle

Diameter of septum:11.7mm. Height: 11.5mm. Dimension: 25.8 x 37.8mm

$500.00

### Bard Australia Pty Ltd

BA057	Groshong Subcutaneous Ports	Titanium or MRI Implatable Port, Closed-

Ended Catheter, Single Chamber

BA221	Implanted infusion Port	Titanium or MRI Implanted Port, Open-Ended

Catheter, Single Chamber

### WILLIAM A COOK AUSTRALIA PTY LTD

7Fr - 8 Fr	$500.00

6Fr - 9.6Fr	$500.00

| WC093 | Cook Implantable Injection/Infusion Ports | Petite or Standard, single or multiple chamber Polysulfone Port which may include micropuncture or standard introducer set | 3 - 12 Fr pre-attached or detached catheter or valve system | $500.00 |
| --- | --- | --- | --- | --- |
| WC115 | Cook Implantable Injection/Infusion Port | Mini, single or multiple chamber titanium Port which may include micropuncture introducer set | 3 - 12 Fr pre-attached or detached catheter or valve system | $500.00 |

Billing Code   Product Name	Description	Size

Benefit

Benefit

Condition

WC299	Vital-Port	Mini, petite or standard, single chamber Titanium port which may include micropuncture or standard introducer set

5-6.5Fr pre-attached catheter or valve system	$500.00

### pi

Bard Australia Pty Ltd

BA181	PowerPort	Titanium or MRI implantable port, Open-ended Catheter, Single Chamber

BA208	PowerPort with Groshong Catheter	Titanium or MRI implantable Port, Closed-

Ended Catheter, Single Chamber

### Medical Specialties Australia Pty Ltd

6Fr - 8Fr	$630.00

8Fr	$630.00

| MS014 | Injection/Infusion Ports Sterile | Plastic/titanium, single lumen | 5-15F | $630.00 |
| --- | --- | --- | --- | --- |
| MS016 | Injection/Infusion Ports Sterile | Plastic/titanium, paediatric | 5, 6, 7,8, 9.6F | $630.00 |

### WILLIAM A COOK AUSTRALIA PTY LTD

WC300	Vital-Port	Standard, power-injectable single chamber titanium Port which may include micropuncture or standard introducer set

7.5-9.5Fr pre-attached or detached catheter or valve system

$630.00

### pi (power injection)

Fresenius Kabi Australia Pty Ltd

FK007	Ambix Intraport CP Powerflow &

Ambix Intraport T Powerflow

Ambix Intraport® systems are completely implantable catheter systems. They consist of a casing, a medicine compartment with a silicone membrane and a catheter which can be connected to the port casing.

Port: 8086012 Ambix Intraport CP Powerflow Material: PEEK casing with aluminium oxide ceramic medicine compartment

Diameter of port base: 30mm Port Weight: 7.8/7.6g

Port filling volume: 0.21/0.25ml Port: 8086442

Material: Titanium Diameter of port: 30mm Port Height: 13.8mm Port weight: 12.6g

Port filling volume: 0.56ml

$630.00

Billing Code   Product Name	Description	Size

    - - Infuser Ports, Multiple Chamber

Benefit

Benefit

Condition

Bard Australia Pty Ltd

BA059	Dual Lumen Subcutaneous Ports	Silicone, Polyurethane or ChronoFlex Open-

ended Catheter

### Medical Specialties Australia Pty Ltd

7 - 10 French Catheter	$786.00

MS015	Injection/Infusion Ports Sterile	Plastic/titanium, dual lumen	10, 10.5, 12F	$786.00

### WILLIAM A COOK AUSTRALIA PTY LTD

WC164	Cook Implantable Injection/Infusion

Ports

Dual or Multiple Chamber Titanium Port which may include micropuncture or standard introducer set

3 - 12 Fr pre-attached or detached catheter or valve system

$786.00

# 10.10.01 - Peritoneal Dialysis, Long Term Implantable Catheters

### cu

Kendall Australasia Pty Ltd TA Covidien Pty Ltd

KA001	Tenckhoff Peritoneal Dialysis

Catheter

Adult 2 cuff, Adult 1 cuff, Adult 0 Cuff	42cm to 47cm length. All Peritoneal Catheters

excluding the Swan Neck Fast Flow Catheter, have an internal diameter of 2.67mm and an external diameter of 4.95 mm.

$175.00

KA002	Tenckhoff Peritoneal Dialysis

Catheter

Paediatric 2 cuff, Paediatric 1 cuff, Neonatal 1 cuff

31cm to 37 cm length. All Peritoneal Catheters excluding the Swan Neck Fast Flow Catheter, have an internal diameter of 2.67mm and an external diameter of 4.95 mm.

$175.00

KA003	Fast Flow Peritoneal Dialysis Catheter	Swan Neck, 2 cuff	Int.diam: 3.2mm; ext diam 5.49mm.All Peritoneal Catheters excluding the Swan Neck Fast Flow Catheter, have an internal diameter of 2.67mm and an external diameter of 4.95 mm.

$175.00

KA004	Swan Neck Curl Peritoneal Dialysis

Catheter

Adult 2 cuff, left	62 cm length. All Peritoneal Catheters excluding the Swan Neck Fast Flow Catheter, have an internal diameter of 2.67mm and an external diameter of 4.95 mm.

$175.00

| Billing Code | Product Name | Description | Size | Benefit | Benefit | Condition |
| --- | --- | --- | --- | --- | --- | --- |
| KA005 | Swan Neck or Swan neck Tenckhoff | Adult-left, Adult-right, Adult, 2 cuff-left, Adult, | 20 to 25cm external segment or 43cm length. | $175.00 |  |  |
|  | Peritoneal Dialysis Catheter | 2 cuff-right | All Peritoneal Catheters excluding the Swan |  |  |  |
|  |  |  | Neck Fast Flow Catheter, have an internal |  |  |  |
|  |  |  | diameter of 2.67mm and an external diameter |  |  |  |
|  |  |  | of 4.95 mm. |  |  |  |
| KA006 | Tenckhoff Peritoneal Dialysis | Adult, 2 cuffs | 57 to 62cm length. All Peritoneal Catheters | $175.00 |  |  |
|  | Catheter, Curl |  | excluding the Swan Neck Fast Flow Catheter, |  |  |  |
|  |  |  | have an internal diameter of 2.67mm and an |  |  |  |