**Billing Code Product Name Description Size**

* + 1. **- Mesh - Metal**
       1. **- <0.2mm thick, 1-50cm²**

**Benefit**

**Benefit**

**Condition**

**KLS Martin Australia Pty Limited**

KT027 Martin Level One Fixation Mesh, Titanium <0.2mm thick, 1 to 10cm² area $165.00

* + - 1. **- <0.2mm thick, 51-100cm²**

### KLS Martin Australia Pty Limited

KT026 Martin Level One Fixation Mesh, Titanium <0.2mm, 51 to 100cm² area $380.00

## - 0.2-0.49mm thick, 1-10cm²

### KLS Martin Australia Pty Limited

KT031 Martin Level One Fixation Mesh, Titanium 0.2 to 0.49mm thick, 1 to 10cm² area $350.00

### Complex

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY577 AO/ASIF Plate Titanium contourable mesh; Orbital & Pre- Shaped

### KLS Martin Australia Pty Limited

<0.5mm $725.00

KT034 Martin Level One Fixation Mesh, Titanium 0.2 to 0.49mm thick, 1 to 10cm² area $725.00

## - 0.2-0.49mm thick, 11-50cm²

### Australian Surgical Innovations Pty Ltd

AI005 ASI Plates and Screws Mesh . $700.00

### KLS Martin Australia Pty Limited

KT060 Martin Level One Fixation Mesh, Titanium 0.9-0.49mm thick, 11-50cm² $700.00

### Lifehealthcare Pty Ltd

LH508 Martin Osteosynthesis 1.5mm System Mesh thin 50cm2

### LMT Surgical Pty Ltd

Mesh, Titanium 0.2-0.49mm thick, 11-50cm2 $700.00

LM217 Bioplate Biomesh System Titanium cranial biomesh 0.3 to 0.45mm thickness, 32-60mm x 43-

60mm

$700.00

**Billing Code Product Name Description Size**

**Medtronic Australasia Pty Ltd**

**Benefit**

**Benefit**

**Condition**

MC889 TiMesh Square-rectangular Gridmesh Panel 11 to 25 cm2 area $700.00

MC914 TiMesh Titanium Rigid Fixation

Bone Grafting and Plating System

### Surgiplas Medical

FlexMesh 1.5mm System. Composition: Titanium

26 to 50 cm2 area; 0.3mm thick $700.00

SP068 Plates Micro, Mini, Maxi Mesh 50mm x 74mm Mesh 26 to 50cm2 area $700.00

SP080 Plates Micro, Mini Mesh 50mm x 37, 36 x 50mm, Mesh 11 to 25cm2 area

SP107 OsteoMed Plating & Fixation System Plates 40 x 40mm Osteoform Mesh, Mesh 11 to 25cm2 area.

$700.00

$700.00

### Zimmer Biomet Pty Ltd

BI604 W Lorenz Osteosynthesis System Sheet, 1mm System. Titanium 85x50x0.2mm $700.00 BI645 W Lorenz Osteosynthesis System Mesh panel, 1.5mm System Titanium (41-83) x (39-54mm) (0.3 or 0.2mm) $700.00

### Complex

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY578 AO/ASIF Plate Titanium contourable mesh; Mastoid, Cranial & Pre-Shaped

0.2mm-0.49mm $850.00

### Stryker Australia Pty Ltd

HW528 Stryker Neuro Mesh Plates Titanium malleable mesh plates for cranial

reconstruction

## - 0.2-0.49mm thick, 51-200cm²

0.2-0.49mm $850.00

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY488 AO/ASIF Plate Titanium Contourable mesh plate <0.5mm $1,400.00

### KLS Martin Australia Pty Limited

KT047 Martin Level One Fixation Mesh, Titanium & 3D 0.2-0.49mm thick, 51-200cm² $1,400.00

### Lifehealthcare Pty Ltd

LH512 Martin Osteosynthesis 1.5mm System 3D Mesh 200cm2

### LMT Surgical Pty Ltd

3D Mesh, Titanium 0.2-0.49mm thick, 51-200cm2 $1,400.00

LM218 Bioplate Biomesh System Titanium cranial biomesh 0.45mm thickness, 85-132mm x 90-134mm $1,400.00

### Medtronic Australasia Pty Ltd

MC524 TiMesh Isogrid Panel One size only $1,400.00

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Billing Code** | **Product Name** | **Description** | **Size** | **Benefit** | **Benefit** | **Condition** |
| MC525 | TiMesh | Sugar Mesh Panel / Grid | 11 x 7.5cm | $1,400.00 |  |  |
| MC887 | TiMesh | Titanium Mesh Panel | 51 to 100 cm2 area | $1,400.00 |  |  |
| MC890 | TiMesh | Square-rectangular Gridmesh Panel | 51 to 100 cm2 area | $1,400.00 |  |  |
| MI084 | TiMesh Rigid Fixation Bone Grafting and Plating System | FlexMesh 1.0 - 1.5mm system. Composition: Titanium | 51 to 100cm² area, 0.3mm thickness | $1,400.00 |  |  |
|  | **Stryker Australia Pty Ltd** |  |  |  |  |  |
| SK582 | Stryker Leibinger Plating System | Craniofacial Titanium Mesh System | 0.2 - 0.49mm thick, 51 - 200cm² | $1,400.00 |  |  |
|  | **Surgiplas Medical** |  |  |  |  |  |
| SP078 | Plates | Micro, Mini | Mesh Sheet 100mm x 74mm Mesh 51 to 100cm2 area | $1,400.00 |  |  |
| SP109 | OsteoMed Plating & Fixation System | Plates | 90 x 90mm Osteoform Mesh, Mesh 51 to 100cm2 area. | $1,400.00 |  |  |

### Complex

**Zimmer Biomet Pty Ltd**

BH024 W Lorenz Osteosynthesis System Pre-contoured Neuro Mesh, titanium 163 x 115 x 0.3mm $1,480.00

## - 0.2-0.49mm thick, >200cm²

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| JJ441 | Titanium Mesh | Titanium Mesh Sterile | 0.2mm thickness, 15cm x 15cm | $1,500.00 |
| SY786 | AO/ASIF Plate | Titanium Contourable mesh, Cranial Neuro | <0.5mm | $1,500.00 |
|  | **Medtronic Australasia Pty Ltd** |  |  |  |
| MC387 | TiMesh Rigid Fixation Bone Grafting and Plating System | Titanium, Square Grid Mesh | Large $1,500.00 | |
|  | **Surgiplas Medical** |  |  |  |
| SP106 | OsteoMed Plating & Fixation System | Plates | 111 x 191mm Mesh Plate, Mesh > 200cm2  area. | $1,500.00 |

**Zimmer Biomet Pty Ltd**

BH018 W Lorenz Osteosynthesis System Sheet 1.5mm System. Titanium (203-206)mm x (123-127)mm x (0.2-0.3)mm $1,500.00

## - 0.5-0.8mm thick, 1-10cm²

### KLS Martin Australia Pty Limited

KT039 Martin Level One Fixation Mesh Titanium 0.5-0.8mm thick, 1-10cm² $315.00

**Billing Code Product Name Description Size**

**Medtronic Australasia Pty Ltd**

**Benefit**

**Benefit**

**Condition**

MC389 TiMesh Rigid Fixation Bone Grafting and Plating System

### Stryker Australia Pty Ltd

Titanium, Square Grid Mesh Small $315.00

ST245 Leibinger Titanium Implant System Leibinger Mesh Implants Titanium 75 x 12 x 0.5mm $315.00

## - 0.5-0.8mm thick, 11-50cm²

### KLS Martin Australia Pty Limited

KT062 Martin Level One Fixation Mesh, Titanium 0.5-0.8mm thick, 11-50cm² $510.00

### Lifehealthcare Pty Ltd

LH509 Martin Osteosynthesis 1.5mm System Mesh 50cm2

### LMT Surgical Pty Ltd

Mesh, Titanium 0.5-0.8mm thick, 11-50cm2 $510.00

LM219 Bioplate Biomesh System Titanium cranial biomesh 0.6mm thickness, 36-65 x 52-65mm $510.00

### Medtronic Australasia Pty Ltd

MC915 TiMesh Titanium Rigid Fixation

Bone Grafting and Plating System

### Stryker Australia Pty Ltd

FlexMesh 1.5mm System. Composition: Titanium

26 to 50 cm2 area; 0.6mm thick $510.00

HW507 Stryker Leibinger Plating System Craniofacial Titanium Mesh System 0.5 - 0.8mm thick, 11 - 50cm² $510.00

### Surgiplas Medical

SP093 OsteoMed Plating & Fixation System Plates - Reconstruction Mesh Malleable/Ridgid, 74 x 50mm, Mesh,

* 1. to 0.8mm thick, 26 to 50cm3 area

SP108 OsteoMed Plating & Fixation System Plates 40 x 40mm Osteoform Mesh, Mesh 11 to 25cm2 area.

$510.00

$510.00

### Zimmer Biomet Pty Ltd

BH023 W Lorenz Osteosynthesis System Panel, Regular or Small Grid. Titanium (42-85) x (40-53)mm x 0.6mm $510.00

## - 0.5-0.8mm thick, 51-200cm²

### B Braun Australia Pty Ltd

BB315 Aesculap CranioPlate System/Plate

Neuro, 65 x 90mm, 0.6mm mesh

Cranial fixation system, internal fracture, non biodegradable. Consists of screws, plates.

Plate Neuro, 65 x 90 mm, 0.6mm Mesh $1,175.00

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY579 AO/ASIF Plate Titanium mesh 0.5mm-0.8mm $1,175.00

**Billing Code Product Name Description Size**

**KLS Martin Australia Pty Limited**

**Benefit**

**Benefit**

**Condition**

KT023 Martin Level One Fixation Mesh, Titanium 0.50 to 0.80mm thick, 51 to 100cm² area $1,175.00

### Lifehealthcare Pty Ltd

LH510 Martin Osteosynthesis 1.5mm System Mesh 64cm2

### LMT Surgical Pty Ltd

Mesh, Titanium 0.5-0.8mm thick, 51-200cm2 $1,175.00

LM220 BIOPLATE Biomesh Titanium cranial biomesh 0.6mm thickness, 90-127 x 92-131mm $1,175.00

### Medtronic Australasia Pty Ltd

MC877 TiMesh Rigid Fixation Bone Grafting and Plating System

Titanium, Mesh 51 to 100 cm2 area, 0.6mm thickness $1,175.00

MI085 TiMesh Rigid Fixation Bone Grafting and Plating System

### Stryker Australia Pty Ltd

FlexMesh 1.0 - 2.2mm system. Composition : Titanium

51 to 100cm² area, 0.6mm thickness $1,175.00

ST250 Leibinger Titanium Implant System Mesh: Micro, Dumbach, Dynamic Diameter 1.0mm - 2.3mm; Up to 90 x 90mm $1,175.00

### Surgiplas Medical

SP110 OsteoMed Plating & Fixation System Plates 90 x 90mm Osteoform Mesh, Mesh 51 to 100cm2 area.

$1,175.00

## - 0.5-0.8mm thick, >200cm²

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY785 AO/ASIF Plate Titanium Contourable Mesh, Cranial Neuro 0.5mm-0.8mm $2,243.00

### Lifehealthcare Pty Ltd

LH492 Standard Approach Mesh Pre-contoured titanium mesh implants for 11

standard approaches.

* 1. mm thick $2,243.00

LH511 Martin Osteosynthesis 1.5mm System Mesh 200cm2

### LMT Surgical Pty Ltd

Mesh, Titanium 0.5-0.8mm thick, >200cm2 $2,243.00

LM221 BIOPLATE Biomesh Titanium cranial biomesh 3ME, packaged non-

sterile

20 x 20cm $2,243.00

### Medtronic Australasia Pty Ltd

MI083 TiMesh Titanium rigid Fixation Bone Grafting and Plating System

FlexMesh 1.5mm - 2.2mm system. Composition: Titanium

148 - 154mm x 148 - 154mm, 0.6mm $2,243.00

**Billing Code Product Name Description Size**

**Surgiplas Medical**

**Benefit**

**Benefit**

**Condition**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| SP112 | OsteoMed Plating & Fixation System | Plates | 125 x 180mm Mesh Plate, 150 x 300mm | $2,243.00 |
|  |  |  | Mesh Plate, Mesh >200cm2 area. |  |

**Zimmer Biomet Pty Ltd**

BH019 W Lorenz Osteosynthesis System Sheet 1.5mm System. Titanium 206 x 123 x 0.6mm $2,243.00

# - Mesh - Non-metal

## - <0.2mm thick, 1-10cm²

### Medtronic Australasia Pty Ltd

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| MC551 | Macropore | Protective Disc | 25mm | $165.00 |
| MC554 | Macropore | CraniDisk | 23 - 28mm | $165.00 |
| MC568 | Macropore | Bur Hole Cover | 25mm | $165.00 |

* + - 1. **- <0.2mm thick, 11-25cm²**

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

JJ687 PDS Plates Absorbable synthetic (poly-p-dioxanone) plate/foil

## - 0.2-0.49mm thick, 1-10cm²

### KLS Martin Australia Pty Limited

0.25 x 30 x 40mm

0.5 x 30 x 40mm

0.25 x 40 x 50mm

0.5 x 40 x 50mm

0.15 x 30 x 40mm

0.15 x 40 x 50mm

$515.00

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| KT032 | Martin Level One Fixation Resorb x  & SonicWeld | Mesh PDLLA (resorbable) | 0.20 to 0.49mm thick, 1 to 10 cm2 area | $450.00 |
|  | **Zimmer Biomet Pty Ltd** |  |  |  |
| BI399 | Lactosorb Resorbable  Craniomaxillofacial Fixation System | Panel or Sheet, Solid or Holed, PGA/PLA | 0.25mm x 25x25mm $450.00 | |

## - 0.2-0.49mm thick, 11-25cm²

### Surgical Specialties

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| SQ049 | Inion GTR Biodegradable System | PLGA/TMC Copolymer: membrane & tacks | a) 30 x 40mm membrane kit; b) 6 tack kit and | $680.00 |
|  |  |  | applicator |  |

**Billing Code Product Name Description Size**

**Zimmer Biomet Pty Ltd**

**Benefit**

**Benefit**

**Condition**

BI401 Lactosorb Resorbable Craniomaxillofacial Fixation System

Cover, Solid or Holed, PGA/PLA 0.25mm x 50x50mm $680.00

## - 0.2-0.49mm thick, 26-50cm²

### KLS Martin Australia Pty Limited

KT013 Martin Level One Fixation Resorb x

& SonicWeld Rx

Mesh, PDLLA (resorbable) 0.20 to 0.49mm thick, 26 to 50cm² area $1,490.00

## - 0.2-0.49mm thick, 51-100cm²

### Zimmer Biomet Pty Ltd

BI998 Lactosorb Resorbable Craniomaxillofacial Fixation System

Panel or Sheet, Solid or Holed, PGA/PLA 0.25mmx100x100mm $1,750.00

## - 0.5-0.8mm thick, 1-10cm²

### KLS Martin Australia Pty Limited

KT058 Martin Level One Fixation Resorb X

& SonicWeld RX

### Medtronic Australasia Pty Ltd

MC630 Macropore FRP (fast resorbing

polymer)

Mesh, PDLLA (resorbable) 0.50 to 0.80mm thick, 1 to 10cm² $600.00

Polylactide and Polyglycolide polymer 25mm x 25mm x 0.75mm $600.00

MI088 Macropore Protective Sheets 1 to 10cm² area; 0.5mm thick $600.00

### Zimmer Biomet Pty Ltd

BI417 Lactosorb Resorbable Craniomaxillofacial Fixation System

Cover, Solid or Holed, PGA/PLA (0.5 or 0.8mm) x 25 x 25mm $600.00

## - 0.5-0.8mm thick, 11-25cm²

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY544 PolyMax Rapid-Resorbable Fixation System

### Medtronic Australasia Pty Ltd

MC629 Macropore FRP (fast resorbing

polymer)

Mesh Plate 0.5-0.8mm $945.00

Polylactide and Polyglycolide polymer 50mm x 50mm 0.75mm $945.00

MC893 Macropore Protective Sheets 11 to 25 cm2 area, 0.5mm thick $945.00

**Billing Code Product Name Description Size**

**Surgical Specialties**

**Benefit**

**Benefit**

**Condition**

SQ052 CPS Bioabsorbable Fixation System CPS Systems and Baby System Plates.

Polylactic Acid Trimethylene Carbonate Copolymer

1.5-2.5 mesh plate, 7 x 7 holes; 1.5mm baby

mesh plate 7 x 7 holes

$945.00

### Zimmer Biomet Pty Ltd

BI418 Lactosorb Resorbable Craniomaxillofacial Fixation System

Panel, Lactosorb. 1.5mm System. PGA/PLA 25 x 50mm (5 x 10 hole) $945.00

## - 0.5-0.8mm thick, 26-50cm²

### KLS Martin Australia Pty Limited

KT046 Martin Level One Fixation Mesh PDLLA resorbable 0.5-0.8mm thick, 26-50cm² $1,230.00

### Medtronic Australasia Pty Ltd

MC560 Macropore Protective Sheets 60 x 80 x 0.5mm - 60 x 80 x 0.8mm $1,230.00

MC628 Macropore FRP (fast resorbing

polymer)

Polylactide and Polyglycolide polymer 60mm x 80mm x 0.75mm $1,230.00

## - 0.5-0.8mm thick, 51-100cm²

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY547 PolyMax Rapid-Resorbable Fixation System

### Medtronic Australasia Pty Ltd

MC627 Macropore FRP (fast resorbing

polymer)

Mesh Plate 0.5-0.8mm $1,940.00

Polylactide and Polyglycolide polymer 100mm x 100mm x 0.75mm $1,940.00

MC899 Macropore Protective Sheets 51 to 100 cm2 area; 0.5mm thick $1,940.00

### Surgical Specialties

SQ066 CPS Bioabsorbable Fixation System CPS Systems and Baby System Plates.

Polylactic Acid Trimethylene Carbonate Copolymer

1.5-2.5 mesh plates, 14 x 14 holes; 1.5mm baby mesh plate 14 x 14 holes

$1,940.00

### Zimmer Biomet Pty Ltd

BI999 Lactosorb Resorbable Craniomaxillofacial Fixation System

Panel or Sheet, Solid or Holed, PGA/PLA (0.5 or 0.8)mm 100x100mm $1,940.00

**Billing Code Product Name Description Size**

* + - 1. **- 0.5-0.8mm thick, 101-200cm²**

**Benefit**

**Benefit**

**Condition**

**KLS Martin Australia Pty Limited**

KT048 Martin Level One Fixation Mesh PDLLA resorbable 0.5-0.8mm thick, 101-200cm² $2,100.00

## - >0.8mm thick, 1-10cm²

### KLS Martin Australia Pty Limited

KT044 Martin Level One Fixation Mesh PDLLA resorbable >0.8mm thick, 1-10cm² $600.00

### Medtronic Australasia Pty Ltd

MC896 Macropore Protective Sheets 1 to 10 cm2 area; 1.0mm thick $600.00

## - >0.8mm thick, 11-25cm²

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY545 PolyMax Rapid-Resorbable Fixation System

Mesh Plate >0.8mm $950.00

### KLS Martin Australia Pty Limited

KT015 Martin Level One Fixation Resorb x

& SonicWeld Rx

### Medtronic Australasia Pty Ltd

Mesh, PDLLA (resorbable) >0.80mm thick, 11 to 25cm² area $950.00

MC894 Marcropore Protective Sheets 11 to 25 cm2 area, 1.0mm thick $950.00

### Zimmer Biomet Pty Ltd

BI427 Lactosorb Resorbable Craniomaxillofacial Fixation System

## - >0.8mm thick, 26-50cm²

Mesh, Mandibular Lactosorb 2.5mm System. PGA/PLA

1.42mm x 42x42mm $950.00

### KLS Martin Australia Pty Limited

KT045 Martin Level One Fixation Mesh PDLLA resorbable >0.8mm thick, 26-50cm² $1,020.00

### Stryker Australia Pty Ltd

ST516 Stryker Leibinger Resorbable Fixation System

ST526 Stryker Leibinger Resorbable Fixation System

Resorbable plate: blank panel Tripolymer 55x55mm $1,020.00

Resorbable Mesh Tripolymer 55x55mm $1,020.00

**Billing Code Product Name Description Size**

* + - 1. **- >0.8mm thick, 51-100cm²**

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

**Benefit**

**Benefit**

**Condition**

SY546 PolyMax Rapid-Resorbable Fixation System

### Medtronic Australasia Pty Ltd

Mesh Plate >0.8mm $1,175.00

MC900 Macropore Protective Sheets 51 to 100 cm2 area; 1.0mm thick $1,175.00

## - >0.8mm thick, 101-200cm2

### KLS Martin Australia Pty Limited

KT049 Martin Level One Fixation Mesh PDLLA resorbable >0.8mm thick, 101-200cm2 $2,100.00

# 07.01.03 - Mesh - Composite

## 07.01.03.01 - 0.5-0.8mm thick, 1-25cm²

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY699 SynPOR Anatomical Porous Polyethylene with Titanium 08.mm - 1.5mm thick $900.00

### Stryker Australia Pty Ltd

HW443 E-POR Biomaterial/ Panel - Porous

Polyethlene Titanium Mesh Composite

Panel - Porous Polyethylene Titanium Mesh Composite

0.5mm - 0.8mm thick, 38mm x 50mm $900.00

## - 0.5-0.8mm thick, 26-50cm²

### Stryker Australia Pty Ltd

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| HW440 | E-POR Biomaterial/ Panel - Porous Polyethlene Titanium Mesh Composite | Panel - Porous Polyethlene Titanium Mesh Composite | >0.8mm thick, 38mm x 50mm | $975.00 |
| HW444 | E-POR Biomaterial/ Panel - Porous Polyethlene Titanium Mesh Composite | Panel - Porous Polyethylene Titanium Mesh Composite | 0.5mm-0.8mm thick, 76mm x 50mm | $975.00 |

* + - 1. **- >0.8mm thick 26-50cm²**

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY697 SynPOR Porous Polyethylene with Titanium > 08.mm thick $1,150.00

**Billing Code Product Name Description Size**

**Stryker Australia Pty Ltd**

**Benefit**

**Benefit**

**Condition**

HW441 E-POR Biomaterial/ Panel - Porous

Polyethylene Titanium Mesh Composite

# - Non-mesh

Panel - Porous Polyethylene Titanium Mesh Composite

>0.8mm thick, 76mm x 50mm $1,150.00

### Stryker Australia Pty Ltd

SK515 Nasal Sheet (Strut). Nasal Sheet (Strut). Model 9536 Nasal Sheet (Strut): 40 x 9 x 1.1mm $220.00

* + - 1. **- Resorbable**

### Biomet 3i Australia Pty Ltd

NW005 OsseoGuard Resorbable Collagen

Membrane

Dental Resorbable Collagen Membrane 15mm x 20mm, 20mm x 30mm, 30mm x

40mm

$345.00

### Geistlich Pharma Australia Pty Ltd

GI010 Bio-Gide Bio-Gide & Bio-Gide Perio are collagen membranes containing porcine collagen in a bilayer structure. They are used for guided bone regeneration and peridontal tissue regeneration in oral and maxillofacial surgery.

GI011 Bio-Gide Bio-Gide & Bio-Gide Perio are collagen membranes containing porcine collagen in a bilayer structure. They are used for guided bone regeneration and peridontal tissue regeneration in oral and maxillofacial surgery.

GI012 Bio-Gide Bio-Gide & Bio-Gide Perio are collagen membranes containing porcine collagen in a bilayer structure. They are used for guided bone regeneration and peridontal tissue regeneration in oral and maxillofacial surgery.

GI013 Bio-Gide Perio Bio-Gide & Bio-Gide Perio are collagen membranes containing porcine collagen in a bilayer structure. They are used for guided bone regeneration and peridontal tissue regeneration in oral and maxillofacial surgery.

30mm x 40mm $345.00

25mm x 25mm $345.00

13 x 25mm $345.00

Bio-Gide perio - 16mm x 22mm $345.00

GI014 Geistlich Mucograft Collagen Matrix 15mm x 20mm, 20mm x 30mm, diameter 8mm $345.00

**Billing Code Product Name Description Size**

**KLS Martin Australia Pty Limited**

**Benefit**

**Benefit**

**Condition**

KT033 Martin Level One Fixation Resorb x

& SonicWeld

## - Polymer

Reconstruction sheet not mesh PDLLA (resorbable)

25x25mm-0.1mm $345.00

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

JJ303 Cranioplastic Kit (Type 1) Cranioplastic kit containing 2 complete sets.

Consists of 2 bags of sterile powder, 2 vials sterile liquid, 2 sterile matrix bags

30grams $240.00

SY696 SynPOR Porous Polyethylene 0.45mm - 3.0mm thick $240.00

### SPIRAN PTY. LTD.

S2002 Biopore Ultra thin Sheet An implantable device intended to support,

contour, and provide structure for the craniofacial anatomy during reconstructive and plastic surgery procedures. Made of high- density polyethylene material with an interconnecting pore structure that supports tissue ingrowth. The device is available in various shapes and can be cut by the surgeon to meet the patient's specific needs.

38 x 50mm $240.00

### Stryker Australia Pty Ltd

HW416 Micro Thin Sheet Model/s 8438, 83020, 83022, 83029 8438: 30 x 50 x 0.4mm, 83020: 38 x 50 x

0.25mm, 83022: 38 x 50 x 0.35mm, 83029: 38

x 50 x 0.45mm

$240.00

HW417 Sheet Porus Polyethylene. Models 6330, 6331, 8662, 9562. Micro single channel sheet, model 9528. Barrier microplate single channel sheet, model 9527 Medpor Titan Implant Sheets Plain, Barrier & Double Barrier, and Medpor Titan Orbital floor and wall sheets 8102

Sheets 6330: 38 x 50 x 1.5mm, 6331: 50 x 76

x 1.5mm, 8662: 76 x 127 x 1.5mm, 9862: 38 x

50 x 3mm. Microplate single channel Sheet 9528: 38 x 50 x 0.85mm. Barrier microplate

single channel Sheet 9527: 38 x 50 x 0.85mm.

Titan implant sheets 81020: 76 x 50 x

$240.00

HW418 Barrier Sheet: Barrier Sheet - Orbital Floor

Porus Polyethylene. Barrier sheet - Rectangle, models 8312 and 9312. Orbital floor implants, models 8305 and 9305

Barrier sheet - Rectangle: 50 x 76 x 1mm, 50 x 76 x 1.6mm: 50 x 76 x 1mm, 50 x 76 x 1.6mm. Orbital Floor: 38 x 50 x 1mm, 38 x 50 x 1.6mm

$240.00

HW426 Ultra Thin Sheet Porus Polyethylene. Model 7214 76 x 127 x 0.85mm $240.00 HW427 Ultra Thin Sheet Porus Polyethylene. Model 7216 127 x 178 x 0.85mm $240.00

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Billing Code** | **Product Name** | **Description** | **Size** | **Benefit** | **Benefit** | **Condition** |
| HW428 | Sheet - Multi Channel, Barrier Channel. | Porus Polyethylene. Miniplate channel sheet, model 9529. Microplate channel sheet, model 9530. Barrier Miniplate and Microplate Channel Sheets, Models 9531 and 9532. | Miniplate channel: 40 x 52 x 2.3mm. Mircoplate channel: 40 x 52 x 2.3mm. Barier Miniplate and Microplate Channel Sheets: 40 x 52 x 2.3mm, 40 x 52 x 2.3mm | $240.00 |  |  |
| HW442 | E-POR Biomaterial/ Sheet - Porous Polyethylene | Sheet - Porous Polyethylene | 30mm - 50mm x 0.4mm - 3mm | $240.00 |  |  |
| SK513 | Ultra Thin Sheet | Porus Polyethylene. Models 7210 | 38 x 50 x 0.85mm | $240.00 |  |  |
| SK516 | Ultra Thin Sheet | Porus Polyethylene. Model 7212 | 50 x 76 x 0.85mm | $240.00 |  |  |
| SK517 | Sheet - Barrier Single Channel Sheet. | Porus Polyethylene. Barrier Single Channel Sheet, Model 9527. | Barrier Single Channel: 38 x 50 x 0.85mm | $240.00 |  |  |

## - Block

### SPIRAN PTY. LTD.

S2003 Bipore Flexible Block An implantable device intended to support,

contour, and provide structure for the craniofacial anatomy during reconstructive and plastic surgery procedures. Made of high density polyethylene material with an interconnecting pore structure that supports tissue ingrowth. The device is available in various shapes and can be cut by the surgeon to meet the patient's specific needs.

38 x50 x 3mm and 76 x 50 x 9mm $825.00

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | **Stryker Australia Pty Ltd** |  | | |
| HW506 | Stryker MEDPOR Implant | Porous Polyethylene Mesh | Block | $825.00 |
| SK520 | Medpor Porous Polyethylene Biomaterial Custom Made Implant | Porous Polyethylene Biomaterial Custom Made Product for ear, nose, face and Orbit reconstruction | Custom designed and made from CT scan image | $825.00 |

# - Fracture or Reconstruction Plates

## - <0.5mm thick, <4 holes

### AA-Med Pty Ltd

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| ZZ018 | Plates for Kelyniam Customized | Anodized Titanium Plate | 0.4 mm Thick, 9-15mm Length | $65.00 |
|  | Implant System |  |  |  |
| **Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes** | | | | |
| SY561 | Matrix | Simple shaped plates | < 4 holes | $65.00 |

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Billing Code** | **Product Name** | **Description** | **Size** | **Benefit** | **Benefit** | **Condition** |
| LM222 | **LMT Surgical Pty Ltd**  BIOPLATE Low Profile | Low Profile 2-hole Straight Plate | 11mm - 14mm length | $65.00 |  |  |

**Surgiplas Medical**

SP076 Plates Micro, Midface & Mini Straight Plate - 2 Hole, Plate < 4 holes. $65.00

### Zimmer Biomet Pty Ltd

BI949 Neurological Packs Plate & screws: Neuro pack - single plate or thinflip 2 hole plate set

1.5mm or 2mm system $65.00

## - <0.5mm thick, 4-7 holes

### AA-Med Pty Ltd

ZZ019 Plates for Kelyniam Customized Implant System

Anodized Titanium Plate 0.4 mm Thick, 9-18mm Length $140.00

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY562 Matrix Micro X, Frame plates 4 - 7 Holes $140.00

### LMT Surgical Pty Ltd

LM223 Bioplate Plating System Plates of various shape 4 to 7 holes $140.00

### Burr

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

MN196 Matrix Plate Burr Hole Plates 12 to 24mm $190.00

### KLS Martin Australia Pty Limited

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| KT010 | Martin Level One Fixation | Plate, titanium | <0.5mm thick, 4 to 7 holes | $190.00 |
|  | **Lifehealthcare Pty Ltd** |  |  |  |
| LH495 | Martin Level One Fixation | Plate, titanium | <0.5mm thick, 4 to 7 holes | $190.00 |
|  | **LMT Surgical Pty Ltd** |  |  |  |
| LM224 | BIOPLATE Low Profile | Low Profile Flex Contoured Burr Hole Cover | Low profile 0.3mm, 1.5mm diam hole, 12 - 18mm diam plate | $190.00 |

* + - 1. **- <0.5mm thick, 8-15 holes**

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY563 Matrix Micor Orbital curved plate 12 hole $281.00

### Lifehealthcare Pty Ltd

LH504 Martin Osteosynthesis 1.5mm System 8-15 hole plate

Plate, Titanium <0.5mm thick, 8-15 holes $281.00

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Billing Code** | **Product Name** | **Description** | **Size** | **Benefit** | **Benefit** | **Condition** |
| LM225 | **LMT Surgical Pty Ltd**  BIOPLATE Low Profile | Low Profile 8-hole Boxcar Plate | 10 x 24mm | $281.00 |  |  |

## - <0.5mm thick, 16-32 holes

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY558 Matrix Micro Adaption, Strut Plates 18-20 hole $380.00

### Lifehealthcare Pty Ltd

LH506 Martin Osteosynthesis 1.5mm System 16-32 hole plate

Plate, Titanium <0.5mm thick, 16-32 holes $380.00

## - 0.5-0.99mm thick, <4 holes

### AA-Med Pty Ltd

ZZ020 Plates for Kelyniam Customized Implant System

Anodized Titanium Plate 0.6 mm Thick, 9-15mm Length $95.00

### Australian Surgical Innovations Pty Ltd

AI004 ASI Plates and Screws Plate Straight, Left, Right, X, T and Y shaped $95.00

### B Braun Australia Pty Ltd

BB304 Aesculap CranioPlate System/ Plate Neuro, 2 hole straight

Cranial fixation system, internal fracture, non biodegradable. Consists of screws, plates

Plate Neuro, 2 hole 11 & 16mm straight $95.00

### KLS Martin Australia Pty Limited

KT024 Martin Micro Plate Osteosynthesis

System

### Lifehealthcare Pty Ltd

LH502 Martin Osteosynthesis 1.5mm System 2 hole plate

### LMT Surgical Pty Ltd

1.5mm system Straight Plate Titanium 2 hole, 0.6mm profile $95.00

Plate, 0.6mm thick, titanium 2-4 hole $95.00

LM226 Bioplate Plating System Plates of various shape Less than 4 holes $95.00

### Medtronic Australasia Pty Ltd

MC872 TiMesh Rigid Fixation Bone Grafting and Plating System

Titanium, Straight Plate < 4 holes $95.00

MC908 Timesh Rigid Straight Plates < 4 holes $95.00

### Stryker Australia Pty Ltd

HW497 Stryker Leibinger Plating System Fracture or reconstruction plates 0.5 - 0.99mm thick, <4 holes $95.00

**Billing Code Product Name Description Size**

**Surgiplas Medical**

**Benefit**

**Benefit**

**Condition**

SP075 Plates Micro, Midface & Mini Straight Plate - 2 Hole, Plate < 4 holes. $95.00

### Zimmer Biomet Pty Ltd

BI677 W Lorenz Osteosynthesis System Plate, Neuro Straight, 1.5mm System, Titanium 2 hole (medium or long) $95.00

### Burr

**Medtronic Australasia Pty Ltd**

MC867 TiMesh Rigid Fixation Bone Grafting and Plating System

### Stryker Australia Pty Ltd

Titanium, Plate Ohata Tristar 8.4 10mm, < 4 hole $140.00

SK267 Leibinger Titanium Implant System Burr Hole Cover 1.0mm - 2.3mm Diameter 7, 10, 14 & 20mm $140.00

### Compression

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY580 AO/ASIF Plate Titanium adaption plate <4 holes $140.00

### Lifehealthcare Pty Ltd

LH538 Cranial Loop (Std/L) Cranial bone fixation system made of PEEK OPTIMA

Diameter: 12, 16. Thickness: 0.9mm - 1.0mm $140.00

### LMT Surgical Pty Ltd

LM227 BIOPLATE Plating System Titanium cranial compression plate 2 holes $140.00

### Resorbable

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY512 AO/ASIF Plate Rapid resorbable reconstruction plate <4 holes $180.00

## 07.01.05.06 - 0.5-0.99mm thick, 4-7 holes

### AA-Med Pty Ltd

ZZ021 Plates for Kelyniam Customized Implant System

### Aus Systems Pty Ltd

AU007 Aus Systems Titanium Miniplates

(Bone Plates)

### B Braun Australia Pty Ltd

Anodized Titanium Plate 0.6 mm Thick, 11-19mm Length $170.00

Plate Titanium 0.7mm profile 4-7 holes $170.00

BB305 Aesculap CranioPlate System/Plate

Neuro, 6 hole rectangular

Cranial fixation system, internal fracture, non biodegradable. Consists of screws, plates.

Plate Neuro, 6 hole 10 x 17 mm rectangular $170.00

**Billing Code Product Name Description Size**

**Benefit**

**Benefit**

**Condition**

BB306 Aesculap CranioPlate System/ Plate Neuro, 4 hole square

BB307 Aesculap CranioPlate System/ Plate Neuro, 4 hole straight

Cranial fixation system, internal fracture, non biodegradable. Consists of screws, plates.

Cranial fixation system, internal fracture, non biodegradable. Consists of screws, plates.

Plate Neuro, 4 hole 10mm square $170.00 Plate Neuro, 4 hole 17 & 20 mm straight $170.00

BB308 Aesculap CranioPlate System/ Plate

Neuro, 6 hole double Y

Cranial fixation system, internal fracture, non biodegradable. Consists of screws, plates.

Plate Neuro, 6 hole 15 & 17mm, double Y shape

$170.00

BB309 Aesculap CranioPlate System/ Plate

neuro, 5 hole Y

Cranial fixation system, internal fracture, non biodegradable. Consists of screws, plates

Plate Neuro, 5 hole 17mm, Y shape $170.00

BB313 Aesculap CranioPlate System/ Plate

Neuro, Burr hole cover 12 & 16mm

Cranial fixation system, internal fracture, non biodegradable. Consists of screws, plates.

Plate Neuro, 6 hole x 16 & 20mm Burr hole cover

$170.00

### KLS Martin Australia Pty Limited

KT057 Martin Level One Fixation Plate Titanium 0.5 to 0.99mm thick, 4 - 7 holes $170.00

### Lifehealthcare Pty Ltd

LH503 Martin Osteosynthesis 1.5mm System 4-7 hole plate

### LMT Surgical Pty Ltd

Plate, 0.6mm thick, Titanium 4-7 hole $170.00

LM228 Bioplate Plating System Plates of various shape 4 to 7 holes $170.00

### Medtronic Australasia Pty Ltd

MC393 TiMesh Rigid Fixation Bone Grafting and Plating System

Titanium, Z Plate Left and Right 4 hole - 5mm, 9.5mm $170.00

MC519 TiMesh Squareplate 4 holes x 1mm - 4 holes x 2.2mm $170.00

MC520 TiMesh X Plate 4 holes x 1mm - 4 holes x 2.2mm $170.00

MC576 Timesh Double Y Plates 3 Hole - 2.5mm - 7mm $170.00

MC870 TiMesh Rigid Fixation Bone Grafting and Plating System

MC875 TiMesh Rigid Fixation Bone Grafting and Plating System

MC883 TiMesh Rigid Fixation Bone Grafting and Plating System

MC885 TiMesh Rigid Fixation Bone Grafting and Plating System

Titanium, Y Plate Double and Single 4 - 7 hole $170.00

Titanium, T Plate 4 - 7 hole $170.00

Titanium, L Plate (Left and right configurations) 4 to 7 holes $170.00

Titanium, H Plate 4 - 7 hole $170.00

MC891 Macropore Oblique Plates 4 to 7 holes $170.00

MC909 Timesh Rigid Straight Plates 4 - 7 holes $170.00

### Stryker Australia Pty Ltd

HW498 Stryker Leibinger Plating System Craniofacial Fixation Plates 0.5 - 0.99mm thick, 4 -7 holes $170.00

**Billing Code Product Name Description Size**

**Surgiplas Medical**

SP074 Plates Micro, Midface, Mini, BSSO, TR BSSO 4 Hole BSSO Plate Short, Medium, Long; TR BSSO Plate, Short, Long; 4 & 6 Hole Straight Plate 1.0mm thick, Plate 4 to 7 holes.

**Benefit**

$170.00

**Benefit**

**Condition**

SP084 Plates Mini & Maxi 4 & 5 Hole compression Plates 4 to 7 Holes $170.00

SP087 Plates Mini & Maxi Zygomatic Plates, Pyriform Plates, Orthognathic, Y Plates, Y Plate, H Plate, 5 Hole straight plate, 13mm & 16mm L Plate - Left & Right, 19mm T Plate, X Plate; 10mm Square Plate; 13mm, 15mm & 22mm L Plate - Left & Right, 9mm & 11mm ZED Plate - Left

& Right

$170.00

### Zimmer Biomet Pty Ltd

BH362 Lorenz Plating System Neuro Gap Plate, Titanium 25mm - 45mm $170.00 BI348 W Lorenz Osteosynthesis System L-Plate, 2mm System, Left or Right. Titanium 2 x 2 hole, Mini or Low Profile $170.00 BI351 W Lorenz Osteosynthesis System L-Plate, 2mm System, Left or Right. Titanium 2 x 2 hole, long $170.00

BI605 W Lorenz Osteosynthesis System Plate, Matrix, 1.0 or 1.5mm System, Titanium 6 hole $170.00

BI617 W Lorenz Osteosynthesis System Plate, Straight, 1mm System. Titanium 4 hole $170.00

BI620 W Lorenz Osteosynthesis System Plate, Straight, low profile, 2.0mm System,

Titanium

4 - 8 hole $170.00

BI621 W Lorenz Osteosynthesis System Plate, L , 2.5mm or 2m system, Titanium 2 x2 or 3x3 hole $170.00

BI622 W Lorenz Osteosynthesis System Z-Shape Plate, Left or Right, 1.5mm or 2mm

System. Titanium

2 x 2 hole $170.00

BI623 W Lorenz Osteosynthesis System T-Plate, Left or Right, 1.5mm System. Titanium 3x3 hole, 7x7 hole $170.00

BI624 W Lorenz Osteosynthesis System T-Plate 90 degrees, Left or Right, 2mm System.

Titanium

BI625 W Lorenz Osteosynthesis System Plate, Y, Double Y, X, 1.5mm System or

2.0mm System, Titanium

2x5hole, 3x3hole, 2x3hole $170.00

One size only $170.00

BI627 W Lorenz Osteosynthesis System Plate, Straight, 1.5mm System, Titanium 4 or 6 hole $170.00

BI638 W Lorenz Osteosynthesis System Plate, Orbital. 1mm System, Titanium One size only $170.00

BI656 W Lorenz Osteosynthesis System Plate, Orbital, 1.5mm, 2.0mm System, Titanium 6 hole $170.00 BI728 W.Lorenz Osteosynthesis System Neuro Square or Rectangular Plate, titanium 1.5mm system, 4 hole $170.00 BI988 W Lorenz Osteosynthesis System Plate Straight 2mm System 4 - 7 hole $170.00

**Billing Code Product Name Description Size**

**Burr**

**Aus Systems Pty Ltd**

**Benefit**

**Benefit**

**Condition**

AU014 Aus Systems Titanium Miniplates

(Bone Plates)

Low profile burr hole cover 10mm, 14mm, 18mm, 22mm $170.00

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY319 AO/ASIF Plate Low profile neurosurgical plate, burr hole 4-7 holes $170.00

### Lifehealthcare Pty Ltd

LH507 Martin Osteosynthesis 1.5mm System Burr hole plate

### LMT Surgical Pty Ltd

Burr Hole Plate, Titanium 0.6mm thick, 4-7 holes $170.00

LM229 Bioplate Plating System Titanium Burr Hole Covers 4 to 7 holes $170.00

### Medtronic Australasia Pty Ltd

MC868 TiMesh Rigid Fixation Bone Grafting and Plating System

### Stryker Australia Pty Ltd

Titanium, Plate Fan Blade 11-18mm, Mesh 11-25mm, 4 - 7 hole

$170.00

ST141 Leibinger Titanium Implant System Leibinger Burr Hole Cover: curved Titanium 7, 10, 14mm $170.00

### Surgiplas Medical

SP072 Plates Micro, Mini, Maxi Burr Hole Plates, Calvarium Plate - Small & Large - Calvarium Plate, Plates 4 to 7 Holes

$170.00

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | **Zimmer Biomet Pty Ltd** |  | | |
| BI353 | W Lorenz Osteosynthesis System | Plate, Burr Hole, 1mm, 1.5mm, 2mm system | 13mm, 17mm, 18.5mm | $170.00 |
| BI721 | W Lorenz Osteosynthesis System | Plate, Burr Hole, 1.5mm System, Titanium | 22mm, 25mm | $170.00 |
| BI870 | Neurological Packs | Plate & screws: Neuro pack Burr cover or multi plate set. Thinflap 4 hole plus plate sets | 1.5mm or 2mm system | $170.00 |

### Complex

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY582 AO/ASIF Plate Titanium adaption plate 4-7 holes $246.00

### KLS Martin Australia Pty Limited

KT014 Martin Level One Fixation Plate, titanium 0.5-0.99mm thick, 4-7 holes $246.00

### Medartis

EO095 MODUS Orthognathics Indication-specific solutions for maxillary and

mandibular orthognathic surgeries

1.5mm - 2.0mm $246.00

**Billing Code Product Name Description Size**

**Benefit**

**Benefit**

**Condition**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | **Surgiplas Medical** |  |  |  |
| SP070 | Plates | Micro, Mini, Maxi | Gap Plates, Plates 4 to 7 holes | $246.00 |
| **Zimmer Biomet Pty Ltd** | | | | |
| BI591 | W Lorenz Osteosynthesis System | Chin Plates, Paulus, 2mm System, Titanium | 4 - 12mm $246.00 | |

**Compression**

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| SY581 | AO/ASIF Plate | Titanium adaption plate | 4-7 holes | $170.00 |
| HW501 | **Stryker Australia Pty Ltd**  Stryker Leibinger Plating System | Craniofacial Fixation Plates, Compression | 0.5 - 0.9mm thick, 4 -7 holes | $170.00 |

**Surgiplas Medical**

SP033 OsteoMed Plating & Fixation System Compression Plates - Micro, Mini & Maxi Micro: 2 x 3 Hole Compression T Plate,

Oblique Left & Right Compression T Plate, 4 Hole Straight Compression Plate; 5 Hole Straight Plate, 13mm Left & Right L Plate, 19mm T Plate, 2 x 3 Hole Quad Plate; Mini: 4 Hole Left & Right L Plate, 4 Hole Left & Rig

$170.00

### Zimmer Biomet Pty Ltd

BI349 W Lorenz Osteosynthesis System Plate, Compression Straight, 2mm System.

Titanium

4 hole $170.00

### Locking

**Stryker Australia Pty Ltd**

HW500 Stryker Leibinger Plating System Craniofacial Fixation Plates ,Locking 0.5 - 0.9mm thick, 4 -7 holes $195.00

### Resorbable

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| SY504 | AO/ASIF Plate | Rapid resorbable reconstruction plate | 4-7 holes | $200.00 |
| **Medtronic Australasia Pty Ltd** | | | | |
| MC550 | Macropore | Rectangle Plates | 4-8 hole | $200.00 |
| MC553 | Macropore | Oblong Plates | 6 - 8 hole | $200.00 |
| MC562 | Macropore | Y Plates | 7 hole | $200.00 |
| MC563 | Macropore | Straight Plates | 4 hole | $200.00 |
| **Stryker Australia Pty Ltd** | | | | |
| HW499 | Delta Resorbable Fixation System | Craniofacial Resorbable Fixation Plates | 0.5 -0.99mm thick, 4 - 7 holes | $200.00 |

**Billing Code Product Name Description Size**

**Zimmer Biomet Pty Ltd**

**Benefit**

**Benefit**

**Condition**

BH001 Lactosorb Resorbable Craniomaxillofacial Fixation System

Lactosorb Plates, 2mm System, All shapes PGA/PLA

4 - 7 hole $200.00

BI990 Lactosorb Resorbable CMF System Lactosorb Plates, 1.5mm System 4 - 7 hole $200.00

## 07.01.05.07 - 0.5-0.99mm thick, 8-32 holes

### Aus Systems Pty Ltd

AU060 Aus systems titanium Miniplates

(Bone plates)

### B Braun Australia Pty Ltd

titanium miniplates 8,19 hole $204.00

BB310 Aesculap CranioPlate System/ Plate

Neuro, 8 hole rectangular

BB317 Aesculap CranioPlate System/ Plate

Neuro, 16 hole straight

Cranial fixation system, internal fracture, non biodegradable. Consists of screws, plates.

Cranial fixation system, internal fracture, non biodegradable. Consists of screws, plates.

Plate Neuro, 8 hole 10 x 24 mm rectangular $204.00 Plate Neuro, 16 hole 63mm straight $204.00

### KLS Martin Australia Pty Limited

KT037 Martin Level One Fixation Plate Titanium 0.5-0.99mm thick, 8-32 holes $204.00

### Lifehealthcare Pty Ltd

LH505 Martin Osteosynthesis 1.5mm System 8-32 hole plate

### LMT Surgical Pty Ltd

Plate, 0.6mm thick, Titanium 8-32 hole $204.00

LM230 Bioplate Plating System Plates of various shape 8 to 32 holes $204.00

### Medtronic Australasia Pty Ltd

MC678 TiMesh Rigid Fixation Bone Grafting and Plating System

MC871 Ti Mesh Rigid Fixation Bone

Grafting and Plating System

MC876 TiMesh Rigid Fixation Bone Grafting and Plating System

MC884 TiMesh Rigid Fixation Bone Grafting and Plating System

MC886 TiMesh Rigid Fixation Bone Grafting and Plating System

Titanium, Universal Plate 12h $204.00

Titanium ,Straight Plate 8 - 32 holes $204.00

Titanium, T Plate 8 - 15 hole $204.00

Titanium, L Plate (Left and right configurations) 8 - 15 hole $204.00

Titanium, H Plate 8-15 hole $204.00

MC892 Macropore Oblique Plates 8 to 15 holes $204.00

MI091 TiMesh Rigid Straight Plate 8 -32 holes $204.00

**Billing Code Product Name Description Size**

**Stryker Australia Pty Ltd**

**Benefit**

**Benefit**

**Condition**

HW502 Stryker Leibinger Plating System Craniofacial Fixation Plates 0.5 - 0.99mm thick, 8 -32 holes $204.00

### Surgiplas Medical

SP077 Plates Micro, Midface & Mini Quad Plate, Quad Plate - Short, Plate 8 to 15 holes.

SP083 Plates Mini & Maxi 16 & 18 Hole Straight Plate, 18 Hole Straight Plate, Plates 15 to 32 Holes

SP085 Plates Mini & Maxi Curved Plate, 8 Hole Straight Plate; Mini : 10 Hole Straight Plate, Extended Y Plate, Rigid 10 Hole Straight Plate, 12 Hole Straight Plate, Y Plate - 13 Hole, 12 Hole Curved Plate, 10 Hole Straight Plate; 10 Hole Curved Plate, Straight Plate 10 Hole, Y P

$204.00

$204.00

$204.00

### Zimmer Biomet Pty Ltd

BI641 W Lorenz Osteosynthesis System Plate, Matrix. 1mm System, 1.5mm System.

Titanium

BI658 W Lorenz Osteosynthesis System Plate, Orbital. 1.5mm System, 2mm System.

Titanium

2 x 4 hole $204.00

8-10 hole $204.00

BI719 W Lorenz Osteosynthesis System Neuro Sub-Temporal Plate, Titanium medium $204.00

BI773 W Lorenz Osteosynthesis System Neuro sub-temporal plate, 1.5 system, titanium Small $204.00

BI985 W Lorenz Osteosynthesis System Plates Straight, 1.5, 2.0 or 1.0mm System 15 - 32 holes $204.00

BI989 W Lorenz Osteosynthesis System Plate Straight, 2mm System 8 - 15 hole $204.00

### 3D

**Surgiplas Medical**

SP071 Plates Micro, Mini, Maxi Quad Plates, Medium 2 x 4 Hole Quad Plate, Plates 8 to 15 holes

$210.00

### Burr

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| MC869 | **Medtronic Australasia Pty Ltd**  TiMesh Rigid Fixation Bone Grafting | Titanium, Plate | Ohata Kerf Cover, 5 - 32 hole | $430.00 |
|  | and Plating System |  |  |  |
|  | **Stryker Australia Pty Ltd** |  |  |  |
| SK355 | Universal Neuro Titanium Low  Profile Plate | Titanium Low Profile plates used for the  fixation of cranial bone flaps | Small, large, 20mm burr hole, 16 hole without  bar | $430.00 |

**Billing Code Product Name Description Size**

**Complex**

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

**Benefit**

**Benefit**

**Condition**

SY585 AO/ASIF Plate Titanium adaption plate 8-32 holes $280.00

### Medartis

EO096 MODUS Orthognathic Indication-specific solutions for maxillary and

mandibular orthognathic surgeries

1.5mm - 2.0mm $280.00

### Stryker Australia Pty Ltd

SK345 Leibinger Titanium Implant System - Universal CMF Plate

### Surgiplas Medical

Le Fort 1 Plate, Right/Left 11hole, Advancement 2 - 10mm $280.00

SP082 Plates Micro, Mini Sub - Temporal Plates, Plates 8 to 15 Holes $280.00

### Zimmer Biomet Pty Ltd

BI774 W Lorenz Osteosynthesis System Lefort plate, 1.5mm system, 0.6mm thickness,

titanium

Flat, 2-11mm $280.00

### Compression

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY583 AO/ASIF Plate Titanium adaption plate 8-32 holes $200.00

### Locking

**Stryker Australia Pty Ltd**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| HW486 | Stryker Leibinger Hybrid MMF Plate | SMARTLOCK Hybrid MMF Plate, Locking | One size - 9 Hole Straight Plate, for maxilla | $312.00 |
|  |  | System - Universal SMARTLOCK Hybrid | and Mandible |  |
|  |  | MMF |  |  |
|  |  | Component - MMF Plate |  |  |
| HW504 | Stryker Leibinger Plating System | Craniofacial Locking Fixation Plates | 0.5 - 0.99mm thick, 8 -32 holes | $312.00 |

**Zimmer Biomet Pty Ltd**

ZI923 OmniMax Arch Bar Arch Bar One size $312.00

### Resorbable

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY397 PolyMax Resorbable Fixation System 1.5 Burr Hole Cover 8 Hole $215.00

SY584 AO/ASIF Plate Rapid resorbable reconstruction plate 8-32 holes $215.00

### Medtronic Australasia Pty Ltd

MC547 Macropore Z Plates 10 hole $215.00

MC559 Macropore L Plates 8 hole, Left & Right $215.00

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Billing Code Product Name** | **Description** | **Size** | **Benefit** | **Benefit** | **Condition** |
| MI089 Macropore | Straight Plates | 8 -20 hole | $215.00 |  |  |

### Stryker Australia Pty Ltd

HW503 Delta Resorbable fixation System Craniofacial Resorbable Fixation Plates 0.5 - 0.99mm thick, 8 -32 holes $215.00

### Zimmer Biomet Pty Ltd

BH002 Lactosorb Resorbable Craniomaxillofacial Fixation System

Lactosorb Plates, 2mm System, All shapes PGA/PLA

8 - 15 hole $215.00

BI991 Lactosorb Resorbable CMF System Lactosorb Plates, 1.5mm System 8 - 15 hole $215.00

## - 0.5-0.99mm thick, >32 holes

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY466 AO/ASIF Plate Titanium adaption plates >32 holes $300.00

### LMT Surgical Pty Ltd

LM231 BIOPLATE Biomesh Titanium, lattice, 48 hole, packaged non-sterile 32 x 44mm $300.00

### Surgiplas Medical

SP081 Plates Micro, Mini 40 Hole Straight Plate, Mesh 18 row, Plate

>32 holes.

$300.00

### Resorbable

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY514 AO/ASIF Plate Rapid resorbable reconstruction plate >32 holes $380.00

### Zimmer Biomet Pty Ltd

BI993 Lactosorb Resorbable CMF System Lactosorb Plates, 1.5mm System 32+ holes- $380.00

## - 1.0-1.99mm thick, <4 holes

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY317 AO/ASIF Plate Titanium Plate - straight 1.6mm Profile, 2-4 holes $115.00

### KLS Martin Australia Pty Limited

KT009 Martin Level One Fixation Plate, titanium 1 to 1.99mm thick, <4 holes $115.00

### Stryker Australia Pty Ltd

HW505 Stryker Leibinger Plating System Mandible Fixation Plates 1.0 - 1.99mm thick, <4 holes $115.00

### Resorbable

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY506 AO/ASIF Plate Rapid resorbable reconstruction plate <4 holes $220.00

**Billing Code Product Name Description Size**

**Surgical Specialties**

**Benefit**

**Benefit**

**Condition**

SQ055 CPS Bioabsorbable Fixation System CPS Systems and Baby System Plates.

Polylactic Acid Trimethylene Carbonate Copolymer

## - 1.0-1.99mm thick, 4-7 holes

1.5-2.5mm plates:- 2-10 hole plates and extended, c-plate & x-plate 7 hole, H-plate 8 hole, orthognathic hole and L-plate L & R 7 hole

$220.00

### AA-Med Pty Ltd

ZZ022 Plates for Kelyniam Customized Implant System

### Aus Systems Pty Ltd

AU061 Aus Systems Titanium Miniplates

(bone Plates)

PEEK Shunt Plate 1mm Thick, 13-18mm Length $165.00

Titanium Miniplates 1.0-1.99mm thick, 4-7 holes $165.00

### KLS Martin Australia Pty Limited

KT059 Martin Level One Fixation Plate Martin Level One Fixation 1.0-1.99mm thick, 4-7 holes $165.00

### Lifehealthcare Pty Ltd

LH513 Martin Osteosynthesis 1.5mm System Mesh 1mm 4-7 hole plate

### Medtronic Australasia Pty Ltd

Plate, Titanium 1.0-1.99mm thick, 4-7 holes $165.00

MC517 TiMesh Mandibular "J" Plate One size only $165.00

### Stryker Australia Pty Ltd

HW492 Stryker Leibinger Plating System Mandible Fixation plates 1.0 - 1.99mm thick, 4 - 7 holes $165.00

### Surgiplas Medical

SP073 Plates Micro, Midface, Mini, BSSO, TR BSSO 2 x 3 Hole Quad Plate, Plate 4 to 7 holes. $165.00

### Zimmer Biomet Pty Ltd

BH026 Mandibular Fracture System Plates, Angled or Curved, 2.0 Mandibular

System, Titanium

BH028 Manibular Fracture System Plates, matrix shape, 2.0 mandibular system.

Titanium

BI635 W Lorenz Osteosynthesis System Plate, DoubleT, Double Y, 1mm, 2mm system,

plate thickness 0.6 or 1mm, Titanium

BI755 Mandibular Fracture System Plates, Y Shapek, 2.0 Mandibular Fracture

System, Titanium

BI764 Mandibular Fracture System Plates, 2.0 / 2.4 Mandibular Fracture System,

Titanium

4 - 7 hole $165.00

4 or 6 hole $165.00

4-7 Hole $165.00

5 hole long, 5 hole medium, 5 hole regular $165.00 4-7 hole $165.00

**Billing Code Product Name Description Size**

**Complex**

**Medartis**

**Benefit**

**Benefit**

**Condition**

EO097 MODUS Orthognathics Indication-specific solutions for maxillary and

mandibular orthognathic surgeries

2.0mm $350.00

### Stryker Australia Pty Ltd

SK131 Leibinger Titanium Implant System - Universal Mandible Fracture Plate

SK132 Leibinger Titanium Implant System - Universal Mandible Fracture Plate

### Surgiplas Medical

Items used for reconstruction and fixation of mandibular fractures and tumour resection.

Items used for reconstruction and fixation of mandibular fractures and tumour resection.

Universal Mandible Fracture Plate, C-shaped, 4 holes

Universal Mandible Fracture Plate, Angled Shaped, 6 holes, 115-140 deg

$350.00

$350.00

SP018 Plates Micro, Midface, Mini & Maxi Chin Plate 2, 3, 4, 6, 8, 10 & 12mm, Plates 4

to 7 holes.

$350.00

### Compression

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY498 AO/ASIF Plate Mandible plate 4-7 holes $165.00

### Stryker Australia Pty Ltd

SK129 Leibinger Titanium Implant System - Universal Mandible Compression Plate

### Surgiplas Medical

Items used for reconstruction and fixation of mandibular fractures and tumour resection.

Universal Mandible Compression Plate, 4-6 Holes

$165.00

SP028 OsteoMed Plating & Fixation System Plates - Fracture 4 hole Fracture Plate 32 -37mm; EDC Plate 32mm & 34mm, 4 to 7 hole compression plate.

$165.00

SP034 OsteoMed Plating & Fixation System Compression Plates - Maxi Maxi: 4, 5 & 6 Hole Straight Plate $165.00

### Zimmer Biomet Pty Ltd

BI754 Mandibular Fracture System Plates, Compression, 2.0 Mandibular Fracture

System, Titanium

BI756 Mandibular Fracture System Plates, Compression, 2.0 Mandibular Fracture

System, Titanium

4 hole $165.00

4-6 hole $165.00

### Locking

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY587 AO/ASIF Plate Titanium mandible locking plate, complex shape 4-7 holes $470.00

### KLS Martin Australia Pty Limited

KT043 Martin Level One Fixation Plate Titanium locking 1.0 to 1.99 mm thick, 4 - 7 holes $470.00

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Billing Code** | **Product Name** | **Description** | **Size** | **Benefit** | **Benefit** | **Condition** |
| HW493 | **Stryker Australia Pty Ltd**  Stryker Leibinger Plating System | Mandible Locking Fixation Plates | 1.0 -1.9mm thick, 4 - 7 holes | $470.00 |  |  |

### Surgiplas Medical

SP027 OsteoMed Plating & Fixation System Plates - Fracture 8 Hole Fracture Plate, 4 & 6 hole locking fracture plate, 4 to 7 hole locking plate.

$470.00

### Resorbable

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY507 AO/ASIF Plate Rapid resorbable reconstruction plate 4-7 holes $260.00

### KLS Martin Australia Pty Limited

KT012 Martin Level One Fixation Resorb x

& SonicWeld Rx

### Medtronic Australasia Pty Ltd

Mesh, PDLLA (resorbable) 1.0 to 1.99mm thick, 4 to 7 holes $260.00

MC567 Macropore Clover Leaf Plates 4 hole $260.00

### Stryker Australia Pty Ltd

ST519 Stryker Leibinger Resorbable Fixation System

### Surgical Specialties

Resorbable plate: L-shape plate, 110 deg, right/left Tripoymer

7 holes $260.00

SQ054 CPS Bioabsorbable Fixation System CPS Systems and Baby System Plates.

Polylactic Acid Trimethylene Carbonate Copolymer

## 07.01.05.11 - 1.0-1.99mm thick, 8-15 holes

1.5mm plates:- 20 holes, c-plate & x-plate 7 hole, L-plate 7 hole L & R. burrhole

$260.00

### KLS Martin Australia Pty Limited

KT056 Martin Level One Fixation Plate ,Titanium 1.0 to 1.99mm thick, 8 -15 holes $420.00

### Lifehealthcare Pty Ltd

LH514 Martin Osteosynthesis 1.5mm System 1mm 8-15 hole plate

### Medartis

Plate, Titanium 1.0-1.99mm thick, 8-15 holes $420.00

EO099 MODUS Orthognathics Indication-specific solutions for maxillary and

mandibular orthognathic surgeries

2.0mm $420.00

### Medtronic Australasia Pty Ltd

MC522 TiMesh Curved Plate: Standard, Rigid, Left, Right 1mm x 12 holes $420.00

### Stryker Australia Pty Ltd

HW508 Stryker Leibinger Plating System Mandible Locking Fixation Plates 1.0 - 1.99mm thick, 8 - 15 holes $420.00

**Billing Code Product Name Description Size**

**Surgiplas Medical**

SP086 Plates Mini & Maxi 12 Hole Straight Plate 1.0 mm thick, 8 Hole Straight Plate 1.0 mm thick, Plates 8 to 15 holes

**Benefit**

$420.00

**Benefit**

**Condition**

**Zimmer Biomet Pty Ltd**

BH027 Mandibular Fracture System Plates, Angled or Curved, 2.0 Mandibular

System, Titanium

BH029 Mandibular Fracture System Plates, matrix shape, 2.0 mandibular system.

Titanium

BI767 Mandibular Fracture System Plates, Straight, 2.0 Mandibular Fracture

System, Titanium

8 hole $420.00

8 to 16 hole $420.00

8-15 hole $420.00

### Locking

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY588 AO/ASIF Plate Titanium mandible locking plate, complex shape 8-15 holes $645.00

### Medartis

EO098 MODUS Orthognathics Indication-specific solutions for maxillary and

mandibular orthognathic surgeries

2.0mm $645.00

### Stryker Australia Pty Ltd

HW494 Stryker Leibinger Plating System Mandible Fixation Plates 1.0 - 1.99mm thick, 8 -15 holes $645.00

### Surgiplas Medical

SP117 OsteoMed Plating & Fixation System Mandible Locking plates 8-15 Hole Plates, 1.0-1.99 mm thick $645.00

### Resorbable

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY508 AO/ASIF Plate Rapid resorbable reconstruction plate 8-15 holes $420.00

### KLS Martin Australia Pty Limited

KT036 Martin Level One Fixation Resorb x

& Sonic Weld

### Medtronic Australasia Pty Ltd

Plate PDLLA (resorbable) 1.0 to 1.99mm thick, 8 to 15 holes $420.00

MC566 Macropore C Plates 8 hole $420.00

### Surgical Specialties

SQ062 CPS Bioabsorbable Fixation System OTPS fixation system: PLGA/TMC copolymer Plates 6 & 8 hole $420.00

**Billing Code Product Name Description Size**

* + - 1. **- 1.0-1.99mm thick, 16-32 holes**

**Benefit**

**Benefit**

**Condition**

**Aus Systems Pty Ltd**

AU019 Aus Systems Titanium Miniplates

(Bone Plates)

Plate Titanium 1mm & 1.2mm profile 16 & 19 hole $204.00

### KLS Martin Australia Pty Limited

KT030 Martin Level One Fixation Plate Titanium 1.0 to 1.99mm thick, 16 to 32 holes $204.00

### Lifehealthcare Pty Ltd

LH515 Martin Osteosynthesis 1.5mm System 1mm 16-32 hole plate

### Stryker Australia Pty Ltd

Plate, Titanium 1.0-1.99mm thick, 16-32 holes $204.00

HW495 Stryker Leibinger Plating System Mandible Fixation Plates 1.0 - 1.9mm thick, 16- 32 holes $204.00

### Surgiplas Medical

SP067 Plates Micro, Mini, Maxi 16 Hole Straight Plate, 1.0mm thick, Plate 15 to 32 holes

$204.00

### Zimmer Biomet Pty Ltd

BI762 Mandibular Fracture System Plates, 2.4 Mandibular Fracture System,

Titanium

16 - 24 Hole $204.00

### 3D

**KLS Martin Australia Pty Limited**

KT029 Martin Level One Fixation Plate, titanium 1.0 to 1.99mm thick, 16 to 32 holes $818.00

### Locking

**Stryker Australia Pty Ltd**

HW496 Stryker Leibinger Plating System Mandible Fixation Plates 1.0 -1.9mm thick, 16 - 32 holes $818.00

### Surgiplas Medical

SP118 OsteoMed Plating & Fixation System Mandible Locking Plates 16-32 Hole Plates, 1.0-1.99 mm thick $818.00

### Locking, Complex

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY493 AO/ASIF Plate Titanium Mandibular locking plate, complex shape

16-32 holes $1,400.00

### Resorbable

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY589 AO/ASIF Plate Rapid resorbable reconstruction plate 16-32 holes $420.00

**Billing Code Product Name Description Size**

**KLS Martin Australia Pty Limited**

**Benefit**

**Benefit**

**Condition**

KT028 Martin Level One Fixation Resorb x

& SonicWeld Rx

### Surgical Specialties

Plate, PDLLA (resorbable) 1.0 to 1.99mm thick, 16 to 32 holes $420.00

SQ053 CPS Bioabsorbable Fixation System CPS Systems and Baby System Plates.

Polylactic Acid Trimethylene Carbonate Copolymer

## - 1.0-1.99mm thick, >32 holes

### Complex

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

1.5mm baby plates:- 20 hole, c-plate & x-plate 7 hole, 2 hole

$420.00

SY700 AO/ASIF Plate Titanium Mandibular locking plate, complex shape

>32 holes $840.00

### Resorbable

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY511 AO/ASIF Plate Rapid resorbable reconstruction plate >32 holes $420.00

## - 2.0-2.99mm thick, 4-7 holes

### Surgiplas Medical

SP120 OsteoMed Plating & Fixation System Mandible locking plates 4-7 Holes, 2.0-2.99 mm thick $620.00

### Compression

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY499 AO/ASIF Plate Titanium mandible plate 4-7 holes $720.00

## - 2.0-2.99mm thick, 8-15 holes

### Compression

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY497 AO/ASIF Plate Titanium mandible plate 8-15 holes $780.00

### Locking

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY599 AO/ASIF Plates Titanium mandible locking plate 8-15 holes $950.00

### Stryker Australia Pty Ltd

SK140 Leibinger Titanium Implant System - Universal Mandible Reconstruction Plate

Items used for reconstruction and fixation of mandibular fractures and tumour resection.

Universal Mandible Reconstruction Plate, 11 - 17 holes, straight with template

$950.00

**Billing Code Product Name Description Size**

**Zimmer Biomet Pty Ltd**

**Benefit**

**Benefit**

**Condition**

BI987 Lorenz 2.4mm Locking Reconstruction System

Plates Plate, Angled 2.4mm System, Ti 5 x 11 hole $950.00

## - 2.0-2.99mm thick, 16-32 holes

### Complex, Locking

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY780 AO/ASIF Plate Anatomical Preformed Complex Locking Reconstruction Plates

Small, Medium, Large $1,320.00

### Compression

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY500 AO/ASIF Plate Titanium mandible plate 15-32 holes $900.00

### Locking

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY600 AO/ASIF Plate Titanium mandible locking plate 16-32 holes $1,100.00

### KLS Martin Australia Pty Limited

KT055 KLS Martin Plating System Preshaped reconstruction plates, in left and

right options

2.0mm and 2.5mm thickness with 26 holes $1,100.00

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| SK138 | **Stryker Australia Pty Ltd**  Leibinger Titanium Implant System - | Items used for reconstruction and fixation of | Universal Mandible Reconstruction Plate, | $1,100.00 |
|  | Universal Mandible Reconstruction | mandibular fractures and tumour resection. | (Full), 6 + 13 + 6 holes, with template |  |
|  | Plate |  |  |  |
| SK141 | Leibinger Titanium Implant System - | Items used for reconstruction and fixation of | Universal Mandible Reconstruction Plate, | $1,100.00 |
|  | Universal Mandible Reconstruction | mandibular fractures and tumour resection | (Hemi), Right and Left, 6 + 17 holes with |  |
|  | Plate |  | template |  |
| SK142 | Leibinger Titanium Implant System - | Items used for reconstruction and fixation of | Universal Mandible Reconstruction Plate, | $1,100.00 |
|  | Universal Mandible Reconstruction | mandibular fractures and tumour resection | (Full), 6 + 17 + 6 holes, with template |  |
|  | Plate |  |  |  |

### Surgiplas Medical

SP026 OsteoMed Plating & Fixation System Plates - Fracture Rigid Comminuted Fracture Plate $1,100.00

### Zimmer Biomet Pty Ltd

ZI938 Lorenz Locking Reconstruction System

Locking plates 2.0 and 2.4 mm, 16-32 holes $1,100.00

**Billing Code Product Name Description Size**

* + - 1. **- 2.0-2.99mm thick, >32 holes**

**Complex**

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

**Benefit**

**Benefit**

**Condition**

SY472 AO/ASIF Plate Titanium mandible locking plate, complex shape >32 holes $1,450.00

## - ≥3mm thick, 4-7 holes

### Complex

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY550 Titanium Sternal Fixation System Locking Plate - Star Star: 6 holes $1,480.00

## - ≥3mm thick, 8-15 holes

### Complex

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY551 Titanium Sternal Fixation System Locking Plate - Straight , H or Star Straight: 12holes, H: small & large, Star: 12

holes

$1,480.00

### Lifehealthcare Pty Ltd

LH500 Martin Sternal Talon® An advanced system for rigid sternal fixation

made of titanium alloy. Single sternal talon ( Two legs)

Widths: XS, S, M, L,

Foot plate lengths: 11, 14 ,17 ,20mm

$1,480.00

### Locking

**KLS Martin Australia Pty Limited**

KT007 Martin Level One Fixation Plate, titanium =>3mm thick, 8 to 15 holes $630.00

## - ≥3mm thick, 16-32 holes

### Complex

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY347 Titanium Sternal Fixation System Locking Plate - straight 20 or 30 holes $1,800.00

### Lifehealthcare Pty Ltd

LH501 Martin Sternal Talon® an advanced system of rigid sternal fixation

made of titanium alloy. Double sternal talon (4 legs)

Widths: S, M; Four foot plate depths: 11, 14, 17, 20mm

$1,800.00

### Compression

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY501 AO/ASIF Plate Titanium mandible plate 16-32 holes $1,350.00

**Billing Code Product Name Description Size**

**Locking**

**KLS Martin Australia Pty Limited**

**Benefit**

**Benefit**

**Condition**

KT061 Martin Level One Fixation Plate, Titanium ≥3mm thick, 16 to 32 Holes $1,420.00

# 07.01.06 - Screws

## 07.01.06.01 - Diameter ≤1.24mm

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY559 AO/ASIF Screw CMF screw; cortex, cortical, emergency, self- tapping,self-drilling

### KLS Martin Australia Pty Limited

1.0mm-1.20mm various lengths $70.00

KT025 Martin Level One Fixation Screw Titanium diameter <1.24mm $70.00

### Medtronic Australasia Pty Ltd

MC574 Timesh X-Drive Screws 2 - 15mm $70.00

MC879 TiMesh Rigid Fixation Bone Grafting and Plating System

### Stryker Australia Pty Ltd

Titanium, Screw - Cruciate Head, 12 point Flat Head

Diameter <1.24mm $70.00

HW511 Stryker Leibinger Plating System Micro Screws 1.0 - 1.2mm diameter, 3 - 15mm length $70.00

### Surgiplas Medical

SP088 Screws Micro, Maxi & Self Drilling "Size1.2mm self-drilling screws, 1.2mm x (2 - 14)mm, Screws diameter < 1.24mm"

$70.00

### Compression Surgiplas Medical

SP031 OsteoMed Plating & Fixation System Lag Screws - Micro, Mini 1.2mm x (6 - 16)mm; 1.6mm x (10-12)mm;

2.0mm x (8 - 22)mm;

$80.00

## 07.01.06.02 - Diameter 1.25-3.24mm

### Aus Systems Pty Ltd

AU059 Aus systems titanium bone screws titanium bone screws 1.5mm diameter - 2.3mm diameter, 3mm length to 15mm length

$43.00

### Australian Surgical Innovations Pty Ltd

AI007 ASI Plates and Screws Screw Width 1.0 - 3.0mm. Length 3.0 - 25mm $43.00

**Billing Code Product Name Description Size**

**B Braun Australia Pty Ltd**

**Benefit**

**Benefit**

**Condition**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| BB314 | Aesculap CranioPlate System/ Screws Neuro Emergency, self tapping, 1.8mm x 3 & 5mm | Cranial fixation system, internal fracture, non biodegradable. Consists of screws, plates. | Screws Neuro, Emergency, self tapping, magazine of 8, 1.8mm x 3 & 5mm lengths | $43.00 |
| BB316 | Aesculap CranioPlate System/Screws Neuro, self-drilling, 1.5 x 3, 4 & 5mm | Cranial fixation system, internal fracture, non biodegradable. Consists of screws, plates. | screws neuro, self drilling, magazine of 8, 1.5mm x 3, 4 & 5 mm lengths | $43.00 |

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY590 AO/ASIF Screw Cortex, Cortical, Emergency, Self-tapping, Self- drilling; Low Profile Screws

### KLS Martin Australia Pty Limited

1.25-3.24mm $43.00

KT038 Martin Level One Fixation Screw Titanium Diameter 1.25 to 3.24mm $43.00

### Lifehealthcare Pty Ltd

LH516 Martin Osteosynthesis 1.5mm System Screw

### LMT Surgical Pty Ltd

Self retaining, Titanium 3-7mm length, 1.5-1.8mm diam $43.00

LM232 Bioplate Plating System Titanium Screws 1.25 to 3.24mm Diameter $43.00

### Medtronic Australasia Pty Ltd

MC571 Timesh 12 Point Screws 3 - 20mm $43.00

MC880 TiMesh Rigid Fixation Bone Grafting and Plating System

Titanium, Screw - Cruciate Head, 12 point Flat Head

Diameter 1.25 - 1.74mm $43.00

MI092 TiMesh Internal Drive Screws Diameter: 1.5 - 1.8mm $43.00

MI093 TiMesh Rescue Screws Diameter: 1.8 - 2.4mm $43.00

### Signature Orthopaedics

SF127 Melbourne TMJ Prosthesis TMJ Mandibular Component - Screws (2.7-3.2mm Diameter) x (8-12mm Length) $43.00

### Stryker Australia Pty Ltd

HW491 Stryker Leibinger Plating System Craniofacial Fixation Screws 1.5 - 2.7mm diameter, 3 - 20mm length $43.00

### Surgiplas Medical

SP089 Screws Micro, Maxi & Self Drilling "Size1.6mm x (4-8)mm self-drilling screws,1.5mm Safety ,Screws diameter 1.25- 1.75mm"

SP090 Screws Micro, Maxi & Self Drilling "Size2.0mm x (4-8)mm self-drilling screws,1.9mm Safety ,Screws diameter 1.75- 2.24mm"

$43.00

$43.00

**Billing Code Product Name Description Size**

SP091 Screws Micro, Maxi & Self Drilling 2.4mm x (4-22)mm self-drilling screws, 2.7mm x (8-20)mm; 2.7mm Safety Screws, diameter 2.25-2.74mm

**Benefit**

$43.00

**Benefit**

**Condition**

**Zimmer Biomet Pty Ltd**

BH016 TMJ System Screw, Cross Drive, Fossa. Titanium 2.0mm dia x (5 - 13)mm $43.00 BH017 TMJ System Screw, Cross Drive, Fossa. Titanium 2.3mm Dia x (5 - 13)mm $43.00

BH020 W Lorenz Osteosynthesis System Bone Screw, Cross Drive or Centre Drive.

Titanium

BH021 W Lorenz Osteosynthesis System Bone Screw, Cross Drive or Centre Drive.

Titanium

BI360 W Lorenz Osteosynthesis System Bone Screw, Cross or Centre Drive, Std or Self

Drilling; Titanium

1.5mm dia x (3.5 - 17)mm $43.00

1.8mm dia x (3.5 - 17)mm $43.00

2.0mm x (4 - 7) mm $43.00

BI365 W Lorenz Osteosynthesis System Bone Screw, Cross or Centre Drive; Titanium 2.0mm x (9 - 19) mm $43.00

BI723 Mandibular Fracture System Screw, High Torque 2.0/2.4 Mandibular

Fracture, Titanium

2.7 x (6-20)mm $43.00

BI726 Mandibular Fracture System Screw, High Torque (HT), Emergency, 2.0/2.4

Mandibular Fracture System, Titanium

Dia 2.3mm x 4.0, 5.0, 7.0, 9.0, 11.0, 13.0,

15.0mm Lengths

$43.00

BI733 W.Lorenz Osteosynthesis System Bone Screw, Self Drilling, Cross Drive,

Titanium

BI734 W.Lorenz Osteosynthesis System Bone Screw, Self Drilling, Cross Drive,

Titanium

1.5 mm (dia) x 6.0, 7.0mm [lengths] $43.00 1.5 mm (dia) x 3.5, 4.0, 5.0mm, [lengths] $43.00

BI735 W.Lorenz Osteosynthesis System Bone Screw, Cross or Centre Drive; Titanium 2.3mm x (5 - 9) mm $43.00

BI742 TMJ System Screw, Cross Drive Mandibular Component, Titanium

BI744 Mandibular Fracture System Screw, High Torque 2.0/2.4 Mandibular

Fracture, Titanium

(2.7 - 3.2mm) x (8 - 12mm) $43.00

2.0 x (9-17)mm $43.00

BI748 Mandibular Fracture System Screw, High Torque (HT), 2.0/2.4 Mandibular

Fracture System, Titanium

Dia 2.4 x 6.0mm, 8.0, 10.0, 12.0, 14.0, 16.0,

18.0mm Lengths

$43.00

ZI924 OmniMax Screws IMF screws 2.0 diameter, 7-11mm $43.00

ZI925 OmniMax Screws MMF Screws 2.0 diameter, 7mm-11mm $43.00

### Compression

**Stryker Australia Pty Ltd**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| SK152 | Leibinger Screw - Universal | Items used for reconstruction and fixation of | Universal Mandible Lag Screws, 2.0mm | $121.00 |
|  | Mandibular Screws | mandibular fractures and tumour resection | Diameter, 24mm-42mm Length |  |

**Billing Code Product Name Description Size**

**Distractor**

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

**Benefit**

**Benefit**

**Condition**

SY591 External Midface Distractor System Fixation; Set - Screws 1.25-3.24mm $85.00

### Locking

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY592 AO/ASIF Screw Cortex, Cortical, Emergency, Self-tapping, Self- drilling; Locking Screws

### KLS Martin Australia Pty Limited

1.25-3.24mm $90.00

KT035 Martin Level One Fixation Screw, titanium Diameter 2.25 - 2.74mm $90.00

### Stryker Australia Pty Ltd

HW487 Stryker Leibinger Hybrid MMF

Screws

SMARTLock Hybrid MMF Screws, Locking System - Universal SMARTLock Hybrid MMF Component - MMF Screws

Two Sizes -

2.0mm Diameter, 6mm Length 2.0mm Diameter, 8mm Length

$90.00

HW509 Stryker Leibinger Plating System Universal Mandibular Locking Screws 2.0 - 2.7mm diameter, 3 - 24mm length $90.00

### Surgiplas Medical

SP094 OsteoMed Plating & Fixation System Screws 2.4mm x (6-22)mm Locking Screws, Screws 2.25-2.74mm

$90.00

SP116 OsteoMed Plating & Fixation System Locking Screws Diameter 2.0mm, length 4-18mm $90.00

### Zimmer Biomet Pty Ltd

BI457 Lorenz 2.4mm Locking Reconstruction System

### Resorbable

Screw, Locking Reconstruction Modular. Titanium

2.4 x (6-18)mm $90.00

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY593 PolyMax Rapid-Resorbable Fixation System

Polyactide Resorbable Screw/Tack 1.25-3.24mm $141.00

### KLS Martin Australia Pty Limited

KT040 Martin Level One Fixation Resorb x

& Sonic Weld

### Medtronic Australasia Pty Ltd

MC626 Macropore FRP (fast resorbing

polymer)

Sonic Pin PDDLA (resorbable) Diameter 1.25 - 3.24mm $141.00

Polylactide and Polyglycolide polymer 1.8mm x 3-8mm $141.00

MI090 Macropore Screws 1.75 - 2.75 x 2.24 - 3.24mm $141.00

### Stryker Australia Pty Ltd

HW510 Delta Resorbable Fixation System Resorbable Screws 1.7mm diameter, 3 -6mm length $141.00

**Billing Code Product Name Description Size**

**Surgical Specialties**

**Benefit**

**Benefit**

**Condition**

SQ051 CPS Bioabsorbable Fixation System OTPS fixation system: PLGA/TMC copolymer Screws 1.5 - 2.5mm dia x 5-8mm long $141.00 SQ056 CPS Bioabsorbable Fixation System OTPS fixation system: PLGA/TMC copolymer Screws 2.8 x 6-23mm, 3.1 x 6-8mm $141.00 SQ057 CPS Bioabsorbable Fixation System OTPS fixation system: PLGA/TMC copolymer Screws 3.1 x 6 - 30mm and 2.5 x 30mm $141.00

SQ060 CPS Bioabsorbable Fixation System OTPS fixation system: PLGA/TMC copolymer Screws 2 x 9-19mm, 2.5 x 10-23mm and 2.8 x

10 - 23mm

$141.00

### Zimmer Biomet Pty Ltd

BI415 Lactosorb Resorbable Craniomaxillofacial Fixation System

BI994 Lactosorb Resorbable Craniomaxillofacial Fixation System

BI995 Lactosorb Resorbable Craniomaxillofacial Fixation System

BI996 Lactosorb Resorbable Craniomaxillofacial Fixation System

BI997 Lactosorb Resorbable Craniomaxillofacial Fixation System

## 07.01.06.03 - Diameter ≥3.25mm

### Resorbable

**Surgical Specialties**

Bone Screw, 2 Pack, Endobrow, Lactosorb. PGA/PLA

Bone Screw Lactosorb, single screw (multiple screws per pack) PGA/PLA

Bone Screw Lactosorb, single screw (multiple screws per pack) PGA/PLA

Bone Screw Lactosorb,single screw (multiple screws per pack) PGA/PLA

Bone Screw Lactosorb, single screw (multiple screws per pack) PGA/PLA

2 x 5mm $141.00

1.5mm dia $141.00

2.0mm dia $141.00

2.5mm dia $141.00

2.8mm dia $141.00

SQ059 CPS Bioabsorbable Fixation System OTPS fixation system: PLGA/TMC copolymer Screws 4.5 x 20-55mm, 3.1 x 40mm $310.00

# - Ancillary Components

## - Pin

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY345 Titanium Sternal Fixation System Titanium Emergency Release Pin One Size only $95.00

## - Tack

### Medtronic Australasia Pty Ltd

MC570 Macropore Tacks 1.5 x 4mm - 2.0 x 6mm $52.00

### Surgical Specialties

SQ050 Inion GTR Biodegradable System PLGA/TMC Copolymer: membrane & tacks 6 tack kit $52.00

**Billing Code Product Name Description Size**

* + - 1. **- Washer**

**Benefit**

**Benefit**

**Condition**

**Stryker Australia Pty Ltd**

SK146 Leibinger Titanium Implant System - Universal Mandible Biconcave Washer

Items used for reconstruction and fixation of mandibular fractures and tumour resection

Universal Mandible Bi-concave Washer $30.00

## - Wedges and Burr Hole Covers

### AA-Med Pty Ltd

ZZ023 Burr Hole Covers for Kelyniam

Customized Implant System

### Lifehealthcare Pty Ltd

PEEK and Anodized Titanium Burr Hole Covers

13mm - 22mm Diammeter $385.00

LH539 Cranial Loop (XL) Burr Hole Cranial bone fixation system made of PEEK

OPTIMA

Diameter: 22mm ; Thickness: 0.9mm - 1.0mm thick

$385.00

### Stryker Australia Pty Ltd

HW435 E-POR Biomaterial/ Craniotomy Gap Wedge Porous Polyethylene

HW439 E-POR Biomaterial/ Burr Hole

Cover, Porous Polyethylene

## - Anchor Bone

Craniotomy Gap Wedge Porous Polyethylene One Size - V and T shape $385.00 Burr Hole Cover, Porous Polyethylene 15mm x 3mm x 5mm; 29mm x 7mm x 14mm $385.00

### Surgiplas Medical

SP096 OsteoMed Plating & Fixation System Screws MMF / Anchorage Screws 1.2/1.6/2.0mm Anchor, Bone

$140.00

## - Clamps

### B Braun Australia Pty Ltd

BB072 Craniofix Titanium Clamps Titanium 11mm $95.00

BB073 Craniofix Titanium Clamps Titanium 16mm $95.00

BB168 Craniofix Titanium skull fixation clamp 20mm $95.00

BB289 CranioFix Absorbable Double sided Cranial clamp, absorbable

polyester

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

11mm, 16mm $95.00

SY252 AO/ASIF Facio-Maxillary Plates Flapfix - Plates for fixation of cranial bone flaps 10 - 20mm $95.00

**Billing Code Product Name Description Size**

**LMT Surgical Pty Ltd**

**Benefit**

**Benefit**

**Condition**

LM233 Bioplate ZIP Titanium Clamp 11 to 20 mm $95.00

### Medtronic Australasia Pty Ltd

MI094 Invisx Locks Invisx polymer cranial fixation system One size $95.00

### Zimmer Biomet Pty Ltd

BI714 RapidFlap Cranial Clamp Clamp, Burr Hole or Craniotomy Line, Titanium 12, 16, 20mm $95.00

## - Screws

### AA-Med Pty Ltd

ZZ007 HND Screws for OBL PSI System Osteosynthesis screws for cranio-maxillo-facial

patient specific implants

Width – 1.5mm-3mm Length 3.5mm-18mm $140.00

ZZ024 Screws for Kelyniam Customized Implant System

Self-drilling Titanium Screws 1.5mm diameter, 3mm-6mm length $140.00

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY784 SynPOR Chin Connector One Size $140.00

### Surgiplas Medical

SP095 OsteoMed Plating & Fixation System Screws Locking Screw Inserts, Other ancillary $140.00

## - Locks

### Medtronic Australasia Pty Ltd

MC580 Macropore Locks 2 - 20mm $700.00

## - Probe

### WILLIAM A COOK AUSTRALIA PTY LTD

WC264 SYSTEM- Doppler Blood Flow

Monitoring System. COMPONENT - Cook-Swartz Implantable Doppler Flow Probe

The Cook-Swartz Implantable Doppler Flow Probe is an implantable 20MHz Probe with epoxy-coated Crystal and patented Silicone Cuff which provides continuous direct vessel monitoring of microvascular anastomoses. A 30cm wire with external Retention Tabs is attached to the 1mm diameter Crystal.

Cuff Lengths: 17.4 and 32mm $390.00

**Billing Code Product Name Description Size**

* + 1. **- Non-mesh, non-resorbable**
       1. **- <6cm2**

**Benefit**

**Benefit**

**Condition**

**Neoss Australia Pty Ltd**

NJ010 Neoss Ti Reinforced Membrane - S I, Neoss Ti Reinforced Membrane - M I, Neoss Non- Reinforced Membra

## - >6cm2 - <8cm2

### Neoss Australia Pty Ltd

NJ011 Neoss Ti Reinforced Membrane - L I, Neoss Ti Reinforced Membrane - M

## - >8cm2

Neoss Ti Reinforced membrane NeoGen is an implantable temporary non-resorbable device (membrane) for use as a spacer creation barrier in the treatment of local defects in the oral cavity in conjunction with tissue regeneration or augmentation. Neoss membranes are intended to be submerged and clinically implanted more than 30 days with an expected duration of implantation up of 6 months.

Neoss Ti Reinforced membrane NeoGen is an implantable temporary non-resorbable device (membrane) for use as a spacer creation barrier in the treatment of local defects in the oral cavity in conjunction with tissue regeneration or augmentation. Neoss membranes are intended to be submerged and clinically implanted more than 30 days with an expected duration of implantation up of 6 months.

28.7mm x 18mm, 0.3mm thick (Reinforced S I)

30.4mm x 19.4mm, 0.3 thick (Reinforced M I)

29mm x 14mm, 0.3mm thick (Non-reinforced)

35.9mm x 21.2mm, 0.3mm thick (L I) 32.2mm x 22mm, 0.3mm thick (M)

$185.00

$250.00

### Neoss Australia Pty Ltd

NJ012 Neoss Non-Reinforced Membrane,

Neoss Ti Reinforced Membrane - L

Neoss Ti Reinforced membrane NeoGen is an implantable temporary non-resorbable device (membrane) for use as a spacer creation barrier in the treatment of local defects in the oral cavity in conjunction with tissue regeneration or augmentation. Neoss membranes are intended to be submerged and clinically implanted more than 30 days with an expected duration of implantation up of 6 months.

34.2mm x 24.8mm, 0.3mm thick $330.00

**Billing Code Product Name Description Size**

* + 1. **- Chin**

**Device Technologies Australia Pty Ltd**

**Benefit**

**Benefit**

**Condition**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| DE320 | Facial Implant Chin | Anotomical chin | Small, medium, large/left, right | $286.00 |
| DE321 | Facial Implant Chin | Chin | Small, medium, large/left, right | $286.00 |

**SPIRAN PTY. LTD.**

S2001 Biopore Chin Two Piece Anatomical contour.

### Stryker Australia Pty Ltd

An implantable device intended to support, contour, and provide structure for the chin. Made of high density polyethylene material with an interconnecting pore structure that supports tissue ingrowth. The device is available in various shapes and can be cut by the surgeon to meet the patient's specific needs.

78 x 9mm $286.00

HW412 Chins Extended chin implants: Round RZ (Models 8313 - 8315) and extended square RZ (Models 8316, 8318). Two piece chin design (Models 8320 - 8322). Single piece chin design, contoured (Models 7520 - 7522). Additional chin shapes (Models 6341 - 6344) Contoured t

### Surgiplas Medical

Extended chin Implants design RZ round small: 45 x 47 x 3mm, medium 45 x 47 x 5mm, large 45 x 47 x 7mm; Extneded Chin Implants square small 45 x 47 x3mm; Medium 45 x 47 x 5mm; Large 45 x 47 x 7mm; Two piece design small 46 x 33 x 5mm; Medium 56 x 36 x 7mm

$286.00

SP004 Facial Prosthesis Silicone elastomer Small / Medium / Large / X-Large $286.00

### Complex

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY782 SynPOR Porous Polyethylene Chin Implant 4-9mm $950.00

# - Cranium

### Medtronic Australasia Pty Ltd

MC548 Macropore Cranial Recon 29 - 165mm $481.00

**Billing Code Product Name Description Size**

* + - 1. **- Complex**

**Benefit**

**Benefit**

**Condition**

**Australian Surgical Innovations Pty Ltd**

AI006 ASI Plates and Screws Custom Mesh . $6,700.00

### Biomodelled

**AA-Med Pty Ltd**

ZZ001 OBL PorousiTi® Patient Specific Implant - Cranium

Patient specific implant for the cranium constructed of PourousTi®

The implant is custom made so the size is variable

$9,930.00

ZZ014 Kelyniam Customized Cranial Implant PEEK-OPTIMA Customised Cranial Implant The implant is custom made so the size will be

variable

$9,930.00

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY772 PSI Biomodelled Patient Specific Craniofacial implant, PEEK Titanium

Custom $9,930.00

SY834 OBL PorousiTi® Patient Specific Implant - Cranium

Patient specific implant for the cranium constructed of PourousTi®

The implant is custom made so the size is variable

$9,930.00

### KLS Martin Australia Pty Limited

KT003 UNIQOS Custom Patient Specific

Craniofacial Implant, PEEK Titanium

### Medtronic Australasia Pty Ltd

UNIQOS Custom Patient Specific Craniofacial Implant, PEEK Titanium

Custom - Patient Specific $9,930.00

MC528 TiMesh Cranial Custom Mesh 121mm x 72mm - 152 x 152mm $9,930.00

### Stryker Australia Pty Ltd

HW547 Stryker Biomodelled Patient Specific PEEK Implant

### Biomodelled Three Piece

Biomodelled Patient Specific Craniofacial Implant PEEK

Custom $9,930.00

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY774 PSI Biomodelled Patient Specific Craniofacial implant, PEEK Titanium, 3 Piece

Custom $10,930.00

### Biomodelled Two Piece

**AA-Med Pty Ltd**

ZZ002 OBL PorousiTi® Cranial Patient

Specific Implant – Two piece

Patient specific two piece implant for the cranium constructed of PourousTi®

The implant is custom made so the size is variable

$10,430.00

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY773 PSI Biomodelled Patient Specific Craniofacial Implant, Titanium, 2 Piece

Custom $10,430.00

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Billing Code** | **Product Name** | **Description** | **Size** | **Benefit** | **Benefit** | **Condition** |
| SY826 | OBL PorousiTi® Cranial Patient Specific Implant – Two piece | Patient specific two piece implant for the cranium constructed of PourousTi® | The implant is custom made so the size is variable | $10,430.00 |  |  |

### Biomodelled, Dual Mesh Medtronic Australasia Pty Ltd

MC625 Modified Dual TiMesh TiMesh Surgical Mesh Modified, includes two

cranial plates. Composition: Titanium

121mm x 77mm - 152mm x 152mm. $10,500.00

* + - 1. **- Polymer**

### Stryker Australia Pty Ltd

HW437 E-POR Biomaterial/ Mastoid,

Pterional, Contourable Porous Polyethylene

### Complex

**SPIRAN PTY. LTD.**

Mastoid, Pterional, Contourable Porous Polyethylene

Left, Right, 43mm - 57mm x 0.6mm, 1.5mm $1,300.00

S2007 Biopore Custom Made Implant An implantable device made of high-density

polyethylene material with an interconnecting pore structure that supports tissue ingrowth. The device is custom made/biomodelled from individual patient's CT scan, on doctors prescription, used for correction and reconstruction of any facial, head or any non weight bearing bone structure.

Custom designed and biomodelled from patient's CT scan image.

$9,930.00

## - Composite

### Surgiplas Medical

SP113 OsteoMed Plating & Fixation System Plates 90 x 90mm, 95 x 165mm, & Large Pre-formed Osteoform Mesh, Cranium.

$2,600.00

## - Surgical Guide

### Biomodelled

**AA-Med Pty Ltd**

ZZ004 Surgical Guide for OBL PSI System - Cranium

Patient specific surgical guide for cranial implant

The device is custom made so sizes will vary $2,650.00

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY777 ProPlan Patient Specific Cranical Surgical Guides, Implants

Custom $2,650.00

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Billing Code** | **Product Name** | **Description** | **Size** | **Benefit** | **Benefit** | **Condition** |
| SY825 | Surgical Guide for OBL PSI System - Cranium | Patient specific surgical guide for cranial implant | The device is custom made so sizes will vary | $2,650.00 |  |  |

# - Ear

## - Helical Rim

### Stryker Australia Pty Ltd

HW420 Ear Reconstruction Porus Polyethylene. Helical rim, models 8328 and 8329

Helical rim: 37 x 62mm $420.00

## - Ear Base

### Stryker Australia Pty Ltd

HW432 Ear Reconstruction Porus Polyethylene. Ear base left and right, models 7542 and 7525 - 7527. Ear base extended left and right, models 8330 and 8331.

Ear base: 29 x 55 x 13mm, 32 x 65 x 16mm. Ear base extended: 30 x 60mm.

$600.00

# - Malar

### Device Technologies Australia Pty Ltd

DE333 Facial Implant Malar Malar Anatomical Small, medium, large/left or right $330.00

### Stryker Australia Pty Ltd

HW413 Genioplasty Wedge Porus Polyethylene. Genioplasty wedges, models 8340 - 8343

Small 60 x 25 x 5mm, medium 60 x 25 x 7.5mm, large 60 x 25 x 10mm

$330.00

HW414 Prejowl Shape Porus Polyethylene. Model 8319 45 x 41 x 4mm $330.00

SK512 Malar Shape Porus Polyethylene. Design RZ malar shapes, super petite and petite, left and right (Models 9501 - 9504). Design M malar shapes, left and right (Models 9507 - 9512). Additional malar shapes, extended contoured left and right (Models 9513 - 9518) Contoured

Design RZ malar shapes: super petite left and right 50 x 19 x 3mm, Design RZ malar shapes petite left and right 50 x 19 x 5mm. Design malar shapes: small left and right 64 x 19 x 3mm, left and right medium 64 x 19 x 4.5mm, Left and right large 64 x 19 x

$330.00

* + - 1. **- Complex**

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY783 SynPOR Porous Polyethylene Malar Implant 3-5 mm $1,150.00

**Billing Code Product Name Description Size**

**Stryker Australia Pty Ltd**

**Benefit**

**Benefit**

**Condition**

HW434 E-POR Biomaterial/ Midface Contour Porous Polyethylene

HW438 E-POR Biomaterial/ Temporal Fossa Implant Porous Polyethylene

## - Polymer

Midface Contour Porous Polyethylene One size $1,150.00 Temporal Fossa Implant Porous Polyethylene 61mm - 105mm x 18mm - 20mm $1,150.00

### SPIRAN PTY. LTD.

S2004 Biopore Malar Implant An implantable device intended to support,

contour and provide structure for the face including the cheeks and eye sockets. Made of high-density polyethylene material with an interconnecting pore structure that supports tissue ingrowth. The device is available in various shapes and can be cut by the surgeon to meet the patient's specific needs.

Left and Right (47mm x 24mm x 4mm) $430.00

### Stryker Australia Pty Ltd

HW436 E-POR Biomaterial/ Transsphenoidal Sellar Contourable Porous Polyethylene

Transphenoidal Sellar Contourable Porous Polyethylene

2.5mm x 20mm - 40mm $500.00

# - Mandible, Maxilla and Temperomandibular Joint (TMJ)

## - Mandible, Full

### Medtronic Australasia Pty Ltd

MC513 TiMesh Full Mandible One size only $1,520.00

### Surgiplas Medical

SP092 Osteo Plating & Fixation System Plates - Reconstruction 5 x 20 x 5 Hole Full Mandible Plate; 5 x 16 x

5 Hole Full Mandible Plate; Mandible, Full

$1,520.00

### Biomodelled

**AA-Med Pty Ltd**

ZZ025 OBL PorousiTi Patient Specific

Implant - Mandible

Patient specific implant for mandible constructed of PourousiTi

The model is custom made so size will vary $8,500.00

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY824 OBL PorousiTi Patient Specific

Implant - Mandible

Patient specific implant for mandible constructed of PourousiTi

The model is custom made so size will vary $8,500.00

**Billing Code Product Name Description Size**

* + - 1. **- Fossa Replacement**

**Benefit**

**Benefit**

**Condition**

**OMX SOLUTIONS PTY LTD**

OG003 OMX Solutions Melbourne TMJ

Glenoid Fossa Component

### Signature Orthopaedics

Universal glenoid fossa component constructed of UHMWP

The device is custom made so the size will vary.

$5,850.00

SF131 Melbourne TMJ Prosthesis TMJ Fossa component One Size $5,850.00

### Zimmer Biomet Pty Ltd

BI569 TMJ System Fossa Component, Left or Right; Titanium, UHMWPE

Small, Medium Large $5,850.00

## - Mandibular Angle

### Compression

**Stryker Australia Pty Ltd**

ST369 Luhr Fixation System Luhr Mandibular Compression System: curved,

straight, metacarpal plate Vitallium

Curved: 30,38, 45mm, Straight: 30, 40, 50,

60, 80mm, metacarpal: 41, 45mm

$152.00

### Surgiplas Medical

SP069 Plates Micro, Mini, Maxi Angled EDC Plate, Angled Long EDC Plate, 40mm 6 Hole Fracture Plate, 6 Hole Curved EDC Plate, 33mm & 38mm 4 Hole EDC Plate, 48mm 6 Hole EDC Plate, Mandible, Mandible/Reduction, Mandible Angle

$152.00

### Polymer

**SPIRAN PTY. LTD.**

S2009 Biopore Mandible (Left / Right) An implantable device intended to support,

contour, and provide structure for the mandible. Made of high-density polyethylene material with an interconnecting pore structure that supports tissue ingrowth. The device can be cut by the surgeon to meet the patient's specific needs.

74 x 33 x5mm $1,485.00

### Stryker Australia Pty Ltd

HW422 Mandibular angle Porus Polyethylene. RZ mandibular angles left and right (Models 9955 - 9960); Porus Polyethylene. Contoured mandibular angles left and right (Models 88037 - 88038)

RZ mandibular angles: 65 x 35 x 3 x 6.5 x 3 x

3mm, 65 x 35 x 7 x 6.5 x 3 x 3mm, 65 x 35 x

11 x 6.5 x 3 x 3mm. Contoured mandibular angles left and right:59 x 29 x 7 x 11mm.

$1,485.00

**Billing Code Product Name Description Size**

* + - 1. **- Condylar Device**

**Benefit**

**Benefit**

**Condition**

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY694 Condylar Head Add-On System Condylar Head - Left, Right One Size $1,545.00

### KLS Martin Australia Pty Limited

KT008 Martin Level One Fixation Temporary condylar impant, titanium 5cm $1,545.00

### Stryker Australia Pty Ltd

SK218 Leibinger Titanium Implant System - Universal Mandible Condylar Device

### Zimmer Biomet Pty Ltd

Items used for reconstruction following trauma or tumor resection of the mandible. Included are 2x cross pin fixation screw.

Universal Mandible Condylar Device Left and Right

$1,545.00

BI792 Lorenz 2.4mm Locking Reconstruction System

### Fixation Plate

Condyle left or right, chrome cobalt (CoCr) One size only $1,545.00

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY695 Condylar Head Add-On System Fixation Plate 0-6mm positions 2 Holes $645.00

## - Plate

### OMX SOLUTIONS PTY LTD

OG002 OMX Solutions Melbourne TMJ Mandibular Ramus

### Signature Orthopaedics

Custom 3D printed mandible component constructed of titanium alloy

The device is custom made so the size will vary.

$6,875.00

SF128 Melbourne TMJ Prosthesis TMJ Mandibular Component S, M, L (Left & Right) $6,875.00

### Zimmer Biomet Pty Ltd

BI559 TMJ System Mandibular Component, Left or Right, Titanium (40 - 60mm), 5-13 hole $6,875.00

### Biomodelled

**AA-Med Pty Ltd**

ZZ009 Custom made plates (including

Megaplates)

Patient specific plates for the mandible and maxilla

The model is custom made so size will vary $4,200.00

ZZ011 SynpliciTi System - Plates Patient specific plates for the mandible, maxilla

and TMJ

The model is custom made so size will vary $4,200.00

**Billing Code Product Name Description Size**

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

**Benefit**

**Benefit**

**Condition**

SY776 ProPlan Biomodelled Patient specific Mandible Complex Locking Reconstruction Plate

SY832 SynpliciTi System - Plates Patient specific plates for the mandible, maxilla

and TMJ

Custom $4,200.00

The model is custom made so size will vary $4,200.00

SY836 Custom made plates (including

Megaplates)

Patient specific plates for the mandible and maxilla

The model is custom made so size will vary $4,200.00

### KLS Martin Australia Pty Limited

KT002 UNIQOS custom Threadlock TS

Mandible Reconstruction Plates

### Stryker Australia Pty Ltd

HW545 Stryker Biomodelled Patient Specific Mandible Reconstruction Plate

### Hemimandible

**Medtronic Australasia Pty Ltd**

UNIQOS Custom Threadlock TS Mandible Reconstruction Plates

Biomodelled Patient Specific Mandible Complex Locking Reconstruction Plate

Custom-Patient Specific $4,200.00

Custom $4,200.00

MC515 TiMesh Hemimandible, Left/Right One size only $645.00

### Surgiplas Medical

SP024 OsteoMed Plating & Fixation System Plates - Reconstruction 5 x 16 Hole plate Right & Left $645.00

### Maxilla

**Medtronic Australasia Pty Ltd**

MC512 TiMesh Maxillary Prosthesis One size only $2,124.00

### Symphsis

**Medtronic Australasia Pty Ltd**

MC516 TiMesh Mandibular Symphysis One size only $1,294.00

## - External Midface System

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY594 Mandible External Fixator Hemi, 3/4, Full and Ramus Various $1,460.00

## - Surgical Guide

### Biomodelled

**AA-Med Pty Ltd**

ZZ005 Surgical Guide for OBL PorousiTi®

PSI System – Mandible & Maxilla

Patient specific surgical guide for mandible and maxilla

The model is custom made so size will vary $2,650.00

**Billing Code Product Name Description Size**

**Benefit**

**Benefit**

**Condition**

ZZ010 Custom made plates (including

Megaplates) – Surgical Guides

Surgical Guides for patient specific plates for the mandible and maxilla

The model is custom made so size will vary $2,650.00

ZZ012 SynpliciTi System – Surgical Guides Patient specific surgical guides for the

mandible, maxilla and TMJ

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY778 ProPlan Pateint specific Maxillofacial Surgical Guides, Implants

SY827 SynpliciTi System – Surgical Guides Patient specific surgical guides for the

mandible, maxilla and TMJ

The model is custom made so size will vary $2,650.00

Custom $2,650.00

The model is custom made so size will vary $2,650.00

SY829 Custom made plates (including

Megaplates) – Surgical Guides

SY835 Surgical Guide for OBL PorousiTi®

PSI System – Mandible & Maxilla

Surgical Guides for patient specific plates for the mandible and maxilla

Patient specific surgical guide for mandible and maxilla

The model is custom made so size will vary $2,650.00 The model is custom made so size will vary $2,650.00

### KLS Martin Australia Pty Limited

KT005 UNIQOS Patient Specific Surgical

guides

### OMX SOLUTIONS PTY LTD

OG001 OMX Solutions patient Optimized

Guide system

## - Maxilla

### Biomodelled

**AA-Med Pty Ltd**

UNIQOS Patient Specific Surgical guides Custom - Patient specific $2,650.00

CT Based Patient Specific Surgical Guide The device is patient specific so size will vary $2,650.00

ZZ026 OBL PorousiTi Patient Specific Implant - Maxilla

Patient specific implant for maxilla constructed of PorousiTi

The model is custom made so size will vary $6,500.00

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY828 OBL PorousiTi Patient Specific Implant - Maxilla

# - Nose and Zygoma

## - Nasal Dorsum

Patient specific implant for maxilla constructed of PorousiTi

The model is custom made so size will vary $6,500.00

### Device Technologies Australia Pty Ltd

DE322 Facial Implant Nasal Zygomatic Right, left $279.00

**Billing Code Product Name Description Size**

**SPIRAN PTY. LTD.**

**Benefit**

**Benefit**

**Condition**

S2010 Biopore Nasal Dorsum Shape An implantable device intended to support,

contour, and provide structure for the nose and zygoma. Made of high-density polyethylene material with an interconnecting pore structure that supports tissue ingrowth. The device is available in various shapes and can be cut by the surgeon to meet the patient's specific needs.

53 x 5mm, 66 x 6 mm, 76 x 15mm, 40 x 9mm $279.00

### Stryker Australia Pty Ltd

HW423 Nasal Shape. Petite Nasal Dorsum. Porus Polyethylene. Petite Nasal Dorsum (

Models 84000 - 84004).

## - Nasal Arch

### Stryker Australia Pty Ltd

HW415 Nasal Shape or Rhinoplasty Shape Porus Polyethylene. Nasal Arch shapes, nasal

arch and nasal sheet (Models 9533 - 9536). Nasal dorsum shapes, design A and design B (Models 7516 - 7518). Nasal valve support, lateral nasal valve support and ext.

## - Nasal Shell Shape

### Stryker Australia Pty Ltd

HW425 Nasal Shell Shapes. Nasal Shell Shapes, Regular and Large with Inserts Small and Large (included). Models 9553 - 9554. Thin Nasal Shell 84006

## - Nasal Valve Support

### Stryker Australia Pty Ltd

HW424 Nasal Valve Support. Lateral Nasal Valve, Model 7545. External Nasal Valve Batten, Model 7546. External Nasal Valve Batten - Thin, Model 7167

Petite Nasal Dorsum: 4 x 4 x 45mm, 4 x 4 x

55mm, 5 x 5 x 45mm, 5 x 5 x 55mm, 6 x 9 x 55mm.

Nasal arch shapes: small 70 x 13 x 2mm, medium 70 x 15 x 2mm, large 70 x 15 x 2mm, sheet 40 x 9 x 1.1mm. Nasal dorsum shapes: design A small 53 x 5mm, design A large 66 x 8mm, design B 67 x 6.5mm. Nasal valve support: lateral nasal valve 13 x 0.85 x 3.5mm

Regular: 38 x 21 x 17mm, Insert Small 30 x 4 x 9mm, Insert Large 38 x 2.5 x 9mm. Large: 40 x 20 x 18mm, Insert Small 32 x 4 x 9mm, Insert Large 41 x 3 x 9mm. Thin Nasal Dorsal Shell 42.7mm x 16.4mm x 21.8mm

Lateral Nasal Valve:13 x 3.5 x 0.85mm, External Nasal Valve Batten: 25 x 11 x 0.85mm, External Nasal Valve Batten - Thin: 24 x 11.5 x 0.6mm.

$279.00

$350.00

$490.00

$227.00

**Billing Code Product Name Description Size**

* + - 1. **- Naso-orbital Ethmoid Implant**

**Complex**

**Medtronic Australasia Pty Ltd**

MC521 TiMesh Naso-Orbital-Ethmoid 1mm - 2.2mm; Complex 1, Complex 2, Complex 3

**Benefit**

$541.00

**Benefit**

**Condition**

* + - 1. **- Surgical Guide**

**Biomodelled**

**AA-Med Pty Ltd**

ZZ013 SynpliciTi System – Surgical Guides Surgical Guide for the zygoma The model is custom made so size will vary $2,650.00

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY823 SynpliciTi System – Surgical Guides Surgical Guide for the zygoma The model is custom made so size will vary $2,650.00

## - Zygoma Plate

### Biomodelled

**AA-Med Pty Ltd**

ZZ027 SynpliciTi System - Plates Patient specific plates for zygoma The model is custom made so size will vary $4,200.00

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY831 SynpliciTi System - Plates Patient specific plates for zygoma The model is custom made so size will vary $4,200.00

# - Orbit

## - Complete Orbital Shape

### Stryker Australia Pty Ltd

HW411 Complete Orbital Shape Porus Polyethylene. Complete and 2 / 3 orbit

shapes. Inferior 2 / 3 left and right. Models 9567, 9568

Inferior: 83 x 78mm $1,940.00

HW421 Complete Orbital Shape Complete left and right. Models 9569, 9570 Complete 61 x 76mm $1,940.00

## - Orbital Floor

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| SY391 | Orbital Fixation System | Orbital Floor Plate | S, M, L | $890.00 |
| SY698 | SynPOR | Anatomical Porous Polyethylene | 0.8mm - 1.5mm thick | $890.00 |

**Billing Code Product Name Description Size**

**Stryker Australia Pty Ltd**

**Benefit**

**Benefit**

**Condition**

HW522 Stryker Leibinger 3D Orbital Floor

Plate

### Surgiplas Medical

Stryker Leibinger 3D Orbital Floor Plate Small, Right

Small, Left Large, Right Large, Left

$890.00

SP079 Plates Micro, Mini Orbital Plate, Orbital Plate Large $890.00

### Zimmer Biomet Pty Ltd

BH363 Lorenz Plating System Orbital Floor Plate, Titanium Small to Large $890.00

BI924 Lactosorb Resorbable Craniomaxillofacial Fixation System

### Biomodelled

**AA-Med Pty Ltd**

Orbital Floor Plate, 1.5mm System, PGA/PLA Left or right $890.00

ZZ003 OBL PorousiTi® Patient Specific

Implant – Orbital Floor

Patient specific implant for the orbital floor constructed of PourousTi®

The model is custom made so size will vary $4,200.00

ZZ015 Kelyniam Customized Orbital Floor

Implant

PEEK-OPTIMA Customised Orbital Floor Implant

The implant is custom made so the size will be variable

$4,200.00

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY833 OBL PorousiTi® Patient Specific

Implant – Orbital Floor

Patient specific implant for the orbital floor constructed of PourousTi®

The model is custom made so size will vary $4,200.00

### KLS Martin Australia Pty Limited

KT001 UNIQOS Biomodelled Customised Orbital Floor Mesh

### Coated

**Stryker Australia Pty Ltd**

HW433 E-POR Biomaterial/ Orbital Wall and Floor Porous Polyethylene Titanium Mesh Composite (large)

UNIQOS Biomodelled Customised Orbital Floor Mesh

Orbital Wall and Floor Porous Polyethylene Titanium Mesh Composite

Customised - patient specific $4,200.00

41 x 42 x 0.6-1.0mm $985.00

**Billing Code Product Name Description Size**

* + - 1. **- Rim**

**Benefit**

**Benefit**

**Condition**

**SPIRAN PTY. LTD.**

S2006 Biopore Orbital Rim, Extended An implantable device intended to support,

contour, and provide structure for the face including the cheeks and eye socket. Made of high-density polyethylene material with an interconnecting pore structure that supports tissue ingrowth. The device is available in various shapes and can be cut by the surgeon to meet the patient's specific needs.

Left and Right (44mm x 38mm) $395.00

### Stryker Australia Pty Ltd

SK511 Orbital Rim Orbital rims, left and right extended. Models 9539, 9540 Orbital Rim Onlay Implants 81001,

81002

Left & right extended models 47 x 40mm Oribtal Rim Onlay Implants left & right 40 x 40mm

$395.00

### Biomodelled

**AA-Med Pty Ltd**

ZZ016 Kelyniam Customized Orbital Rim

Implant

## - Wedge for Orbit

PEEK-OPTIMA Customised Orbital Rim Implant

The implant is custom made so the size will be variable

$4,200.00

### Stryker Australia Pty Ltd

HW410 Enophthalmos Wedge Regular left and right. Large left and right.

(Models 9541 - 9544)

Regular: 22 x 31 x 7mm. Large: 28 x 40 x 7.5mm

$460.00

## - Surgical Guide

### Biomodelled

**AA-Med Pty Ltd**

ZZ006 Surgical Guide for OBL PorousiTi®

PSI System – Orbital Floor

Patient specific surgical guide for orbital floor implant

The model is custom made so size will vary $2,650.00

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY830 Surgical Guide for OBL PorousiTi®

PSI System – Orbital Floor

Patient specific surgical guide for orbital floor implant

The model is custom made so size will vary $2,650.00

**Billing Code Product Name Description Size**

* + 1. **- External Prostheses, Bone Attachment**
       1. **- Endosseous Implant**

**Benefit**

**Benefit**

**Condition**

**Cochlear Limited**

CO042 Vistafix™ Fixture ST Titanium self-tapping fixtures for the retention

of midface and orbital prostheses.

3mm and 4mm $635.00

### Concave

**Cochlear Limited**

CO058 Cochlear Vistafix 3 VXI300 Implants Titanium implant with TiOblast™ for Vistafix

one-stage or two-stage surgery

3 mm and 4 mm $1,082.00

### Flanged

**Cochlear Limited**

CO030 Flange fixture ST 3mm and 4mm Self tapping titanium flange fixture pre-

mounted with a disposable fixture mount. Available in two sizes: 3mm and 4mm. Used in two stage surgical procedures.

Self Tapping 4mm and 3mm $1,035.00

## - Abutment, Permanent

### Cochlear Limited

CO036 Standard Abutments Abutment Complete - Titanium 3.0mm - 90780, 4.0mm - 90778, 5.5mm -

90776, 7.0mm - 90774

$412.00

### Angled/Offset

**Cochlear Limited**

CO037 Face to Face Console Abutment Unigrip - Titanium 30, 60, 90, 110 Degrees $895.00

### Concave

**Cochlear Limited**

CO061 Cochlear Vistafix 3 VXA300 Abutments

Titanium abutment for Vistafix one-stage and two-stage surgery. VXA Abutments are only compatible with VXI300 Implants

3.5 mm, 4.5 mm, 6 mm, 7.5 mm $936.00

## - Abutment, Temporary or Healing

### Cochlear Limited

CO038 Face to Face Healing Abutment Unigrip - Titanium 7mm $285.00

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Billing Code** | **Product Name** | **Description** | **Size** | **Benefit** | **Benefit** | **Condition** |
| CO059 | Cochlear Vistafix 3 VXA300 Healing | Titanium healing abutment can be used during | 9 mm | $285.00 | | |
|  | Abutment | healing to avoid having to select the abutment |  |
|  |  | length during surgery. The markings can be |  |
|  |  | used to indicate thickness of the soft tissue. The |  |
|  |  | healing abutment is mounted on the implant |  |
|  |  | and is only compatible with theVXI300 |  |
|  |  | implants |  |

## - Abutment Fixtures

### Cochlear Limited

CO035 Face to Face Cover Screw with Internal Hexagon One Size Only $142.00

CO060 Cochlear Vistafix 3 Cover screw

conical

# - Anatomical Biomodel

Cover screw conical for Vistafix VXI300 implant. The Cover screw is only compatible with VXI300 implants

One size $142.00

### AA-Med Pty Ltd

ZZ008 Anatomical Model for OBL PSI

System

ZZ017 Anatomical Biomodel for Kelyniam

Customized Implant System

3D anatomical biomodel The model is custom made so size will vary $2,000.00 Patient Specific Anatomical Biomodel Custom $2,000.00

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY775 PSI Patient specific Craniofacial Anatomical Biomodel

SY779 ProPlan Patient Specific Craniofacial Anatomical Biomodel

### KLS Martin Australia Pty Limited

Custom $2,000.00

Custom $2,000.00

KT004 UNIQOS Patient Specific Anatomical Biomodel

### OMX SOLUTIONS PTY LTD

Patient specific antomical biomodel Custom-Patient Specific $2,000.00

OG004 The OMX Solutions Biomodel CT Based Patient Specific Anatomical

Biomodel

The device is patient specific so size will vary $2,000.00

### Stryker Australia Pty Ltd

HW544 Stryker Anatomical Biomodel for

Mandible

Patient Specific Craniofacial Anatomical Biomodel

Custom $2,000.00

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Billing Code** | **Product Name** | **Description** | **Size** | **Benefit** | **Benefit** | **Condition** |
| HW546 | Stryker Anatomical Biomodel for PEEK | Patient Specific Craniofacial Anatomical Biomodel | Custom | $2,000.00 |  |  |

# - Abutment

## - Permanent

### Biomet 3i Australia Pty Ltd

NW001 3i Abutment Complete Titanium 3.25 - 6mm diameter $175.00

### DENTSPLY IH Pty Ltd

DH007 Ankylos Permanent Abutments Permanent Abutments Diameter range: 3.3mm - 5.7mm, height range: 7.5mm - 11.1mm

$175.00

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| MV005 | **More Group Pty Ltd**  MIS Abutments | Abutments | Height: 1mm - 5mm, Crown height: 4 - 11mm, | $175.00 |
|  |  |  | Platform: Narrow, Standard or Wide |  |
|  | **Neoss Australia Pty Ltd** |  |  |  |
| NJ003 | Neoss Titanium Abutment | Neoss Abutment Titanium | Universal | $175.00 |
| NJ004 | Neoss Gold Abutment | Neoss Abutment Gold | Universal | $175.00 |

### Nobel Biocare Australia Pty Ltd

NR001 Nobel Biocare Abutments Abutment, complete Np, RP, WP 6.0mm $175.00

## - Temporary

### DENTSPLY IH Pty Ltd

DH003 Astra Tech Implant System Healing

Abutments

Healing Abutments Implant Diameter: Range 3.0 - 5.4mm Healing Abutment Diameter Range from 3.5 - 6.5

$70.00

DH004 Astra Tech Implant System Abutments Temporary Abutment Diameter range: 3.3 - 7.0mm $70.00 DH006 Ankylos Temporary Abutments Temporary and healing abutments Diameter 3.3mm - 7mm $70.00

### Neoss Australia Pty Ltd

NJ009 Neoss Implant System Healing Abutment with Screw Universal $70.00

### Nobel Biocare Australia Pty Ltd

NR004 Nobel Biocare Abutments Abutment, temporary or healing, complete NP, RP, WP, 6.0mm $70.00

### Straumann Pty Ltd

SB004 Straumann Bone Level Implant

Healing Abutment

Straumann Healing Abutment NC/RC Height 0 - 6 mm $70.00

**Billing Code Product Name Description Size**

* + - 1. **- Cover Screw/Cap**

**Benefit**

**Benefit**

**Condition**

**DENTSPLY IH Pty Ltd**

DH001 Astra Tech Implant System Cover

Screws

### More Group Pty Ltd

Cover Screw Diameter range 3.0 - 5.4 $52.00

MV006 MIS Cover Screws and Healing Caps Cover screws and healing caps (Biocom, Seven,

Mistral)

1.5mm - 6mm height, 4mm - 6.3mm diameter $52.00

### Nobel Biocare Australia Pty Ltd

NR002 Nobel Biocare Cover Screws Cover screw NP, RP, WP, 6.0mm $52.00

### Straumann Pty Ltd

SB002 Straumann Pty Ltd Straumann Healing Cap NNC/NNI/RN/WN Height 1.5 - 4.5 mm $52.00

# - Zygomatic Bone Implant

### Nobel Biocare Australia Pty Ltd

NR007 Branemark Titanium Fixture Zygomaticus Fixture 30, 35, 42.5, 40, 45, 47.5, 50, 52.5mm Length $800.00

### Southern Implants Australia Pty Ltd

IC002 Southern Zygomatic and Oncology

Implants

# - Endosseous Implant

## 07.03.03.01 - Screws

Zygomatic Titanium dental implants with 45 or 55 degree angulation

4 to 6mm diameter, 27 to 52.5mm length $800.00

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY750 Orthodontic Bone Anchor System Anchor Screw, Self Drilling, Self Tapping 1.5mm - 1.8mm $78.00

### KLS Martin Australia Pty Limited

KT064 Martin Level 1 Fixation Orthodontic Screw 1.5 - 2.0mm $78.00

### Stryker Australia Pty Ltd

SK422 Orthodontic Skeletal Anchor Screw Anchor Screw for Mandibular Maxillary

Fixation Screw, Self-Drilling

SK423 Orthodontic Skeletal Anchor Screw Anchor Screw for Mandibular Maxillary

Fixation Screw, Self-Drilling

1.7mm $78.00

2.0mm $78.00

**Billing Code Product Name Description Size**

* + - 1. **- Plates**

**Benefit**

**Benefit**

**Condition**

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY749 Orthodontic Bone Anchor System Anchor Plate, Various Designs 4-5 Holes $226.00

### KLS Martin Australia Pty Limited

KT063 Martin Level One Fixation Orthodontic skeletal anchorage plate 0.5 to 0.99mm thick, 2 to 7 holes $226.00

### Stryker Australia Pty Ltd

SK420 Orthodontic Skeletal Anchor Plate Orthodontic Skeletal Anchor Plate, Standard 1.7mm $226.00

### Locking

**Stryker Australia Pty Ltd**

SK421 Orthodontic Skeletal Anchor Plate Orthodontic Skeletal Anchor Plate Locking 1.7mm $320.00

## - Implants and Fixtures

### Biomet 3i Australia Pty Ltd

NW002 3i Self Tapping Threaded Implants and 3i Coverscrew

### DENTSPLY IH Pty Ltd

Osseotite/Ice 3.25 - 6mm diameter $360.00

DH002 Astra Tech Implant System Fixtures

Tx/EV

Titanium fixture with microthreaded cervical neck

Diameter 3.0 - 5.7mm, Length 6-17mm $360.00

DH005 Ankylos C/X Implants Screw implant with cover screw (included) and

pre-mounted placement head

Diameter range 3.5 - 7.0 mm, Length 8-17mm $360.00

### More Group Pty Ltd

MV004 MIS Implants Titanium implants (Biocom, Seven, Mistral) 3mm - 6mm Diameter, 6mm - 16mm length $360.00

### Neoss Australia Pty Ltd

NJ001 NEOSS IMPLANT SYSTEM TITANIUM DENTAL IMPLANT DIAMETERS 3.25, 3.5, 4.0, 4.5, 5.0, 5.5mm

in Lengths: 7, 9, 11, 13, 15, 17mm

$360.00

### Nobel Biocare Australia Pty Ltd

NR003 Branemark Fixtures Titanium Fixture 3, 4, 5mm $360.00 NR010 Replace Implant Dental Implant Endosseous, Titanium 10mm, 13mm, 16mm $360.00

NR012 Groovy Implants (NobelReplace

Straight Groovy, NobelReplace Tapered Groovy, NobelSpeedy Replace, Branemark System Mk III Groovy, NobelSpeedy Groovy)

Dental Implants, endosseous Diameter 3.5 - 6.0mm; Length 8.0 - 18.0mm $360.00

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Billing Code Product Name** | **Description** | **Size** | **Benefit** | **Benefit** | **Condition** |
| NR013 NobelActive implants | Dental implants, endosseous | Diameter 3.5 - 5.0mm; Length 8.5 - 18.0mm | $360.00 |  |  |

### Southern Implants Australia Pty Ltd

IC001 Southern Dental Implants Titanium dental implants in External-Hex, Tri-

Nex or Internal Octagon (IT) connection

3.25 to 6.0mm diameter, 6.0 to 52.5mm length $360.00

### Straumann Pty Ltd

SB008 Straumann Dental Implant Straumann Dental Implant 4 - 16mm $360.00

### Summit Healthcare Solutions

HS011 Periosave Z1-M Transgingival dental implant.

### Hydrophilic Coating

**Straumann Pty Ltd**

Periosave Z1-M Zirconia-titanium Transgingival hybrid dental implant.

All Ø3.2mm transgingival implants have a zirconia platform of 4.4mm, all Ø3.90mm transgingival implants have zirconia platform of 5.0mm, all Ø4.7mm transgingival implants have a zirconia platform of 6.0mm.

Zirconia gingival collar height of all implants

= 1.5mm. All above implant diameters are available in lengths of 8mm, 10.0mm, 11.5mm, 13.0mm, 15mm

$360.00

SB009 Straumann SLActive Straumann Bone Level Implants with SLActive

Hydrophillic Surface

3.1mm-4.8mm diameter, 6mm-16mm height $420.00

## - Graft Material <0.5ml

### Straumann Pty Ltd

SB005 Straumann Bone Ceramic 070.203 Straumann Bone Ceramic 400 -700 070.203 Straumann Bone Ceramic 400 -700,

Granule size 400 - 700 microns, Unit size 0.25 g, Volume: approx 0.3 ml

$98.00

## - Graft Material 0.5ml-<1.0ml

### Biomet 3i Australia Pty Ltd

NW006 Endobon Xenograft Granules Hydroxyapatite granules, 0.5-1mm diameter 0.5ml $300.00

### Geistlich Pharma Australia Pty Ltd

GI007 Bio-Oss Pen Pen applicator with natural bone mineral derived from bovine bone

0.25 to 1mm; 0.25g (0.5125cc) $300.00

**Billing Code Product Name Description Size**

**Straumann Pty Ltd**

SB006 Straumann Bone Ceramic 070.204 Straumann Bone Ceramic 500 -1000 070.204 Straumann Bone Ceramic 500 -1000,

Granule size: 500 -1000 microns, Unit size:

0.5 g, Volume: approx 0.95 ml

**Benefit**

$300.00

**Benefit**

**Condition**

**07.03.03.06 - Graft Material ≥1.0ml**

**Biomet 3i Australia Pty Ltd**

NW007 Endobon Xenograft Granules Hydroxyapatite granules, 0.5-1mm diameter or

1-2mm diameter

### Geistlich Pharma Australia Pty Ltd

2 - 8ml $300.00

GI006 Bio-Oss Natural bone mineral derived from bovine bone 1 to 2mm: 0.5g (1.5cc) $300.00

GI008 Bio-Oss Pen Pen applicator with natural bone mineral derived from bovine bone

GI009 Bio-Oss Pen Pen applicator with natural bone mineral derived from bovine bone

0.25 to 1mm; 0.5g (1.025cc) $300.00

1 to 2mm; 0.5g (1.5cc) $300.00

### Straumann Pty Ltd

SB007 Straumann Bone Ceramic 070.205 Straumann Bone Ceramic 500 -1000 070.205 Straumann Bone Ceramic 500 -1000,

Granule size: 500 -1000 microns, Unit Size 1g, Volume approx 1.9 ml

$300.00

# - Complete

## - External Midface System

### Multivector

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY401 External Midface Distractor System Head Frame Assembly, Carbon Fibre Rods One size only $8,100.00

### KLS Martin Australia Pty Limited

KT018 Martin Distraction Osteogenesis

Rigid External Distraction (Polley RED II)

### Single Vector

Distractor System, Complete, External, Midface, Aluminium, Carbon Fibre

one size only $8,100.00

### KLS Martin Australia Pty Limited

KT016 Martin Distraction Osteogenesis Distractor System, Complete, other, titanium 1.5mm $7,100.00

**Billing Code Product Name Description Size**

* + - 1. **- External Set**

**Multivector**

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY349 Multi Vector Distractor Set Titanium Multi Vector Distractor MVD Arms:15mm-85mm. Pin holding clamps-

ramus,body,universal,limited bone stock ramus and body. Assembly left & right 35mm. K wires 2.0mm 150mm length. Connecting bar 4.0mm 100mm-200mm length

**Benefit**

$1,955.00

**Benefit**

**Condition**

* + - 1. **- Internal/Intraoral**

**Multivector**

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY753 Curvilinear Distraction System Curvilinear Distraction, Right Left 30mm - 100mm radius $3,100.00

### KLS Martin Australia Pty Limited

KT019 Martin Distraction Osteogenesis Distractor System, Complete, other, titanium 15-60 mm distraction length $3,100.00

### Stryker Australia Pty Ltd

SK183 Leibinger Intraoral Distractor (Multiguide II)

### Surgiplas Medical

Manufactured from stainless steel, allows gradual, independent, and simultaneous distraction of the mandible in 3 planes.

Frame 20mm - 35mm, 2.0mm diameter, 50 - 90 mm length Auto - Pilot Pins

$3,100.00

SP045 Logic Distraction System Distractor, spacers & activation set Straight, Curved 18-52mm $3,100.00

### Single Vector

**Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes**

SY399 Alveolar Distractor Vertical mandibular, maxilla alveolar ridge distractor

### KLS Martin Australia Pty Limited

KT011 Martin Distraction Osteogenesis Distractor System, Complete, internal/intraoral,

titanium

8-16mm $1,955.00

10 to 20 mm $1,955.00

### Zimmer Biomet Pty Ltd

BI823 Alveolar Ridge Distraction System -

titanium

BI824 Alveolar Ridge Distraction System -

titanium

distraction device, single tooth 10-20mm $1,955.00

distraction device, multi tooth 10-20mm $1,955.00

**Billing Code Product Name Description Size**

**Single Vector, Resorbable Zimmer Biomet Pty Ltd**

**Benefit**

**Benefit**

**Condition**

BI934 Lactosorb Distraction System Plate, drive screw and distractor, PGA/PLLA, Ti Small, Medium, Large $3,500.00

# - Component

## - Distractor Body

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY515 Midface Distractor System Distractor System, Distractor Body 10-40mm distraction length $2,200.00

### KLS Martin Australia Pty Limited

KT053 KLS Martin Distractor Zurich II distractor bodies 15mm - 30mm distraction length $2,200.00

## - Footplate

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY406 External Midface Distractor System Titanium Zygomatic, Maxxilary Footplate 3 holes, 40mm $156.00

### KLS Martin Australia Pty Limited

KT021 Martin Distraction Osteogenesis

Rigid External Distraction (Polley RED II)

### Assembly

Distractor System, Component, Footplate, titanium

1.5mm $156.00

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY595 External Midface Distractor Distractor Footplate Various $480.00

### Dual Plate

**KLS Martin Australia Pty Limited**

KT006 Zurich II Modular Distractors Distractor System, Component, Dual fixation

plates, pair

Mesh-large and small design; Cloverleaf design

$1,312.00

## - Cross Bar/Rod

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY402 External Midface Distractor System Horizontal Rod Assembly One size only $990.00

### KLS Martin Australia Pty Limited

KT022 Martin Distraction Osteogenesis

Rigid External Distraction (Polley RED II)

Distractor System, Component, Cross Bar, aluminium.carbon fibre

one size only $990.00

**Billing Code Product Name Description Size**

* + - 1. **- Shim Plate**

**Benefit**

**Benefit**

**Condition**

**Zimmer Biomet Pty Ltd**

BI825 Alveolar Ridge Distraction System -

titanium

## - Pin

Shim plate, titanium 1-3mm $100.00

### KLS Martin Australia Pty Limited

KT017 Martin Distraction Osteogenesis

Rigid External Distraction (Polley RED II)

## - Screws

Distractor System, Component, Screws/Pins (other than bone screws), titanium

45-55mm $148.00

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY517 Midface Distractor System Distractor System, Screw 4-10mm $75.00

## - External Distractor Component

### KLS Martin Australia Pty Limited

KT020 Martin Distraction Osteogenesis

Rigid External Distraction (Polley RED II)

## - Body Extension

Distractor System, Component, Other, titanium, aluminium

1.5-1.58mm $1,461.00

### Johnson & Johnson Medical Pty Ltd t/a DePuy Synthes

SY518 Midface Distractor System Distractor System , Body extensions 20-40mm $500.00

### KLS Martin Australia Pty Limited

KT054 KLS Martin Distractors Zurich II remote release activators 20mm - 50mm $500.00

# - Muscular

## - Calf Implant

### Device Technologies Australia Pty Ltd

DE316 Calf Implants Asymmetrical shape, silicone gel smooth surface

85-180cc $517.00

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Billing Code Product Name** | **Description** | **Size** | **Benefit** | **Benefit** | **Condition** |
| DE325 Calf Implants | Symmetrical shape, silicone gel | 12-140cc | $517.00 |  |  |

### Precise Medical Supplies

PR007 ContourFlex Calf Implant Calf implant 70-170cc $517.00

## - Gluteal

### Device Technologies Australia Pty Ltd

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| DE327 | Gluteal Implants filled with Gel | Oval Shape, Silicone Gel, Textured Surface | 200-400cc | $620.00 |
| DE328 | Gluteal Implants filled with Gel | Round Shape, Silicone Gel, Smooth Surface | 200-300cc | $620.00 |
| PR008 | **Precise Medical Supplies**  ContourFlex Gluteal Implant | Gluteal Implant | 280-460cc, Round and Anatomical | $620.00 |

* + - 1. **- Pectoral**

**Precise Medical Supplies**

PR009 PowerFlex Pectoralis Implant Pectoralis Implant Length: 14.2-17.6cm, Width: 9.0-13.5cm, Depth: 1.6-3.2cm,Shape: Symetrical or Asymetrical.

$950.00

# - Tissue Expanders

## - Skin or Mammary

### Device Technologies Australia Pty Ltd

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| DE336 | Silimed Tissue Expander | various shapes, textured, magnetic port | 150ml-1000ml | $670.00 |
|  | **J T Medical Pty Ltd** |  |  |  |
| JT005 | Polytech Smooth Tissue Expander  with integrated or remote magnetic valve | Smooth with integrated or remote valve | The tissue expanders vary in maximum  volume from 100 - 960mls | $670.00 |

**Johnson & Johnson Medical Pty Ltd**

MN001 Mentor Radovan Tissue Expander Tissue Expander Volume 25cc - 1000cc $670.00

### Surgiplas Medical

SP010 Nagor Tissue Expander Two Stage, Valved 10 to 2000cc $670.00

### Expander Implant

**Allergan Australia Pty Limited**

AW012 Natrelle® 150, 1-Stage BioDimensional™ Tissue Expander

Full height, Short Height, textured 9.6 -16cm width x 8 - 17cm height x 4.2 -

7.1cm projection

$2,040.00

**Billing Code Product Name Description Size**

**Expander Implant, Textured**

**Johnson & Johnson Medical Pty Ltd**

**Benefit**

**Benefit**

**Condition**

MN013 Mentor Siltex Becker Expander/Mammary Implant

### Multiple Chamber

Textured Becker Expander/Mammary Implant 145 to 800cc $2,040.00

### Device Technologies Australia Pty Ltd

DE335 Silimed Tissue Expander Double chamber, textured, magnetic, with

suture tabs. Catalogue number: 20799

470mm-780mm $1,250.00

### Self Expanding Spectrum Surgical

SO042 Osmed Tissue Expanders Self inflating, Hydrogel 0.24ml-650ml $1,250.00

### Textured

**Allergan Australia Pty Limited**

AW013 Natrelle® 133, 2-Stage BioDimensional™ Tissue Expander

Silicone Elastomer. Saline filled. 150-950 cm3 $1,050.00

### Device Technologies Australia Pty Ltd

DE337 Silimed Tissue Expander Anatomical superior-pole/inferior-pole shape,

textured, magnetic

200ml-840ml $1,050.00

### Emergo Asia Pacific Pty Ltd

ER198 Aeroform Patient Controlled Tissue

Expander

### J T Medical Pty Ltd

Aeroform Patient Controlled Tissue Expander; Multichamber, textured, CO2 filled

width (12.5, 14, 15.5 cm) x height (11, 12.5,

14 cm) x projection (8, 9.5, 10.5 cm); volume

400, 600 and 800 cc

$1,050.00

JT006 Polytech Textured Mammary or

Tissue Expander with integrated or remote magnetic valve

Textured with integrated or remote valve. The tissue expanders vary in maximum

volume from 100 - 960mls

$1,050.00

JT007 Polytech Textured Mammary Expander with integrated or remote magnetic valve

Textured with integrated or remote magnetic valve. Anatomically shaped with reinforced inner base

The mammary expanders vary in maximum volume from 200 - 960mls

$1,050.00

### Johnson & Johnson Medical Pty Ltd

MN002 Mentor Siltex Contour Profile Breast Tissue Expander

Siltex Contour Tissue Expander Volume 250cc - 850cc $1,050.00

MN042 Mentor Siltex Contour Breast Tissue Expander

Siltex Contour Tissue Expander with suture tab (CPX3)

250-850cc $1,050.00

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Billing Code** | **Product Name** | **Description** | **Size** | **Benefit** | **Benefit** | **Condition** |
| MN176 | Mentor Siltex Contour Profile Breast Tissue Expander | Siltex Contour Profile Breast Tissue Expander (CPX4) | 250-850cc | $1,050.00 |  |  |
| MN177 | Mentor Siltex Contour Profile Breast Tissue Expander | Siltex Contour Profile Breast Tissue Expander (CPX4) with suture tabs | 250-850cc | $1,050.00 |  |  |

### Textured, Multiple Chamber SPIRAN PTY. LTD.

S2008 PMT Integra tissue expander Tissue/skin Expander 5cc to 1400cc $1,250.00

## - Orbital

### Self Expanding

**Spectrum Surgical**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| SO041 | Osmed Sphere / Hemisphere tissue expander | Self inflating, Hydrogel | 6mm, 8mm, 9mm, 10mm | $865.00 | The provision of the prosthesis is for a child who is under 18 years of age. |
|  |  |  |  |  | See rule 5B for effect of Condition. |

* + - 1. **- External Component**

**Patient Controller**

**Emergo Asia Pacific Pty Ltd**

ER199 AeroForm Tissue Expander System Dosage Controller

# - Skin, Artificial

## - <50cm²

### Integra Neurosciences Pty Ltd

IG034 Integra Artificial Skin (IDRT) Terminally Sterile

AeroForm Tissue Expander System Dosage Controller

INTEGRA Dermal Regeneration Template is a bilayer membrane system for skin replacement made of a porous matrix of fibers of cross- linked bovine tendon collagen and glycosaminoglycan and polysiloxane layer.

N/A $1,400.00

5cm x 5cm $900.00

**Billing Code Product Name Description Size**

* + - 1. **- 50-149cm²**

**Benefit**

**Benefit**

**Condition**

**Integra Neurosciences Pty Ltd**

IG035 Integra Artificial Skin (IDRT) Terminally Sterile

## - 150-400cm²

### Integra Neurosciences Pty Ltd

IG036 Integra Artificial Skin (IDRT) Terminally Sterile

## - >400cm²

### Integra Neurosciences Pty Ltd

IG037 Integra Artificial Skin (IDRT) Terminally Sterile

# - Coupler

INTEGRA Dermal Regeneration Template is a bilayer membrane system for skin replacement made of a porous matrix of fibers of cross- linked bovine tendon collagen and glycosaminoglycan and polysiloxane layer.

INTEGRA Dermal Regeneration Template is a bilayer membrane system for skin replacement made of a porous matrix of fibers of cross- linked bovine tendon collagen and glycosaminoglycan and polysiloxane layer.

INTEGRA Dermal Regeneration Template is a bilayer membrane system for skin replacement made of a porous matrix of fibers of cross- linked bovine tendon collagen and glycosaminoglycan and polysiloxane layer.

10cm x 12.5cm $1,140.00

10cm x 25cm $1,740.00

20cm x 25cm $3,380.00

### LMT Surgical Pty Ltd

LM030 Synovis Coupler High Density polyethylene (ring); Stainless Steel (pins)

Diameter 1-3mm $625.00

### with Doppler probe

**LMT Surgical Pty Ltd**

LM274 FlowCOUPLER High Density polyethylene (ring); Stainless Steel (pins) with preattached probe

2.0mm, 2.5mm, 3.0mm, 3.5mm, 4.0mm $1,015.00

**Billing Code Product Name Description Size**

* + 1. **- Saline Filled**
       1. **- <500cc**

**Textured**

**Johnson & Johnson Medical Pty Ltd**

**Benefit**

**Benefit**

**Condition**

MN053 Mentor Siltex Round Saline Implant Textured, round implant <500cc $685.00

### Valved

**Johnson & Johnson Medical Pty Ltd**

MN045 Mentor Spectrum Saline Tissue

Expander/Adjustable Implant

Smooth, round adjustable implant with posterior spectrum valve

<500cc $715.00

MN118 Mentor Smooth Round Saline Implant Smooth Round implant with Anterior

Diaphragm Valve

<500cc $715.00

### Surgiplas Medical

SP011 Nagosil SFS-LP-Saline Filled Low

Profile Smooth Surface Breast Prostheses, Nagosil SFS-HP-Saline Filled High Profile Smooth Surface Breast Prostheses

### Valved, Textured

Smooth surface 100 to 600cc $715.00

### Johnson & Johnson Medical Pty Ltd

MN049 Mentor Spectrum Saline Tissue

Expander/Adjustable Implant

### Surgiplas Medical

Textured, round adjustable implant with posterior spectrum valve

105 to 475cc $715.00

SP012 Nagotex SFX-LP-Saline Filled Low

Profile Textured Surface, Nagotex SFX-HP-Saline Filled High Profile Textured Surface Breast Prostheseses

### Valved, Textured, Pre-shaped

Textured surface 100 to 600cc $715.00

### Johnson & Johnson Medical Pty Ltd

MN047 Mentor Spectrum Saline Tissue

Expander/Adjustable Implant

MN120 Mentor Siltex Contour Profile Saline Implant

Textured, Contour Profile adjustable implant with posterior spectrum valve

Textured, Contour Profile implant with Anterior Diaphragm Valve

<500cc $715.00

<500cc $715.00

**Billing Code Product Name Description Size**

* + - 1. **- ≥500cc**

**Valved**

**Johnson & Johnson Medical Pty Ltd**

**Benefit**

**Benefit**

**Condition**

MN046 Mentor Spectrum Saline Tissue

Expander/Adjustable Implant

Smooth, round adjustable implant with posterior spectrum valve

≥500cc $640.00

MN119 Mentor Smooth Round Saline Implant Smooth Round implant with Anterior

Diaphragm Valve

≥500cc $640.00

### Valved, Textured, Pre-shaped

**Johnson & Johnson Medical Pty Ltd**

MN048 Mentor Spectrum Saline Tissue

Expander / Adjustable Implant

MN121 Mentor Siltex Contour Profile Saline Implant

# - Gel Filled

## - <500cc

### Allergan Australia Pty Limited

AW008 Natrelle® INSPIRA® TruForm™

Smooth Mammary Implant

Textured, Contour Profile adjustable implant with posterior spectrum valve

Textured, Contour Profile implant with Anterior Diaphragm Valve

Round implants with smooth surface. Available in four projections: low, moderate, full and extra-full; and two cohesive gel types: TruForm™ 1 Responsive Gel and TruForm™ 2 Soft-Touch™ Gel.

≥500cc $685.00

≥500cc $685.00

110 - 800 grams $610.00

### Johnson & Johnson Medical Pty Ltd

MN122 Mentor Smooth Round Gel Implant Smooth, Round, Cohesive l Gel Implant <500cc $610.00

### Surgical Supplies Australia Pty Ltd

ZW002 Eurosilicone Breast Implants Round Cohesive Gel Breast Implants for Plastic

and Reconstructive Surgery

100cc to 900cc $610.00

### Surgiplas Medical

SP048 Gel Filled Mammary Prosthesis

Models RGI-D, RGI-DH and RGI- DEH

Smooth Round 80 to 800ml $610.00

**Billing Code Product Name Description Size**

**Pre-shaped**

**J T Medical Pty Ltd**

**Benefit**

**Benefit**

**Condition**

JT003 Sublime Line Mammary Implant Smooth, Microthane or textured surface. Round

or oval based with anatomical or central projection.

### Surgical Supplies Australia Pty Ltd

Low Profile, Moderate Profile, High Profile and Extra High Profile. Sizes 45-495cc.

$1,000.00

ZW003 Eurosilicone Breast Implants Anatomical Cohesive Gel Breast Implants for

Plastic and Reconstructrive Surgery

100cc to 500cc $1,000.00

### Textured

**Allergan Australia Pty Limited**

AW005 Natrelle® INSPIRA® TruForm

Textured Mammary Implant

Round implants with textured surface. Available in four projections: low, moderate, full and extra-full; and two cohesive gel types: TruForm™ 1 Responsive Gel and TruForm™ 2 Soft-Touch™ Gel.

110 - 800 grams $760.00

### Device Technologies Australia Pty Ltd

DE362 Silimed Textured Mammary Implant Silimed Textured Mammary Implant 40cc - 499cc $760.00

### Johnson & Johnson Medical Pty Ltd

MN124 Mentor Siltex Round Gel Implant Textured, Round Cohesive l Gel implant <500cc $760.00

MN128 Mentor Perthese Sensitive Gel Breast Implants

Perthese Sensitive Textured, Round Implants <500cc $760.00

MN130 Mentor Siltex Round Gel Implant Textured, Round Cohesive Gel ll Implant <500cc $760.00

### Surgical Supplies Australia Pty Ltd

ZW001 Eurosilicone Breast Implants Textured Cohesive Gel Breast Implants for

Plastic and Reconstructive Surgery

100cc to 900cc $760.00

### Surgiplas Medical

SP047 Gel Filled Mammary Prosthesis

Models GFX-LP, GFX and GFX-EHP

Textured Round 80 to 800ml $760.00

SP114 Nagor Breast Implants Silicone Firm and Stable Gel Breast Implants 150 - 620cc $760.00

### Textured, Pre-shaped

**Device Technologies Australia Pty Ltd**

DE338 Silimed Anatomical Textured

Mammary Implant

Anatomical shape, textured surface, silicone gel filled mammary implant

115cc to 600cc $1,000.00

**Billing Code Product Name Description Size**

**Johnson & Johnson Medical Pty Ltd**

**Benefit**

**Benefit**

**Condition**

MN126 Mentor Contour Profile Gel Implant Textured, Contour Profile, Cohesive lll, Gel

implant

<500cc $1,000.00

## - ≥500cc

### Johnson & Johnson Medical Pty Ltd

MN123 Mentor Smooth Round Gel Implant Smooth, Round Cohesive l Gel Implant ≥500cc $685.00

### Pre-shaped

**Allergan Australia Pty Limited**

AW004 Natrelle® 510 TruForm™ Dual Gel

Breast Prosthesis

Anatomical textured implant with dual gel for projection of nipple/areola complex, concave base and tapered edges for minimisation of edge/thoracic wall palpability.

LX sizes from 130-575 grams, MX sizes from 145-600 grams, FX sizes from 165-630 grams

$1,200.00

AW007 Natrelle® 410 BioDIMENSIONAL™ TruForm™ 2 Soft-Touch™ Gel and

TruForm™ 3 Cohesive Gel Textured Mammary Implants.

Full, moderate or low height;

Extra full,full, moderate or low projection

125 - 775 grams $1,200.00

### J T Medical Pty Ltd

JT004 Sublime Line Mammary Implant Smooth, Microthane or textured surface. Round

or oval based with anatomical or central projection

Low Profile, Moderate Profile, High Profile and Extra High Profile. Sizes 500-1035cc.

$1,200.00

### Surgiplas Medical

SP049 Gel Filled Mammary Prosthesis

Models CoGel-XR, CoGel-XRH, CoGel-XL, CoGel- XM and CoGel XF

### Textured

CoGel High Cohesive 100 to 790gm $1,200.00

### Device Technologies Australia Pty Ltd

DE340 Silimed Polyurethane Breast Implant Polyurethane coated silicone gel breast implant 40cc to 695cc $760.00

DE363 Silimed Textured Mammary Implant Silimed Textured Mammary Implant 500cc - 695cc $760.00

### Johnson & Johnson Medical Pty Ltd

MN125 Mentor Siltex Round Gel Implant Textured, Round Cohesive l Gel implant ≥500cc $760.00

MN129 Mentor Perthese Sensitive Gel Breast Implants

Perthese Sensitive Textured, Round Implants ≥500cc $760.00

MN131 Mentor Siltex Round Gel Implant Textured, Round Cohesive Gel ll Implant ≥500cc $760.00

**Billing Code Product Name Description Size**

**Textured, Pre-shaped**

**Device Technologies Australia Pty Ltd**

**Benefit**

**Benefit**

**Condition**

DE341 Silimed Anatomical Polyurethane

Breast Implant

Polyurethane coated silicone gel breast implant 115cc to 640cc $1,200.00

### Johnson & Johnson Medical Pty Ltd

MN127 Mentor Contour Profile Gel Implant Textured, Contour Profile, Cohesive lll, Gel

implant

≥500cc $1,200.00

## - Pectoral Implant

### Device Technologies Australia Pty Ltd

DE334 Pectoral Implants Gel - Smooth surface 190cc - 300cc $950.00

## - Adjustable

### Johnson & Johnson Medical Pty Ltd

MN028 Mentor Spectra Adjustable Gel Breast Implants

MN029 Mentor Spectra Adjustable Gel Breast Implants

Smooth Round Spectra Adjustable Gel Implant 190cc-760cc $1,050.00

Textured Round Spectra Adjustable Gel Implant 190cc - 760cc $1,050.00

**Billing Code Product Name Description Size**

* + 1. **- 29-42cc, 5-7 yrs longevity, Lead perf trends, Complex arrhyth**

**Benefit**

**Benefit**

**Condition**

**a**

**Livanova Australia Pty Limited**

SA149 PARADYM VR 8250 Single Chamber implantable cardioverter

defibrillator with rate response

**St Jude Medical Australia Pty Ltd**

Dimensions: 58.4 x 73.4 x 11mm; Weight: 90 grams; Volume: 32.6cc

$38,376.00

SJ066 Atlas + VR - C Model V-193C ICD Single chamber implantable cardio-verter

defibrillator

38cc, 77g $38,376.00

### a, d

**Boston Scientific Australia Pty Ltd**

BS208 INCEPTA VR ICD High energy single chamber ICD with DF-1 RV connector

31.5cc, 9.9mm, 72g $38,376.00

### a,d

**Boston Scientific Australia Pty Ltd**

BS282 DYNAGEN ICD VR DF-1 Single Chamber implantable cardioverter

defibrillation, 4IJ, DF-1 RV connector

28.5cc - 31.5cc, 61.9g - 70.7g, 9.9mm $38,376.00

### a,d,e

**Boston Scientific Australia Pty Ltd**

BS280 DYNAGEN ICD VR DF-4 Single Chamber implantable cardioverter

defibrillation, 4IJ, DF-4 RV connector

26.5cc - 29.5cc, 60g - 68.9g, 9.9mm $39,051.00

# - Features of 8.1.1 plus auto test sensing parameters, auto captu

### a, d

**St Jude Medical Australia Pty Ltd**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| SJ296 | Ellipse VR CD1277-36 | Single chamber cardioverter defibrillator with 36J delivered energy and ST segment monitoring | 66g, 31cc | $39,528.00 |
| SJ299 | Fortify Assura VR CD1259-40 | Single chamber cardioverter defribrillator with 40J delivered energy and ST segment monitoring | 76g, 35cc | $39,528.00 |

**Billing Code Product Name Description Size**

**a, d, e**

**St Jude Medical Australia Pty Ltd**

**Benefit**

**Benefit**

**Condition**

SJ309 Fortify Assura VR CD1259-40Q Single chamber cardioverter defribrillator with

40J delivered energy and ST segment monitoring and DF4 connector

SJ311 Ellipse VR CD1277-36Q Single chamber cardioverter defibrillator with

36J delivered energy and ST segment monitoring and DF4 connector

35cc, 75g $40,203.00

67g, 30cc $40,203.00

### a,d

**Biotronik Australia Pty Ltd**

BT143 Ilesto 7 VR-T Single Chamber ICD, rate adaptive pacing, max. 40J shock energy, Home Monitoring, MRI conditional, IS-1/DF-1 connector

BT144 Ilesto 7 VR-T DX Single Chamber ICD, rate adaptive, additional atrial detection, max. 40J shock energy, Home Monitoring, MRI conditional, IS-1/DF-1 connector

W x H x D (mm) 65 x 55 x 11, Volume: 31cc, Mass: 80g

W x H x D (mm) 65 x 55 x 11, Volume: 31cc, Mass: 80g

$39,528.00

$39,528.00

### Livanova Australia Pty Limited

SA157 PARADYM™ RF VR 9250 Single Chamber, High Energy, Implantable

Cardioverter Defibrillator with rate response and remote monitoring.

69.5 x 73.4 x 11mm 38.6cc 95g $39,528.00

### Medtronic Australasia Pty Ltd

MI112 Evera XT VR DF1 Single Chamber Implantable Cardioverter Defibrillator with PhysionCurve Design, Optimised Battery Chemistry, SmartShock Technology 2.0, Optivol 2.0 Fluid Status Monitoring, Complete Capture Management. DF1

MI114 Evera S VR DF1 Single Chamber Implantable Cardioverter Defibrillator with PhysioCurve Design, Optimised Battery Chemistry, Smart Shock Technology 2.0, DF1

### St Jude Medical Australia Pty Ltd

33cm³ 77g $39,528.00

33cm³ 77g $39,528.00

SJ326 Ellipse VR CD1377-36/CD1377-36C Single Chamber Cardioverter Defribrillator 31cc, 66g $39,528.00

SJ333 Fortify Assura VR CD1359- 40/CD1359-40C

Single Chamber Cardioverter Defibrillator with 40J delivered energy

76g , 35cc $39,528.00

**Billing Code Product Name Description Size**

**a,d,e**

**Medtronic Australasia Pty Ltd**

**Benefit**

**Benefit**

**Condition**

MI111 Evera XT VR DF4 Single Chamber Implantable Cardioverter Defibrillator with PhysioCurve Design, Optimised Battery Chemistry, Smart Shock Technology 2.0, Optivol 2.0 Fluid Status Monitoring, Complete Capture Management. DF4

MI113 Evera S VR DF4 Single Chamber Implantable Cardioverter Defibrillator with PhysioCurve Design, Optimised Battery Chemistry, Smart Shock Technology 2.0, DF4

### St Jude Medical Australia Pty Ltd

33cm³ 77g $40,203.00

33cm³ 77g $40,203.00

SJ318 Fortify Assura VR CD1359- 40Q/CD1359-40QC

Single Chamber Cardioverter Defibrillator 75g, 35cc $40,203.00

SJ332 Ellipse VR CD1377-36Q/CD1377-

36QC

Single Chamber Cardioverter Defibrillator with 36 J delivered energy

67g, 30cc $40,203.00

### a,d

**Biotronik Australia Pty Ltd**

BT170 Itrevia 7 VR-T Single Chamber ICD, ventricular capture control, physiological rate adaption, automatic event (IEGM) & trend triggered transmission. Wandless telemetry, Home Monitoring, MRI conditional, DF-1, IS-1 connector

BT171 Itrevia 7 VR-T DX Single Chamber ICD, ventricular capture control, physiological rate adaption, additional atrial detection (DX),automatic event (IEGM)

& trend triggered transmission. Wandless telemetry, Home Monitoring, MRI conditional, DF-1, IS-1 connector

### Boston Scientific Australia Pty Ltd

BS278 AUTOGEN ICD VR DF-1 Single Chamber implantable cardioverter

defibrillation, 4IJ, DF-1 RV connector

65mm x 55mm x 11 mm, 33cm3, 80grams $39,528.00

65mm x 55mm x 11mm, 33cm3, 81grams $39,528.00

28.5cc -31.5cc, 61.9g - 70.7g, 9.9mm $39,528.00

**Billing Code Product Name Description Size**

**a,d,e**

**Biotronik Australia Pty Ltd**

**Benefit**

**Benefit**

**Condition**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| BT150 | Ilesto 7 VR-T DF-4 | Single Chamber ICD, rate adaptive, max. 40J shock energy, Home Monitoring, MR conditional, IS-1/DF4 connector | W x H x D (mm) 65 x 55 x 11, Volume: 31cc, Mass: 80g | $40,203.00 |
| BT167 | Iperia 7 VR-T | Single Chamber ICD, ventricular capture | 65mm x 52mm x 11mm, 31cm3, 80grams | $40,203.00 |
|  |  | control, physiological rate adaption, automatic |  |  |
|  |  | event (IEGM) & trend triggered transmission. |  |  |
|  |  | Wandless telemetry, Home Monitoring, MRI |  |  |
|  |  | conditional, DF-4, IS-1 connector |  |  |

**Boston Scientific Australia Pty Ltd**

BS276 AUTOGEN ICD VR DF-4 Single Chamber implantable cardioverter

defibrillation, 4IJ, DF-4 RV connector

26.5cc - 29.5cc, 60.0g - 68.9g, 9.9mm $40,203.00

### Livanova Australia Pty Limited

SA167 INTENSIA VR MODEL 124 INTENSIA VR MODEL 124 is a Single

Chamber ICD with 39J output, RF, Home Monitoring, DF-4 connectivity

61.9 x 73.4 x 11mm $40,203.00

### Medtronic Australasia Pty Ltd

MI160 Evera MRI XT VR ICD/ Evera MRI

S VR ICD

Single chamber implantable cardioverter defibrillators with SureScan MRI Technology

33cm3 77g $40,203.00

# - Single Chamber, Subcutaneous

### Boston Scientific Australia Pty Ltd

BS297 EMBLEM S-ICD Pulse Generator Subcutaneous Implantable Cardioverter

Defibrillator

59.5cc: (W) 83.1mm x (H) 69.1mm x (D)12.7mm

$38,376.00

# - 29-42cc, 5-7 yrs longevity, Lead perf trends, Complex arrhyth

### a

**Livanova Australia Pty Limited**

SA147 Paradym DR 8550 Dual Chamber, High Energy, Implantable Cardioverter Defibrillator with rate response

Weight: 90 grams; Volume: 32.6cc; Dimensions: 58.4 x 73.4 x 11mm

$41,184.00

**Billing Code Product Name Description Size**

**a, d**

**Boston Scientific Australia Pty Ltd**

**Benefit**

**Benefit**

**Condition**

BS206 INCEPTA DR ICD Hight energy dual chamber ICD with DF-1 RV connector

31.5cc, 9.9mm, 72g $41,184.00

### a,d

**Boston Scientific Australia Pty Ltd**

BS283 DYNAGEN ICD DR DF-1 Dual Chamber implantable cardioverter

defibrillation, 4IJ, DF-1 RV connector

28.5cc - 31.5cc, 62.3g - 71g, 9.9mm $41,184.00

### a,d,e

**Boston Scientific Australia Pty Ltd**

BS281 DYNAGEN ICD DR DF-4 Dual Chamber implantable cardioverter

defibrillation, 4IJ, DF-4 RV connector

28.0cc - 31.0cc, 62.5g - 71.4g, 9.9mm $41,859.00

# - Features of 8.2.1 plus auto test sensing parameters, auto captu

### a, d

**St Jude Medical Australia Pty Ltd**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| SJ297 | Fortify Assura DR CD2259-40 | Dual chamber cardioverter defibrillator with 40J delivered energy and ST segment monitoring | 35cc, 76g | $42,417.00 |
| SJ300 | Ellipse DR CD2277-36 | Dual chamber cardioverter defibrillator with 36J delivered energy and ST segment monitoring | 66g, 31cc | $42,417.00 |

**a, d, e**

**St Jude Medical Australia Pty Ltd**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| SJ310 | Fortify Assura DR CD2259-40Q | Dual Chamber cardioverter defrillator with 40J delivered energy and ST segment monitoring with DF4 connector | 35cc, 75g | $43,092.00 |
| SJ313 | Ellipse DR CD2277-36Q | Dual chamber cardioverter defibrillator with 36J delivered energy and ST segment monitoring with DF4 connector | 68g, 31cc | $43,092.00 |

**Billing Code Product Name Description Size**

**a,c,d**

**Medtronic Australasia Pty Ltd**

**Benefit**

**Benefit**

**Condition**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| MI116 | Evera XT DR IS1/DF1 | Dual Chamber Implantable Cardioverter Defibrillator with PhysioCurve Design, Optimised Battery Chemistry, Smart Shock Technology 2.0, Optivol 2.0 Fluid Status Monitoring, Complete Capture Management and Atrial Therapies. DF1 | 34cm³ 78g | $42,417.00 |
| MI118 | Evera S DR IS1/DF1 | Dual Chamber Implantable Cardioverter Defibrillator with PhysioCurve Design, Optimised Battery Chemistry, Smart Shock Technology 2.0, DF1 | 34cm³ 78g | $42,417.00 |

**a,c,d,e**

**Medtronic Australasia Pty Ltd**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| MI115 | Evera XT DR IS1/DF4 | Dual Chamber Implantable Cardioverter Defibrillator with PhysioCurve Design, Optimised Battery Chemistry, Smart Shock Technology 2.0, Optivol 2.0 Fluid Status Monitoring, Complete Capture Management and Atrial Therapies. DF4 | 34cm³ 78g | $43,092.00 |
| MI117 | Evera S DR IS1/DF4 | Dual Chamber Implantable Cardioverter Defibrillator with PhysioCurve Design, Optimised Battery Chemistry, Smart Shock Technology 2.0, DF4 | 34cm³ 78g | $43,092.00 |

**a,d**

**Biotronik Australia Pty Ltd**

BT145 Ilesto 7 DR-T Dual Chamber ICD, rate adaptive, Max. 40J shock energy, Home Monitoring, MRI conditional, IS-1/DF-1 connector

W x H x D (mm) 65 x 55 x 11, Volume: 31cc, Mass: 80g

$42,417.00

### Livanova Australia Pty Limited

SA156 PARADYM™ RF DR 9550 Dual Chamber Implantable Cardioverter

Defibrillator with rate response, high output extended longevity and remote monitoring.

### St Jude Medical Australia Pty Ltd

69.5 x 73.4 x 11mm 38.6cc 95g $42,417.00

SJ324 Fortify Assura DR CD2359- 40/CD2359-40C

Dual Chamber Cardioverter Defibrillator

75g, 35cc $42,417.00

SJ327 Ellipse DR CD2377-36/CD2377-36C Dual Chamber ICD 66g, 31cc $42,417.00

**Billing Code Product Name Description Size**

**a,d,e**

**St Jude Medical Australia Pty Ltd**

**Benefit**

**Benefit**

**Condition**

SJ325 Fortify Assura DR CD2359- 40Q/CD2359-40QC

SJ331 Ellipse DR CD2377-36Q/CD2377-

36QC

Dual Chamber Cardioverter Defibrillator with 40J delivered energy

Dual Chamber Cardioverter Defibrillator with 36J delivered energy

75g, 35cc $43,092.00

68g, 31cc $43,092.00

### a,c,d,e

**Medtronic Australasia Pty Ltd**

MI158 Evera MRI XT DR ICD/ Evera MRI

S DR ICD

Dual chamber implantable cardioverter defibrillator with SureScan MRI Technology

34cm3 78g $43,092.00

### a,d

**Biotronik Australia Pty Ltd**

BT172 Itrevia 7 DR-T Dual Chamber ICD, ventricular capture control, physiological rate adaption, automatic event (IEGM) & trend triggered transmission. Wandless telemetry, Home Monitoring, MRI conditional, DF-1, IS-1 connector

### Boston Scientific Australia Pty Ltd

BS279 AUTOGEN ICD DR DF-1 Dual Chamber implantable cardioverter

defibrillation, 4IJ, DF-1 RV connector

65mm x 55mm x 11mm, 33cm3, 81grams $42,417.00

28.5cc - 31.5cc, 62.3g - 71g, 9.9mm $42,417.00

### a,d,e

**Biotronik Australia Pty Ltd**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| BT151 | Ilesto 7 DR-T DF-4 | Dual chamber ICD, rate adaptive, max. 40J shock energy, Home Monitoring, MR conditional, IS-1/DF4 connector | W x H x D (mm) 65 x 55 x 11, Volume: 31 cc, Mass: 80g | $43,092.00 |
| BT168 | Iperia 7 DR-T | Dual Chamber ICD, ventricular capture control, | 65mm x 56mm x 11mm, 32cm3, 82grams | $43,092.00 |
|  |  | physiological rate adaption, automatic event |  |  |
|  |  | (IEGM) & trend triggered transmission. |  |  |
|  |  | Wandless telemetry, Home Monitoring, MRI |  |  |
|  |  | conditional, DF-4, IS-1 connector |  |  |

**Boston Scientific Australia Pty Ltd**

BS277 AUTOGEN ICD DR DF-4 Dual Chamber implantable cardioverter

defibrillation, 4IJ, DF-4 RV connector

28.0cc - 31.0cc, 62.5g - 71.4g, 9.9mm $43,092.00

**Billing Code Product Name Description Size**

**Livanova Australia Pty Limited**

**Benefit**

**Benefit**

**Condition**

SA166 INTENSIA DR MODEL 154 INTENSIA DR MODEL 154 is a Dual

Chamber ICD with 39J output, RF, Home Monitoring, DF-4 connectivity.

68.4 x 73.4 x 11mm $43,092.00

# 08.03.01 - Dual Chamber, Bivent pacing, Vent tachyarrhythmia treatme

### a

**Livanova Australia Pty Limited**

SA145 PARADYM CRT-D 8750 Implantable Cardioverter Defibrillator with

Cardiac Resynchronisation therapy, High Energy

34cc, 94 grams; 61.8 x 73.4 x 11mm $43,056.00

### a, d

**Boston Scientific Australia Pty Ltd**

BS209 INCEPTA CRT-D High energy CRT-D with DF-1 RV connector

& lS-1 (N163) or LV-1 (N165) LV connector

32.5cc, 9.9mm, 72g $43,056.00

### a, d, e

**Boston Scientific Australia Pty Ltd**

BS205 INCEPTA DF-4 CRT-D High energy CRT-D with DF-4 RV connector

and lS-1 LV connector

32cc, 9.9mm. 72g $43,731.00

### a,d

**Boston Scientific Australia Pty Ltd**

BS275 DYNAGEN CRT-D DF-1 High energy CRT-D with DF-1 RV connector

& lS-1 (G156) or LV-1 (G151) LV connector.

32.0cc, 9.9mm $43,056.00

### a,d,e

**Boston Scientific Australia Pty Ltd**

BS274 DYNAGEN CRT-D DF-4 ICD with cardiac resynchronization therapy. 32.5cc, 9.9mm $43,731.00

**Billing Code Product Name Description Size**

**08.03.02 - Features of 8.3.1 plus auto test sensing parameters, auto captu**

**Benefit**

**Benefit**

**Condition**

**a, c, d, e**

**Medtronic Australasia Pty Ltd**

MI070 VIVA XT CRT-D DTBA2D4 Implantable Cardioverter Defibrillator with

Cardiac Resynchronisation therapy, SmartShock Technology, OptiVol 2.0 Fluid Status Monitoring, Complete Capture Management Specifications (DF4), and AdaptivCRT

35cc, 82g $47,475.00

### a, d

**St Jude Medical Australia Pty Ltd**

SJ281 Promote Quadra CRT CD3237-40 Cardiac Resynchronisation Therapy

Defibrillator with 40J delivered energy, VectSelect Quartet Programmable LV pulse configuration and Multisite Pacing

SJ298 Quadra Assura CD3267-40 Cardiac Resynchronisation Therapy

Defibrillator with 40J delivered and Multisite Left Ventricular Pacing and Quadripolar pacing

SJ301 Unify Assura CD3261-40 Cardiac Resynchronisation Therapy

Defribrillator with 40J delivered energy

46cc, 88g $46,800.00

40cc, 83g $46,800.00

36cc, 78g $46,800.00

### a, d, e

**St Jude Medical Australia Pty Ltd**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| SJ312 | Quadra Assura CD3267-40Q | Cardiac Resynchronisation Therapy Defribrillator with 40J delivered energy, Multisite Left Ventricular Pacing plus Quadripolar pacing and SJ4 connector | 38cc, 81g | $47,475.00 |
| SJ314 | Unify Assura CD3261-40Q | Cardiac Resynchronisation Therapy Defribrillator with 40J delivered energy and SJ4 connector | 36cc, 77g | $47,475.00 |

**Billing Code Product Name Description Size**

**a,c,d**

**Medtronic Australasia Pty Ltd**

**Benefit**

**Benefit**

**Condition**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| MI069 | VIVA XT CRT-D DTBA2D1 | Implantable Cardioverter Defibrillator with Cardiac Resynchronisation therapy, SmartShock Technology, OptiVol 2.0 Fluid Status Monitoring, Complete Capture Management Specifications (DF1), and AdaptivCRT | 35cc, 82g | $46,800.00 |
| MI071 | VIVA S CRT-D DTBB2D1 | Implantable Cardioverter Defibrillator with Cardiac Resynchronisation therapy, SmartShock Tehnology, OptiVol 2.0 Fluid Status Monitoring and Complete Capture Management Specifications (DF1) | 35cc, 82g | $46,800.00 |

**a,c,d,e**

**Medtronic Australasia Pty Ltd**

MI072 VIVA S CRT-D DTBB2D4 Implantable Cardioverter Defibrillator with

Cardiac Resynchronisation therapy, SmartShock Tehnology, OptiVol 2.0 Fluid Status Monitoring and Complete Capture Management Specifications (DF4)

35cc, 82G $47,475.00

### a,d

**Biotronik Australia Pty Ltd**

BT146 Ilesto 7 HF-T Triple Chamber CRT-D device, rate adaptive, max. 40J shock energy, Home Monitoring, MRI conditional, IS-1/DF-1 connector

W x H x D (mm) 65 x 58.5 x 11, Volume: 33 cc, Mass: 80g

$46,800.00

### Livanova Australia Pty Limited

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| SA158 | PARADYM™ RF CRT-D 9750 | Implantable Cardioverter Defibrillator, for resyncronisation of heart failure, high output extended longevity and home monitoring. | 69.5 x 73.4 x 11mm 38.6cc 95g | $46,800.00 |
| SA159 | PARADYM™ RF CRT-D SonR 9770 | Implantable Cardioverter Defibrillator for | 69.5 x 73.4 x 11mm 38.6cc 95g | $46,800.00 |
|  |  | resyncronisation of heart failure, high output, |  |  |
|  |  | extended longevity and home monitoring, and |  |  |
|  |  | in conjunction with a dedicated atrial lead with |  |  |
|  |  | SonR sensor provides automatic adjustment of |  |  |
|  |  | AV/VV delays for optimisation of |  |  |
|  |  | resynchronisation therapy. |  |  |

**St Jude Medical Australia Pty Ltd**

SJ319 Quadra Assura MP CD3371- 40/CD3371/40C

Cardiac Resynchronisation Therapy Cardioverter Defibrillator

83g, 40cc $46,800.00

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Billing Code** | **Product Name** | **Description** | **Size** | **Benefit** | **Benefit** | **Condition** |
| SJ320 | Unify Assura CD3361-40/CD3361- 40C | Cardiac Resynchronisation Therapy Cardioverter Defibrillator | 78g, 36cc | $46,800.00 |  |  |
| SJ323 | Quadra Assura CD3367-40/CD3367- 40C | Cardiac Resynchronisation Therapy Defibrillator with 40J delivered energy | 83g, 40cc | $46,800.00 |  |  |

### a,d,e

**Medtronic Australasia Pty Ltd**

MI109 VIVA QUAD XT CRT-D IS4/DF4 ICD with CRT. PhysioCurve Design,

AdaptivCRT Algorithm, CardioSync Optimisation, VextorExpress, LV Automated Test, Optimised Battery Chemistry, Smart Shock Technology 2.0, Optivol 2.0 Fluid Status Monitoring, Complete Capture Management and Atrial Therapies. IS4 DF4

MI110 VIVA QUAD S CRT-D IS4/DF4 ICD with CRT. PhysioCurve Design,

CardioSync Optimisation, VectorExpress, V Automated Test, Optimised Battery Chemistry, Smart Shock Technology 2.0. Complete Capture management. IS4 DF4

### St Jude Medical Australia Pty Ltd

SJ282 Promote Quadra CD3237-40Q Cardiac Resynchronisation Therapy

Defibrillator with 40J delivered energy and VectSelect Quartet Programmable LV pulse configuration plus Multisite Left Ventricular Pacing and SJ4 connector.

35cm³ 81g $47,475.00

35cm³ 81g $47,475.00

44cc, 87g $47,475.00

SJ321 Quadra Assura MP CD3371- 40Q/CD3371-40QC

SJ329 Unify Assura CD3361-40Q/CD3361- 40QC

SJ330 Quadra Assura CD3367- 40Q/CD3367-40QC

Cardiac Resynchronisation Therapy Defibrillator

Cardiac Resynchronisation Therapy Cardioverter Defibrillator

Cardiac Resynchronisation Therapy Defibrillator with 40J delivered energy

80gm, 38cc $47,475.00

77g, 36cc $47,475.00

80g, 38cc $47,475.00

### a,d

**Biotronik Australia Pty Ltd**

BT173 Itrevia 7 HF-T Triple Chamber ICD, ventricular capture control, physiological rate adaption, automatic event (IEGM) & trend triggered transmission. Wandless telemetry, Home Monitoring, MRI conditional, DF-1, IS-1 connector

65mm x 58.5mm x 11mm, 34cm3, 83grams $52,000.00

**Billing Code Product Name Description Size**

**Boston Scientific Australia Pty Ltd**

**Benefit**

**Benefit**

**Condition**

BS286 AUTOGEN CRT-D DF-1 High energy CRT-D with DF-1 RV connector

& lS-1 (G173) or LV-1 (G175) LV connector. PaceSafe RV, RA, and LV auto threshold.

32.0cc, 72.8g, 9.9mm $46,800.00

BS287 AUTOGEN X4 CRT-D DF-1 High energy CRT-D with DF-1 RV connector

& lS4 LV connector

32.0cc, 73.4g, 9.9mm $46,800.00

### Medtronic Australasia Pty Ltd

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| MI130 | VIVA QUAD XT CRT-D IS4/DF1 | ICD with CRT. PhysioCurve Design, Adaptiv CRT Algorithm, CardioSync Optimisation, VectorExpress, LV Automated Test, Optimised Battery Chemistry, Smart Shock Technology 2.0, Optivol 2.0 Fluid Status Monitoring, Complete Capture Management and Atrial Therapies. IS4 DF1 | 35cm³ 81g | $46,800.00 |
| MI131 | VIVA QUAD S CRT-D IS4/DF1 | ICD with CRT. PhysioCurve Design, CardioSync Optimisation, VectorExpress, LV Automated Test, Optimised Battery Chemistry, Smart Shock Technology 2.0. Complete capture management. IS4 DF1 | 35cm³ 81g | $46,800.00 |

**a,d,e**

**Biotronik Australia Pty Ltd**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| BT152 | Ilesto 7 HF-T DF-4 | Triple Chamber CRT-D device, rate adaptive, max. 40J shock energy, Home Monitoring, MR conditional, lS-1/DF4 connector. | W x H x D (mm) 65 x 56 x 11, Volume: 33 cc, Mass: 80g | $47,475.00 |
| BT169 | Iperia 7 HF-T | Triple Chamber ICD, ventricular capture | 65mm x56mm x 11 mm, 33cm3, 82grams | $47,475.00 |
|  |  | control, physiological rate adaption, automatic |  |  |
|  |  | event (IEGM) & trend triggered transmission. |  |  |
|  |  | Wandless telemetry, Home Monitoring, MRI |  |  |
|  |  | conditional, DF-4, IS-1 connector |  |  |
| BT177 | Inventra 7 HF-T QP | Triple Chamber ICD, ventricular capture | 65mm x 58.5mm x 12.5mm, 38cm3, 91grams | $47,475.00 |
|  |  | control, physiological rate adaption, automatic |  |  |
|  |  | event (IEGM) & trend triggered transmission. |  |  |
|  |  | Wandless telemetry, Home Monitoring, MRI |  |  |
|  |  | conditional, DF-4, IS-4 quadripolar connector |  |  |

**Billing Code Product Name Description Size**

**Benefit**

**Benefit**

**Condition**

BT184 Iperia 7 HF-T QP Triple Chamber ICD, ventricular capture control, physiological rate adaption, automatic event (IEGM) & trend triggered transmission. Wandless telemetry, Home Monitoring, MRI conditional, DF-4,IS-1, IS-4 quadripolar connector

### Boston Scientific Australia Pty Ltd

BS284 AUTOGEN CRT-D DF-4 ICD with cardiac resynchronization therapy.

PaceSafe RV, RA, and LV auto threshold.

65mm x 58.5mm x 11mm, 36cm3, 87grams $47,475.00

32.5cc, 73.6g, 9.9mm $47,475.00

BS285 AUTOGEN X4 CRT-D DF-4 ICD with cardiac resynchronization therapy. 32.5cc, 73.8g, 9.9mm $47,475.00

### Livanova Australia Pty Limited

SA168 INTENSIA SonR CRT-D MODEL

184

INTENSIA SonR CRT-D MODEL 184 is a

Cardiac Resynchronisation Therapy Defibrillator, Automatic SonR optimisation, 39J output, RF, Home Monitoring, DF-4 connectivity

68.4 x 73.4 x 11mm $47,475.00

SA169 INTENSIA CRT-D MODEL 174 INTENSIA CRT-D MODEL 174 is a Cardiac

Resynchronisation Therapy Defibrillator, Automatic SonR optimisation, 39J output, RF, Home Monitoring, DF-4 connectivity

# - SSIR pacemakers with rate responsive feature

### St Jude Medical Australia Pty Ltd

68.4 x 73.4 x 11mm $47,475.00

SJ076 Verity Adx Model XL SR 5157 M/S implantable pacemaker

Single Chamber multi-programmable rate- adaptive pacing devices with extended longevity

11cc, 23g $5,335.00

# - SSIR with small/compact size, multi-programmability & longe

### Livanova Australia Pty Limited

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| SA142 | Reply™ SR | Single chamber permenent pacemaker with rate response modulation | 37 x 41.5 x 6.1mm  19 Grams  7.5 cm3 | $5,335.00 |
| SA143 | ESPRIT SR | Single Chamber Permanent Pacemaker with Rate Response Modulation | Dimensions: 37.4 x 41.5 x 6.1mm Weight : 19grams. Volume: 7.5 cm3 | $5,335.00 |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Medtronic Australasia Pty Ltd** | | | | | |
| MC728 |  | Adapta Pacemaker | SR PacemakerModels ADSR01, ADSR06,  ADSR03 | 9.7 - 11.0cc21.5 - 22.5g | $5,335.00 |
| **St Jude Medical Australia Pty Ltd** | | | | | |
| SJ105 |  | Zephyr SR 5620 | Single Chamber Rate-Responsive Pacemaker | 8cc, 17g | $5,335.00 |
| SJ131 |  | Zephyr XL SR 5626 | Single-Chamber Rate-Responsive Pacemaker | 23.5g and 10.4cc | $5,335.00 |
| SJ205 |  | Accent SR PM 1110 | Single Chamber Rate Responsive Pacemaker | 18g, 9.5cc | $5,335.00 |
| SJ255 |  | Accent ST PM1122 | Single Chamber Pacemaker with ST segment monitoring | 21g, 9.5cc | $5,335.00 |
| SJ294 |  | Accent MRI SR PM1124 | Single Chamber Pacemaker with MRI testing capability | 23g, 13.1cc | $5,335.00 |
|  | **f** |  |  |  |  |
| **St Jude Medical Australia Pty Ltd** | | | | | |
| SJ027 |  | St Jude Medical Microny II SR+ Model 2525T Pacemaker | Single Chamber Rate Responsive Pacemaker | Volume 5.9cc, Weight 12.8gm | $5,335.00 |
|  | **i** |  |  |  |  |
|  |  | **Biotronik Australia Pty Ltd** |  |  |  |
| BT108 |  | Entovis SR-T | Fully automatic, single chamber pacemaker with Closed Loop Stimulation, Home Monitoring and extended longevity | Size: 53mm x 39mm x 6.5mm (W x H x D), Volume: 11cc, Mass: 24g | $5,335.00 |
| BT110 |  | Evia SR-T | Fully automatic, single chamber pacemaker with Closed Loop Stimulation, Home Monitoring and extended longevity | Size: 53mm x 39mm x 6.5mm (W x H x D), Volume: 11cc, Mass: 24g | $5,335.00 |
| **Boston Scientific Australia Pty Ltd** | | | | | |
| BS236 |  | INGENIO MRI SR | Single Chamber Pacemaker, MRI Compatible | 11.5cc $5,335.00 | |
| **St Jude Medical Australia Pty Ltd** | | | | | |
| SJ200 |  | Accent SR RF PM1210 | Single Chamber Pacemaker with RF telemetry | 23g, 12.8cc | $5,335.00 |
| SJ257 |  | Accent ST RF PM1222 | Single Chamber Pacemaker with ST Segment Monitoring and RF Telemetry | 12.8g, 23g | $5,335.00 |
| SJ259 |  | Accent MRI SR RF PM1224 | Single Chamber Pacemaker with RF Telemetry and MRI testing capability | 23g, 13.1cc | $5,335.00 |

### Livanova Australia Pty Limited

SA161 REPLY 200™ SR REPLY 200™ SR is a Single Chamber rate- responsive pacemaker.

SA172 KORA 100 SR KORA 100 SR is a Single Chamber MRI conditional rate-responsive pacemaker.

### Medtronic Australasia Pty Ltd

Dimensions 37.4 x 41.5 x 6.1mm, Weight 19g, Volume 7.5cm3. Connector IS-1, Sensors Minute Ventilation (MV) and Accelerometer (G).

Dimensions 37.4 x 41.5 x 6.1mm, Weight 19g. Volume 7.5cm3. Connector IS-1. Sensors Minute Ventilation (MV) and Accelerometer (G).

$5,335.00

$5,335.00

MI161 Advisa SR MRI SureScan pacemaker A3SR01

Single chamber pacemaker with SureScan MRI Technology

11.9cm3 21g $5,335.00

### St Jude Medical Australia Pty Ltd

SJ335 Endurity PM1160 Single Chamber Rate Responsive Pacemaker 10.5cc, 19g $5,335.00

SJ367 Endurity PM1162 MR Conditional Single Chamber Pacing System 19g , 9.7cc $5,335.00

### i

**Biotronik Australia Pty Ltd**

BT180 Eluna 8 SR-T Single Chamber Pacemaker, ventricular capture control, physiological rate adaption, automatic event (IEGM) & trend triggered transmission. Wandless telemetry, Home Monitoring, MRI conditional, IS-1 connector

BT182 Etrinsa 8 SR-T Single Chamber Pacemaker, ventricular capture control, physiological rate adaption, automatic event (IEGM) & trend triggered transmission. Wandless telemetry, Home Monitoring, MRI conditional, IS-1 connector

### Boston Scientific Australia Pty Ltd

53 x 39 x 6.5 mm, 11cm3 , 24grams $5,335.00

53 x 39 x 6.5 mm, 11cm3, 24grams $5,335.00

BS271 VITALIO MRI SR Single Chamber Pacemaker, MRI Compatible 11.5cc $5,335.00

### St Jude Medical Australia Pty Ltd

SJ334 Assurity PM1240 Single Chamber Rate-Responsive Pacemaker with RF Telemetry

SJ340 Assurity+ PM1260 Single Chamber Rate-Responsive Pacemaker with RF Telemetry

10.4cc, 20g $5,335.00

10.4cc. 20g $5,335.00

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| SJ363 | Assurity MRI PM1272 | MRI Conditional RF Single Chamber Rate | 10.4cc, 20g | $5,335.00 |
|  |  | Responsive Pacemaker |  |  |
| SJ365 | Endurity MRI PM1172 | MR Conditional Single Chamber Pacing System | 9.7cc, 19g | $5,335.00 |

# - DDDR/VDDR including rate responsive feature

### Medtronic Australasia Pty Ltd

MC713 Adapta Pacemaker VDDR PacemakerModels ADVDD01 11.1cc23.6g $6,084.00

# - DDDR with four or more advanced features

### Boston Scientific Australia Pty Ltd

BS151 Altrua 60 DR Dual chamber rate responsive pacemaker 10cc - 15cc $8,424.00

### Livanova Australia Pty Limited

SA141 Reply™ DR Dual Chamber permanent Pacemaker with Rate Response Modulation

SA144 ESPRIT DR Dual Chamber Permanent Pacemaker with Rate Response Modulation

### St Jude Medical Australia Pty Ltd

8cc, Weight: 20grams, Dimensions:41.2 x

41.5 x 6.1mm

8cc, Weight: 20grams, Dimensions:41.2 x

41.5 x 6.1mm

$8,424.00

$8,424.00

SJ051 Verity ADX XL DR 5357 M/S Dual - Chamber, multi-programmable, rate-

responsive pacemaker withAF suppression

45x52x6mm,11cc, 23g, 5mm or 6mm M/S $8,424.00

### i

**Boston Scientific Australia Pty Ltd**

BS234 INGENIO MRI EL DR Dual Chamber Pacemaker, Extended Life, MRI

Compatible

14cc $10,296.00

BS235 INGENIO MRI DR Dual Chamber Pacemaker, MRI Compatible 12cc $10,296.00

### Livanova Australia Pty Limited

SA160 REPLY™ 200 DR REPLY™ 200 DR is a DDDR-type dual chamber rate-responsive pacemaker. It is equipped with a physiological sensor (minute ventilation) and an accelerometer to allow adaption of pacing to suit the patients activity.

Dimensions 41.2 x 41.5 x 6.1mm, Weight 20g, Volume 8cm3.

$8,424.00

**Billing Code Product Name Description Size**

**08.05.04 - DDDR with continuous threshold monitoring in atrium + vent**

**Benefit**

**Benefit**

**Condition**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| MC726 |  | **Medtronic Australasia Pty Ltd**  Adapta Pacemaker | DR PacemakerModels ADDR01, ADDRS1, | 11.1-14.2cc23.6g-31.3g | $10,296.00 |
|  |  |  | ADDRL1, ADDR06, ADDR03 |  |  |
| **St Jude Medical Australia Pty Ltd** | | | | | |
| SJ103 |  | Zephyr XL DR 5826 and DR 5820 | Dual Chamber Rate-Responsive Pacemaker | 5826 - 23.5g, 11cc and 5820 - 18g, 8.5cc | $10,296.00 |
| SJ193 |  | Accent DR PM 2112 | Dual Chamber Pacemaker | 19g, 10.5cc | $10,296.00 |
| SJ256 |  | Accent ST PM2122 | Dual Chamber Pacemaker with ST segment monitoring | 10.5cc, 19g | $10,296.00 |
| SJ295 |  | Accent MRI DR PM2124 | Dual Chamber Pacemaker with MRI testing capability | 24g, 13.1cc | $10,296.00 |
|  | **g** |  |  |  |  |
|  |  | **Medtronic Australasia Pty Ltd** |  |  |  |
| MC933 |  | Advisa DR MRI SureScan | Model A3DR01 Digital dual chamber pacemaker with SureScan Technology (OAE- DDDR) MR Conditional with MVP Mode, Complete Capture Management Diagnostic (ACM, RVCM), AT/AF Suite Diagnostics and Therapies, OptiVol Fluid Status Monitoring, and Therapy Guide Fea | 13cc, 22g | $10,602.00 |
| MC934 |  | Advisa DR | Model A5DR01 Digital dual chamber pacemaker (OAE-DDDR) MVP mode with Complete Capture Management Diagnostic (ACM, RVCM) AT/AF Suite Diagnostics and Therapies, OptiVol Fluid Status Monitoring, and Therapy Guide Feature | 13cc, 22g | $10,602.00 |
|  | **i** |  |  |  |  |
|  |  | **Biotronik Australia Pty Ltd** |  |  |  |
| BT114 |  | Evia DR-T | Fully automatic, dual chamber pacemaker with Closed Loop Stimulation, Home Monitoring, Vp suppression and extended longevity | Size: 53mm x 43mm x 6.5mm (W x H x D), Volume: 11cc, Mass: 26g | $10,296.00 |
| BT115 |  | Entovis DR-T | Fully automatic, dual chamber pacemaker with Closed Loop Stimulation, Home Monitoring, Vp suppression and extended longevity | Size: 53mm x 43mm x 6.5mm (W x H x D), Volume: 11cc, Mass: 26g | $10,296.00 |

**Billing Code Product Name Description Size**

**St Jude Medical Australia Pty Ltd**

**Benefit**

**Benefit**

**Condition**

SJ196 Accent DR RF PM2212 Dual chamber Pacemaker with RF telemetry 236, 12.8cc $10,296.00

SJ254 Accent ST RF PM2222 Dual Chamber Pacemeker with ST Segment

Monitoring and RF Telemetry

SJ258 Accent MRI DR RF PM2224 Dual Chamber Pacemaker with RF Telemetry

and MRI testing capability

23g, 12.9cc $10,296.00

24g, 13.1cc $10,296.00

**Livanova Australia Pty Limited**

SA171 KORA 100 DR KORA 100 DR is a Dual Chamber MRI conditional, Rate Responsive Pacemaker

### St Jude Medical Australia Pty Ltd

41.2 x 41.5 x 6.1mm $10,296.00

SJ336 Endurity PM2160 Dual Chamber Rate Responsive Pacemaker 10.4cc, 19g $10,296.00

SJ368 Endurity PM2162 Dual Chamber MR Conditional Rate Responsive Pacemaker

20g,10.4cc $10,296.00

### i

**Biotronik Australia Pty Ltd**

BT181 Eluna 8 DR-T Dual Chamber Pacemaker, ventricular capture control, physiological rate adaption, automatic event (IEGM) & trend triggered transmission. Wandless telemetry, Home Monitoring, MRI conditional, IS-1 connector

BT183 Etrinsa 8 DR-T Dual Chamber Pacemaker, ventricular capture control, physiological rate adaption, automatic event (IEGM) & trend triggered transmission. Wandless telemetry, Home Monitoring, MRI conditional, IS-1 connector

### Boston Scientific Australia Pty Ltd

53 x 44.5 x 6.5 mm, 12cm3, 25grams $10,296.00

53 x 44.5 x 6.5 mm, 12cm3, 25grams $10,296.00

BS268 FORMIO MRI DR Dual Chamber Pacemaker, MRI Compatible 12cc $10,296.00

BS269 VITALIO MRI EL DR Dual Chamber Pacemaker, extended life MRI

Compatible

### St Jude Medical Australia Pty Ltd

SJ339 Assurity PM2240 Dual Chamber Rate Responsive Pacemaker with RF Telemetry

SJ341 Assurity+ PM2260 Dual Chamber Rate Responsive Pacemaker with RF Telemetry

14cc $10,296.00

10.4cc, 20g $10,296.00

10.4cc, 20g $10,296.00

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Billing Code** | **Product Name** | **Description** | **Size** | **Benefit** | **Benefit** | **Condition** |
| SJ364 | Assurity MRI PM2272 | MR Conditional RF Dual Chamber Rate Responsive Pacemaker | 10.4cc, 20g | $10,296.00 |  |  |
| SJ366 | Endurity MRI PM2172 | Dual Chamber MR Conditional Rate Responsive Pacemaker | 10.4cc, 20g | $10,296.00 |  |  |

# 08.06.02 - Features of 8.6.1 plus continuous threshold monitoring in atriu

### St Jude Medical Australia Pty Ltd

SJ194 Anthem PM3112 CRT Pacemaker Cardiac Resynchronisation Therapy Pacemaker 21g, 11.5cc $12,168.00

### g

**Medtronic Australasia Pty Ltd**

MI012 Consulta CRT-P Cardiac Resynchronisation Therapy Pacemaker, Model C3TR01

One size only $12,168.00

### i

**Biotronik Australia Pty Ltd**

BT147 Evia HF-T MRI conditional Multiprogrammable biventricular pacemaker with Home Monitoring

### St Jude Medical Australia Pty Ltd

53mm x 49mm x 6.5mm (W x H x D), Volume: 14cm3 Mass: 26 grams

$12,168.00

SJ207 Anthem RF PM3212 CRT Pacemaker with RF telemetry 25g, 13.7cc $12,168.00

### g

**Medtronic Australasia Pty Ltd**

MI159 Viva CRT-P Fully automatic digital pacemaker with CRT, atrial therapy and aCRT

15cm3 26g $12,168.00

### i

**Boston Scientific Australia Pty Ltd**

BS262 INLIVEN IS-1 Cardiac Resynchronization therapy pacemaker 15cc $12,168.00

BS263 INLIVEN LV-1 Cardiac Resynchronization therapy pacemaker 15cc $12,168.00

### St Jude Medical Australia Pty Ltd

SJ337 Allure RF PM3222 CRT Rate Responsive Pacemaker with RF Telemetry

SJ338 Allure Quadra RF PM3242 CRT Quadripolar, Rate Responsive Pacemaker

with RF Telemetry

14cc, 24g $12,168.00

15cc, 27g $12,168.00

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Billing Code Product Name** | **Description** | **Size** | **Benefit** | **Benefit** | **Condition** |
| SJ353 Quadra Allure MP RF PM 3262 | Quadra Allure MP RF Biventricular Pacemaker | 27g, 15cc | $12,168.00 | |  |

# - Coronary Sinus

### Medtronic Australasia Pty Ltd

MC026 Medtronic Transvene SVC Lead

Model 6937;

# - Subcutaneous

Model 6937-35, Model 6937-52, Model 6937-

58, Model 6937-110; Silicone;

35 - 110cm x 660mm $2,106.00

### Guidant Australia Pty Ltd

GU123 Endotak SQ Array XP Lead Model

0085

### Medtronic Australasia Pty Ltd

MC251 Implantable Subcutaneous

Defibrillator Lead Model 6996SQ 41cm, 58cm, 85cm

Sub-Q Array for high DFT 70cm $4,212.00

Silicone and Platinum Alloy Lengths 41-85cm inclusive $4,212.00

# - Transvenous/Steroid/Passive

### Biotronik Australia Pty Ltd

BT119 Linox SMART TD Dual-shock coil ICD lead with passive fixation and hydrophilic coating on lead body.

BT149 Linox Smart T Single-shock coil ICD lead with passive fixation, and SilGlide technology

Lengths: 65, 75 cm, Diameter: 7.8Fr $8,100.00

65 cm length $8,100.00

### Guidant Australia Pty Ltd

GU115 Endotak Reliance Lead Passive Dual Coil 59cm, 64cm, 90cm $8,100.00

GU158 Endotak Reliance SG Passive Passive Single Coil wih GORE ePTFE covered

coils

GU159 Endotak Reliance G Passive Passive Dual Coil with GORE ePTFE covered

coils

54cm - 90cm $8,100.00

54cm - 90cm $8,100.00

**Billing Code Product Name Description Size**

**Medtronic Australasia Pty Ltd**

**Benefit**

**Benefit**

**Condition**

MC002 Medtronic Sprint Quattro Lead

Model 6944RV/SVC 65cm; Model 6944RV/SVC 75cm; or Model 6944RV/SVC 100cm; Medtronic Sprint Quattro Lead Model 6944RV/SVC 58cm

Silicone and polyurethane 65-100cm $8,100.00

### St Jude Medical Australia Pty Ltd

SJ158 Durata 7170, 7171 Passive fixation, true bipolar, dual coil, steroid eluting, endocardial defibrillation leads with Optium insulation overlay

60, 65 and 70cm $8,100.00

### e

**Boston Scientific Australia Pty Ltd**

BS170 Endotak Reliance S 4-SITE Passive fixation single coil defibrillation leads

& 4-SITE connector.

BS180 Endotak Reliance G 4-SITE Passive fixation dual coil defibrillation leads

with ePTFE covered coils & 4-SITE connector

BS181 Endotak Reliance SG 4-SITE Passive fixation single coil defibrillation leads

with ePTFE covered coil & 4-SITE connector

BS183 Endotak Reliance 4-SITE Passive fixation dual coil defibrillation leads

with 4-SITE connector

### St Jude Medical Australia Pty Ltd

SJ245 Durata 7170Q, 7171Q and 7172Q 7170Q/7171Q - passive fixation, bipolar, dual

coil, 7172Q - passive fixation, bipolar - single coil steroid eluting endocardial defibrillation leads with Optim insulation overlay and SJ4 quadripolar lead connector

50-70cm $8,100.00

50-70cm $8,100.00

50-70 $8,100.00

50-70cm $8,100.00

52, 58 and 65cm, 7F introducer $8,100.00

### Biotronik Australia Pty Ltd

BT154 Volta 1 CT Singe-shock coil ICD lead with passive fixation, and SilGlide technology

### St Jude Medical Australia Pty Ltd

65cm length $8,100.00

SJ345 Optisure ICD Lead LDP 220/230 Passive fixation ICD lead with DF-1 connector 60cm-75cm $8,100.00

**Billing Code Product Name Description Size**

**e**

**Benefit**

**Benefit**

**Condition**

**Biotronik Australia Pty Ltd**

BT176 Protego T & TD T - Quadripolar Single Coil ICD lead with passive fixation, fractal/steroid coating, Silglide and DF4 connector

TD - Quadripolar Dual Coil ICD lead with passive fixation, fractal/steroid coating, Silglide and DF4 connector

### Boston Scientific Australia Pty Ltd

T - Length: 65cm, Electrode spacing 15mm, 7.8F

TD - Length: 65cm, 75cm; Electrode spacing 16mm & 65cm, 18mm @ 65cm & 75cm, 7.8 F

$8,100.00

BS261 RELIANCE 4-FRONT Passive, single/dual coil, defibrillation lead Length: 59cm - 70cm $8,100.00

### St Jude Medical Australia Pty Ltd

SJ346 Optisure ICD Lead LDP210Q/220Q/230Q

Passive fixation ICD lead with DF-4 connector. 52cm-65cm $8,100.00

# - Transvenous/Steroid/Active

### Biotronik Australia Pty Ltd

BT120 Linox SMART SD Dual-shock coil ICD lead with active fixation helix and hydrophilic coating on lead body.

Lengths: 60, 65, 75 cm, Diameter: 7.8Fr $8,100.00

BT125 Linox SMART SD X LinoxSmart S DX pentapolar, single-coil ICD

lead with floating atrial dipole. Permanent, transvenous implantation in the right ventricle.

Length: 65cm. Distance of dipole from tip: Linox Smart SD X 65/15: 15 (cm), Linox Smart SD X 65/17: 17 (CM)

$8,100.00

BT148 Linox Smart S Single shock coil ICD lead with active fixation, fractal coating and steroid elution. Coated in SilGlide silicone based coating for improved gliding

Lengths; 60, 65, 75 cm $8,100.00

### Guidant Australia Pty Ltd

GU163 ENDOTAK RELIANCE G Active Active Dual Coil with GORE ePTFE covered

coils

GU164 ENDOTAK RELIANCE SG Active Active Single coil with GORE ePTFE covered

coils

59-90cm $8,100.00

59-90cm $8,100.00

### Medtronic Australasia Pty Ltd

MC208 Medtronic Sprint Quattro Secure

Lead Model 6947 58cm; Model 6947 65cm; Model 6947 75cm; Model 6947 100cm

Leads, Defibrillator, Implantable, Silicone, polyurethane, platinized tantalum coils, steroid eluting tip

58-100cm $8,100.00

**Billing Code Product Name Description Size**

**Benefit**

**Benefit**

**Condition**

MC834 Sprint Quattro Secure S Model 6935, Active Fixation Single Coil

Defibrillation Lead

### St Jude Medical Australia Pty Ltd

SJ157 Durata 7120, 7121, 7122, 7130, 7131 Active fixation bipolar, dual-coil/single coil

Steroid-eluting Endocardial Defibrillation Leads

52 - 100cm $8,100.00

60, 65, 75cm $8,100.00

### e

**Boston Scientific Australia Pty Ltd**

BS174 Endotak Reliance SG 4-SITE Active fixation single coil defibrillation leads

with ePTFE covered coil & 4-SITE connector.

BS178 Endotak Reliance 4-SITE Active fixation dual coil defibrillation leads

with 4-SITE connector

BS179 Endotak Reliance S 4-SITE Active fixation single coil defibrillation leads &

4-SITE connector

BS182 Endotak Reliance G 4-SITE Active fixation dual coil defibrillation leads

with ePTFE covered coils & 4-SITE connector.

### St Jude Medical Australia Pty Ltd

SJ230 Durata 7120Q, 7121Q and 7122Q 7120/1Q - Adtive fixation, true bipolar;

7122Q - Active fixation true bipolar - single coil steroid eluting endocardial defibrillation leads with Optim insulation overlay and SJ4 quadripolar lead connector.

50-70cm $8,100.00

50-70cm $8,100.00

50-70mm $8,100.00

50-70cm $8,100.00

52cm, 58cm and 65cm $8,100.00

### Biotronik Australia Pty Ltd

BT155 VOLTA 2 CR Fractal coated and steroid electrode, active fixation quadrapolar

60, 65, 75cm length, 16, 18mm electrode spacing

$8,100.00

BT157 Volta 1CR Single shock coil ICD lead with active fixation, fractal coating and steroid elution. Coated in SilGlide silicone based coating for improved gliding

BT158 Volta 2 CT Fractal coated and steriod electrode, active fixation, quadrapolar

BT159 Linox Smart ProMRI SD Dual-shock coil ICD lead with active fixation

helix and hydrophilic coating on lead body. MRI conditional use

Lengths: 60, 65 and 75 cm $8,100.00

Lengths: 65, 75 cm, Diameter: 7.8Fr $8,100.00 LENGTHS: 65, 75CM; Diameter: 7.8Fr $8,100.00

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Billing Code** | **Product Name** | **Description** | **Size** | **Benefit** | **Benefit** | **Condition** |
| BT160 | Linox Smart ProMRI S | Single shock coil ICD lead with active fixation, | Lengths: 65cm, 75cm | $8,100.00 |  |  |
|  |  | fractal coating and steroid elution. Coated in |  |  |  |  |
|  |  | SilGlide coating for improved gliding. MRI |  |  |  |  |
|  |  | condional use |  |  |  |  |
| BT161 | Linox Smart ProMRI S DX | Pentapolar, single-coil ICD lead with floating | Length: 65cm. Distance of dipole from tip: | $8,100.00 |  |  |
|  |  | atrial dipole. Permanent, transvenous | 15cm or 17cm |  |  |  |
|  |  | implantation in the right ventricle. MRI |  |  |  |  |
|  |  | conditional use |  |  |  |  |

### St Jude Medical Australia Pty Ltd

SJ343 Optisure ICD Lead - LDA210/220/230

Active fixation ICD lead with DF-1 connector 60cm-75cm $8,100.00

### e

**Biotronik Australia Pty Ltd**

BT165 Protego ProMRI SD Dual-shock coil ICD lead with active fixation helix and DF4 connector, MRI conditional

BT166 Protego SD Dual-shock coil ICD lead with active fixation helix and DF4 connector

Length: 65, 75cm; 16mm, 18mm electrode spacing

Length: 61cm, 65cm, 75cm; 16mm, 18mm electrode spacing

$8,100.00

$8,100.00

BT175 Protego S Tripolar ICD lead with active fixation Length: 61cm, 65cm, 75cm $8,100.00

### Boston Scientific Australia Pty Ltd

BS260 RELIANCE 4-FRONT Active, Single/Dual coil, defibrillation lead Length: 59cm -70cm $8,100.00

### Medtronic Australasia Pty Ltd

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| MI033 | Sprint Quattro Secure 6947M Lead | Active fixation, true bipolar, dual coil defibrillation leads with silicone backfill and DF-4 connector | 45-110cm | $8,100.00 |
| MI108 | Sprint Quattro Secure S DF4 | Dexamethasone acetate and dexamethasone sodium phosphate steroid-eluting, tripolar, screw-in, ventricular lead with RV defibrillation coil electrode | 49 - 97 cm | $8,100.00 |

**St Jude Medical Australia Pty Ltd**

SJ344 Optisure ICD Lead LDA210Q/220Q/230Q

Active fixation ICD lead with DF-4 connector 52cm-65cm $8,100.00

**Billing Code Product Name Description Size**

* + 1. **- Epicardial Patches**

**Benefit**

**Benefit**

**Condition**

**Medtronic Australasia Pty Ltd**

MC027 Model 6721 Unipolar Epicardial Patch Leads S/M/L

Model 6721S-50, Model 6721M-50, Model 6721L-50; Silicone

370, 660, 840mm $2,106.00

# - Non-transvenous, Bi-Polar, Steroid

### Boston Scientific Australia Pty Ltd

BS153 Myopore Bipolar sutureless myocardial pacing lead 25-54cm $1,544.00

### Medtronic Australasia Pty Ltd

MC011 Capsure EPI steroid eluting bipolar

epicardial lead Model 4968 - ventricle

Silicone 25 - 60cm $1,544.00

### St Jude Medical Australia Pty Ltd

SJ132 Myodex 1084T Steroid-Eluting Bipolar Sutureless Myocardial Pacing Lead with Titanium Nitride Electrodes

35cm and 54cm $1,544.00

SJ140 Myodex 1084T and FasTac Flex Lead Implant Tool

Steroid -Eluting Bipolar Sutureless Myocardial Pacing Lead with Titanium Nitride Electrodes and Lead implant tool with articulating distal end.

35cm and 54cm, Lead implant tool - 44cm $1,544.00

# - Non-transvenous, Uni-Polar, Steroid

### Medtronic Australasia Pty Ltd

MC053 Capsure EPI steroid eluting unipolar

epicardial lead Model 4965 ventricle

Silicone 25 - 50cm $1,390.00

# - Non-transvenous, Uni-Polar, Non-Steroid

### Medtronic Australasia Pty Ltd

MC009 Medtronic Epicardial Pacing Leads IS-1 Model 5071

Silicone 35 - 53cm $1,030.00

**Billing Code Product Name Description Size**

* + 1. **- Transvenous, Uni-Polar, Passive, Steroid, Right Ventricular/A**

**Benefit**

**Benefit**

**Condition**

**Medtronic Australasia Pty Ltd**

MC254 CapSure Sense pacemaker lead Models 4073

Titanium Nitride 30 - 85cm $1,123.00

# 08.08.06 - Transvenous, Uni-Polar, Passive, Steroid, Left Ventricular

### Boston Scientific Australia Pty Ltd

BS133 Acuity Spiral Unipolar passive fixation 80, 90 & 100cm $2,808.00

### Medtronic Australasia Pty Ltd

MC225 Attain Over the Wire Model 4193 Titanium, polyurethane 78-88cm $2,808.00

### Biotronik Australia Pty Ltd

BT156 Sentus OTW UP H 4.8F Unipolar, steroid eluting coronary sinus pacing lead

overall length 77, 87, 97 cm, 4.8F $2,808.00

# - Transvenous, Bi-Polar, Passive, Steroid, Right Ventricular/Atr

### Biotronik Australia Pty Ltd

BT066 Selox ST Transvenous Bipolar Passive Steroid Ventricular Pacing Lead, fractal coated

BT067 Selox JT Bipolar, passive fixation, steroid eluting pacing lead with fractal coating and J-shape

BT117 Siello JT Sub 6F, steroid-eluting, transvenous, endocardial, bipolar passive-fixation lead that carries a J-shaped distal end.

BT118 Siello T Sub 6F, steroid-eluting, transvenous, endocardial, bipolar passive-fixation lead

BT138 TILDA T Bipolar, passive fixation, steroid eluting pacing lead with fractal coating

53 and 60cm lengths $1,123.00

Lengths: 45, 53 cm $1,123.00

Lengths: 45, 53 cm; Diameter: 5.6Fr $1,123.00

Lengths: 53, 60 cm; Diameter: 5.6Fr $1,123.00

53, 60cm length $1,123.00

**Billing Code Product Name Description Size**

**Benefit**

**Benefit**

**Condition**

BT141 TILDA JT Bipolar, passive fixation, steroid eluting pacing lead with fractal coating and J-shape

Length 45, 53cm $1,123.00

### Guidant Australia Pty Ltd

GU009 Fineline II Sterox IROX Lead Bipolar passive fixation 52cm, 58cm $1,123.00

GU011 Fineline II Sterox IROX Lead Bipolar passive fixation 52cm, 58cm $1,123.00

GU012 Fineline II Sterox IROX Lead Bipolar, passive fixation 45cm, 52cm $1,123.00

### Livanova Australia Pty Limited

SA152 Refino ER Series Steroid eluting passive fixation pacing lead.

Permanent pacing lead, Model Refino ER, is indicated for the pacing and sensing of the ventricle. This permanent pacing lead is used in conjunction with an IS-1 compatible implantable pulse generator (pacema

SA154 Petite ER Series Steroid eluting passive fixation pacing lead.

Permanent pacing lead, Petite ER series, is indicated for the pacing and sensing of the ventricle. This permanent pacing lead is used in conjunction with an IS-1 compatible implantable pulse generator (pacema

The lead comes in 44, 48, 52 and 58cm lengths and has a 6.0F (polyurethane 6.3F (silicone) lead body

The lead comes in 44, 48, 52, 58, 70 and 78cm lengths and has a 4.8 F lead body.

$1,123.00

$1,123.00

### Medtronic Australasia Pty Ltd

MC010 Medtronic Capsure SP Novus Model 5092

MC229 Medtronic Capsure SP Novus Model 5594 Lead

Bipolar, steroid, pasive fixation pacing lead 45 -110cm $1,123.00

Bipolar, steroid, passive fixation pacing lead 30-100cm $1,123.00

MC336 Medtronic Capsure Z Novus Model 5054 Pacing Lead

MC337 Medtronic Capsure Z Novus Model 5554 Pacing Lead

Silicone; Contents: 1 x lead with anchoring sleeve, stylet & guide, 1 x vein lifter, 2 x fixation tools, extra stylets

Silicone; Contents: 1 x lead with anchoring sleeve, stylet & guide, 1 x vein lifter, 2 x fixation tools, extra stylets

45-58cm $1,123.00

45-58cm $1,123.00

MC372 CapSure Sense MRI SureScan

pacemaker leads Models 4074 & 4574

Bipolar, steroid, passive fixation pacing lead Model 4074: 52 - 58cm; Model 4574: 45 -

53cm

$1,123.00

### St Jude Medical Australia Pty Ltd

SJ146 Isoflex 1944T & 1948T Passive-Fixation, Bipolar, Steriod Eluting,

Endocardial Pacing Lead with Optim insulation

46cm, 52cm, 58cm $1,123.00

**Billing Code Product Name Description Size**

**k**

**Benefit**

**Benefit**

**Condition**

**Medtronic Australasia Pty Ltd**

MC052 Medtronic Capsure VDD2 Model

5038 AV Pacing Lead

Silicone; Contents: 1 x lead with anchoring sleeve, stylet & guide, 1 x vein lifter, 2 x fixation tools, extra stylets

11.5cm, 13.5cm, 15.5cm $1,390.00

### Biotronik Australia Pty Ltd

BT163 Solia T Sub 6F, steoid-eluting transvenous, endocardial, bipolar passive-fixation lead MRI conditional

### Boston Scientific Australia Pty Ltd

Lengths: 53, 60cm; Diameter: 5.6Fr $1,123.00

BS295 Ingevity Passive MR conditional pacing lead 45cm to 59cm $1,123.00

# - Transvenous, Bi-Polar, Active, Steroid, Right Ventricular/Atri

### Biotronik Australia Pty Ltd

BT083 Setrox S Bipolar active fixation lead with fractal coated and steroid eluting electrode

length 45, 53, 60cm $1,123.00

BT097 Dextrus (marketed by Boston

Scientific)

Bipolar, silicone, active fixation, steroid eluting, pacing lead

Lengths: 45, 53 and 60 cm, Diameter: 7Fr $1,123.00

BT116 Siello S Sub 6F, steroid-eluting, trasvenous, endocardial, bipolar active-fixation lead with an extendable/retractable, electrically active screw.

BT123 Safio S Steroid eluting active fixation pacemaker lead with an electrically active extendable/ retractable screw for fixating the lead in the myocardium. The lead body is insulated in Silicone. The entire lead is conditionally safe to be used in a MRI system.

BT139 TILDA R Bipolar active fixation lead with fractal coated and steroid eluting electrode

Lengths: 45, 53, 60 cm; Diameter: 5.6Fr $1,123.00

Length: 53, 60cm; Diameter: 6.6F $1,123.00

length 45, 53, 60cm $1,123.00

### Guidant Australia Pty Ltd

GU013 Fineline II EZ Sterox IROX Lead Bipolar, active fixation 45cm, 52cm, 58cm $1,123.00 GU016 Fineline II EZ Sterox IROX Lead Bipolar, active fixation 45cm, 52cm, 58cm $1,123.00

**Billing Code Product Name Description Size**

**Livanova Australia Pty Limited**

**Benefit**

**Benefit**

**Condition**

SA151 Physique ER Series Steroid eluting active fixation pacing lead.

Permanent pacing lead, Model Physique ER is indicated for the pacing and sensing of the ventricle or atrium. This permanent pacing lead is used in conjunction with a compatible implantable pulse generator. P

SA153 PY2-ER Series Steroid eluting active fixation pacing lead.

Permanent pacing lead PY2-ER series, is indicated for pacing and sensing of the ventricle and/or atrium of the heart. This lead is used in conjunction with a compatible implantable pulse generator (Pacemaker)

The lead comes in 44, 48, 52 and 58cm lengths and has a 4.8F lead body

The lead comes in 44, 48, 52, 58cm lengths and has a 6.3F lead body

$1,123.00

$1,123.00

### Medtronic Australasia Pty Ltd

MC008 Medtronic Capsurefix Model 5568

Pacing Leads

MC833 CapSureFix Novus Model 4076

Pacing Lead

Bipolar, steroid, active fixation pacing lead 30 - 85cm $1,123.00

Active fixation pacemaker lead 45 - 85cm $1,123.00

MC936 CapSure Fix MRI Pacing Lead Model 5086, MRI Conditional 42, 52, 58 cm $1,123.00

### St Jude Medical Australia Pty Ltd

SJ073 Tendril SDX 1688TC Endocardial Steroid-Eluting Active Fixation

Pacing Lead

100cm, 25cm, 34cm, 40cm, 46cm, 52cm, 58cm, 85cm, 7F

$1,123.00

SJ129 Tendril ST 1888TC and 1882TC Endocardial Bi-polar Steroid-Eluting Active

Fixation Pacing Leads

SJ151 OptiSense Model 1999 Active-Fixation Bipolar, Steroid Eluting,

endocardial, atrial pacing lead with Optim insulation

SJ238 Tendril STS 2088TC Endocardial Bi-polar Steroid-Eluting Active Fixation Pacing Leads

SJ270 Tendril MRI LPA 1200M The Tendril MRI™ lead, Model LPA1200M, is

an MR Conditional, bipolar, steroid-eluting, active fixation implantable pacing lead with Optim™ insulation.

46-65cm $1,123.00

40, 46 & 52cm $1,123.00

34cm-100cm $1,123.00

46cm, 52cm and 58cm $1,123.00

**Billing Code Product Name Description Size**

**j**

**Benefit**

**Benefit**

**Condition**

**Medtronic Australasia Pty Ltd**

MC301 Model 3830 PACING LEADS Active fixation pacemaker leadComposition:

Insulation is polyurethane, Electrodes are Titanium Nitride coated Platinum, the screw is steriod-coated

59 - 75 cm $2,340.00

### Biotronik Australia Pty Ltd

BT164 Solia S Sub 6F, steroid-eluting, transvenous, endocardial, bipolar active fixation lead with an extendable/retractable, electrically active screw. MRI conditional

### Boston Scientific Australia Pty Ltd

Lengths: 45, 53, 60cm; Diameter: 5.6Fr $1,123.00

BS296 Ingevity Active MR conditional pacing lead 45cm to 59cm $1,123.00

### Medtronic Australasia Pty Ltd

MC338 Medtronic Capsurefix Novus Model 5076 Pacing Lead

Silicone; Contents: 1 x lead with anchoring sleeve, stylet & guide, 1 x vein lifter, 2 x fixation tools, extra stylets

45-85cm $1,123.00

# 08.08.11 - Transvenous, Multi-Polar, Passive, Steroid, Left Ventricular

### Biotronik Australia Pty Ltd

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| BT095 | Corox OTW BP; Corox OTW-S BP; | Bipolar, steroid eluting coronary sinus pacing lead with fractal coating | Lengths: 77, 87 cm | $5,616.00 |
| BT121 | Corox OTW-L BP | Corox OTW-L BP is a bipolar coronary sinus | Length: 75, 85cm; Diameter: 5.4F | $5,616.00 |
|  |  | lead, intended for permanent implantation in |  |  |
|  |  | the venous system and left ventricular pacing |  |  |
|  |  | with appropriate single or multi chamber |  |  |
|  |  | cardiac pacemakers or ICDs as part of cardiac |  |  |
|  |  | resynchornisation therapy (CRT). The lead |  |  |
|  |  | body is insulated with silicone and coated with |  |  |
|  |  | polyurethane. |  |  |
| BT135 | CELERITY PILOT | Bipolar, steroid eluting coronary sinus pacing | Lengths: 77, 87cm (in model number as 75 | $5,616.00 |
|  |  | lead with fractal coating | and 85 for simplicity) |  |

**Billing Code Product Name Description Size**

**Benefit**

**Benefit**

**Condition**

BT136 CELERITY 2D, CELERITY 3D Bipolar, steroid eluting coronary sinus pacing

lead with fractal coating. 2D preshaped curved distal end; 3D - preshaped helix distal end

Lengths: 77, 87cm (model shows 75 and 85 for simplicity)

$5,616.00

### Guidant Australia Pty Ltd

GU138 Easytrak 2, Model 4514, 4515, 4516,

4517, 4518, 4519, 4520

GU153 Easytrak 2 Is-1 Lead - Models 4542,

4543 & 4544

GU156 Easytrak 3 Lead - Models 4521,

4522, 4523, 4524, 4525, 4526 and

4527

Bipolar, passive fixation . $5,616.00

Bipolar, passive fixation 80 to 100cm $5,616.00

Bipolar, passive fixation 80 to 100cm $5,616.00

GU162 Easytrak 3 IS-1 Lead Bipolar, passive fixation Sizes 80 to 100cm $5,616.00 GU165 Acuity Steerable Lead Bipolar, passive fixation 80cm, 90cm ,100cm $5,616.00

### Medtronic Australasia Pty Ltd

MC699 Attain OTW Model 4194 Lead Model 4194 78cm, 88cm $5,616.00 MC811 Attain Ability 4196 LV Lead Over the wire dual electrode left ventricular lead 78, 88, and 103 cm $5,616.00 MI013 Attain Ability Plus 4296 Over the wire electrode left ventricular lead 78cm, 88cm $5,616.00

MI014 Attain Ability Straight 4396 Over the wire dual left ventricular lead 78cm, 88cm $5,616.00

### St Jude Medical Australia Pty Ltd

SJ243 Quartet 1458Q Quadripolar, Left Ventricular Pacing Lead with Optim Lead Insulation

75, 86 and 92cm, 5 French introducer $5,616.00

### j

**St Jude Medical Australia Pty Ltd**

SJ208 Quick Flex µ 1258T 4F Bipolar Left Ventricular Pacing Lead 75cm, 86cm, 92cm $5,616.00

### Biotronik Australia Pty Ltd

BT162 Corox ProMRI OTW (-S) (-L) BP Bipolar, steroid eluting coronary sinus pacing

lead with fractal coating

BT174 Sentus OTW BP L Bipolar, steroid eluting coronary sinus pacing lead with fractal coating

BT185 Sentus ProMRI OTW QP L & S Quadripolar, steroid eluting left ventricular lead

with fractal coating. IS4 Connector & MRI Conditional for CRT

Lengths: 77, 87cm $5,616.00

Lengths: 77cm, 87 cm, 97cm 4.8F $5,616.00

Lengths: 77cm, 87 cm, 97cm 4.8F $5,616.00

**Billing Code Product Name Description Size**

**Medtronic Australasia Pty Ltd**

**Benefit**

**Benefit**

**Condition**

MI129 Attain Perfoma Leads LV lead family with four electrodes and an IS4

connector for LV pacing w/premium and standard IS4 CRT-D devices. The Attain Perfoma™ Lead provides LV pacing options to avoid the following: phrenic nerve stimulation, high pacing thresholds, and ischemic tissue

78, 88cm $5,616.00

### j

**Boston Scientific Australia Pty Ltd**

BS292 ACUITY X4 Left ventricular family of quad leads with four pacing and sensing electrodes. Three lead configurations offered to assist in LV lead placement and avoid phrenic nerve stimulation and high thresholds.

# 08.08.13 - Transvenous, Active, Steroid, Left Ventricular

86cm, 95cm $5,616.00

### Medtronic Australasia Pty Ltd

MC730 Attain StarFix LV Lead Over the wire left Ventricular Lead 78, 88, 103cm $4,500.00

# 08.09.01 - Pacemaker/ICD Adaptors

### Medtronic Australasia Pty Ltd

MC246 DF-I Y-Adaptor/Extender Model 6726 25cm & 37cm

Silicone Lengths 25cm, 37cm $450.00

MC778 Oscor Adaptor Adaptor for LV-1 lead to unipolar and bipolar IS-1

10cm, 17cm and 40cm $450.00

MI045 Adaptor Kit Model 5866-24M, 5866- 40M, 5866-37M

5866-24M: 5mm Bifurcated Bipolar Lead or Two 5mm Unipolar Leads to IS-1 Bipolar IPG; 5866-40M: 3.2mm BI Lead to IS-1 BI IPG;

5866-37M: 5mm UNI Lead to IS-1 UNI IPG

14cm $450.00

MI046 Bipolar Lead Adaptor Kit Model 2872 Two IS-1 BI Leads to IS-1 BI IPG One size only $450.00

MI053 5019 Adaptor Adapts DF-4 lead to enable use of additional leads for high defibrillation thresholds

One size $450.00

**Billing Code Product Name Description Size**

**08.10.01 - Pacemaker/ICD Adaptors**

**Benefit**

**Benefit**

**Condition**

**Medtronic Australasia Pty Ltd**

MC831 Medtronic Lead Extender Kit Model: 6984M, 6981M, 6985M,6986M

6984M: IS-1 BI Lead to IS-1 BI IPG; 6981M: IS-1 UNI Lead to IS-1 UNI IPG; 6986M: 3.2mm BI Lead to IS-1 BI IPG; 6985M: IS-1

UNI Lead to EPG

37 - 50cm $477.00

# 08.11.01 - Pacemaker/Lead Accessories

### Boston Scientific Australia Pty Ltd

BS212 Pacemaker/Defibrillator port safety

plug

Pacemaker/Defibrillator Plug that seals unused IS-1 and DF-1 port

3.2mm x 38mm $72.00

BS213 Lead Cap Kit Caps used to protect lead terminal connector pin 4.75mm and 3.2mm $72.00

### Medtronic Australasia Pty Ltd

MI042 Medtronic Lead End Cap Kit Model: 5867-3M

Lead End Cap Kit One size only $72.00

MI043 Medtronic DF-1 Port Pin Plug Kit:

Model 6719; Medtronic IS-1 Port Pin Plug Kit: Model 6725

MI044 Medtronic Upsizing Sleeve: Model

5866-45, Model 5866-46

# 08.11.02 - Antibacterial Envelope

## No SubGroup

### No Suffix

**Medtronic Australasia Pty Ltd**

MI195 TYRX Absorbable Antibacterial

Envelope

DF-1 unipolar connector port pin plug, one per kit

1. IS1 UNI Lead to 5/6mm UNI IPG;
2. IS1 UNI Lead to 5mm UNI IPG or

5mm Bifurcated BI IPG

Antibacterial surgically implanted mesh envelope which stabilises CIED placement and prevents infection

One size per model $72.00

18-25mm $72.00

6.3 x 6.9cm, 7.4 x 8.5cm $1,116.00

**Billing Code Product Name Description Size**

* + 1. **- Drug Eluting**
       1. **- General Purpose**

**Benefit**

**Benefit**

**Condition**

**Abbott Australasia Pty Ltd**

AY023 Xience Everolimus Eluting Stent

System

AY037 Xience PRIME LL Everolimus

Eluting Coronary Stent; Xience PRIME Everolimus Eluting Coronary Stent; Xience PRIME SV Everolimus Eluting Coronary Stent

AY040 XIENCE Xpedition Everolimus

Eluting Coronary Stent System

AY044 XIENCE Alpine Everolimus Eluting Coronary Stent System

### Biotronik Australia Pty Ltd

Everolimus Eluting Stent System 2.25mm to 4.0mm widths, 8mm to 28mm lengths

Coronary Artery Stent, Drug Eluting XIENCE PRIME LL 2.50; 2.75; 3.00; 3.50;

4.0 x 33MM; XIENCE PRIME LL 2.50;

2.75; 3.00; 3.50; 4.0 x 38MM; XIENCE

PRIME SV 2.25 x 08; 12; 15; 18; 23; 28MM;

XIENCE PRIME 2.50 x 08; 12; 15; 18; 23;

28MM; XIENCE PRIME 2.75 x 08; 12; 15;

18; 23; 28MM; XIENCE PRIME 3.00 x 08;

12; 15; 18; 23; 28MM; XIENCE PRIME 3.50

x 08; 12; 15; 18; 23; 28MM; XIENCE

PRIME 4.00 x 08; 12; 15; 18; 23; 28MM

Coronary Artery Stent, Drug Eluting Xience Xpedition DES - 2.25 x

(8,12,15,18,23,28) RX CE, 2.50 x

(8,12,15,18,23,28,33,38,48) RX CE; 2.75 x

(8,12,15,18,23,28,33,38,48) RX CE; 3.00 x

(8,12,15,18,23,28,33,38,48) RX CE; 3.25 x

(8,12,15,18,23,28,33,38) RX CE; 3.50 x

(8,12,15,18,23,28,33,38,48) RX CE; 4.00 x

(8,12,15,18,23,28,33,38) RX CE;

Drug eluting coronary artery stent 2.00 mm x (08, 12, 15, 18, 23, 28) mm

2.25 mm x (08, 12, 15, 18, 23, 28) mm

2.50 mm x (08, 12, 15, 18, 23, 28, 33, 38) mm

2.75 mm x (08, 12, 15, 18, 23, 28, 33, 38) mm

3.00 mm x (08, 12, 15, 18, 23, 28, 33, 38) mm

3.25 mm x (08, 12, 15, 18, 23, 28, 33, 38) mm

3.50 mm x (08, 12, 15, 18, 23, 28, 33, 38) mm

4.00 mm x (08, 12, 15, 18, 23, 28, 33, 38) mm

$3,105.00

$3,105.00

$3,105.00

$3,105.00

BT178 Orsiro Sirolimus Coronary Artery Stent, Drug Eluting Co/Cr Alloy coated in PLLA

### Boston Scientific Australia Pty Ltd

BS272 SYNERGY Everolimus-Eluting Platinum Chromium Coronary Stent System with Bioabsorbable Polymer

Stent diameters ø 2.25 -4.0mm Lengths: 9- 40mm

8mm to 38mm in length, diameter of 2.25 mm - 4.0 mm

$3,105.00

$3,105.00

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Billing Code** | **Product Name** | **Description** | **Size** | **Benefit** | **Benefit** | **Condition** |
| BS273 | PROMUS PREMIER | Platinum chromium alloy stent coated with a blended polymer mixed with everolimus. | 8mm to 38mm in length, diameter of 2.25 mm - 4.0 mm | $3,105.00 |  |  |

### HELEX-A PTY. LTD.

HE001 BioMatrix Flex Drug Eluting

Coronary Stent System

### Medtronic Australasia Pty Ltd

Coronary Artery Stent, Drug Eluting (8 - 38)mm length x (2.25 - 4.0)mm diameter $3,105.00

MC732 Endeavour Drug Eluting Coronary

Stent System

MC769 Endeavor Sprint Drug Eluting Stent

System

MC816 Endeavor Resolute Drug Eluting

Coronary Stent System

MI037 Resolute Integrity Zotarolimus-

Eluting Coronary Stent System

MI189 Resolute Onyx Zotarolimus-Eluting

Coronary Stent System

### Reid Healthcare

Cobalt Alloy, ABT - 578 Diameter: 2.25mm-4.5mm; Length: 8.00mm- 38.0mm

Cobals Alloym ABT - 578 Diameter: 2.25mm-4.0mm; Length: 8.0mm- 30.0mm

Cobalt Alloy, ABT - 578, BioLinx Polymer Diameter:2.25mm-4.0mm; Length: 8.00mm-

30.0mm

Cobalt-alloy, ABT-578, BioLinx Polymer Small Vessel - Diameter: 2.25mm-2.75mm;

Length: 8.0mm-30.0mm

Medium Vessel - Diameter: 3.0mm-4.0mm;

Length: 9.0mm-38.0mm

coronary stent system; drug eluting diameter: 2.25 to 5.00 mm; length: 8.00 to

38.00 mm

$3,105.00

$3,105.00

$3,105.00

$3,105.00

$3,105.00

RH015 CRE8 Coronary Stent Coronary Artery Drug Eluting Stent The stent is available in 6 diameters: 2.5mm;

2.75mm; 3.0mm; 3.5mm; 4.0mm; 4.5mm and 5 lengths: 12mm; 16mm; 20mm; 25mm and 31mm.

$3,105.00

### Bioabsorbable

**Abbott Australasia Pty Ltd**

AY045 Absorb Bioresorbable Vascular Scaffold System

# - Bare Metal

## - General Purpose

### Abbott Australasia Pty Ltd

AY028 Multilink Coronary Stent System -

Vision

Drug eluting coronary artery stent 2.5 mm x (8, 12, 18, 23, 28) mm

3.0 mm x (8, 12, 18, 23, 28) mm

3.5 mm x (12, 18, 23, 28) m

Cobalt chrome stent 2.25mm to 4.0mm widths, 8mm to 38mm lengths

$3,105.00

$1,123.00

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Billing Code** | **Product Name** | **Description** | **Size** | **Benefit** | **Benefit** | **Condition** |
| AY039 | MULTI-LINK 8 Coronary Stent | The MULTI-LINK 8, MULTI-LINK 8 SV, | MULTI-LINK 8: Diam: 2.5, 2.75, 3.0, 3.5, | $1,123.00 |  |  |
|  | System, MULTI-LINK 8 SV | MULTI-LINK 8 LL Coronary Stent System | 4.0mm, Stent Length: 8, 12, 15, 18, 23, |  |  |  |
|  | Coronary Stent System and MULTI- | (CSS) is comprised of two main components: | 28mm; MULTI-LINK 8 SV CSS: Diam: |  |  |  |
|  | LINK 8 LL Coronary Stent System | the cobalt chromium (CoCr) stent and the | 2.25mm, Stent Length: 8, 12, 15, 18, 23, |  |  |  |
|  |  | balloon expandable delivery system. | 28mm; MULTI-LINK 8 LL CSS: Diam: 2.5, |  |  |  |
|  |  |  | 2.75, 3.0, 3.5, 4.0mm, Stent Length: 33 and |  |  |  |
|  |  |  | 38mm |  |  |  |

### Biotronik Australia Pty Ltd

BT107 PRO-Kinetic Energy Balloon-expandable cobalt chromium (CoCr) stent. The stent surface is fully coated with amorphous hydrogen-rich silicon carbide (aSiC:H).

### Boston Scientific Australia Pty Ltd

Lengths: 8 - 40mm, Diameters: 2.0 - 5.0mm. $1,123.00

BS069 Liberte Coronary Stent System Consists of a balloon expandable stent, pre-

mounted on a Maverick 2 Monorail delivery catheter.

Stent lengths: 8,12,16,20,24,28 & 32 mm

Stent diameters: 2.25, 2.5, 2.75, 3.0, 3.5, 4.0,

4.5 & 5.0 mm

$1,123.00

BS211 OMEGA Bare Metal Stent Platinum Chromium Bare Metal Stent 2.25mm to 4.50mm Diameter. 8mm to 38mm

Length.

$1,123.00

BS291 REBEL REBEL is a balloon expandable platinum chromium (PtCr) alloy stent pre-mounted on a monorail catheter.

8mm to 32mm in length, diameter of 2.25mm to 4.50mm

$1,123.00

### Medtronic Australasia Pty Ltd

MC329 Medtronic Driver, Micro Driver

Coronary Stent System

Cobalt Alloy Driver Stent: diameter (2.25 - 4.5mm), length (8-30mm); Micro-Driver Stent: diameter

(2.25 - 2.75mm), length (8 - 24mm)

$1,123.00

MC932 Driver Sprint Coronary Stent System Cobalt Alloy Diameter: 2.25 - 4.5 mm; Length: 8-30mm $1,123.00 MC956 Integrity Coronary Stent System Cobalt Alloy Coronary Stent Diameter: 2.25 - 4.5mm; Length: 8 - 30mm $1,123.00

### OrbusNeich Medical Pty Ltd

NM004 Azule Coronary Stent Delivery

System

L605 Cobalt Chromium alloy balloon expandable vascular prosthesis

Expanded Stent Diameter 2.5 to 4.0mm, Stent Length 9 to 33mm

$1,123.00

**Billing Code Product Name Description Size**

**Reid Healthcare**

**Benefit**

**Benefit**

**Condition**

RH010 Avantgarde Chrono Carbostent The Avantgarde Chrono Carbostent device

consists of a coronary stent firmly held on the distal end of a semi compliant balloon catheter. The coronary stent is a flexible implantable deivce that can be expanded using a PTCA catheter. The stent is made of cobalt chronmium alloy coated with Carbofilm. Two radio-opaque platinum markers are located at either end of the stent.

Lengths: from 7mm to 31 mm; Sizes: from 2.25mm to 4.5mm

$1,123.00

### Terumo Australia

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| TU001 | Tsunami Gold | Stainless Steel mounted on balloon catheter | Diameter 2.0mm - 4.0mm, Length 8mm - 30mm length | $1,123.00 |
| TU044 | Kaname Coronary Stent System | BMS Coronary Stent | Diameter: 2.5mm; 2.75mm; 3.0mm; 3.5mm; 4.0mm x Lengths : 9mm; 12mm; 15mm; 18mm; 24mm; 28mm. | $1,123.00 |

**08.12.02.02 - Special Purpose for specific indications**

**l, m**

**Abbott Australasia Pty Ltd**

AY012 GRAFTMASTER RX Coronary Stent Graft

Stainless Steel/PTFE 16-26 mm x 2.8 - 4.8 mm $2,900.00

# 08.13.01 - Cardiac Defect Occluders

### St Jude Medical Australia Pty Ltd

SJ280 Amplatzer Duct Occluder II Additional Sizes

### o

Single use implantable transcatheter device for minimally invasive closure of Patent Ductus Arterious

0.2cm-0.6cm $9,180.00

### Getz Healthcare Pty Ltd

ME196 Figulla Flex II ASD Occluder Occlutech Flexx II ASD Occlusion device Figulla Flex II ASD Waist Ø (mm): Size

4,5,6,7.5,9,10.5,12,13.5,15,16.5,18,21,24,27,3

0,33,36,39,40

$9,180.00

**Billing Code Product Name Description Size**

**Benefit**

**Benefit**

**Condition**

ME197 Figulla Flex II PFO Occluder The Figulla® Flex II PFO is an implant for

closure of a patent foramen ovale (PFO) defect in the heart and is deployed via a minimally invasive catheter delivery system. The Figulla® Flex PFO is intended for patients with substantiated Right-Left-Shunt in the contrast agent echocardiography under Valsalva maneuver and presence of a "cryptogenic", paradoxical thromboembolism.

### St Jude Medical Australia Pty Ltd

Figulla Flex II PFO Disc Ø (mm): 23/25, 16/18, 27/30, 31/35

$9,180.00

SJ260 Amplatzer Duct Occluder Nitinol Wire Mesh 5 - 24mm $9,180.00

SJ261 Amplatzer Septal Occluder Nitinol Wire Mesh 4mm - 40mm $9,180.00

SJ262 Amplatzer Muscular VSD Occluder Nitinol Wire Mesh 4 - 24mm $9,180.00 SJ263 Amplatzer PFO Occluder Nitinol Wire Mesh 25mm & 35mm $9,180.00

SJ264 Amplatzer Membranous VSD Occluder

Nitinol wire mesh, double disc occluder and delivery system

4-24mm, Length 7-10mm $9,180.00

SJ267 AMPLATZER Duct Occluder II Self expandable multiple Nitinol wire mesh

PDA occlusion device

Waist diameter 3-6mm, Nominal length 4-6mm $9,180.00

### o

**W L Gore & Associates**

GT270 GORE® CARDIOFORM Septal

Occluder

The GORE® CARDIOFORM Septal Occluder consists of an implantable occluder comprised of a platinum-filled nickel-titanium (Nitinol) wire frame covered with expanded polytetrafluoroethylene (ePTFE). The occluder is available in sizes of 15, 20, 25, and 30 mm.

15mm Nominal Disc Diameter; 20mm Nominal Disc Diameter; 25mm Nominal Disc Diameter; 30mm Nominal Disc Diameter

$9,180.00

**Billing Code Product Name Description Size**

**08.13.02 - Vascular Occlusion Devices**

**WILLIAM A COOK AUSTRALIA PTY LTD**

**Benefit**

**Benefit**

**Condition**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| WC294 | Flipper PDA Closure Detachable Coil Delivery System and Mreye Flipper PDA Detachable Embolization Coil | Delivery system and one coil: the Flipper PDA Closure Detachable Coil Delivery System is a TFE coated stainless steel delivery wire with a straightening mandril and a pin vise handle for detachment. The Mreye Flipper PDA Closure Detachable Coil is made from Iconel material with synthetic fibers. | Delivery system: Length 80cm and 110cm. Extended embolus lengths of: 3cm, 5cm, 6.5cm, 8cm, 10cm, 12cm. Coiled embolus diameters: 3mm, 5mm, 6.5mm, 8mm. Configuration loops of deployed coil: 3,4 or 5 loops | $600.00 |
| WC295 | Mreye Flipper PDA Detachable Embolization Coil | Coil only: the Mreye Flipper PDA Closure Detachable Coil is made from Iconel material with synthetic fibers. | Extended embolus lengths of: 3cm, 5cm, 6.5cm, 8cm, 10cm, 12cm. Coiled embolus diameters: 3mm, 5mm, 6.5mm, 8mm. Configuration loops of deployed coil: 3,4 or 5 loops | $250.00 |

* + 1. **- Uncovered**

**Medical Vision Australia Cardiology Thoracic Pty Ltd**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| MY004 | CP Stent | CP Stent Uncovered | 16, 22, 28, 24, 39 & 45mm length | $1,620.00 |
| MY006 | CP Stent | CP Stent Uncovered, mounted on BIB balloon | 16, 22, 28, 24, 39 & 45mm length | $1,620.00 |

* + 1. **- Covered**

**Medical Vision Australia Cardiology Thoracic Pty Ltd**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| MY005 | CP Stent | CP Stent Covered | 16, 22, 28, 24, 39 & 45mm length | $2,700.00 |
| MY007 | CP Stent | CP Stent Covered, mounted on BIB balloon | 16, 22, 28, 24, 39 & 45mm length | $2,700.00 |