|  |
| --- |
| **Schedule** |
|  |
| **Part 3 - Prostheses List - Part D** |
| **3 Prostheses List - Part D** |
|  |

**03 - General Miscellaneous**

| **Billing Code** | **Product Name** | **Description** | **Size** | **Minimum Benefit** | **Condition** |
| --- | --- | --- | --- | --- | --- |

**03.02 - DRUG DELIVERY DEVICES**

**03.02.02 - Infusion Pumps, Balloon Based**

**03.02.02.01 - Fixed Flow Rate**

**B Braun Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BB349 | Easypump | Disposable Elastomeric infusion pump system | LT: Filling Volume: 60ml - 400ml, Flow Rate: 0.5ml/h - 10ml/h ST: Filling Volume: 50ml - 500ml, Flow Rate: 50ml/h - 500ml/h | $46.00 |  |

**Nipro Australia**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| RN006 | Surefuser+ Fixed Flow | Elastomeric balloon driven, ambulatory infusion pump with a variety fixed infusion rates. | 50ml, 100ml, 250ml | $46.00 |  |

**Smiths Medical Australasia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| SI049 | Neofuser Pump | Neofuser® is a single-use, portable elastomeric infusion pump that provides medication at accurate continuous pre-fixed flow. | 60mL, 100mL, 275mL, 450mL | $46.00 |  |

**Teleflex Medical Australia**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| TX058 | Autofuser Fixed Rate | Fixed rate elastomeric infusion pump. Several basal rate options. Rigid, rounded, low profile housing. Front low pressure port for ease of filling. Graduated markings for monitoring infusion. The Arrow AutoFuser Disposable Pain Pump from Teleflex is designed to safely and reliably deliver regional anaesthesia medications to help effectively manage post-operative pain in patients following surgery involving implanted prosthesis such as knee, hip or shoulder reconstructions. Effective management of postoperative pain in the immediate and early postoperative period facilitates early patient mobilisation and reduces the likelihood of implanted prosthesis failure. The device is also used to facilitate the delivery of epidural medical during labour in expectant mothers and can also be used for the delivery of medications necessary in the treatment of oncology patients. The Arrow AutoFuser Disposable Pain Pump offers multiple reservoir sizes and configurations to meet a variety of clinical demands. The AutoSelector Variable Rate Selector gives the clinician the ability to adjust the basal infusion rate to meet the individualized needs of each patient to help control their post-operative pain. The patient controlled bolus gives patients the ability to address breakthrough pain without interrupting the continuous basal infusion. | 100ml, 150ml, 275ml | $46.00 |  |

**Bolus**

**Slade Health Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| TY001 | mobiFUSER | Disposable sterile non electronic elastomeric infusion device. Variable flow rates available. For continuous fluid/medication delivery | Maximum Capacity 275ml | $46.00 |  |

**Smiths Medical Australasia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| SI050 | Neofuser Plus | Neofuser® Plus is a single-use, portable elastomeric infusion pump that provides medication at accurate continuous pre-fixed flow with additional bolus doses via patient controlled analgesia (PCA) module. Neofuser® Plus has been mainly designed for systemic or regional preoperative and postoperative pain management therapy. | 60 ml 60 ml 100ml 100ml 275ml 275ml 450 ml 450 ml | $46.00 |  |

**Teleflex Medical Australia**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| TX057 | Autofuser Fixed Rate w/Bolus | Fixed rate elastomeric infusion pump. Several basal rate options. Bolus volume options with several refill times available. Rigid, rounded, low profile housing. Front low pressure port for ease of filling. Graduated markings for monitoring infusion. The Arrow AutoFuser Disposable Pain Pump from Teleflex is designed to safely and reliably deliver regional anaesthesia medications to help effectively manage post-operative pain in patients following surgery involving implanted prosthesis such as knee, hip or shoulder reconstructions. Effective management of postoperative pain in the immediate and early postoperative period facilitates early patient mobilisation and reduces the likelihood of implanted prosthesis failure. The device is also used to facilitate the delivery of epidural medical during labour in expectant mothers and can also be used for the delivery of medications necessary in the treatment of oncology patients. The Arrow AutoFuser Disposable Pain Pump offers multiple reservoir sizes and configurations to meet a variety of clinical demands. The AutoSelector Variable Rate Selector gives the clinician the ability to adjust the basal infusion rate to meet the individualized needs of each patient to help control their post-operative pain. The patient controlled bolus gives patients the ability to address breakthrough pain without interrupting the basal rate. | 275ml, 550ml | $46.00 |  |

**Set**

**Baxter Healthcare Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BX247 | Intermate | Sterile infusor devices, elastomeric driven | SV 200 - 200ml/hr, nominal 100ml vol. max 105 mL. SV 100 - 100ml/hr, nominal 100ml vol. max 105 mL. LV 250, 250ml/hr, 275ml vol. SV 50 - 50ml/hr, nominal 100ml vol. max 105mL. LV 100 - 100ml/hr, 275ml vol. LV 50, 50ml/hr, 275ml vol | $145.00 |  |
| BX281 | Baxter Folfusor | Sterile infusor devices, elastomeric driven. Folfusor SV 0.5mL/hr 120mL (Baxter Code 2C4700K), Folfusor SV 2.5mL/hr 120mL (Baxter Code 2C4711K), Folfusor SV 5mL/hr 120mL (Baxter Code 2C4705K). The Baxter Folfusor is a disposable infusion pump used in an ambulatory setting for the continuous infusion of intravenous medications. The codes listed above represent three separate flow rates specific to Chemotherapy protocols. | 120mL Maximum Volume | $145.00 |  |
| BX287 | Intermate XLV 250 | Sterile infusor devices, elastomeric driven. The Intermate XLV 250 is an ambulatory device utilising elastomeric technology to deliver continuous infusion of parenteral therapy to patients in an ambulatory setting. The device is specifically suitable for patients requiring intravenous immunoglobulin therapy. The nominal flow rate of the Intermate XLV 250 is 250mL/hr, however when used for the administration of IVIG the flow rate is reduced to approximately 120mL/hr. | Volume 500mL. Approximate infusion time for IVIG solutions is 4.2 hrs. | $145.00 |  |
| BX327 | Infusor | Sterile Infusor Devices, Elastomeric Driven | LV 10, 10ml/hr, 240ml vol LV 5, 5ml/hr, 240ml vol | $145.00 |  |
| BX328 | Infusor | Sterile Infusor Devices, Elastomeric Driven | LV 2, 2ml/hr, 275 ml vol; LV 1.5, 1.5ml/hr, 275 ml vol. | $145.00 |  |

**CAB MEDICAL PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BU024 | Tuoren Infusion Pump | Non electronic, elastomeric balloon driven, ambulatory infusion pump, which can be supplied in a variety of volumes and flow rates to meet different clinical applications. Its primary purpose is for continuous delivery of fluids/medications. | 60ml - 300ml | $145.00 |  |

**Cosuda Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| CU003 | Neofuser Pump | Continuous flow rate ambulatory and disposable silicone balloon infusion pump | Volume 100ml, 275ml, 450ml | $145.00 |  |

**PITTWATER HEALTHCARE GROUP PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| UX001 | DOSI-FUSER | Non electronic, elastomeric balloon driven, ambulatory infusion pump, which can be supplied in a variety of volumes and flow rates to meet different clinical applications. Its primary purpose is for continuous delivery of fluids/medications. | 65ml - 140mm x 45mm x 40mm; 100ml - 140mm x 52mm x 50mm; 150 - 140mm x 55mm x 55mm; 250ml - 140mm x 60mm x 60mm; 400ml, 500ml, 600ml | $145.00 |  |
| UX002 | DOSI-PAIN Kit | The DOSI-PAIN® Kit is a complete pain kit for the administraton of analgesics required for post operative pain relief. The The DOSI-PAIN® Kit contains the DosiFuser elastomeric pump (already registered on the prosthesis listing), a wound catheter and a BD Plastipack syringe. The The DOSI-PAIN® Kit is designed to provide drug infusion at a constant flow without impeding patient mobility. It is indicated for Chemotherapy, antiviral treatments, administration of antibiotics, pain treatments, Aids treatments and immunosuppressants; continuous ambulatory infusion of anaesthetics, anti-emetic drugs, heparin, etc.; continuous ambulatory arterial or intravenous infusion of antibiotics, cytostatic drugs, etc.The DOSI-PAIN® Kit offers a wide range of flow rates. | 65ml - 140mm x 45mm x 40mm; 100ml - 140mm x 52mm x 50mm; 150ml - 140mm x 55mm x 55mm; 250ml - 140mm x 60mm x 60mm | $145.00 |  |

**Surgical Specialties**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| SQ146 | ON-Q Pain Relief System | Elastomeric Infusion Pump System | 100-400ml | $145.00 |  |

**03.02.02.02 - Variable Flow Rate**

**Nipro Australia**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| RN004 | Surefuser+ | Elastomeric balloon driven, ambulatory infusion pump with variable infusion rate | 100ml, 250ml | $142.00 |  |

**Smiths Medical Australasia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| SI051 | Neofuser Vario | Single-use, portable elastomeric multirate infusion pump | 1 - 7 ml/h 2 - 14 ml/h 1 - 7 ml/h 2 - 14 ml/h 1 - 7 ml/h 2 - 14 ml/h 1 - 7 ml/h 2 - 14 ml/h | $142.00 |  |

**Teleflex Medical Australia**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| TX060 | Autofuser Autoselector Variable Rate | Fixed rate elastomeric infusion pump. Several basal rate options. Bolus volume options with several refill times available. Rigid, rounded, low profile housing. Front low pressure port for ease of filling. Graduated markings for monitoring infusion. The Arrow AutoFuser Disposable Pain Pump from Teleflex is designed to safely and reliably deliver regional anaesthesia medications to help effectively manage post-operative pain in patients following surgery involving implanted prosthesis such as knee, hip or shoulder reconstructions. Effective management of postoperative pain in the immediate and early postoperative period facilitates early patient mobilisation and reduces the likelihood of implanted prosthesis failure. The device is also used to facilitate the delivery of epidural medical during labour in expectant mothers and can also be used for the delivery of medications necessary in the treatment of oncology patients. The Arrow AutoFuser Disposable Pain Pump offers multiple reservoir sizes and configurations to meet a variety of clinical demands. The AutoSelector Variable Rate Selector gives the clinician the ability to adjust the basal infusion rate to meet the individualized needs of each patient to help control their post-operative pain. The patient controlled bolus gives patients the ability to address breakthrough pain without interrupting the continuous basal rate | 100ml, 275ml, 400ml. | $142.00 |  |

**Bolus**

**Baxter Healthcare Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BX249 | Multirate with PCM | Sterile infusor devices, elastomeric driven | Multirate 5, 7 or 12 ml/hr with PCM | $375.00 |  |
| BX330 | Basal Bolus Infusor | Sterile Infusor Devices, Balloon based | Basal/Bolus 60, Basal 0.5ml/hr, Bolus 0.5 x 65ml Basal/Bolus 15, Basal 0.5ml/hr, Bolus 2ml/hr x 65ml Basal/Bolus infusor, Basal 2ml/hr, Bolus 2ml/hr x 65ml | $375.00 |  |

**CAB MEDICAL PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BU025 | Tuoren Infusion Pump | Non electronic, elastomeric balloon driven, ambulatory infusion pump, which can be supplied in a variety of volumes and flow rates to meet different clinical applications. Its primary purpose is for continuous delivery of fluids/medications. | 60ml - 300ml | $375.00 |  |

**Cosuda Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| CU005 | Neofuser Bolus Pump | Ambulatory and disposable silicone balloon infusion pump with bolus function | Volume 100ml, 275ml, 450ml | $375.00 |  |

**Nipro Australia**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| RN007 | Surefuser+ PCA | Elastomeric balloon pump with variable infusion rate and a patient-controlled analgesia (PCA) infuser. | 50ml, 100ml, 150ml, 250ml, 300ml | $375.00 |  |

**Surgical Specialties**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| SQ037 | ON-Q Pain Relief System | Elastomeric Infusion Pump System with Bolus | 270-400ml | $375.00 |  |

**Teleflex Medical Australia**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| TX059 | Autofuser Autoselector Variable Rate w/Bolus | Fixed rate elastomeric infusion pump. Several basal rate options. Bolus volume options with several refill times available. Rigid, rounded, low profile housing. Front low pressure port for ease of filling. Graduated markings for monitoring infusion. The Arrow AutoFuser Disposable Pain Pump from Teleflex is designed to safely and reliably deliver regional anaesthesia medications to help effectively manage post-operative pain in patients following surgery involving implanted prosthesis such as knee, hip or shoulder reconstructions. Effective management of postoperative pain in the immediate and early postoperative period facilitates early patient mobilisation and reduces the likelihood of implanted prosthesis failure. The device is also used to facilitate the delivery of epidural medical during labour in expectant mothers and can also be used for the delivery of medications necessary in the treatment of oncology patients. The Arrow AutoFuser Disposable Pain Pump offers multiple reservoir sizes and configurations to meet a variety of clinical demands. The AutoSelector Variable Rate Selector gives the clinician the ability to adjust the basal infusion rate to meet the individualized needs of each patient to help control their post-operative pain. The patient controlled bolus gives patients the ability to address breakthrough pain without interrupting the basal rate. | 275ml, 550ml | $375.00 |  |

**Set**

**Cosuda Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| CU004 | Neofuser Vario Pump | Variable flow rate ambulatory and disposable silicone balloon infusion pump | Volume 60ml, 100ml, 180ml, 275ml, 450ml | $321.00 |  |

**PITTWATER HEALTHCARE GROUP PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| UX003 | DOSI-FUSER PCA Infusion System | Designed to provide drug infusion at a constant rate. Facilitates the ability for a clinician to allow the patient to initiate a controlled bolus with a set lock out period. Bolus reservoir sizes of 0.5ml and 2ml are available with lock-out times of 15, 30, 60 and 80 minutes. | 65ml, 100ml, and 250ml | $260.00 |  |
| UX004 | DOSI-FUSER Multiflow System | Elastomeric pump providing drug infusion at a constant flow. Facilitates the ability for a clinician to adjust the infusion rate of the contents of the infuser. Offers a wide range of flow rates from 1ml/h to 7ml/h in steps of 1ml/h, and from 2ml/h to 14ml/h in steps of 2ml/h. | 65ml, 100ml, 150ml, and 250ml. | $321.00 |  |

**Surgical Specialties**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| SQ035 | ON-Q Pain Relief System | Elastomeric Infusion Pump System, Select-A-Flow, Dual | 270ml - 600ml | $321.00 |  |

**03.02.03 - Infusion Pumps, Battery Powered**

**03.02.03.04 - Other Pharmacology**

**BTC SPECIALITY HEALTH PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| FX002 | ambIT Infusion Pump | The ambIT Reusable Infusion Pump is an external programmable electronic ambulatory infusion pump used for the delivery of fluid and medications via intravenous, epidural, subcutaneous or regional routes. It can be programmed with different delivery profiles which include basal rate/continuous only, basal rate with PCA (Patient Controlled Analgesia), PCA Bolus Only or Intermittent Bolus Dose (PIB). It is operated in conjunction with a ambIT disposable administration cassette | AmbIT Single use Pump - 55mm x 36mm x 175mm AmbIT Single use administration cassette - 20mm x 10mm x 15mm | $3,470.00 |  |

**Device Technologies Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| DE776 | Sapphire Infusion System | The Sapphire Infusion System is a new device for ambulatory infusion and acute pain management. It is an infusion pump designed for the volumetric delivery of medications to patients at a programmable rate. Sapphire is the first pump to offer an intuitive, full colour touch screen interface in an ambulatory package, along with best-in-class +/-2.5% product delivery accuracy | Size (in), Weight (oz) 5.6 x 3.8 x 1.9 in. 14.7 oz (including battery) | $3,470.00 |  |

**Fresenius Kabi Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| FK017 | Agilia SP PCA Infusion System | Agilia SP PCA is a programmable electronic medical system dedicated to administering a pre-determined volume of a syringe at a programmed rate. This syringe pump ensures a fluid delivery, by pushing the syringe plunger and advancing the liquid to the patient through an extension set. The Agilia SP PCA syringe pump can also be used for general infusions on adults, pediatrics, and neonatal patients for the intermittent or continuous delivery of parenteral fluids (such as solutions, colloids, parenteral nutrition), medications (such as diluted drugs, chemotherapy, anesthesia drugs), blood and blood derivatives, and medications through clinically accepted routes of administration. It is intended for use by trained healthcare professionals in clinical healthcare facilities. In PCA therapy, it is also intended for use by the patient in order to self administer doses of analgesic agent, after receiving appropriate training and instructions from the clinical staff. Agilia SP PCA is a transportable and reusable device that can be used every day. | The size of a syringe can be 5, 10, 20, 30 or 50/60 mL. | $3,470.00 |  |

**REM Systems**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| RE001 | Bodyguard Pump | Ambulatory Infusion Pump, Battery Powered | One size only | $3,470.00 |  |
| RE002 | REM Systems Ambulatory Infusion Pump | Ambulatory infusion pump, syringe. Models: NIKI T34 Standard; T34L PCA; T34L | One size only | $3,470.00 |  |

**Smiths Medical Australasia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| SI034 | CADD-Solis VIP Ambulatory Infusion Pump | Ambulatory Infusion Pump | One size only | $3,470.00 |  |
| SI045 | CADD®- Solis Pain Management System | Ambulatory Infusion Pump, Battery Powered | 680g excluding accessories | $3,470.00 |  |
| SI052 | CADD Legacy | CADD Legacy One, CADD Legacy Plus, CADD Legacy PCA | Variants - Continuous, Continuous + Intermittent, PCA | $3,470.00 |  |

**03.02.03.05 - Programmable/Reprogrammable Flow Rate and Bolus**

**BIOQ PHARMA PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| DQ002 | Weight Dose Dispensor | Programmable Infusion Pump | 50ml | $407.00 |  |

**BTC SPECIALITY HEALTH PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| FX003 | ambIT Single Use Regional Kit | The ambIT Single Use Regional Kit contains: a single use ambIT pump, single use administration cassette with male luer lock fitting, 420ml Medibag, the choice of 75mm, 127mm or 154mm fenestrated nerve/wound catheter, a peel away introducer sheath, button guard and patient carry bag. | ambIT Single Use Pump - 55mm x 36mm x 175mm Ambit Single use administration cassette - 20mm x 10mm x 15mm | $407.00 |  |
| FX004 | ambIT Single Use | Kit contains: a single use ambIT infusion pump, single use administration cassette with spike fitting, Button Guard, 2 x AA batteries, and patient carry bag | AmbIT Single use Pump - 55mm X 36mm X 175mm AmbIT Single use administration cassette - 20mm X 10mm X 15mm | $407.00 |  |

**03.02.04 - Infusion Pumps, Spring Powered**

**03.02.04.01 - Fixed Flow Rate**

**Baxter Healthcare Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BX326 | Infusor | Sterile Infusor Devices, Spring Powered | SV Half, 5ml/hr, nominal 60ml vol, max 65ml. SV Single day, 2ml/hr, nominal 48ml vol, max 65ml | $76.00 |  |

**Set**

**BIOQ PHARMA PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| DQ001 | BioQ Pharma ReadyfusOR | Non-electric pre-filled infusion pain kit | 250 ml | $234.00 |  |

**Cosuda Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| CU001 | BeeLINE MotIV Infusion Pump (275ml) | External infusion pump, spring powered, fixed flow rate, 275ml set: set includes reservoir, introducer needle, tubing set, priming/flushing syringes, saturation catheter, dressing, syringes. 30min - 7 day infusion | 275ml infuser reservoir = 19cm (7.5") x 7cm (2.8") | $234.00 |  |
| CU002 | BeeLINE MotIV Infusion Pump (100ml) | External infusion pump, spring powered, fixed flow rate, 100ml set: set includes reservoir, introducer needle, tubing set, priming/flushing syringes, saturation catheter, dressing, syringes. 30min - 7 day infusion | 100ml infusor reservoir = 13cm (5.1") x 7cm (2.8") | $234.00 |  |

**LTR MEDICAL PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| LE002 | Springfusor Infusion System - Component # 1 Springfusor Pump/s | #1 Spring Powered Fixed Rate Ambulatory Infusion Pump | Pumps are available as 10ml, 30ml, 50ml | $234.00 |  |

**03.02.05 - Infusion Pump Accessories**

**03.02.05.01 - Kit**

**Baxter Healthcare Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BX286 | Painfusor Catheter | The Painfusor Catheter is an extended fenestration catheter for the administration of analgesic drugs into surgical wounds to manage acute post-operative pain. Pack contains fenestrated catheter, peel away introducer needle accommodating 19Ga (100 mm length), 3M Tegaderm IV Transparent Film Dressing with border 1633, and GripLok catheter securement device | Catheters are 35cm + Fenestrated section: (35cm + 2.5cm) - total length 37.5cm, (35cm + 7.5cm) - total length 42.5cm, (35cm + 15cm) - total length 50cm, (35cm + 22.5cm) - total length 57.5cm, (35cm + 30 cm) - total length 65cm | $72.00 |  |

**Surgical Specialties**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| SQ070 | ON-Q Pain Relief System | Expansion kit with Soaker catheter, or SilverSoaker antimicrobial catheter | 2.5-25cm | $72.00 |  |
| SQ142 | ON-Q Pain Relief System | QuikBloc Over-The-Needle Catheter Set | Needles: 20GA 100mm-150mm Catheters: 16GA 76mm-127mm Stimulating, Non-stimulating | $72.00 |  |

**03.02.05.02 - Administration Cassette**

**BTC SPECIALITY HEALTH PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| FX001 | ambIT Infusion Pump Cassette | Single use sterile disposable administration set for use with the ambIT Infusion Pump. The cassette contains a rotary mechanism that pumps the infusion solution at an accurate and controlled rate. The cassette includes an administration line with either a spike fitting or a luer lock fitting depending on the solution bag used. The line has an inline air filter. | 20mm x 10mm x 15mm | $26.00 |  |

**Baxter Healthcare Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BX245 | Patient Control Module | Sterile infusor devices, spring or elastomeric driven | Module 0.5ml dose, Module 2 ml dose | $26.00 |  |

**Device Technologies Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| DE777 | Sapphire Infusion Cassette and Set | The Sapphire Infusion Cassette and set is a one piece microfibre infusion set with non vented spike, pinch clamp, administration cassette, female luer lock, entrance with a back check valve, pinch clamp and spin male leur lock for use with the sapphire infusion system. The materail components are made from PVC-Non DEHP (tubing, connectors), silicon (Y site and tubing and polypropylene (valves) | 210cm | $26.00 |  |

**REM Systems**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| RE003 | Bodyguard Pump infusion sets | Single use sterile disposble infusion set for use with Bodyguard Infusion Pump | 230 cm length | $26.00 |  |

**Smiths Medical Australasia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| SI024 | CADD Medication Cassettes | Medication Cassettes for use with CADD pumps | 50 mL, 100mL, 250mL | $26.00 |  |

**03.02.05.03 - Administration Reservoir**

**Australasian Medical & Scientific Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| AN016 | t:slim Cartridge | Cartridge for use with the t:slim X2 System | Pack of 10 | $8.00 |  |

**Rollex Group Australia (2009) Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| RX002 | Medical Specialties "Walkmed Drug Administration Reservoir" (McKinley, USA) | Ambulatory Infusion Pump System, Administration Sets and Accessories | Walkmed Drug Administration Reservoirs | $8.00 |  |

**03.02.05.04 - Administration Set**

**Rollex Group Australia (2009) Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| RX003 | Medical Specialties "Walkmed Drug Administration Sets" (McKinley, USA) | Ambulatory Infusion Pump System, Administration Sets and Accessories | Walkmed Drug Administration Sets | $7.00 |  |

**Smiths Medical Australasia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| SI026 | CADD Administration Set 175cm TOTM tubing | For use with SI036 | 250 mL | $7.00 |  |
| SI028 | CADD Extention Set | CADD Extension set for use with CADD Pumps | Various | $7.00 |  |
| SI040 | Administration Set | Administration Set for use with CADD pump | Various configurations | $7.00 |  |

**03.02.05.05 - Other**

**Smiths Medical Australasia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| SI046 | Pump Pouch, single use | Pump pouch, single use 50/100mL | 50/100mL | $45.00 |  |

**Surgical Specialties**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| SQ069 | ON-Q Pain Relief System | Tunneller, Sheath, Needle | 15.2-30.5cm 11-17GA | $45.00 |  |

**03.03 - ENTERAL TUBES**

**03.03.01 - Feeding Tubes**

**Avanos Medical Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| KI010 | Corflo Max 20fg PEG Kit "Pull Type" | Sterile enteral feeding tube with accessories | 20fg | $161.00 |  |

**03.03.02 - Gastrostomy Tubes**

**03.03.02.01 - Initial**

**Avanos Medical Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| KI001 | HALYARD\* MIC\*Percutaneous Endoscopic Gastrostomy (P.E.G) Feeding Tubes / Kits, Enfit and Non-Enfit | Sterile enteral feeding tube with accessories | 14Fr, 20Fr, 24Fr | $185.00 |  |
| KI002 | Halyard\* MIC\* Percutaneous Endoscopic Gastrostomy (P.E.G) Feeding BASIC Tubes/Kits Enfit and Non-Enf | Sterile enteral feeding tube with accessories | 14 Fr, 20 Fr, 24 Fr | $185.00 |  |
| KI004 | MIC-KEY Low Profile Balloon Gastrostomy Feeding Tubes/Kits, ENFit | Sterile Low Profile Enteral Feeding Tube with Accessories | 14FR to 24 Fr ; 0.8cm to 5.0cm | $185.00 |  |

**Bard Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BA047 | Gastrostomy Tube | Silicone Tubes and Replacement Tubes | 12Fr - 28Fr | $185.00 |  |

**Boston Scientific Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BS141 | EndoVive Initial Feeding Tube | Silicone enteral feeding tube | Up to 24 Fr | $185.00 |  |

**CARDINAL HEALTH AUSTRALIA 503 PTY LTD.**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| DO020 | Kangaroo Skin Level Cage Gastrostomy Kit | Skin level non-balloon internal retention bolster gastrostomy kit, including gastrostomy tube, accessory bolus and continuous feeding tubes syringes for inflation and flushing. Patient handbook | 12fg x 1.2cm, 12fg x 1.5cm, 12fg x 2.0cm, 12fg x 2.5cm, 12fg x 3.0cm, 12fg x 3.5cm, 12fg x 4.0cm, 12fg x 4.5cm, 12fg x 5.0cm, 16fg x 1.5cm, 16fg x 1.7cm, 16fg x 2.0cm, 16fg x 2.4cm, 16fg x 2.7cm, 16fg x 3.0cm, 16fg x 3.5cm, 20fg x 1.5cm, 20fg x 2.0cm, 20fg x 2.5cm, 20fg x 3.0cm, 20fg x 3.5cm, 20fg x 4.0cm, 20fg x 4.5cm | $185.00 |  |
| DO022 | Kangaroo Skin Level Balloon Gastrostomy Kit | Skin level silicone balloon gastrostomy kit, including gastronomy tube accessory bolus and continuous feeding tubes, syringes for inflation and flushing, Patient Handbook | 12-24 Fr., 0.8-5 cm, 3-8ml. | $185.00 |  |
| DO023 | Kangaroo Single Pass PEG | Single Pass PEG | 16fg, 20fg | $185.00 |  |

**Device Technologies Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| DE536 | Capsule Monarch G Tube | Conventional Length Non Balloon Gastronomy Tube. | 12F, 14F, 18F, 20F, 10cm length, available with or without guidewire. | $185.00 |  |
| DE541 | Balloon G-Tube | Conventional Length Balloon Gastrostomy tube | 12F-24F; Length: 10cm; Balloon fill volumes from 2 -15ml depending on French size. | $185.00 |  |
| DE546 | Capsule Dome G-Tube | Conventional Length Dome Gastrostomy Tube | 20Fr, 10cm length, available with or without guidewire. | $185.00 |  |
| DE564 | Mini ONE Balloon Button | Low Profile Balloon Gastrostomy Tube | 12F to 24F and length 0.8 - 6.5cms; Balloon Fill Volumes: 2-15ml | $185.00 |  |

**Fresenius Kabi Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| FK008 | Freka PEG, ENFit | PEG polyurethane tube with a proximal cone and integrated fixation loop, radio-opaque strip, measuring marks over a length of l-16 cm at 2 cm intervals, radio-opaque silicone retention plate, and a rounded distal opening | 9 Fr x 30 cm 15 Fr x 35 cm 20 Fr x 35 cm | $185.00 |  |
| FK011 | Freka Pexact, FR 15 set II, ENFit | Kit consisting of a gastropexy device (Loop Fixture II), trocar with peel-away sheath, and silicone balloon tube for direct puncture gastrostomy | Trocar with peel-away sheath:16 Fr, length 17.5 cm Silicone balloon tube:15 Fr, shaft length 23 ± 1 cm | $185.00 |  |
| FK013 | Freka Belly Button Comfort Kit, ENFit | Gastric replacement system consisting of Freka Belly Button, insertion introducer, 2 compresses, syringe for filling balloon, lubricant gel, Seldinger wire, Freka Button Extension Sets 1 and 2, and Freka Connect. An Initial Placement System (PEG) would have been placed at least 4 weeks prior. | 12 Fr x 1.0cm ,12 Fr x 1.5cm, 12 Fr x 2.0cm, 12 Fr x 2.5cm, 12 Fr x 3.0cm, 12 Fr x 3.5cm, 12 Fr x 4.0cm, 12 Fr x 4.5cm,12 Fr x 5.0cm 14 Fr x 1.0cm, 14 Fr x 1.5cm, 14 Fr x 2.0cm, 14 Fr x 2.5cm, 14 Fr x 3.0cm, 14 Fr x 3.5cm,14 Fr x 4.0cm,14 Fr x 4.5cm, 14 Fr x 5.0cm 16 Fr x 1.0cm, 16 Fr x 1.5cm, 16 Fr x 2.0cm, 16 Fr x 2.5cm, 16 Fr x 3.0cm, 16 Fr x 3.5cm,16 Fr x 4.0cm,16 Fr x 4.5cm, 16 Fr x 5.0cm 18 Fr x 1.0cm, 18 Fr x 1.5cm, 18 Fr x 2.0cm, 18 Fr x 2.5cm, 18 Fr x 3.0cm, 18 Fr x 3.5cm,18 Fr x 4.0cm,18 Fr x 4.5cm, 18 Fr x 5.0cm 20 Fr x 1.0cm, 20 Fr x 1.5cm, 20 Fr x 2.0cm, 20 Fr x 2.5cm, 20 Fr x 3.0cm, 20 Fr x 3.5cm,20 Fr x 4.0cm, 20 Fr x 4.5cm, 20 Fr x 5.0cm 24 Fr x 1.0cm, 24 Fr x 1.5cm, 24 Fr x 2.0cm, 24 Fr x 2.5cm, 24 Fr x 3.0cm, 24 Fr x 3.5cm, 24 Fr x 4.0cm, 24 Fr x 4.5cm, 24 Fr x 5.0cm | $185.00 |  |
| FK018 | Freka Belly Button Basic Kit, ENFit | Gastric replacement system consisting of 1 Freka Belly Button, 1 insertion introducer, 2 compresses, 1 Luer syringe for filling balloon, 1 lubricant gel, 1 X10 ml ampoule of sterile water. An Initial Placement System (PEG) would have been placed at least 4 weeks prior. | 12 Fr x 1.0cm ,12 Fr x 1.5cm, 12 Fr x 2.0cm, 12 Fr x 2.5cm, 12 Fr x 3.0cm, 12 Fr x 3.5cm, 12 Fr x 4.0cm, 12 Fr x 4.5cm,12 Fr x 5.0cm 14 Fr x 1.0cm, 14 Fr x 1.5cm, 14 Fr x 2.0cm, 14 Fr x 2.5cm, 14 Fr x 3.0cm, 14 Fr x 3.5cm,14 Fr x 4.0cm,14 Fr x 4.5cm, 14 Fr x 5.0cm 16 Fr x 1.0cm, 16 Fr x 1.5cm, 16 Fr x 2.0cm, 16 Fr x 2.5cm, 16 Fr x 3.0cm, 16 Fr x 3.5cm,16 Fr x 4.0cm,16 Fr x 4.5cm, 16 Fr x 5.0cm 18 Fr x 1.0cm, 18 Fr x 1.5cm, 18 Fr x 2.0cm, 18 Fr x 2.5cm, 18 Fr x 3.0cm, 18 Fr x 3.5cm,18 Fr x 4.0cm,18 Fr x 4.5cm, 18 Fr x 5.0cm 20 Fr x 1.0cm, 20 Fr x 1.5cm, 20 Fr x 2.0cm, 20 Fr x 2.5cm, 20 Fr x 3.0cm, 20 Fr x 3.5cm,20 Fr x 4.0cm, 20 Fr x 4.5cm, 20 Fr x 5.0cm 24 Fr x 1.0cm, 24 Fr x 1.5cm, 24 Fr x 2.0cm, 24 Fr x 2.5cm, 24 Fr x 3.0cm, 24 Fr x 3.5cm, 24 Fr x 4.0cm, 24 Fr x 4.5cm, 24 Fr x 5.0cm | $185.00 |  |

**WILLIAM A COOK AUSTRALIA PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| WC072 | Passport Low Profile Device | Enteral/Gastrostomy | FEEDING TUBE French Sizes: 20.0, 24.0 Length: 1.2,1.7,2.4,3.4,4.4 cm | $185.00 |  |
| WC185 | Percutaneous Endoscopic Gastrostomy (PEG) System | PEG Enteral Feeding Kit - Push or Pull System | 18, 20, 24 FR | $185.00 |  |
| WC199 | Cook Gastronomy Tubes | Russell Gastronomy Set | 14fr, 17cm | $185.00 |  |

**03.03.02.02 - Subsequent**

**Avanos Medical Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| KI005 | MIC-KEY Low Profile Balloon Feeding Accessories | MIC-KEY Extension Sets, ENFit, available in a variety of sizes and options including, bolus and y-port with straight or right-angle connectors. MIC-KEY Medication Set is also available, ENFit. | 30.5cm, 60.9cm, 5.1cm | $82.00 |  |
| KI007 | MIC\* Gastrostomy Feeding Tube; MIC\* Bolus Gastrostomy Feeding Tube, ENFit | Medical Grade Silicone Construction. Inflatable Silicone Internal Retention Balloon, SECUR-LOK\* External Retention Ring, ENFit Feeding Port Connector, Tapered Distal Tip, Radiopaque Stripe along length of Tube | 12Fr - 2-3ml balloon, 14Fr - 3-5ml balloon, 16Fr - 3-5ml balloon, 18Fr - 7-10ml balloon, 20Fr - 7-10ml balloon, 22Fr - 7-10ml balloon, 24Fr - 7-10ml balloon, 26Fr - 7-10ml balloon, 28Fr - 7-10ml balloon, 30Fr - 7-10ml balloon | $82.00 |  |

**Boston Scientific Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BS142 | EndoVive Replacement Feeding Tube | Silicone enteral feeding tube | Up to 28 Fr | $82.00 |  |

**CARDINAL HEALTH AUSTRALIA 503 PTY LTD.**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| DO021 | Kangaroo Gastrostomy Feeding Tubes | 100% silicone gastrostomy with internal retention balloon | 12fg, 14fg, 16fg, 18fg, 20fg, 22fg, 24fg | $82.00 |  |
| DO024 | Kangaroo™ Percutaneous Endoscopic Gastrostomy Feeding Tube Accessories | Feeding Adaptors | 16Fr/Ch, 20Fr/Ch - PEG Adaptors | $82.00 |  |

**Fresenius Kabi Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| FK012 | Freka Gastrotube, FR 15, ENFit | Gastric replacement system intended for use for long-term intragastric feeding within a fully formed and healed stoma. An Initial Placement System (PEG) would have been placed at least 4 weeks prior. Made of silicone rubber. | Fits 15 Fr | $82.00 |  |

**Nutricia Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| NF001 | Flocare Gastrostomy tube (G-tube) | The Flocare Gastrostomy tube can be used as a replacement of an existing gastrostomy tube (PEG or G-tube) or as an initial gastrostomy tube during a surgical intervention. This balloon tube is made of medical grade silicone. | Ch14, 18, 20 | $82.00 |  |

**WILLIAM A COOK AUSTRALIA PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| WC070 | Gastrostomy Tube | PEG Balloon Replacement Tube - Single | 14, 18, 24fr | $82.00 |  |
| WC334 | Entuit Thrive Balloon Retention Gastrostomy Feeding Tube | The gastrostomy feeding tube is a sterile device consisting of a silicone balloon, bi-lumen shaft, three-port funnel and bolster. | 12-24 Fr | $82.00 |  |

**03.03.02.03 - Placement set**

**WILLIAM A COOK AUSTRALIA PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| WC335 | Entuit Start Initial Placement Gastrostomy Set | Used to assist with the initial placement of feeding tubes while performing a gastrostomy. The set contains multiple dilators, Peel-Away sheath introducer(s) with dilator(s), a wire guide and needle. | Small (dilator 12, 14 Fr), Medium (dilator 16,18 Fr) and Large (dilator 20,22,24 Fr). | $101.00 |  |

**03.03.03 - Jejunostomy Tubes**

**WILLIAM A COOK AUSTRALIA PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| WC098 | Cook Jejunostomy Catheters | Composition - Catheter Radiopaque Stripe, includes Wireguide, Airplug, Fixation Device | 12fr, length 66cm | $154.00 |  |
| WC099 | Cook Jejunostomy Catheters | Composition - Catheter Radiopaque Stripe, includes Wireguide, Airplug, Fixation Device | 9fr, Length 60cm | $154.00 |  |

**Port**

**Avanos Medical Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| KI014 | MIC\* Jejunostomy Feeding Tube | Sterile Jejunal Enteral Feeding Tube with Suture Wings (2 eaches per case) | 14fg / 9fg | $451.00 |  |
| KI016 | MIC\* & MIC-KEY\* Gastric-Jejunal Feeding Tubes, ENFit | MIC\* Standard Gastric-Jejunal Feeding Tube: Medical Grade Silicone Construction, Inflatable Internal Retention Balloon, Gastric Decompression/Drainage Port, Multiple Gastric & Jejunal Exit Ports, Tungsten Weighted Jejunal Portion, SECUR-LOK\* External Retention Ring. MIC-KEY\* Low-Profile Gastric-Jejunal Feeding Tube: Low-profile Design, Medical Grade Silicone Construction, Inflatable Internal Retention Balloon, Gastric Decompression/Drainage Port, Multiple Gastric & Jejunal Exit Ports, Tungsten Weighted Jejunal Portion, SECUR-LOK\* Connection Mechanism for Extension Sets | MIC\*: 16 - 22 French, 15cm - 45cm Jejunal Length MIC-KEY\*: 14 - 22 French, 15cm - 45cm Jejunal Length, 1cm - 7cm Stoma Length | $451.00 |  |
| KI017 | MIC\* & MIC-KEY\* Balloon Jejunal Feeding Tubes | MIC\* Standard Balloon Jejunal Feeding Tube and MIC-KEY\* Low-Profile Balloon Feeding Tube are designed for the delivery of enteral nutrition and medication into the distal duodenum or proximal jejunum. They have a medical grade silicone construction with a single access port labeled 'Jejunal'. Wide range of sizes available. | MIC\*: 12 - 24 French, 2-3ml Balloon (12Fr) 7-10ml Balloon volume (14-24Fr) MIC-KEY\*: 14 & 18 French, 0.8cm - 4.5cm stoma length, 5ml balloon (max fill volume 10ml) | $451.00 |  |

**Fresenius Kabi Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| FK009 | Freka Intestinal Tube, ENFit | Intestinal extension tube for the gastric Freka PEG FR 15 or FR 20. Made with integrated Teflon-coated wire with fitted Y-Connector and blue fixation screw, radio-opaque strip, interval markings every 10 cm, distal pigtail bend tip, 4 lateral outlet ports, straight open flexible tube with small antenna end | 9 Fr x 120 cm 12 Fr x 120 cm | $451.00 |  |
| FK010 | Freka FCJ Set FR 9, ENFit | System consisting of Freka polyurethrane tube, Freka ENfit Connector, Freka fixation plate, Freka tube clamp, long cannula with blunt steel mandrin for catheterisation of the jejenum, and short cannula for puncturing the abdominal wall | 9 Fr, length 75 cm | $451.00 |  |
| FK014 | Freka Endolumina, ENFit | Single lumen feeding tube for the early jejunal feeding for ICU patients | 8 Fr, length 270 cm | $451.00 |  |
| FK015 | Freka EasyIn, ENFit | Double lumen feeding and decompression tube for the early jejunal feeding and gastric decompression for ICU patients | Intestinal tube: 8 Fr, 270 cm Gastric tube: 16 Fr, 100 cm | $451.00 |  |
| FK016 | Freka Trelumina, ENFit | Transanasal, 3-lumen polyurethane tube for early jejunal feeding and gastric decompression in ICU patients | Intestinal feeding lumen: 9 Fr, length 150 cm Gastric decompression lumen: 16 Fr, length 95 cm Gastric ventilation valve: internal diameter 1.2 mm, length 95 cm | $451.00 |  |

**03.03.04 - Caecostomy Tubes**

**WILLIAM A COOK AUSTRALIA PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| WC197 | Cook Irrigation Catheter | Chait Percutaneous Cecostomy Catheter | 10fr, Standard or Extra Long | $320.00 |  |

**03.05 - HAEMOSTATIC DEVICES**

**03.05.01 - Occluder Pin**

**PROFILE MEDICAL DEVICES PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| PV001 | Haemorrhage Occluder Pin with applicator | Designed to control severe presacral bleeding during pelvic surgery. | Two sizes: 10mm and 14mm | $327.00 |  |

**03.05.02 - Powder**

**Advanced Biomedical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| AB083 | HaemoCer Haemostatic Powder | Absorbable Polysaccharide Haemostat | 5gms | $220.00 |  |
| AB084 | HaemoCer Haemostatic Powder | Absorbable Polysaccharide Haemostat | 2gms | $90.00 |  |

**Bard Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BA260 | Arista AH | Arista Absorbable Haemostatic Particles | 1g | $45.00 |  |
| BA261 | Arista AH | Arista Absorbable Haemostatic Particles | 3g | $134.00 |  |
| BA262 | Arista AH | Arista Absorbable Haemostatic Particles | 5g | $220.00 |  |
| BA301 | Avitene MCH | Avitene MCH Flour is a Microfibrillar 100% bovine collagen, topical haemostat which does not contain Thrombin. Flour is defined as a loose fibrous which can be manipulated to conform to any shape or surface. Avitene™ (MCH), in contact with a bleeding surface, attracts platelets which adhere to the fibrils and undergo the release phenomenon to trigger aggregation of platelets into thrombi in the interstices of the fibrous mass. | 0.5 gram 1.0 gram 5.0 gram | $45.00 |  |

**Baxter Healthcare Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BX336 | OSTENE Bone Haemostasis material 2.5g | OSTENE is a water soluble polymer which provides immediate bone haemostasis, ie a bone haemostasis material, in surgical procedures | 2.5g per stick | $109.00 |  |
| BX337 | Ostene 3.5g Bone Haemostasis material | OSTENE is a water soluble polymer which provides immediate bone haemostasis, ie a bone haemostasis material, in surgical procedures | 3.5g | $158.00 |  |
| BX345 | PerClot Laparascopic | PerClot Polysaccharide Hemostatic System | 3 grams | $134.00 |  |
| BX346 | PerClot Standard & XL - 1 gram | PerClot Polysaccharide Hemostatic System | 1 gram | $45.00 |  |
| BX347 | PerClot Standard & XL - 3 grams | PerClot Polysaccharide Hemostatic System | 3 grams | $134.00 |  |
| BX348 | PerClot Standard | PerClot Polysaccharide Hemostatic System | 5 gram | $220.00 |  |

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| JJ636 | Spongostan Absorbable Haemostatic Gelatin Powder | 1 g Porcine Absorbable Haemostatic Gelatin Powder | 1 gram | $45.00 |  |
| MN234 | Surgicel Powder | Absorbable Haemostatic Powder | 3.0grams | $134.00 |  |

**Lifehealthcare Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| LH408 | Geli Putty(Powder, 1g) | Geli Putty is a single- use, water insoluble, fully bioabsorbable gelatin powder comprising milled sponges (Gelita-Spon) made from 100% pharmaceutical grade porcine gelatin mixed with sterile liquid (e.g. saline or antibiotic solution) prior to use. | 1 gram | $45.00 |  |

**Matrix Medical Innovations**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BF024 | NexStat | The Topical Hemostatic powder consists of purified potato starch polysaccharide. These products are sterile packed and intended for single use. | 3grams | $134.00 |  |

**Signature Spine and Joint Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| SV053 | Starsil Haemostat | Plant based haemostatic powder | 1g | $45.00 |  |
| SV054 | Starsil Haemostat | Plant based haemostatic powder | 2g | $90.00 |  |
| SV055 | Starsil Haemostat | Plant based haemostatic powder | 5g | $220.00 |  |

**03.05.02.01 - Integrated Delivery System**

**Vitramed Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| VM001 | EndoClot Kit | Polysaccharide haemostatic system | 2g particles, 2300mm catheter length | $154.00 |  |

**> 10 grams**

**WILLIAM A COOK AUSTRALIA PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| WA004 | Hemospray Endoscopic Hemostat | Inorganic haemostatic agent | 20 grams of powder Catheter: 7-10Fr, length 220cm. | $497.00 |  |

**03.05.02.02 - Delivery Catheter**

**Bard Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BA284 | Arista AH FlexiTip XL-R Applicator | Rigid Dual lumen applicator for Arista AH, 38cm long specifically designe for Robotic surgery | 38 cm | $46.00 |  |
| BA285 | Arista AH Flextip and Flextip XL | Extender tip for delivery of Arista AH powder | 14cm 38cm | $46.00 |  |

**03.05.03 - Sponges**

**03.05.03.01 - Absorbable ≤75cm²**

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| JJ003 | Spongostan Absorbable Haemostat | Standard (Box of 20) | 70 x 50 x 10mm | $8.00 |  |
| JJ005 | Spongostan Absorbable Haemostat | Special (Box of 20) | 70 x 50 x 1mm | $8.00 |  |
| JJ015 | Spongostan Absorbable Haemostat | Dental (Box of 24) | 10 x 10 x 10mm | $8.00 |  |

**Lifehealthcare Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| LH405 | Gelita-Spon Absorbable Gelatin Sponge-Gelita- Spon IR Sponge | Gelita- Spon IR is a sterile, single-use, fully bioabsorbable gelatin sponge indicated to achieve rapid haemostasis(e.g. surgically or trauma induced) by tamponade, and arterial embolisation. also indicated for use as a vehicle for a wide range of therapeutic agents including antibiotics, thrombin and chemotherapeutics without reduction in the sponge's haemostatic effect. | GS-322-Gelita-Spon IR Sponge; 200s-3x2x2mm GS- 344- Gelita- Spon IR Sponge; 100s-4x4x4mm | $8.00 |  |
| LH410 | Gelita-Spon Absorbable Gelatin Sponge Anal-Vaginal Tampon | 'Gelita-Spon Anal-Vaginal Tampon is a sterile, single use, fully bioabsorbable gelatin sponge indicated to achieve rapid haemostasis by tamponade, also indicated for use as a vehicle for a wide range of therapeutic agents, including antibiotics, thrombin and chemotherapeutics without reduction in the sponge's haemostatic effect. | 3x8cm | $8.00 |  |
| LH411 | Gelita-Spon Absorbable Gelatin Sponge - Gelita-Spon ENT Sponge | GelitaSpon ENT Sponge is a sterile, single use, water insoluble, fully bioabsorbable, firm, high-density gelatin sponge indicated to achieve rapid haemostasis during ENT surgery . | 8x5x1 cm & 1x1x1cm | $8.00 |  |
| LH412 | Gelita-Spon Absorbable Gelatin Sponge-Gelita- Spon Dental Cube | Gelita-Spon Dental Cube is a sterile, single-use, indicated to achieve rapid haemostasis dental surgery (oral bone and soft tissue), a void filler to mitigate against the risk of sclerosis created by tooth extraction, root amputations, and the removal of cysts, tumours and impacted teeth. its absorptive capacity being a function of the amount of gelatin incorporated and, hence, the physical size of the sponge. also indicated for use as a vehicle for a wide range of therapeutic agents. | GS-310 - Gelita-Spon Dental Cubes; 50s - 10 x 10 x 10mm | $8.00 |  |
| LH414 | Gelita-Spon Absorbable Gelatin Sponge-Gelita- Spon Standard | Gelita-Spon Standard is a sterile, single- use, fully bioabsorbable gelatin sponge indicated to achieve rapid haemostasis(e.g. surgically or trauma induced)by tamponade, and arterial embolisation . also indicated for use as a vehicle for a wide range of therapeutic agents, including antibiotics, thrombin and chemotherapeutics without reduction in the sponge's haemostatic effect. | GS-010-Gelita-Spon Standard; 10s-80x50x10m GS-060-Gelita-Spon Standard Size 12-7; 10s-60x20x7mm GS-060-Gelita-Spon Standard Size 12-7; 10s-60x20x7mm GS-650- Gelita Spon Standard Size 200; 10s-125x80x10mm GS-110-Gelita-Spon Standard Size Special 20; 20s-80x50x1mm GS-950-Gelita-Spon Standard Film; 20s-200x70x0.5mm | $8.00 |  |

**Anatomically Conforming**

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| JJ006 | Spongostan Absorbable Haemostat | Anal 20s (Box of 20) | 80 x 30mm | $15.00 |  |
| JJ007 | Spongostan Absorbable Haemostat | Anal 5s (Box of 5) | 80 x 30mm | $15.00 |  |

**Low Antigenicity**

**Pfizer Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| PU059 | Gelfoam Sterile Sponge | Sterile, pliable, nonantigenic surgical sponge prepared from specially treated purified gelatine solution | 12 - 20mm x 60mm x 7mm, individually packaged for use | $15.00 |  |

**03.05.03.02 - Absorbable >75cm²**

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| JJ004 | Spongostan Absorbable Haemostat | Film (Box of 20) | 200 x 70 x 0.5mm | $27.00 |  |

**Low Antigenicity**

**Pfizer Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| PU060 | Gelfoam Sterile Sponge | Sterile, pliable, nonantigenic surgical sponge prepared from specially treated purified gelatine solution | 100 - 80mm x 125mm x 10mm in individual packet | $64.00 |  |

**03.05.04 - Pliable Patches**

**03.05.04.01 - Absorbable ≤50cm²**

**LMT Surgical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| LM487 | Haemostatic Gauze | Haemostatic Gauze | ≤50cm² | $8.00 |  |

**Lifehealthcare Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| LH424 | Gelitacel Oxidised Resorbable Cellulose Gauze (15) | Gelitacel is a white, single-use, non-toxic, sterile, bioarbsorbable, weakly acidic, viscose-free, knitted haemostatic fabric (USP) | 5 x 7 cm | $8.00 |  |

**Antimicrobial, Low Antigenicity**

**Balance Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BG002 | BloodStop iX | BloodStop iX is a new generation haemostat made from water soluble, oxidised-etherified regenerated cellulose | 1.3x5cm, 5x5cm, 5x10cm | $19.00 |  |

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| JJ013 | Surgicel ORIGINAL Absorbable Haemostat | Oxidised regenerated cellulose gauze, the material is biocompatible and also bactericidal | 5 x 7.5cm | $19.00 |  |
| JJ014 | Surgicel ORIGINAL Absorbable Haemostat | Oxidised regenerated cellulose gauze, the material is biocompatible and also bactericidal | 1.25 x 5cm | $19.00 |  |

**Antimicrobial, Low Antigenicity, Micro-fibrous**

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| JJ009 | Surgicel Fibrillar Absorbable Haemostat | Fibrous fleece, oxidised regenerated cellulose, the material is biocompatible and also bactericidal | 2.5 x 5.1cm | $34.00 |  |
| MN112 | Surgicel Non-Woven (SNoW) Absorbable Haemostat | Absorbable haemostat, Structured Non-Woven | 2.5 x 5cm | $34.00 |  |

**Antimicrobial, Low Antigenicity, Woven**

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| JJ023 | Surgicel Nu-Knit Absorbable Haemostat | High density, oxidised regenerated cellulose, the material is biocompatible and also bactericidal | 2.5 x 2.5cm | $33.00 |  |
| JJ432 | SURGICEL Nu knit Absorbable Haemostat | High density , oxidised regenerated cellulose, the material is biocompatible and also bactericidal. | 2.5 x 8.75cm | $33.00 |  |

**03.05.04.02 - Absorbable 51 cm² – 75cm²**

**Antimicrobial, Low Antigenicity, Micro-fibrous**

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| JJ008 | Surgicel Nu-Knit Absorbable Haemostat | High density, oxidised regenerated cellulose, the material is biocompatible and also bactericidal | 7.5 x 10cm | $49.00 |  |
| JJ030 | Surgicel Fibrillar Absorbable Haemostat | Fibrous fleece, oxidised regenerated cellulose, the material is biocompatible and also bactericidal | 5.1 x 10.2cm | $69.00 |  |
| MN116 | Surgicel Non-Woven (SNoW) Absorbable Haemostat | Absorbable haemostat, Structured Non-Woven | 5 x 10.2cm | $69.00 |  |

**Antimicrobial, Low Antigenicity, Woven**

**Johnson & Johnson Medical Pty Ltd**

**03.05.04.03 - Absorbable >75cm²**

**LMT Surgical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| LM486 | Haemostatic Gauze | Haemostatic Gauze | >75cm² | $26.00 |  |

**Lifehealthcare Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| LH423 | Gelitacel Oxidised Resorbable Cellulose Gauze (10) | Gelitacel is a white, single use, non-toxic, sterile, hydrophilic bioabsorbable, weakly acidic, viscose-free, knitted haemostatic fabric (USP) | 5 x 35 cm, 10 x 20 cm | $26.00 |  |

**Antimicrobial, Low Antigenicity, Micro-fibrous**

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| JJ029 | Surgicel Fibrillar Absorbable Haemostat | Fibrous fleece, oxidised regenerated cellulose, the material is biocompatible and also bactericidal | 10.2 x 10.2cm | $98.00 |  |
| MN117 | Surgicel Non-Woven (SNoW) Absorbable Haemostat | Absorbable haemostat, Structured Non-Woven | 10.2 x 10.2cm | $98.00 |  |

**Antimicrobial, Low Antigenicity, Woven**

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| JJ433 | SURGICEL Nu knit Absorbable Haemostat | High density , oxidised regenerated cellulose, the material is biocompatible and also bactericidal. | 15.2 x 22.9cm | $91.00 |  |

**03.05.04.03 - Absorbable >75cm²**

**Antimicrobial, Low Antigenicity**

**Balance Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BG001 | BloodStop iX | BloodStop iX is a new generation haemostat made from water soluble, oxidised-etherified regenerated cellulose | 10x20cm, 5x35cm | $34.00 |  |

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| JJ012 | Surgicel ORIGINAL Absorbable Haemostat | Oxidised regenerated cellulose gauze, the material is biocompatible and also bactericidal | 5-10.2 x 20-35cm | $34.00 |  |

**03.05.05 - Matrix**

**03.05.05.01 - Liquid ≤6ml**

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| JJ640 | Surgiflo Haemostatic Matrix | Absorbable Porcine Gelatin Matrix Pre-packaged in a Syringe | 6ml | $369.00 |  |

**Complete Biomaterial**

**3-D MATRIX MEDICAL TECHNOLOGY PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| FY001 | Purastat | Haemostatic material in the form of a pre-filled syringe | 1ml, 2ml, 5ml | $489.00 |  |

**Baxter Healthcare Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BX258 | FloSeal Hemostatic Matrix | FloSeal is a proprietary combination of collagen-derived particles and topical thrombin. Comes with a syringe with needle or needle free vial adapter. It is not sponge, but is a high viscosity gel for haemostasis. Clinical proven to control bleeding from capillary oozing to arterial spurting. | 5ml | $489.00 |  |

**03.05.05.02 - Liquid >6ml**

**Complete Biomaterial**

**Baxter Healthcare Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BX259 | FloSeal Hemostatic Matrix | FloSeal is a proprietary combination of collagen-derived particles and topical thrombin. Comes with a syringe with needle or needle free vial adapter. It is not sponge, but is a high viscosity gel for haemostasis. Clinically proven to control bleeding from capillary oozing to arterial spurting. | 10ml | $745.00 |  |

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| MN172 | Surgiflo Haemostatic Matrix with Thrombin | Absorbable Porcine Gelatin Matrix pre-packaged in a syringe and with plasma derived Human Thrombin | 8mls | $745.00 |  |

**03.05.05.03 - Non-liquid ≤50cm²**

**Antibiotic**

**Australasian Medical & Scientific Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| AN009 | Collatamp G | Biodegradeable collagen implant with gentamicin | 5cm x 5cm x 0.5cm | $122.00 |  |

**03.05.05.04 - Non-liquid >50cm²**

**Antibiotic**

**Australasian Medical & Scientific Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| AN008 | Collatamp G | Biodegradable collagen implant with gentamicin | 10cm x 10cm x 0.5cm, 20cm x 5cm x 0.5cm | $277.00 |  |

**03.05.05.05 - Accessory Extender**

**3-D MATRIX MEDICAL TECHNOLOGY PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| FY003 | PuraStat Applicator Type E | PuraStat is used as an adjunct to haemostasis when control of bleeding by ligature or conventional surgical procedures is ineffective or impractical. | 1600mm, 2200mm | $28.00 |  |

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| MN154 | Evicel® 45cm Flexible Tip | Triple lumen, clog resistant flexible tip for drip or spray applications | 45cm | $28.00 |  |

**VICKI PARTRIDGE PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| VB001 | HEMOBLAST 35cm Laparoscopic Applicator | Single-use laparoscopic applicator device, designed to deliver HEMOBLAST Bellows hemostatic powder. | 35cm in length | $28.00 |  |

**03.05.05.06 - Powder >6ml**

**Complete Biomaterial**

**VICKI PARTRIDGE PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| VB002 | HEMOBLAST Bellows | Haemostatic powder comprised of collagen, chondroitin sulfate, and thrombin. | 1.65 gm powder/1500 IU thrombin | $903.00 |  |

**03.05.06 - Foam**

**Getz Healthcare Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ME230 | NexPak X | Intranasal splint | 8cms | $110.00 |  |

**Matrix Medical Innovations**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BF021 | SealFoam, High Density | SealFoam is an absorbable Polysaccharide Haemostat | 60mm x 40mm x 2mm 60mm x 40mm x 4mm 120mm x 25mm x 4mm (2/pack) | $110.00 |  |

**Smith & Nephew Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| SL081 | STAMMBERGER SINU-FOAM | Viscous CMC-based dissolvable foam for the nasal cavity | One size | $110.00 |  |
| SL083 | Nasastent | Dissolvable intranasal splint made from CMC that absorbs nasal fluids, it turns into a hydrocolloidal gel that naturally drains from the nasal cavity | 5cm | $110.00 |  |

**Stryker Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| HW582 | NasoPore / OtoPore | NasoPore / OtoPore is a bioresorbable foam packing for the nasal or ear cavity. | 4cm and 8cm | $110.00 |  |

**03.08 - CLOSURE DEVICES**

**03.08.01 - Adhesion Barriers**

**03.08.01.01 - Sheet ≤100cm2**

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| JJ010 | Interceed Absorbable Adhesion Barrier | Oxidized Regenerated Cellulose | 7.6cm x 10.2cm | $158.00 |  |
| JJ464 | Divide Absorbable Adhesion Barrier | Oxidised regenerated cellulose | 3.8 x 5.1cmm | $158.00 |  |

**03.08.01.02 - Sheet >100cm2**

**Baxter Healthcare Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BX342 | Seprafilm Adhesion Barrier | Sodium hyaluronate carbomethylcellulose membrane | 13cm x 15cm | $312.00 |  |

**Complex, Bioresorbable**

**Endotherapeutics Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ET051 | Surgiwrap | Bio Absorbable Antiadhesion Barrier | All sizes with and without suture holes | $1,173.00 |  |

**LMT Surgical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| LM084 | Polyganics Vivosorb | A bioresorbable co polyester sheet | 2cm x 3cm to 13cm x 20cm | $1,173.00 |  |

**03.08.01.03 - Spray**

**Baxter Healthcare Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BX260 | ADEPT Adhesion Reduction Solution | ADEPT Adhesion Reduction Solution is a single use, sterile fluid for intraperitoneal administration. ADEPT is intended to be used as an instillate for the reduction of adhesions following gynaecologicalpelvic laparoscopic surgery of the abdominalpelvic cavity in adults | 1500ml | $226.00 |  |

**03.08.01.04 - Gel/Liquid**

**Complex**

**FZIOMED AUSTRALIA PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| FJ001 | Oxiplex/AP Absorbable Adhesion Barrier Gel | Combination of Polyethylene Oxide (PEO) and Sodium Carboxylmethylcellulose stabilised with Calcium and made isotonic with Sodium Chloride. Kit contains 2 x 20ml Sterile syringes , 1 x Applicator | 2 x 20ml Sterile Syringes, 1 x Applicator | $1,173.00 |  |
| FJ002 | Oxiplex Absorbable Adhesion Barrier Gel | Oxiplex Absorbable Adhesion Barrier gel (Oxiplex is a co-polymer gel composed of carboxymethylcellulose and polyethylene.) | 3ml in sterile 3ml syringe | $1,173.00 |  |
| FJ003 | Dynavisc | Absorbable adhesion barrier gel | 1 ml | $1,173.00 |  |
| FJ004 | Oxiplex/IU | Oxiplex/IU® is a clear, single use flowable gel. The gel is a sterile, absorbable combination of sodium carboxymethylcellulose (CMC) and polyethylene oxide (PEO) with calcium chloride and sodium chloride in water. Oxiplex/IU is intended for use as a mechanical barrier to adhesion formation. Oxiplex/IU is intended to be used as an adjunct to intrauterine procedures for reducing the incidence, extent, and severity of adhesions. | 1 x 10ml pre-filled syringe and vaginal applicator. | $1,173.00 |  |

**Lifehealthcare Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| LH001 | Oxiplex Absorbable Adhesion Barrier Gel | Oxiplex Absorbable Adhesion Barrier gel (Oxiplex is a co-polymer gel composed of carboxymethylcellulose and polyethylene.) | 3ml in sterile 3ml syringe | $1,173.00 |  |
| LH534 | Oxiplex/AP Absorbable Adhesion Barrier Gel | Combination of Polyethylene Oxide (PEO) and Sodium Carboxylmethylcellulose stabilised with Calcium and made isotonic with Sodium Chloride. Kit contains 2 x 20ml Sterile syringes , 1 x Applicator | 2 x 20ml Sterile Syringes, 1 x Applicator | $851.00 |  |

**Medtronic Australasia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| MC618 | Medishield Anti-Adhesion Gel | MediShield Anti-Adhesion Gel is an adhesion barrier gel for prevention of complications after spinal surgery. MediShield is a co-polymer gel composed of carboxymethylcellulose and polyethylene oxide. | 3cc Syringe | $1,173.00 |  |

**Sinus**

**Endotherapeutics Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ET082 | PureRegen Gel Sinus | PureRegen Gel Sinus is a gel adhesion barrier comprised of a hyaluronic acid based hydrogel. The product does not contain any medicinal, human or animal components. It is removed from the application site by natural elimination. | 2ml, 5ml, 6ml, 8ml, 10ml, 20ml. | $104.00 |  |

**03.08.02 - Internal Adhesives**

**03.08.02.01 - Adhesive ≤2ml**

**Biological**

**Advanced Biomedical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| AB075 | BioGlue Surgical Adhesive - 2ml Syringe System | Model No BG3502-5-A (BioGlue Surgical Adhesive) | 2ml | $325.00 |  |

**Baxter Healthcare Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BX214 | TISSEEL Two Component Fibrin Sealant Syringe | Active ingedients:Sealer Protein Solution & Thrombin Solution - deep-frozen | 2.0 ml (containing 1.0 ml of Sealer Protein Solution and 1.0 ml of Thrombin Solution) | $325.00 |  |
| BX283 | ARTISS Fibrin Sealant 2ml | ARTISS is a proprietary fibrin sealant with 4UI/ml human thrombin. It is two-component fibrin sealant made from pooled human plasma, a double virus-inactivated (vapour heated and solvent/detergent treated) and frozen (≤ -20°C) plasma derived biological agent. | The two components are formulated as two sterile frozen solutions. Each solution is presented in a separate pre-loaded chamber (1ml) of a double chamber syringe. One chamber contains sealer protein solution with aprotinin while the other chamber contains thrombin solution with calcium chloride, resulting in a 2ml total volume of product for use. | $325.00 |  |

**Synthetic**

**B Braun Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BB382 | Histoacryl Flexible | Topical Skin Adhesive | 0.5ml per ampoule | $180.00 |  |
| BB383 | Histoacryl | Topical and Surgical Adhesive | 0.5ml per ampoule | $180.00 |  |

**Baxter Healthcare Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BX252 | CoSeal Surgical Sealant | Composition: two synthetic polyethelene glycols (PEG's), COH102 and COH206, premixed and filled into one syringe, a dilute hydrogen chloride solution and a sodium phosphate/sodium carbonate solution | 2ml | $180.00 |  |

**Device Technologies Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| DE720 | Glubran 2 | Synthetic cyanoacrylic surgical glue: N-Butyl (2) cyanoacrylate and methacryloxysulfolane co-monomer | 0.25 ml to 1 ml | $180.00 |  |
| DE721 | Glubran Tiss2 | Tissue adhesive | 0.25 ml, 0.35 ml, 0.50 ml | $31.00 |  |

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| MN229 | Dermabond | Topical Skin Adhesive | Per 0.36 - 0.75ml vial | $180.00 |  |
| MN230 | Dermabond Prineo | Topical skin adhesive with self-adhering mesh | 22 - 60cm | $180.00 |  |

**Lifehealthcare Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| LH596 | Liquiband Surgical | Surgical Adhesive | 0.8gm ampoule | $180.00 |  |
| LH597 | LiquiBand Topical | Topical Skin Adhesive | 0.25g – 0.8g ampoule | $180.00 |  |

**Medtronic Australasia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| MI286 | LiquiBand® Exceed™ | Topical Tissue Adhesive with Applicator | 0.8 mL, 0.36mL | $31.00 |  |
| MI317 | INDERMIL Flexifuze | Topical Tissue Adhesive with Applicator | 0.75g per ampoule | $31.00 |  |

**03.08.02.02 - Adhesive >2-5ml**

**Biological**

**Advanced Biomedical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| AB003 | BioGlue Surgical Adhesive - 5ml Syringe System | Model No BG3515-5-A (BioGlue Surgical Adhesive) | One size only | $594.00 |  |

**Baxter Healthcare Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BX215 | TISSEEL Two Component Fibrin Sealant Syringe | Active ingedients:Sealer Protein Solution & Thrombin Solution - deep-frozen | 4.0 ml (containing 2.0 ml of Sealer Protein Solution and 2.0 ml of Thrombin Solution) | $594.00 |  |
| BX284 | ARTISS Fibrin Sealant 4ml | ARTISS is a proprietary fibrin sealant with 4UI/ml human thrombin. It is two-component fibrin sealant made from pooled human plasma, a double virus-inactivated (vapour heated and solvent/detergent treated) and frozen (≤ -20°C) plasma derived biological agent. | The two components are formulated as two sterile frozen solutions. Each solution is presented in a separate pre-loaded chamber (2ml) of a double chamber syringe. One chamber contains sealer protein solution with aprotinin while the other chamber contains thrombin solution with calcium chloride, resulting in a 4ml total volume of product for use. | $594.00 |  |

**Synthetic**

**Baxter Healthcare Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BX253 | CoSeal Surgical Sealant | Composition: two synthetic polyethelene glycols (PEG's), COH102 and COH206, premixed and filled into a syringe, a dilute hydrogen chloride solution and a sodium phosphate sodium carbonate solution | 4ml | $516.00 |  |

**03.08.02.03 - Adhesive >5ml**

**Biological**

**Advanced Biomedical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| AB004 | BioGlue Surgical Adhesive - 10ml Syringe System | Model No BG3510-5-A (BioGlue Surgical Adhesive) | One size only | $1,188.00 |  |

**Baxter Healthcare Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BX216 | TISSEEL Two Component Fibrin Sealant Syringe | Active ingedients:Sealer Protein Solution & Thrombin Solution - deep-frozen | 10.0 ml (containing 5.0 ml of Sealer Protein Solution and 5.0 ml of Thrombin Solution) | $1,188.00 |  |
| BX285 | ARTISS Fibrin Sealant 10ml | ARTISS is a proprietary fibrin sealant with 4UI/ml human thrombin. It is two-component fibrin sealant made from pooled human plasma, a double virus-inactivated (vapour heated and solvent/detergent treated) and frozen (≤ -20°C) plasma derived biological agent. | The two components are formulated as two sterile frozen solutions. Each solution is presented in a separate pre-loaded chamber (5ml) of a double chamber syringe. One chamber contains sealer protein solution with aprotinin while the other chamber contains thrombin solution with calcium chloride, resulting in a 10ml total volume of product for use. | $1,188.00 |  |

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| MN204 | Evicel Solutions for Fibrin Sealant | Human fibrinogen and Human thrombin | 10mL kit | $1,188.00 |  |

**Synthetic**

**Baxter Healthcare Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BX254 | CoSeal Surgical Sealant | Composition: two synthetic polyethelene glycols (PEG's), COH102 and COH206, premixed and filled into a syringe, a dilute hydrogen chloride solution and a sodium phosphate sodium carbonate solution | 8ml | $963.00 |  |

**03.08.02.04 - Adhesive Accessory**

**Applicator Tip**

**Advanced Biomedical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| AB008 | BioGlue Surgical Adhesive - Syringe Standard Applicator Tip | Model No BGAT-SY (BioGlue Surgical Adhesive) | Standard Applicator Tip | $22.00 |  |

**Bard Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BA267 | Progel Platinum Surgical Sealant Spray Tip | Spray tip to be used in conjunction with Progel Platinum Surgical Sealant | 5cm (packs of 2) | $22.00 |  |

**Baxter Healthcare Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BX266 | TISSEEL DUPLOSPRAY MIS APPLICATOR REPLACEMENT TIPS | Two component Fibrin Sealant containing human derived fibrinogen and thrombin. | Packs of 10 sterile packs each containing 2 tips and an installation tool | $22.00 |  |
| BX270 | COSEAL Applicator Tips 7 cm | Applicator tips for COSEAL. Coseal which is listed on the Prostheses List, is a hydrogel that acts as a sealant by adhering to itself and the tissues it contacts. COSEAL is designed to completely seal suture lines along vascular reconstructions to prevent fluids from leaking. | A 7cm long applicator tip | $22.00 |  |

**Device Technologies Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| DE722 | Glubran 2 Applicators | Dispensing tip/Drop control device for applying Glubran 2. | 5-6 and 7-8 French | $22.00 |  |

**Extender**

**Advanced Biomedical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| AB009 | BioGlue Surgical Adhesive - Syringe 10cm Extender | Model No BGAT-10-SY (BioGlue Surgical Adhesive) | 10cm Extender | $26.00 |  |
| AB010 | BioGlue Surgical Adhesive - Syringe 27CM Extender | Model No BGAT-27-SY (BioGlue Surgical Adhesive) | 27cm Extender | $26.00 |  |
| AB076 | BioGlue Surgical Adhesive - Spreader Tips | Spreader (extender) Tips (various sizes), (Pack of 3) | 12mm, 16mm | $26.00 |  |

**Baxter Healthcare Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BX261 | Tisseel Duplospray MIS WITH SNAPLOCK Applicator 20cm | Two component Fibrin Sealant containing human derived fibrinogen and thrombin. | A 20cm long dual lumen metal cannula | $26.00 |  |
| BX262 | TISSEEL DUPLOCATH 180cm | Double lumen flexible catheters for Tisseel: Tisseel is Two component Fibrin Sealant containing human derived fibrinogen and thrombin. | A 180cm long double lumen flexible application catheter | $26.00 |  |
| BX263 | COSEAL Spray Accessory Kit | Spray Accessory kit for Coseal: A hydrogel that acts as a sealant by adhering to itself and the tissues it contacts. COSEAL is designed to completely seal suture lines along vascular reconstructions to prevent fluids from leaking. | One size available | $26.00 |  |
| BX264 | TISSEEL DUPLOTIP WITH SNAPLOCK 20g x 26.4cm | Two component Fibrin Sealant containing derived fibrinogen and thrombin. | A 26.4cm long dual umen applicator | $26.00 |  |
| BX269 | TISSEEL Easyspray Set | Easyspray Set for Tisseel, a two component Fibrin Sealant containing human derived fibrinogen and thrombin. | One size | $26.00 |  |
| BX271 | TISSEEL DUPLOTIP with SNAPLOCK 20g x 10.4cm | Two component Fibrin Sealant containing human derived fibrinogen and thrombin. | 10.4cm long dual lumen applicator | $26.00 |  |
| BX272 | TISSEEL DUPLOCATH 25cm | Double lumen flexible application catheter for Tisseel, a two component Fibrin Sealant containing human derived fibrinogen and thrombin. | A 25cm long double lumen flexible application catheter | $26.00 |  |
| BX275 | COSEAL Extended Applicator 22 cm | 22cm extended applicator for COSEAL. Coseal, is listed on the Prostheses List, is a hydrogel that acts as a sealant by adhering to itself and the tissues it contacts. COSEAL is designed to completely seal suture lines along vascular reconstructions to prevent fluids from leaking. | A 22 cm long malleable applicator | $26.00 |  |
| BX282 | Floseal Special Applicator Tips | Floseal Malleable and Trimmable Applicator with Tips specifically designed for use with Floseal Haemostatic Matrix | 14cm | $26.00 |  |

**Device Technologies Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| DE723 | Glubran 2 Catheter for Laparoscopy | Catheter for laparoscopic application of Glubran 2. | One size only | $26.00 |  |

**Laparoscopic Extender**

**Advanced Biomedical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| AB065 | BioGlue Delivery Tip Extension (various sizes) | Rigid Extender Tip (BGDTE range) | 10cm, 27cm, 35cm | $53.00 |  |

**Baxter Healthcare Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BX268 | TISSEEL DUPLOCATH 35cm MIC/MIS | MIS (with MIS adaptor 5mm) Double lumen flexible application catheter for Tisseel, a two component Fibrin Sealant containing human derived fibrinogen and thrombin. | A 35cm long double lumen flexible application catheter | $53.00 |  |
| BX277 | TISSEEL DUPLOSPRAY MIS SNAPLOCK APPLICATOR 30 cm | Two component Fibrin Sealant containing human derived fibrinogen and thrombin. | A 30 cm long dual lumen metal cannula | $53.00 |  |
| BX279 | Coseal Duplospray Applicator 30cm | COSEAL, which is listed on the Prostheses List, is a hydrogel that acts as a sealant by adhering to itself and the tissues it contacts. COSEAL is designed to completely seal suture lines along vascular reconstructions to prevent fluids from leaking. | 30cm | $53.00 |  |
| BX280 | Coseal Duplospray Applicator 20cm | COSEAL, which is listed on the Prostheses List, is a hydrogel that acts as a sealant by adhering to itself and the tissues it contacts. COSEAL is designed to completely seal suture lines along vascular reconstructions to prevent fluids from leaking. This a | 20 cm | $53.00 |  |

**Rigid Delivery System**

**3-D MATRIX MEDICAL TECHNOLOGY PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| FY002 | PuraStat Applicator | PuraStat is used as an adjunct to haemostasis when control of bleeding by ligature or conventional surgical procedures is ineffective or impractical. | 250mm | $96.00 |  |

**Bard Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BA266 | Progel Platinum Surgical Sealant Extender Spray Tip | Extender Spray tip to be used in conjunction with Progel Platinum Surgical Sealant | 16cm, 29cm | $96.00 |  |

**Baxter Healthcare Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BX265 | TISSEEL DUPLOTIP WITH SNAPLOCK 31.8 cm and 40cm | Duplotip for Two component Fibrin Sealant containing human derived fibrinogen and thrombin "Black Beauty" and bariatric surgery | A 31.8cm long dual lumen applicator or 40 cm long dual lumen applicator | $96.00 |  |
| BX267 | TISSEEL DUPLOSPRAY MIS WITH SNAPLOCK APPLICATOR 40 cm | Two component Fibrin Sealant containing human derived fibrinogen and thrombin, with or without a malleable tip. | A 40 cm long dual lumen metal cannula | $96.00 |  |
| BX273 | Floseal Endoscopic Applicator | Used as an adjunct to haemostasis when control of bleeding by ligature or conventional surgical procedures is ineffective or impractical. | A 41cm - 47cm long disposable cannulated applicator, with or without malleable tip. | $96.00 |  |
| BX340 | FIBRIJET® Gasless Stray Tip | Gasless spray tip use during open surgery. The spray tip is compatible with both Prima and legacy TISSEEL frozen syringes. | One size only | $96.00 |  |
| BX341 | EASYGRIP FLO-41 | sterile, single-use endoscopic applicator device designed for single handed application, particularly during laparoscopic and robotic procedures through an easy, precise, and controlled delivery of Floseal. | 41cm | $96.00 |  |

**Device Technologies Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| DE727 | Glubran 2 Spray Device | Spray device for nebulized application of Glubran 2 | Cannula length: 5cm, 40cm, 30cm, 33cm | $96.00 |  |

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| MN041 | Endoscopic Applicator | Rigid applicator | 34cm | $96.00 |  |
| MN153 | Evicel | Rigid tip applicators | 35cm, control and spray tip | $96.00 |  |

**03.08.02.05 - Adhesive Peristrips**

**Baxter Healthcare Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BX334 | Peri-strips dry with Veritas Collagen Matrix Circular Staple Line Reinforcement | Peri-Strips Dry with Veritas is a remodelable material designed to increase staple line strength for surgical repair of soft tissue deficiencies | One circular stapler firing: 20-400mm diameter | $301.00 |  |
| BX335 | Peri-Strips dry with Veritas Collagen Matrix Linear Single Firing | Peri-Strips Dry with Veritas is a remodeable material designed to increase staple line strength for surgical repair of soft tissue deficiencies | 30-130mm | $301.00 |  |

**03.08.02.06 - Pleurodesis Powder**

**INTERVENE MEDICAL PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| JI006 | Steritalc | Sterile granules of talc implanted in pleural space to act as permanent adhesive | 3 grams & 4 grams | $129.00 |  |

**03.08.02.07 - Sponge ≤10cm²**

**KSJ GROUP PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| KF001 | TachoSil | TachoSil is a broad use haemostat for intra-operative tissue management. The TachoSil sponge is off-white, with yellow colouring on the active side (coated with fibrinogen and thrombin), and is ready to use (store at room temperature). | One small patch: 3.0cm x 2.5cm | $58.00 |  |

**Medtronic Australasia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| AS212 | Veriset | Veriset is an absorbable topical hemostatic device intended for use in surgical procedures as an adjunct to hemostatsis when conventional methods are ineffective or impractical. Veriset does not consist of any human or animal components | 2cm x 4cm (8cm2) | $58.00 |  |

**03.08.02.08 - Sponge 10-40cm²**

**KSJ GROUP PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| KF003 | TachoSil | TachoSil is a broad use haemostat for intra-operative tissue management. The TachoSil sponge is off-white, with yellow colouring on the active side (coated with fibrinogen and thrombin), and is ready to use (store at room temperature). | One medium patch: 4.8cm x 4.8cm | $208.00 |  |

**03.08.02.09 - Sponge >40cm²**

**KSJ GROUP PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| KF002 | TachoSil | TachoSil is a broad use haemostat for intra-operative tissue management. The TachoSil sponge is off-white, with yellow colouring on the active side (coated with fibrinogen and thrombin), and is ready to use (store at room temperature). | One large patch: 9.5cm x 4.8cm | $412.00 |  |

**Medtronic Australasia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| AS213 | Veriset | Veriset is an absorbable topical hemostatic device intended for use in surgical procedures as an adjunct to hemostasis when conventional methods are ineffective or impractical. Veriset does not consist of any human or animal components. | 5cm x 10cm (50cm2) 8 cm x 16 cm (128cm2) | $412.00 |  |

**03.08.02.12 - Pleural Sealant**

**Bard Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BA265 | Progel Platinum Surgical Sealant | Progel Pleural Air Leak Sealant is a single use device intended for application to visceral pleura. | 4ml | $718.00 |  |

**03.08.03 - Ligating Devices**

**03.08.03.01 - Clips**

**B Braun Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BB294 | Aesculap Ligating Clips | Aesculap Ligating Clips- Ligation Clips Titanium; | PL561T- Large; 6 clips/cartridge | $10.00 |  |
| BB297 | Aesculap Ligating Clips | Aesculap Ligating Clips Titanium | PL565T - Small; 6 clips/cartridge | $10.00 |  |
| BB298 | Aesculap Ligating Clips | Aesculap Ligating Clips Titanium | PL566T - small cardiopack of 24 | $41.00 |  |
| BB299 | Aesculap Ligating Clips | Aesculap Ligating Clips Titanium | PL567T - medium; 6 clips/cartridge | $10.00 |  |
| BB300 | Aesculap Ligating Clips | Aesculap Ligating Clips Titanium | PL568T - medium/large; 6 clips/cartridge | $10.00 |  |

**Device Technologies Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| DE616 | Vitalitec Titanium Hemostatic Clips | The SLS titanium (grade 1) hemostatic clips are designed to securely grip the vessel in order to provide a complete and final occlusion atraumatically. | Micro, Small, Small/Medium, Medium, Medium/Large and Large. 6 clips per cartridge | $11.00 |  |
| DE617 | Vitalitec Titanium Hemostatic Clips | The SLS titanium (grade 1) hemostatic clips are designed to securely grip the vessel in order to provide a complete and final occlusion atraumatically. | Small & Medium Clips (24 clips per pouch - 6 clips per cartridge, 4 cartridges per pouch) | $41.00 |  |
| DE618 | Vitalitec Titanium Hemostatic Clips | The SLS titanium (grade 1) hemostatic clips are designed to securely grip the vessel in order to provide a complete and final occlusion atraumatically. | Micro, Small, Small/Medium, Medium (9 clips per cartridge) | $12.00 |  |
| DE619 | Vitalitec Titanium Hemostatic Clips | The SLS titanium (grade 1) hemostatic clips are designed to securely grip the vessel in order to provide a complete and final occlusion atraumatically. | Small and Medium (27 clips per pouch - 9 clips per cartridge, 3 cartridges per pouch) | $34.00 |  |
| DE724 | Everest Ligating Clip | Titanium clip | Small, Medium, Medium-Large, Large (6 per cartridge) | $10.00 |  |
| DE725 | Everest Ligating Clip | Titanium clip | Small, Medium (24 per cartridge) | $41.00 |  |

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| JJ033 | Ligaclip\* Ligating Clips - titanium | Titanium clips contained in a plastic cartridge | 3-5mm; 6 clips per cartridge | $10.00 |  |
| JJ034 | Ligaclip\* Ligating Clips - titanium | Titanium clips contained in a plastic cartridge | 9-12 mm; 6 clips per cartage | $10.00 |  |
| JJ035 | Ligaclip\* Ligating Clips - titanium | Titanium clips contained in a plastic cartridge | 3-5 mm; 20 clips per cartridge | $32.00 |  |

**LMT Surgical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| LM042 | Microclip | Malleable titanium clip | 1.5-2.5mm x 2-3.5mm | $2.00 |  |

**Teleflex Medical Australia**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| TX006 | Horizon Ligating Clips |  |  | $11.00 |  |
| TX007 | Horizon Ligating Clips | Ligation Clips Titanium | Small (24 per cartridge) | $41.00 |  |
| TX008 | Horizon Ligating Clips |  |  | $11.00 |  |
| TX009 | Horizon Ligating Clips | Ligation Clips Titanium | Medium (24 per cartridge) | $41.00 |  |
| TX010 | Horizon Ligating Clips |  |  | $11.00 |  |
| TX011 | Horizon Ligating Clips | Ligation Clips Titanium | Medium/Large (24 per cartridge) | $41.00 |  |
| TX012 | Horizon Ligating Clips |  |  | $11.00 |  |
| TX013 | Horizon Ligating Clips | Ligation Clips Titanium | Large (24 per cartridge) | $41.00 |  |

**Polymeric Non-resorbable**

**Device Technologies Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| DE698 | LocaClip | Polymer ligating clip | Large, Extra Large and Medium/Large | $40.00 |  |

**Ebos Group Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| EB136 | Click’aV® polymer non-absorbable ligating clips, cartridge of 6 | Click’aV® ligating clips are intended for ligating of any linear tissue structures or vessels during an operation for haemostasis where use of non-absorbable clips is required. Click’aV® ligating clips are sterile and disposable. They are made of non-absorbable polymer suitable for implantation. Clip is equipped with latch for reliable closure and lateral clip legs stability. The clips are placed around the tissue and closed with the grip of a clip applier. | Medium Medium Large Large Extra Large | $40.00 |  |
| EB137 | Click’aV® polymer non-absorbable ligating clips, cartridge of 4 | Click’aV® ligating clips are intended for ligating of any linear tissue structures or vessels during an operation for haemostasis where use of non-absorbable clips is required. Click’aV® ligating clips are sterile and disposable. They are made of non-absorbable polymer suitable for implantation. Clip is equipped with latch for reliable closure and lateral clip legs stability. The clips are placed around the tissue and closed with the grip of a clip applier. | Medium Medium large Large Extra large | $40.00 |  |
| EB138 | Click’aV® polymer non-absorbable ligating clips, cartridge of 2 | Click’aV® ligating clips are intended for ligating of any linear tissue structures or vessels during an operation for haemostasis where use of non-absorbable clips is required. Click’aV® ligating clips are sterile and disposable. They are made of non-absorbable polymer suitable for implantation. Clip is equipped with latch for reliable closure and lateral clip legs stability. The clips are placed around the tissue and closed with the grip of a clip applier. | Medium Large Large Extra Large | $40.00 |  |

**Teleflex Medical Australia**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| TX023 | Hem-o-Lok Polymer Non-Absorbable Ligating Clip | Hem-o-lok Medium (M), Medium-Large (ML) and Large (L) Polymer Clips | Small, Medium, Medium-Large, Large (6 clips/cartridge) | $40.00 |  |
| TX025 | Hem-o-lok Polymer Non-Absorbable Ligating Clip | Hem-o-lok Extra-large (XL) Polymer Clips | Extra-large (XL) (6 clips/cartridge) | $40.00 |  |

**Resorbable**

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| JJ036 | Absolok\* Extra Absorbable Ligating Clips | Polydioxanone clips contained in a plastic cartridge | Small to Extralarge | $81.00 |  |

**03.08.03.02 - Clip Applier**

**ConMed Linvatec Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| LV081 | Open Clip Applier | Titanium | 25 medium size titanium clips | $125.00 |  |

**Device Technologies Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| DE606 | Cor-Knot® Device Kit | The Cor-Knot Device kit contains two Cor Knot devices which deliver and crimp a titanium fastener around a suture placed using routine suture placement techniques, trimming any excess suture tails | Each kit contains two Cor- Knot sterile devices | $249.00 |  |
| DE609 | Cor-Knot Mini Device Kit | The Cor-Knot Mini Device Kit contains two Cor-Knot Mini Devices which deliver and crimp a titanium fastener around a suture placed using routine suture placement techniques, trimming any excess suture tails. | 2 x Cor-Knot Mini Sterile Devices (14cm length shaft) in each kit | $249.00 |  |

**03.08.03.03 - Clips with Disposable Applier**

**Doppler Guided, Endoscopic**

**Endotherapeutics Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ET064 | AMI HAL-RAR Flexi Procedure Kit | Doppler guided Haemorrhoidal Arterial Ligation and Recto-Anal Repair System. HAL Haemorrhoidal Ligating sutures, doppler/ultrasound proctoscope, flexiprobe, knot pusher | One size, several components | $844.00 |  |

**Medical Specialties Australasia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| MS056 | THD Slide | Transanal Haemorrhoidal Dearterilisation and Pexis System | one size only | $844.00 |  |

**Optimed Technologies**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| OB008 | Angiodin Procto | Single-use Ultrasound Proctoscope Kit (kit includes 1 x proctoscope, 6 x braided absorbable suture thread 75 cm with 26 mm needle, and 1 x knot pusher ) | Single item | $844.00 |  |

**Laparoscopic**

**Applied Medical Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| MH015 | Epix™ Disposable Laparoscopic Clip Applier w/ TiGold M/L titanium clips | Epix™ Disposable Laparoscopic Clip Applier w/ TiGold M/L titanium clips 5mm | 5mm | $250.00 |  |

**C. R. Kennedy**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| CK003 | Endox Visu-Loc Clip Applier | Single-use laparoscopic clip applier | Medium, Large | $250.00 |  |

**ConMed Linvatec Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| LV076 | Reflex ELC 530 Automatic Clip Applier | Titanium Endoscopic Clip Applier | Medium/Large, 10mm, 20 Clips | $250.00 |  |
| LV086 | Reflex 5mm Automatic Clip Applier | Autofeeding disposable clip applier. Contains 15 non absorbable polymer locking clips | medium/large | $250.00 |  |

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| JJ186 | Ligaclip Endoscopic Multiclip Applier | Metal/plastic stapler with titanium clips | 10-12 mm shaft diameter, medium to large clip | $250.00 |  |
| JJ482 | LIGAMAX 5mm Endoscopic Clip Applier | LIGAMAX 5mm Endoscopic Clip Applier | Medium / Large | $250.00 |  |

**Medtronic Australasia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| AS074 | ENDOCLIP\* | Titanium Surgical Stapler | 10mm (ML, M, L)-(20 clips) | $250.00 |  |
| MI213 | Endo Clip | Laparoscopic Clip Applier | 5mm device with various clip sizes | $250.00 |  |

**Teleflex Medical Australia**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| TX024 | Weck Hem-o-lok | Hem-o-lok Automatic Endo Applier | 15 Clips per applier 12 Clips per applier for Large Clips | $250.00 |  |

**Open**

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| JJ037 | Ligaclip\* Multiple Clip Applier | Metal/plastic applier preloaded with titanium clips | 3-12 mm; 20 clips per applier | $163.00 |  |
| JJ038 | Ligaclip\* Multiple Clip Applier | Metal/plastic applier preloaded with titanium clips | 3-12 mm; 30 clips per applier | $163.00 |  |
| JJ039 | Ligaclip\* Multiple Clip Applier | Metal/plastic applier preloaded with titanium clips; reloadable | 5-6mm; 20 clips per applier | $163.00 |  |

**Medtronic Australasia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| MI217 | Surgiclip | Ligation Clips - Disposable clip applier and ligating clips | Small, Medium, Large device with various clip sizes | $163.00 |  |

**03.08.03.04 - Clip Reload Cartridge**

**B Braun Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BB016 | Challenger Ligating Clips | Challenger Ligating Clips Titanium Multifire | Medium-large | $54.00 |  |
| BB301 | Challenger Ligating Clips | Challenger Ligating Clips Titanium Multifire | PL572T - small/medium | $54.00 |  |
| BB321 | Pneumatic Challenger Multifire Clips | Challenger TI-P SM-Ligat. Clips 12 Cartridge (PL574T) Challenger TI-P ML-Ligat. Clips 12 Cartridge (PL579T) | small-medium, medium-large | $54.00 |  |

**BIG GREEN SURGICAL COMPANY PTY LIMITED**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| GQ006 | Microline Surgical Disposable 19 Titanium K2 Clip Cartridge | Disposable cartridge containing 19 surgical grade titanium clips delivered using a reusable handpiece applier | 19 Clips per cartridge | $54.00 |  |
| GQ007 | Microline Surgical Disposable 10 Titanium K2 Clip Cartridge | Disposable cartridge containing 10 surgical grade titanium clips delivered using a reusable handpiece applier | 10 Clips per cartridge | $54.00 |  |

**C. R. Kennedy**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| CK001 | Microline Pentax Disposable 10ml Titanium K2 Clip Cartridge | Disposable cartridge containing 19 surgical grade titanium clips delivered using a re-usable hand piece applier | medium/large clip | $54.00 |  |
| CK002 | Microline Pentax Disposable 10ml Titanium K2 clip Cartridge | Disposable cartridge containing 10 surgical grade titanium clips delivered using a reusable hand piece applier. | Medium/Large Clip | $54.00 |  |

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| JJ040 | Ligaclip\* 20/20 Reload Unit | Metal reload cartridge containing titanium clips | 5 mm; 20 clips | $54.00 |  |

**03.08.03.05 - Sutures**

**Endotherapeutics Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ET065 | HAL-RAR | HAL-Ligating Suture, AMI HAL-Ligating suture, prosthetic component of AMI HAL-RAR Doppler System | One size | $75.00 |  |

**03.08.03.07 - Cinched suture applier**

**Endoscopic System**

**Emergo Asia Pacific Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ER279 | OverStitchTM Endoscopic Suturing System | Needle Driver, Anchor Exchange and Tissue Helix Device | 1 size only | $1,625.00 |  |

**03.08.03.08 - Suture with cinch**

**Endoscopic System**

**Emergo Asia Pacific Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ER280 | OverStitchTM Endoscopic Suturing System - 2.0 Suture | Endoscopic Polyproprylene Suture with Cinch | 2-0 suture | $233.00 |  |

**03.08.03.10 - Laparoscopic Suturing Device**

**APNE SURGICAL PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| FQ002 | FlexDex Gastric Bypass and Gastrectomy Kit | Kit includes a single-use articulating laparoscopic needle driver with seven degrees of motion and sutures | One size only | $680.00 |  |

**03.08.04 - Staples & Tackers**

**03.08.04.01 - Staples, Non-bone (Reload)**

**INNOVATIVE MEDCARE TECHNOLOGY PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| IJ017 | Frankenman Linear Stapler Reloads | Linear stapler single use reload with titanium staples | 32mm; 46mm; 60mm; 90mm | $210.00 |  |
| IJ019 | Frankenman Linear Cutter Reloads | Single use, linear cutter reload cartridge containing titanium staples | 61mm; 81mm; 100mm | $210.00 |  |

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| MN213 | Proximate Linear Stapler | Staple reload | 30 to 100mm | $210.00 |  |
| MN218 | Endopath Linear Cutter | Staple reload | 35-45mm | $210.00 |  |
| MN220 | EES Linear Cutter | Staple reload | 55-75mm | $210.00 |  |

**MERIL AUSTRALIA PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| OX038 | Mirus Disposable Linear Cutter Staple Reloads | Titanium staple reloads | Open Length - 3.8mm-4.8mm Close Length - 1.5mm-2.0mm Number of staples - 64-104 | $210.00 |  |
| OX039 | Mirus Auto Linear Stapler Staple Reloads | Titanium staple reloads | Open Length - 3.5mm-4.8mm Close Length - 1.5mm-2.0mm Number of Staples - 11-33 | $210.00 |  |
| OX040 | Mirus Dial Linear Stapler Staple Reloads | Titanium staple reloads | Open Length - 4.2mm Number of Staples - 11-33 | $210.00 |  |

**Medtronic Australasia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| AS076 | ENDO TA\* reloading unit | Titanium Surgical Stapler DLU | 30mm -2.5, 30mm-3.5 | $210.00 |  |
| AS081 | ENDO GIA\* reloading unit | Titanium Surgical Stapler DLU | 30 - 35mm; 45mm; 60mm. | $210.00 |  |
| AS092 | ENDO - Herna reloading unit; VERSA TACK\* reloading unit. | Titanium Surgical Stapler DLU | 4mm, 4.8mm (10 staples). | $210.00 |  |
| MI215 | PI/TA Reloading Units | PI/TA Disposable Surgical Loading Unit | 30mm, 45mm, 60mm, 90mm | $210.00 |  |
| MI216 | GIA/ILA Reloading Units | Single Use Loading Units | 50mm, 60mm, 80mm, 90mm, 100mm | $210.00 |  |
| MI455 | Tri-Staple GIA Reloading Units | Single use loading units | 60mm, 80mm | $210.00 |  |

**Optimed Technologies**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| OB003 | Touchstone Linear Cutter Stapler Cartridge (Reloads) 80mm | A disposable staple cartridge used in conjunction with a matched Touchstone Linear Cutter Stapler that lays a double staggered row of staples on each side a cutting knife. Used for extensive bowel, gastric, gynaecological and thoracic surgical stapling procedures. | 80mm length in staple line with choice of 3.8mm, 4.2mm and 4.5mm titanium staples | $210.00 |  |
| OB006 | Touchstone Linear Cutter Stapler Cartridge (Reloads) 100mm | A disposable staple cartridge used in conjunction with a matched Touchstone Linear Cutter Stapler that lays a double staggered row of staples on each side a cutting knife. Used for extensive bowel, gastric, gynaecological and thoracic surgical stapling procedures. | 100mm length in staple line with choice of 3.8mm and 4.5mm titanium staples | $210.00 |  |
| OB010 | JustRight 5mm Reload | Endoscopic manual linear cutting Stapler, Single-use | 5mm shaft diameter 25mm jaw length 20cm length | $210.00 |  |

**Curved**

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| JJ475 | Proximate Contour Curved Cutter/Stapler | Contour Curved Cutter/Stapler 30 & 40mm reload cartridges | Blue (3.85mm) & Green (4.5mm) | $226.00 |  |

**Endoscopic, Articulating/Roticulating**

**AA-Med Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ZZ069 | AEON Endostapler Reload | Reload Staples | 45mm-60mm | $320.00 |  |

**Device Technologies Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| DE472 | Endowrist Stapler 45 | Endowrist Stapler 45 White Reload, 45 Blue Reload, 45 Green Reload | Length of reload: 45mm Staple height: 2.5mm, 3.5mm, 4.3mm | $320.00 |  |
| DE560 | EndoWrist Stapler Reloads (used with IS Endowrist Stapler) | Endowrist Stapler Reload. | Length of Reload : 30 - 60mm, Staple Height: 0.75 - 2.3mm | $320.00 |  |

**INNOVATIVE MEDCARE TECHNOLOGY PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| IJ021 | Frankenman Endoscopic Linear Cutter Reload | The Endoscopic Linear Cutter Reload has applications in resection, transection and/or anastomosis of tissue in open or laparoscopic procedures. | Cartridge Reload - 30mm, 45mm, 60mm staple lengths. Open leg length: 2.0mm - 4.5mm, closed staple height: 0.75mm - 2.0mm. | $320.00 |  |

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| MN219 | Echelon | Staple Reload | 35 - 60mm | $320.00 |  |

**MERIL AUSTRALIA PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| OX037 | Mirus Endocutter Staple Reloads | Titanium staples | Open Length - 2.5mm-4.8mm Close Length - 1.0mm-2.0mm | $320.00 |  |

**Medtronic Australasia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| AS186 | Endo GIA™ Reload with TriStaple™ Technology | Endo GIA™ Reload with TriStaple™ Technology provides three staggered rows of staples on either side of the cut line. | 45mm, 60mm | $320.00 |  |
| MI282 | Tri-Staple™ 2.0 reloads | Tri-Staple™ 2.0 reloads with intelligent chip that communicates with Signia™ stapler | 30mm, 45mm, 60mm | $320.00 |  |

**03.08.04.02 - Staplers**

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| MN214 | EES Linear Cutter | Single use, reloadable stapler | 55 to 75mm | $69.00 |  |

**Endoscopic**

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| JJ903 | Echelon | Disposable stapling device | 45-60mm | $357.00 |  |

**Medtronic Australasia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| AS134 | DST Series EEA Or Vil | Accessory | 21mm, 25mm | $357.00 |  |

**Endoscopic, Articulating/Roticulating**

**AA-Med Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ZZ068 | AEON Endostapler | Endoscopic articulated stapler | Short (60mm) Medium (160mm) Long (260mm) | $357.00 |  |

**INNOVATIVE MEDCARE TECHNOLOGY PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| IJ020 | Frankenman Endoscopic Linear Cutter | The Endoscopic Linear Cutter and Reloads have applications in resection, transection and/or anastomosis of tissue in open or laparoscopic procedures. | Stapler Unit - 280mm, 330mm, 380mm, 430mm, 480mm in 12.5mm shaft OD. Reloadable Cartridges - 30mm, 45mm, 60mm staple lengths. | $357.00 |  |

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| JJ904 | Echelon | Stapler | 45 - 60mm | $357.00 |  |
| MN206 | Endopath Cutter | Cutter and Stapler | 45mm | $357.00 |  |

**MERIL AUSTRALIA PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| OX031 | Mirus Endocutter | A stapler with triple staggered rows of titanium staples used to cut and close soft tissue. | Small - shaft length 60mm Medium - shaft length 160mm Long - shaft length 260mm | $357.00 |  |

**Medtronic Australasia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| AS046 | Endo GIA Stapling System | Endoscopic/thoroscopic | 12mm; One size only. | $357.00 |  |

**Endoscopic, Articulating/Roticulating, Powered**

**Device Technologies Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| DE683 | SureForm | Disposable stapling device | 45mm (staple line length) 60mm (staple line length) | $447.00 |  |

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| MN215 | Echelon | Disposable powered stapling device | 35 to 60mm | $447.00 |  |

**Medtronic Australasia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| MI227 | Signia™ Powered Intelligent Stapling System | Powered, articulating, endoscopic intelligent stapler with Adaptive Firing and real time technology | 30mm, 45mm, 60mm lengths | $447.00 |  |

**03.08.04.03 - Staples, Reinforcer**

**W L Gore & Associates**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| GT224 | GORE® SEAMGUARD® Bioabsorbable Staple Line Reinforcement | GORE® SEAMGUARD® Reinforcement is a synthetic 100% bioabsorbable material, constructed from Polyglycolic Acid:Trimethylene Carbonate. Buttressing material is engineered to reduce perioperative leaks and bleeding in a variety of minimally invasive surgeries. | 1BSGEC60- for 60mm Ethicon Stapler Straight, 1BSGEC60A- for 60mm Ethicon Stapler, 1BSGEC45- for 45mm Ethicon Stapler, 1BSGTRI45P- for 45mm Endo GIA Tristapler Purple, 1BSGTRI45B- for 45mm Endo GIA Tristapler Black, 1BSGTRI60P- for 60mm Endo GIA Tristapler Purple, 1BSGTRI60B- for 60mm Endo GIA Tristapler Black | $198.00 |  |
| GT228 | GORE® SEAMGUARD® Bioabsorbable Staple Line Reinforcement (Circular) | GORE® SEAMGUARD® Reinforcement is a synthetic 100% bioabsorbable material, constructed from Polyglycolic Acid:Trimethylene Carbonate. Buttressing material is engineered to reduce perioperative leaks and bleeding in a variety of minimally invasive surgeries. Configured for a range of circular/EEA staplers- 25mm, 28mm, 29mm, 31mm, 33mm & 34mm | Circular Seamguard is configured for a range of circular/EEA staplers- 25mm, 28mm, 29mm, 31mm, 33mm & 34mm for both Johnson & Johnson & Medtronic Circular Staplers | $198.00 |  |

**Integrated**

**Medtronic Australasia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| AS209 | Endo GIA Reinforced Reload with Tri-Staple Technology | The Endo GIA Reinforced Reload with Tri-Staple Technology is an endoscopic stapler reload pre-attached with a non-woven absorbable polyglycolic acid staple line reinforcement mesh. This reinforced reload places a triple-staggered row of titanium staples and two layers of absorbable reinforcement material on either side of the cut line. | 45mm and 60mm | $521.00 |  |
| MI287 | Tri-Staple 2.0 Reinforced reloads | Tri-Staple 2.0 Reinforced reload preloaded with polyglycolic acid staple line reinforcement mesh and with intelligent chip that communicates with Signia stapler. | 45mm, 60mm | $521.00 |  |

**03.08.04.04 - Staples, Non-bone with Disposable Applier**

**Endotherapeutics Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| ET066 | Insorb Subcuticular Stapler | A subcuticular (dermal) surgical delivery system loaded with resorbable staples/prostheses | Each staple is 5mm x 3mm | $302.00 |  |

**INNOVATIVE MEDCARE TECHNOLOGY PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| IJ015 | Frankenman Linear Cutter Stapler | Single use, reloadable, linear cutter stapler containing titanium staples | 61mm; 81mm; 100mm | $302.00 |  |
| IJ018 | Frankenman Linear Stapler | Linear stapler preloaded with titanium staples | 32mm; 46mm; 60mm; 90mm | $302.00 |  |

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| JJ050 | Proximate\* Linear Stapler | Metal/Plastic linear stapler preloaded with titanium staples, manual closure | 55 - 60mm | $302.00 |  |
| MN217 | Proximate | Preloaded stapler | 30-100mm | $302.00 |  |

**MERIL AUSTRALIA PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| OX032 | Mirus Disposable Linear Cutter | Disposable, reloadable linear cutter stapler | Stapling line lengths of 60mm, 80mm and 100mm | $302.00 |  |
| OX033 | Mirus Dial Linear Stapler | A disposable, reloadable linear stapler with dial | Accommodates staple line lengths of 30mm, 45mm, 60mm and 90mm. | $302.00 |  |
| OX034 | Mirus Auto Linear Stapler | A disposable, reloadable linear stapler | Accommodates staple line lengths of 30mm, 45mm, 60mm and 90mm. | $302.00 |  |

**Medtronic Australasia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| AS110 | DFS Disposable Fascia Stapler | Stainless Steel | One Size Only | $302.00 |  |
| MI212 | PI/TA Stapler | Disposable Surgical Stapler and Loading Unit | 30mm, 45mm, 60mm, 90mm | $302.00 |  |
| MI214 | GIA Linear Cutter Stapler and single use loading units | single use, reloadable stapler | 2.5mm, 3.8mm, 4.8mm, 60mm, 75mm, 80mm, 100mm | $302.00 |  |
| MI456 | GIA Stapler with Tri-Staple technology | Single use, reloadable stapler | 60mm, 80mm | $302.00 |  |

**Optimed Technologies**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| OB002 | Touchstone Linear Cutter Stapler 80mm | A device that incorporates a disposable staple cartridge that lays a double staggered row of staples on each side of a cutting knife. Used for extensive bowel, gastric, gynaecological and thoracic surgical stapling procedures. | 80mm length in staple line with choice of 3.8mm, 4.2mm and 4.5mm titanium staples | $302.00 |  |
| OB005 | Touchstone Linear Cutter Stapler 100mm | A device that incorporates a disposable staple cartridge that lays a double staggered row of staples on each side of a cutting knife. Used for extensive bowel, gastric, gynaecological and thoracic surgical stapling procedures. | 100mm length in staple line with choice of 3.8mm and 4.5mm titanium | $302.00 |  |
| OB009 | JustRight 5mm Stapler | Endoscopic manual linear cutting stapler, single use | 5mm shaft diameter 25mm jaw length 20cm length | $302.00 |  |

**Articulating/Roticulating**

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| JJ056 | Proximate Articulating Linear Stapler | Articulating linear stapler preloaded with titanium staples | 55mm | $662.00 |  |

**Circular**

**INNOVATIVE MEDCARE TECHNOLOGY PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| IJ014 | Frankenman Haemorrhoidal (CPH) Stapler | Circular stapler for rectal prolapse and haemorrhoids preloaded with titanium staples | Outside diameter: 32.5mm; 34.5mm | $648.00 |  |
| IJ016 | Frankenman Circular Stapler | Curved intraluminal stapler preloaded with titanium staples. | 21mm; 25mm; 28mm; 32mm | $648.00 |  |

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| JJ443 | Proximate Intraluminal Stapler PPH | Proximate Hemorrhoidal Circular Stapler PPH | One Size Only | $648.00 |  |

**MERIL AUSTRALIA PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| OX035 | Mirus Circular Intraluminal Stapler | Disposable circular stapler with mechanism to measure tissue thickness | Available in 2 rows and 3 rows of staples | $648.00 |  |
| OX036 | Mirus Hemorrhoids Stapler | Disposable stapler with 2 or 3 staggered rows of titanium staples | Available in models with 2 rows and 3 rows of staples | $648.00 |  |

**Medtronic Australasia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| AS179 | EEA Haemorrhoid and Prolapse Stapler | Stapling instrument for control of rectal prolapse and haemorrhoid disease. | 33mm Circular Stapling line, 3.5 mm and 4.8mm Staple leg length. | $648.00 |  |

**Optimed Technologies**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| OB004 | Touchstone Circular Stapler | A surgical implanting device for placing s specific size of double staggered row of titanium staples in a circular fashion in the large bowel, small bowel or oesophagus to maintain function of the digestive tract. A suitable size is used to match the lumen size of the patient's digestive tract | External dimension - 21mm, 25mm, 29mm or 33mm | $648.00 |  |
| OB007 | Touchstone Prolapse Haemorrhoid Stapler | A surgical implanting device for placing a specific size of double staggered row of titanium staples in a circular fashion in the Anal and/or Rectal region for the circumferential excision of the prolapsed distal rectal muscosa, as described by Dr. Longo, Italy. | 33mm and 36mm | $648.00 |  |

**Curved**

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| JJ812 | CONTOUR Curved Cutter Stapler | Curved cutter and stapler for gastrointestinal transaction and resection. | 40mm | $559.00 |  |

**Endoscopic**

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| JJ184 | Endopath Multi Stapler | Endoscopic titanium stapler with staples | 11mm shaft diameter | $473.00 |  |

**Medtronic Australasia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| AS075 | ENDO TA\* | Titanium Surgical Stapler | 30mm | $473.00 |  |
| AS077 | ENDO GIA\* | Titanium Surgical Stapler | 30 - 35mm | $473.00 |  |

**Endoscopic, Circular**

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| MN216 | Ethicon Intraluminal Stapler | Proximate and Endopath staplers | 21 - 33mm | $671.00 |  |

**Medtronic Australasia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| MI219 | EEA Circular Stapler | Circular staplers | 21mm to 34mm | $671.00 |  |
| MI281 | EEA Circular Stapler with Tri Staple Technology | Circular staplers with 3 row staples, slope faced cartridge with a different staple size in each staple row. | 21mm to 33mm | $671.00 |  |

**03.08.04.05 - Tackers**

**Medtronic Australasia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| AS091 | VERSA TACK\* stapler | Titanium Surgical Stapler | 4, 4.8mm (10 staples) | $234.00 |  |
| AS095 | STATTACK | STATTACK Titanium Helical Tacker | One size only | $234.00 |  |

**Absorbable**

**Bard Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BA204 | SorbaFix | Open of Laparoscopic Absorbable Fixation System. | 15 Fasteners; 30 Fasteners | $473.00 |  |
| BA269 | Bard Absorbable Fixation System | Open or Laparoscopic Absorbable Fixation System | 30 Absorbable Fastners, 15 Absorbale Fastners | $473.00 |  |

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| MN115 | SECURESTRAP™ | 5mm Absorbable Strap Fixation Device | 5mm | $473.00 |  |
| MN175 | SECURESTRAP Open | Open Absorbable Strap Fixation Device | Strap length 6.7mm | $473.00 |  |

**Medtronic Australasia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| AS246 | ABSORBATACK | Absorbable Fixation Device | 5mm | $473.00 |  |

**Absorbable, Articulating/Roticulating**

**Medtronic Australasia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| AS227 | ReliaTack Articulating Reloadable Fixation Device | Articulating, reloadable, sterile, single use fixation device prepackaged with 30 standard single use, absorbable reloads | 5.1mm, 30 tacks | $657.00 |  |
| MI303 | ReliaTack™ Articulating Reloadable Fixation Device with Deep Purchase Tacks | Articulating, reloadable, sterile, single use fixation device pre-packaged with 29 tacks (three eight-tack deep purchase reloads, and one five tack deep purchase reload) | 7.0 mm, 29 Tacks | $657.00 |  |

**Endoscopic**

**Bard Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BA203 | Fixation Anchor Set | Open or Laparoscopic Permanent Fixation System. | 15 Fasteners; 30 Fasteners | $374.00 |  |

**Medtronic Australasia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| AS045 | PROTACK\*; Endoscopic Tacker Device; ENDO UNIVERSAL\* | Endoscopic; Titanium Surgical Tacker | 20 tacks; 30 tacks; 5mm; 4mm, 4.8mm (10 staples). | $374.00 |  |

**03.08.04.06 - Suture Fasteners**

**Device Technologies Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| DE610 | Cor-Knot®Quick Load single | The Cor-Knot®Quick Load houses one sterile Cor-Knot®Titanium Fastener for use with the Cor-Knot®device kit | One size | $50.00 |  |
| DE611 | Cor-Knot®Quick Load 6 Pouch | The Cor-Knot®Quick load 6 contains six single sterile Cor-Knot® Titanium Fasteners for use with the Cor-Knot® device kit | One size | $308.00 |  |

**03.08.04.07 - Tacks, Reload**

**10 Tacks, Absorbable**

**Medtronic Australasia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| AS229 | ReliaTack Articulating Reloadable Fixation Device (Reloads x 10) | 10 x absorbable reloads to be used with ReliaTack atriculating tacking device | 5.1mm, 10 tacks | $323.00 |  |

**5 Tacks, Absorbable**

**Medtronic Australasia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| AS228 | ReliaTack Articulating Reloadable Fixation Device (Reloads x 5) | 5 x absorbable reloads to be used with ReliaTack articulating tacking device | 5.1mm, 5 tacks | $162.00 |  |
| MI304 | ReliaTack Articulating Reloadable Fixation Device with Deep Purchase Tacks (Reloads x 5) | 5 x absorbable deep purchase reloads to be used with ReliaTack articulating tacking device | 7.0 mm 5 Tacks | $162.00 |  |

**8 Deep Purchase Tack, absorbable**

**Medtronic Australasia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| MI305 | ReliaTack Articulating Reloadable Fixation Device with Deep Purchase Tacks (Reloads x 8) | 8 x absorbable deep purchase reloads to be used with ReliaTack articulating tacking device | 7.0 mm 8 tacks | $258.00 |  |

**03.08.04.08 - Adhesive Tackers**

**Synthetic, Endoscopic**

**Device Technologies Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| DE726 | Glutack | Catheter for controlled application of surgical adhesive. | 25, 40, 50 drops | $213.00 |  |

**The Trustee for CMJH FAMILY TRUST**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| WL001 | LiquiBand Fix8 | Hernia Mesh Fixation System, preloaded into applicator | 33 tacks | $467.00 |  |

**04 - Neurosurgical**

| **Billing Code** | **Product Name** | **Description** | **Size** | **Minimum Benefit** | **Condition** |
| --- | --- | --- | --- | --- | --- |

**04.02 - DURA DEFECT REPAIR**

**04.02.05 - Repair, Liquid Sealant (0 to 3ml)**

**Integra Neurosciences Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| IG142 | DuraSeal Xact Spinal Dural Sealant | Xact Dural Sealant for spine. Packaged in sterile single use disposable tray. | 3ml | $666.00 |  |

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| MN202 | Evicel | Dural sealant | 0 to 3ml | $666.00 |  |

**04.02.06 - Repair, Liquid Sealant (>3 to 6ml)**

**Integra Neurosciences Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| IG141 | Duraseal Dural Sealant | DuraSeal is a Synthetic, absorbable, Polyethylene Glycon, hydrogel sealant used as an adjunct to sutured dural repair to achieve watertight closure. | 5ml of hydrogel sealant | $649.00 |  |

**Johnson & Johnson Medical Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| MN203 | Evicel | Dural sealant | >3 to 6ml | $649.00 |  |

**Stryker Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| HW659 | ADHERUS Dural Sealant | Dural sealant | 6ml | $649.00 |  |
| HW660 | Adherus AutoSpray | Hydrogel sealant with automatic applicator. | 6mL | $649.00 |  |

**04.02.07 - Repair, Self-Adhesive Membrane Sealant, Small (≤10cm²)**

**Baxter Healthcare Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BX344 | HEMOPATCH SEALING HAEMOSTAT | HEMOPATCH is an absorbable collagen pad intended for sealing and hemostasis. HEMOPATCH is indicated as a hemostatic device and surgical sealant for procedures in which control of bleeding or leakage of other body fluids or air by conventional surgical techniques is either ineffective or impractical. HEMOPATCH may be used to close dural defects following traumatic injury, excision, retraction or shrinkage of the dura mater. | Small: 2.7CM X 2.7 CM ( 5 pads per box) | $202.00 | The prosthesis is only to be used in a surgical procedure described in item 39612, 39615, 39641, 39710 and 39712 in Group T8 of the Regulations. |

**04.02.08 - Repair, Self-Adhesive Membrane Sealant, Medium (>10 to 50cm²)**

**Baxter Healthcare Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BX343 | HEMOPATCH SEALING HAEMOSTAT | HEMOPATCH is an absorbable collagen pad intended for sealing and hemostasis. HEMOPATCH is indicated as a hemostatic device and surgical sealant for procedures in which control of bleeding or leakage of other body fluids or air by conventional surgical techniques is either ineffective or impractical. HEMOPATCH may be used to close dural defects following traumatic injury, excision, retraction or shrinkage of the dura mater. | Medium 4.5cm X 4.5cm ( 3 pads per box) Large 4.5cm X 9cm (3 pads per box) | $452.00 | The prosthesis is only to be used in a surgical procedure described in item 39612, 39615, 39641, 39710 and 39712 in Group T8 of the Regulations. |

**Lifehealthcare Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| LH719 | TissuePatchDural 50\* 25 | Self adhesive dural sealant | 50\*25mm | $452.00 | The PL benefit is limited to use of the device for procedures related to dura defect repair in spinal and neurosurgical procedures only. |
| LH720 | TissuePatchDural 50 \* 50 | Self adhesive dural sealant | 50\*50mm | $452.00 | The PL benefit is limited to use of the device for procedures related to dura defect repair in spinal and neurosurgical procedures only. |
| LH721 | TissuePatchDural 50\*100 | Self adhesive dural sealant | 50\*100mm | $452.00 | The PL benefit is limited to use of the device for procedures related to dura defect repair in spinal and neurosurgical procedures only. |
| LH723 | TissuePatchDural 100\*25 | Self adhesive dural sealant | 100\*25mm | $452.00 | The PL benefit is limited to use of the device for procedures related to dura defect repair in spinal and neurosurgical procedures only. |

**10 - Vascular**

| **Billing Code** | **Product Name** | **Description** | **Size** | **Minimum Benefit** | **Condition** |
| --- | --- | --- | --- | --- | --- |

**10.07 - Arterial Closure Devices**

**10.07.01 - Arterial Closure Devices**

**ABBOTT MEDICAL AUSTRALIA PTY LTD.**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| SJ452 | Proglide | Suture Mediated Closure Device | 5 - 8 French | $307.00 |  |
| SJ459 | Perclose ProStyle Suture Mediated Closure and Repair System | Suture-Mediated Closure and Repair System | One size | $307.00 |  |
| SJ463 | Starclose | 6 Fr Exchange Sheath, Dilator, Guidewire, implantable nitinol clip pre-mounted on a Clip Applier | 6 Fr | $307.00 |  |

**CARDINAL HEALTH AUSTRALIA 503 PTY LTD.**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| DO009 | Mynx Vascular Closure Device | Water-soluble synthetic sealant made of a polyethylene glycol (PEG) The sealant is resorbed by the body within 30 days | 5F, 6/7F | $307.00 |  |
| DO012 | EXOSEAL (TM) Vascular Closure Device | Vascular Closure Device | 5 - 7F | $307.00 |  |
| DO025 | MYNX Control Vascular Closure Device | The MYNX CONTROL Vascular Closure Device is designed to achieve femoral artery hemostasis via delivery of an extravascular, water-soluble synthetic hydrogel sealant, using a balloon catheter in conjunction with a standard procedural sheath. The sealant is made of a polyethylene glycol (PEG) material which expands upon contact with subcutaneous fluids to seal the arteriotomy. The sealant is resorbed by the body within 30 days. A 10 ml locking syringe is used for balloon inflation and deflation. | 5F, 6/7F | $307.00 |  |

**Terumo Australia**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| TU061 | FemoSeal Vascular Closure System | Haemostatic Puncture Closure Device | One Size | $307.00 |  |
| TU067 | Angio-Seal VAscular Closure Device - VIP | Angio-Seal Haemostatic Puncture Closure Device, Model VIP Platform | 6F and 8F | $307.00 |  |

**L (Large)**

**ABBOTT MEDICAL AUSTRALIA PTY LTD.**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| SJ451 | Prostar | Suture Mediated Closure Device - Closure of Large holes | Up to 24 French | $608.00 |  |

**10.09 - Long Term Vascular Access Devices**

**10.09.01 - Percutaneous Catheters, Single Lumen**

**Teleflex Medical Australia**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| TX026 | Arrow Peripherally Inserted Central Catheterisation Sets | Range of Polyurethane single lumen peripherally inserted central catheters with or without stylet | 3 Fr, range of lengths | $96.00 |  |
| TX027 | Arrow Peripherally Inserted Central Catheterisation Sets | Range of Polyurethane single lumen peripherally inserted central catheters with or without stylet | 4 Fr, range of lengths | $96.00 |  |

**WILLIAM A COOK AUSTRALIA PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| WC111 | Cook Central Venous Catheterisation Kit | Single lumen peripherally inserted catheter set, which may include catheter, standard or micropuncture introducer set | 3 - 6 Fr, 40 - 80cm | $96.00 |  |
| WC204 | Cook Central Venous Catheterisation Kits | Turbo-Flo Over-The-Wire Peripherally Inserted Central Venous Catheter Set, Single Lumen Polyurethane with Micropuncture Peel-Away Sheath Introducer and Wire Guide | 4Fr - 60cm and 5Fr -60cm | $96.00 |  |

**A (Anti-infective Agent Coating)**

**Teleflex Medical Australia**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| TX030 | ARROWg+ard Blue Single Lumen Central Venous Catheters | A polyurethane central venous catheter with Blue FlexTip (of various lengths, sizes and lumen configurations) with antimicrobial impregnation (chlorhexidine and silver sulphadiazine) on the external surface of the polyurethane catheter body. | CS-24301 - 16g x 20cm, Single Lumen, Adult CS-24306E-16g x 16cm, Single Lumen Adult CS-24701 - 14g x 20cm, Single Lumen Adult CS-24706E -14g x 16cm, Single Lumen, Adult | $91.00 |  |

**cu (cuffed)**

**Bard Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BA049 | Hickman/Broviac Catheters | Open-Ended CVC, Single Lumen | 2.7Fr - 9.6Fr | $146.00 |  |
| BA125 | Groshong Central Venous Catheter | Closed-Ended CVC, Single Lumen | 5.5Fr - 9.5Fr | $146.00 |  |
| BA129 | Groshong Peripherally Inserted Central Catheter | Closed-Ended PICC, Single Lumen | 3Fr - 5Fr | $146.00 |  |

**cu, pi**

**Bard Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BA291 | PowerHickman Single Lumen Microinducer with SureCuff (2cm & 5 cm) with AirGuard | PowerHickman, 8 Fr Single Lumen, MicroIntroducer Kit with SureCuff (2 cm & 5 cm) | 8 Fr | $146.00 |  |
| BA292 | PowerLine Single Lumen MicroIntroducer Kit | PowerLine 5 Fr Single Lumen, Polyurethane Catheter with Surecuff, MicroIntroducer Kit | 5 Fr | $146.00 |  |
| BA296 | PowerHickman, 8 Fr Single Lumen, Intermediate Kit with SureCuff Airguard(5 cm) | PowerHickman, 8 Fr Single Lumen, Intermediate Kit with SureCuff Airguard(5 cm) | 8Fr | $146.00 |  |

**pi (power injection)**

**Bard Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BA184 | Peripherally Inserted Central Catheter | Power Injectable PICC, Single Lumen | 3Fr - 6Fr | $131.00 |  |
| BA212 | Peripherally Inserted Central Catheter | Valved, Power Injectable PICC, Single Lumen | 4Fr - 6Fr | $131.00 |  |
| BA220 | Groshong Peripherally Inserted Central Catheter | Closed-Ended, Power Injectable PICC, Single Lumen | 5Fr | $131.00 |  |
| BA268 | PowerGlide Pro | Single lumen, power injectable percutaneous catheter | 18 - 22 Gauge | $131.00 |  |
| BA273 | PowerMidline | Single lumen, power injectable percutaneous catheter | 3Fr-4Fr | $131.00 |  |
| BA282 | PowerHohn 5 Fr Single Lumen, Basic Kit | PowerHohn 5 Fr Single Lumen, Basic Kit | 5 Fr | $131.00 |  |
| BA302 | Provena™ Midline Catheter | The Provena™ Midline Catheters are intended to be inserted into a patient's vascular system to sample blood, administer fluids and power injection of contrast media. The unique feature of Provena™ Midline Catheters is that they are configured with a smaller outer diameter with minimal reduction to the intraluminal area assisting in providing the optimal catheter to vein ratio, whilst still enabling good flow rates to ensure the therapy delivery is uncompromised. | 3Fr single lumen | $131.00 |  |
| BA308 | PowerGlide Pro™ Midline Cannula with Cue™ Needle Tracking | Single lumen, power injectable percutaneous catheter | Basic kits: 22G x 8 cm, 20G x 8 cm, 22G x 10 cm, 18G x 8 cm, 18G x 10 cm | $131.00 |  |

**Medical Specialties Australasia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| MS067 | POWERWAND | Single Lumen, Percutaneous Catheter, Power Injectable | 3Fr - 5Fr 6cm - 10cm | $131.00 |  |
| MS069 | BioFlo Midline | Percutaneous Catheter, Single Lumen, Power Injectable | Length: 20 cm French Size: 3Fr - 5Fr | $131.00 |  |
| MS074 | Single Lumen Peripherally Inserted Central Catheter | Power injectable with Pressure Activated Safely Valve (PASV) technology | 3F x55cm, 4F x 55cm, 5F x 55cm | $131.00 |  |
| MS075 | Peripherally Inserted Central Catheter (PICC) | Peripherally Inserted Central Catheter, Single Lumen, Power Injectable | 4Fr - 5Fr | $131.00 |  |
| MS078 | Peripherally Inserted Central Catheter, Single Lumen | Peripherally Inserted Central Catheter, Single Lumen, Anti-Thrombogenic Catheter Material, Power Injectable | 3Fr - 5Fr | $131.00 |  |

**Teleflex Medical Australia**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| TX036 | Arrow single lumen pressure injectable peripherally inserted central catheter (PICC) sets | Single lumen pressure injectable peripherally inserted central catheter (PICC) sets | 3, 4, Fr single lumen Pressure Injectable PICCs various Pressure Injection rates, various lengths. | $131.00 |  |
| TX061 | Arrow Pressure Injectable Midline | The Arrow Pressure Injectable Midline Catheter is a peripherally inserted intravenous catheter manufactured with medical grade, flexible polyurethane. The Arrow Midline is designed with a non-tapered catheter body and softens in-situ to be less traumatic to the vessel. The Arrow Pressure Injectable Midline Catheter is indicated for peripheral access to the venous system for intravenous therapy, blood sampling, infusion, and pressure injection of contrast media. The maximum pressure of pressure injector equipment used with the Arrow Pressure Injectable Midline Catheter may not exceed 300 psi. The maximum pressure injection flow rate for the specific lumen being used for pressure injection is printed on the extension line hub. | Single Lumen Pressure Injectable Midline, 4Fr, 20cm | $131.00 |  |

**WILLIAM A COOK AUSTRALIA PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| WC279 | Turbo-Ject Peripherally Inserted Central Catheter Set ( Single Lumen) | 3/4/5/6 Fr Single Lumen Polyurethane PICC with Micropuncture Peel-Away Sheath Introducer and Echogenic needle | 3, 4, 5, 6 French, 40 and 60 cm catheter length, single lumen catheter | $131.00 |  |

**10.09.02 - Percutaneous Catheters, Multiple Lumen**

**Bard Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BA130 | Groshong Peripherally Inserted Central Catheter | Closed-Ended PICC, Multiple Lumen | 3Fr - 5Fr | $96.00 |  |

**Teleflex Medical Australia**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| TX028 | Arrow Peripherally Inserted Central Catheterisation Sets | Range of Polyurethane double lumen peripherally inserted central catheters with or without stylet | 4 and 5 Fr, range of lengths | $96.00 |  |

**A (Anti-infective Agent Coating)**

**Teleflex Medical Australia**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| TX031 | ARROWg+ard Four & Five Lumen Central Venous Catheters | A polyurethane central catheter with Blue FlexTip (of various lengths, sizes and lumen configurations) with antimicrobial impregnation (chlorhexidine and silver sulphadiazine) on the external surface of the polyurethane catheter material | CS-22854E - 8.5 Fr x 16cm, Quad Lumen CS-25854E - 8.5Fr x 20cm, Quad Lumen CS-22855 - 8.5 x 16cm, Five Lumen CS-25855 - 8.5Fr x 20cm, Five Lumen | $111.00 |  |
| TX032 | ARROWg+ard Blue Double & Triple Lumen Central Venous Catheters | A polyurethane central venous catheter with Blue FlexTip (of various lengths, sizes and lumen configurations) with antimicrobial impregnation (chlorhexidine and silver sulphadiazine) on the external surface of the polyurethane catheter material | CS-24402 - 4Fr x 13cm, Dual Lumen CS-22502 -5Fr x 5cm, Dual Lumen CS-25402 - 4Fr x 8cm, Dual Lumen CS-25502 - 5Fr x 12cm, Dual Lumen CS-22702E - 7Fr x 16cm, Double Lumen CS-26702 - 7Fr x 20cm, Double Lumen CS-27702E - 7Fr x 20cm, Double Lumen CS-25553 - 5.5Fr x 8cm, Triple Lumen CS-22703E - 7Fr x 16cm, Triple Lumen CS-26553 -5.5Fr x 13cm, Triple Lumen CS-24703E - 7Fr x 30cm, Triple Lumen CS-25703E - 7Fr x 20cm, Triple Lumen | $111.00 |  |
| TX033 | ARROWg+ard Blue Plus QUAD Lumen Central Venous Catheters | Central Venous Catheters (of various lengths, sizes and lumen configurations with antimicrobial impregnation on: 1. The external indwelling surface of catheter material (chorhexidine and silver sulphadiazine) 2. The entire internal fluid pathway including catheter, extension-lines and hubs (chlorhexidine acetate) | CS-42854E - 8.5Fr x 16cm, Quad Lumen CS-45854E - 8.5Fr x 20cm, Quad Lumen | $111.00 |  |
| TX034 | ARROWg+ard Blue Plus Double & Triple Lumen Central Venous Catheters | Double & Triple Lumen Central Venous Catheters (of various lengths sizes and lumen configurations) with antimicrobial impregnation on: 1. The external indwelling surface of catheter material (chlorhexidine and silver sulphadiazine) 2. The entire internal fluid pathway including catheter, extension-lines and hubs (chlorhexidine acetate) | CS-45802E - 8 Fr x 20cm, Dual Lumen CS-46702E - 7Fr x 20cm, Dual Lumen CS-47702E - 7Fr x 20cm, Dual Lumen CS-42703E - 7Fr x 16cm, Triple Lumen CS-45703E - 7Fr x 20cm, Triple Lumen | $111.00 |  |

**WILLIAM A COOK AUSTRALIA PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| WC230 | Cook Spectrum CVC Catheter 3 Lumen with antibiotic impregnation | Triple lumen CVC line with antibiotic impregnation | 5Fr, 7Fr, 9Fr | $111.00 |  |
| WC231 | Cook Spectrum 5 Lumen CVC Catheter with antibiotic impregnation | 5 lumen CVC with antibiotic impregnation | 10Fr | $111.00 |  |
| WC321 | Cook Spectrum Central Venous Catheter with antibiotic impregnation - 2 lumen | Double lumen CVC line with antibiotic impregnation | 4 Fr, 5 Fr, 8 Fr. Catheter length 5-25cm | $111.00 |  |

**A (Anti-infective Agent Coating), pi (power injection)**

**Teleflex Medical Australia**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| TX043 | Pressure Injectable ARROWg+ard® Blue Plus Antimicrobial Multi-Lumen Central Venous Catheters | Pressure Injectable Multi Lumen Central Venous Catheters (of various lengths sizes and lumen configurations) with antimicrobial impregnation of the internal and external catheter with Chlorhexidine and Silver Sulphadiazine. | CS42703HP: 16cm x 7Fr Triple Lumen Catheter CS45703HP: 20cm x 7Fr Triple Lumen Catheter CS42854HP: 16cm x 8.5Fr Quad Lumen Catheter CS45854HP: 20cm x 8.5Fr Quad Lumen Catheter | $152.00 |  |

**cu (cuffed)**

**Bard Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BA051 | Hickman/Leonard Catheters | Open-Ended CVC, Multiple Lumen | 7Fr - 12.5Fr | $293.00 |  |
| BA126 | Groshong Central Venous Catheter | Closed-Ended CVC, Multiple Lumen | 5.5Fr - 9.5 Fr | $293.00 |  |
| BA209 | HemoStar Long Term Haemodialysis Catheter | Dialysis Catheter, Multiple Lumen | 14.5Fr - 16Fr | $293.00 |  |

**cu, pi**

**Bard Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BA289 | PowerHickman, 9.5 Fr Dual Lumen, Intermediate Kit with SureCuff (5 cm) & Airguard | PowerHickman, 9.5 Fr Dual Lumen, Intermediate Kit with SureCuff (5 cm) & Airguard | 9.5 Fr | $293.00 |  |
| BA290 | PowerLine Multi Lumen Airguard Intermediate Kit | PowerLine 6 Fr Multi Lumen, Polyurethane Catheter with Surecuff, AirGuard, Intermediate Kit | 6 Fr | $293.00 |  |
| BA293 | PowerLine Multi Lumen MicroIntroducer Kit | PowerLine 5-6 Fr Multi Lumen, Polyurethane Catheter with Surecuff, MicroIntroducer Kit | 5-6Fr | $293.00 |  |
| BA294 | PowerLine Multi Lumen without Airguard Intermediate Kit | PowerLine 6 Fr Multi Lumen, Polyurethane Catheter with Surecuff, Intermediate Kit | 6 Fr | $293.00 |  |
| BA295 | PowerHickman, 9.5 Fr Multi Lumen, MicroIntroducer Kit with SureCuff (2 &5 cm) | PowerHickman, 9.5 Fr Dual Lumen, MicroIntroducer Kit with SureCuff (2 & 5 cm) | 9.5 Fr | $293.00 |  |

**pi (power injection)**

**Bard Australia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| BA183 | Peripherally Inserted Central Catheter | Power Injectable PICC, Multiple Lumen | 4Fr - 6Fr | $152.00 |  |
| BA213 | Peripherally Inserted Central Catheter | Valved, Power Injectable PICC, Multiple Lumen | 4Fr-6Fr | $152.00 |  |
| BA274 | PowerMidline | Multiple lumen, power injectable percutaneous catheter | 4Fr - 5Fr | $152.00 |  |
| BA283 | PowerHohn 6 Fr Multi Lumen, Basic Kit | PowerHohn 6 Fr Dual Lumen, Basic Kit | 6 Fr | $152.00 |  |
| BA298 | PowerPICC SOLO²™ HF 5 French Triple Lumen Basic | A peripherally inserted central catheter made from specially formulated and processed medical grade materials. Each PowerPICC SOLO²™ catheter has a kink resistant, reverse tapered design. PowerPICC SOLO²™ is packaged in a tray with accessories for reliable long (greater than 30 days) or short (less than 30 days) term vascular access. The PowerPICC SOLO²™ catheter valve controls the flow of fluids to provide clamp-free infusion therapy. Positive pressure into the catheter (gravity, pump, syringe) will open the valve, allowing fluid infusion. When negative pressure (aspiration) is applied, the valve opens allowing for the withdrawal of blood into a syringe. | 5 French Triple Lumen | $152.00 |  |
| BA299 | PowerPICC SOLO²™ HF 5 French Triple Lumen 3CG | PowerPICC SOLO²™ HF 5-Fr Triple Lumen 3CG comes with a Sherlock 3CG stylet which is made of specifically formulated materials designed to aid in the placement of peripherally inserted central catheters. The stylet material provides internal reinforcement to aid in catheter placement. The Sherlock 3CG stylet may be used with the Sherlock 3CG Tip Confirmation System (TCS) to provide catheter tip placement information during the procedure. The Sherlock 3CG stylet, Sherlock 3CG TCS system, and the Site~Rite 8 Ultrasound System, include a comprehensive, integrated set of PICC placement tools such as vein location, lumen size visualisation, needle guided vein access, catheter tip orientation, catheter tip depth, catheter tip placement using ECG, and ECG placement documentation. In most instances, this removes the need for confirming PICC tip placement through radiological methods. | 5 French Triple Lumen | $152.00 |  |
| BA300 | PowerPICC SOLO²™ HF 5 French Triple Lumen Radiology | A peripherally inserted central catheter made from specially formulated and processed medical grade materials. Each PowerPICC SOLO²™ catheter has a kink resistant, reverse tapered design. PowerPICC SOLO²™ is packaged in a tray with accessories for reliable long (greater than 30 days) or short (less than 30 days) term vascular access. The PowerPICC SOLO²™ catheter valve controls the flow of fluids to provide clamp-free infusion therapy. Positive pressure into the catheter (gravity, pump, syringe) will open the valve, allowing fluid infusion. When negative pressure (aspiration) is applied, the valve opens allowing for the withdrawal of blood into a syringe. | 5 French Triple Lumen with 70cm Nitinol Guidewire 5 French Triple Lumen with 135cm Nitinol Guidewire | $152.00 |  |
| BA303 | Provena™ Midline Catheter | The Provena™ Midline Catheters are intended to be inserted into a patient's vascular system to sample blood, administer fluids and power injection of contrast media. The unique feature of Provena™ Midline Catheters is that they are configured with a smaller outer diameter with minimal reduction to the intraluminal area assisting in providing the optimal catheter to vein ratio, whilst still enabling good flow rates to ensure the therapy delivery is uncompromised. | 4Fr dual lumen | $152.00 |  |

**Medical Specialties Australasia Pty Ltd**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| MS071 | BioFlo Midline | Percutaneous Catheter, Dual Lumen, Power Injectable | Length: 20 cm French Size: 5Fr | $152.00 |  |
| MS076 | Peripherally Inserted Central Catheter (PICC) | Peripherally Inserted Central Catheter, Multiple Lumen, Power Injectable | 5Fr - 6Fr | $152.00 |  |
| MS077 | Peripherally Inserted Central Catheter, Multiple Lumen | Peripherally Inserted Central Catheter, Single Lumen, Anti-Thrombogenic Catheter Material, Power Injectable | 5Fr - 6Fr | $152.00 |  |
| MS080 | Peripherally Inserted Central Catheter, Multiple Lumen | Power injectable with Pressure Accivated Safety Valve (PASV) technology | 5Fr x 55cm (Dual Lumen), 6Fr x 55cm (Dual Lumen), 6Fr x 55cm (Triple Lumen) | $152.00 |  |

**Teleflex Medical Australia**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| TX035 | Arrow multi lumen pressure injectable peripherally inserted central catheter (PICC) sets | Arrow multi lumen pressure injectable PICC (peripherally inserted central catheter) sets | 4, 5, 6Fr multi lumen Pressure Injectable PICCs various Pressure Injection rates, various lengths. Double & triple Lumen configurations. | $152.00 |  |
| TX056 | Arrow Pressure Injectable Multi-Lumen Central Venous Catheterisation Kit | 7F x 20CM Pressure Injectable Central Venous Catheter with Insertion Kit | 7F x 20CM | $152.00 |  |
| TX062 | Arrow Pressure Injectable Midline | The Arrow Pressure Injectable Midline Catheter is a peripherally inserted intravenous catheter manufactured with medical grade, flexible polyurethane. The Arrow Midline is designed with a non-tapered catheter body and softens in-situ to be less traumatic to the vessel. The Arrow Pressure Injectable Midline Catheter is indicated for peripheral access to the venous system for intravenous therapy, blood sampling, infusion, and pressure injection of contrast media. The maximum pressure of pressure injector equipment used with the Arrow Pressure Injectable Midline Catheter may not exceed 300 psi. The maximum pressure injection flow rate for the specific lumen being used for pressure injection is printed on the extension line hub. | Double Lumen Pressure Injectable Midline, 5Fr , 20cm | $152.00 |  |

**WILLIAM A COOK AUSTRALIA PTY LTD**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| WC280 | Turbo-Ject Peripherally Inserted Central Catheter Set (Double Lumen) | 4/5 Fr Double Lumen Polyurethane PICC with Micropuncture Peel-Away Sheath Introducer and Echogenic needle | 4 and 5 French, 60 cm Catheter length, double lumen catheter | $152.00 |  |
| WC297 | Turbo-Ject Peripherally Inserted Central Venous Catheters Set (Triple Lumen) | Turbo-Ject Peripherally Inserted Central Venous Catheters (PICC) Sets are intended for short- or long-term use for venous pressure monitoring, blood sampling, administration of drugs (eg chemotherapy) and fluids (eg TPN), and for use with power injectors for delivery of contrast in CT studies. | 6Fr, Catheter length 60cm | $152.00 |  |