Instrument number CASA 69/24

I, Jonathan Aleck, Executive Manager, Legal, International & Regulatory Affairs, a delegate of CASA, make this instrument under regulation 99.140 of the *Civil Aviation Safety Regulations 1998*.

**[Signed Jonathan Aleck]**

Jonathan Aleck  
Executive Manager, Legal, International & Regulatory Affairs

9 December 2024

CASA 69/24 — CASA 39/20 (Drug and Alcohol Testing by CASA under Subpart 99.C of CASR) Amendment Instrument 2024

1. Name

This instrument is *CASA 69/24 — CASA 39/20 (Drug and Alcohol Testing by CASA under Subpart 99.C of CASR) Amendment Instrument 2024*.

1. Commencement

This instrument commences on the day after it is registered.

1. Amendment of instrument CASA 39/20

Instrument *CASA 39/20 – Drug and Alcohol Testing by CASA under Subpart 99.C of CASR Instrument 2020* is amended as set out in Schedule 1.

Schedule 1 Amendment to CASA 39/20

1 Schedule 3, Table 1, item 1(a), column headed “Procedures”, third bullet point

omit

After a time within this period, the display window on the device will show the red control line (CL). If a red control line does not appear on all 3 CL strips, the test result is not valid and device must be discarded.

insert

After a time within this period, the display window on the device will show the red control line. If a red control line does not appear on all control strips, the test result is not valid, and the device must be discarded.